## GH Ambala City
MASTER EQUIPMENT BASE
Name of District-Ambala Type of facility- General Hospital Name of the Facility-Ambala City
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | SNCU | NRC | 1 | Phoenix | NRC-100 | TU-1001 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
2 | SNCU | NRC | 1 | Phoenix | NRC-100 | TU-1002 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
3 | SNCU | NRC | 1 | Phoenix | NRC-100 | TU-1003 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
4 | SNCU | NRC | 1 | Phoenix | NRC-100 | TU-1004 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
5 | SNCU | NRC | 1 | Phoenix | NRC-100 | TU-1005 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
6 | SNCU | NRC | 1 | Phoenix | NRC-100 | TU-1036 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
7 | SNCU | NRC | 1 | Phoenix | NRC-100 | TU-1037 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
8 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1001 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
9 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1002 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
10 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1003 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
11 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1004 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
12 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1005 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
13 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1006 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
14 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1007 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
15 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1008 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
16 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1009 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
17 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1010 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
18 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU-1011 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
19 | SNCU | CFL Phototherapy | 1 | Phoenix | CFL-101 | TU1001 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
20 | SNCU | CFL Phototherapy | 1 | Phoenix | CFL-101 | TU1002 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
21 | SNCU | CFL Phototherapy | 1 | Phoenix | CFL-101 | TU1003 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
22 | SNCU | CFL Phototherapy | 1 | Phoenix | CFL-101 | TU1004 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
23 | SNCU | CFL Phototherapy | 1 | Phoenix | CFL-101 | TU1005 | 2015-04-11 | 0 | 0 | 1 | .12-15 | W
24 | SNCU | Oxygen Hood | 1 | M/S Surgicoin |  |  | 2015-04-11 | 0 | 0 | 0 | 0 | W
25 | SNCU | Oxygen Hood | 1 | M/S Surgicoin |  |  | 2015-04-11 | 0 | 0 | 0 | 0 | W
26 | SNCU | Oxygen Hood | 1 | M/S Surgicoin |  |  | 2015-04-11 | 0 | 0 | 0 | 0 | W
27 | SNCU | Oxygen Hood | 1 | M/S Surgicoin |  |  | 2015-04-11 | 0 | 0 | 0 | 0 | W
28 | SNCU | Oxygen Hood | 1 | M/S Surgicoin |  |  | 2015-04-11 | 0 | 0 | 0 | 0 | W
29 | SNCU | Oxygen Hood | 1 | M/S Surgicoin |  |  | 2015-04-11 | 0 | 0 | 0 | 0 | W
30 | SNCU | Syring Pump | 1 | SISCO | SP-500 | "0060891 | 2015-05-11 | 0 | 0 | 0 | 0 | W
31 |  | Syring Pump | 1 |  |  | "0060861 | 2015-05-11 | 0 | 0 | 0 | 0 | W
32 |  | Syring Pump | 1 |  |  | "0060901 | 2015-05-11 | 0 | 0 | 0 | 0 | W
33 | SNCU | Oxygen concentator | 1 | Moditech International | Jay-5A | MZ20110052620 | 2015-03-11 | 0 | 0 | 0 | 0 | W
34 |  | Oxygen concentator | 1 |  |  | MZ20110052622 | 2015-03-11 | 0 | 0 | 0 | 0 | W
35 | SNCU | Multi Para Monitor | 1 | Schiller | Truscope | B0673137 | 2015-06-13 | 0 | 0 | 1 | .11-15 | W
36 |  | Multi Para Monitor | 1 | Schiller | Truscope | B0673094 | 2015-06-13 | 0 | 0 | 1 | .11-15 | W
37 | SNCU | Multi Para Monitor | 1 | Schiller | Truscope | B0673081 | 2015-06-13 | 0 | 0 | 1 | .11-15 | W
38 |  | Multi Para Monitor | 1 | Schiller | Truscope | B0673095 | 2015-06-13 | 0 | 0 | 1 | .11-15 | W
39 | SNCU | Multi Para Monitor | 1 | Schiller | Truscope | B0673049 | 2015-06-13 | 0 | 0 | 1 | .11-15 | W
40 | SNCU | Light Meter | 1 | Wipro GE |  | B0673098 | 2015-09-11 | 0 | 0 | 0 | 0 | W
41 | SNCU | Embracenest Infant Warmer | 1 | Wipro GE | Embrace nest infant warmer | FD09040412100155 | 2015-03-13 | 0 | 0 | 0 | 0 | W
42 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU1053 | 2015-01-13 | 0 | 0 | 0 | 0 | W
43 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU1054 | 2015-01-13 | 0 | 0 | 0 | 0 | W
44 | SNCU | Open care Warmer | 1 | Phoenix | OSW-100 | TU1055 | 2015-01-13 | 0 | 0 | 0 | 0 | W
45 | SNCU | Mannequins (Portable birthing simulatore) | 1 | M/s Nishtha international ,new Delhi | NA | NA | 2015-01-13 | 1 | 2015-12-15 | 0 | 0 | W
46 | SNCU | Infantometer | 1 | System Plus | NA | NA | 2015-01-14 | 1 | 2015-12-15 | 0 | 0 | W
47 | SNCU | Serum Bilirubinometer | 1 | Cardio Care | NA | NA | 2015-09-13 | 1 | 2015-09-15 | 0 | 0 | W
48 |  | Larynogoscope neonate | 1 | System Plus | NA | CEO434 | 2015-06-11 | 0 | 0 | 0 | 0 | W
49 |  | Larynogoscope neonate | 1 | System Plus | NA | CEO435 | 2015-06-11 | 0 | 0 | 0 | 0 | W
50 |  | Larynogoscope neonate | 1 | System Plus | NA | CEO436 | 2015-06-11 | 0 | 0 | 0 | 0 | W
51 | SNCU | Larynogoscope neonate | 1 | System Plus | NA | CEO437 | 2015-06-11 | 0 | 0 | 0 | 0 | W
52 |  | Resuscitation Hand operated neonate 500ml | 1 | System Plus | NA | NA | 2015-06-11 | 0 | 0 | 0 | 0 | W
53 |  | Resuscitation Hand operated neonate 500ml | 1 | System Plus | NA | NA | 2015-06-11 | 0 | 0 | 0 | 0 | W
54 |  | Resuscitation Hand operated neonate 500ml | 1 | System Plus | NA | NA | 2015-06-11 | 0 | 0 | 0 | 0 | W
55 | SNCU | Resuscitation Hand operated neonate 500ml |  | System Plus | NA | NA | 2015-06-11 | 0 | 0 | 0 | 0 | W
56 |  | Resuscitation Hand operated neonate 240ml | 1 | System Plus | NA | NA | 2015-06-11 | 0 | 0 | 0 | 0 | W
57 | SNCU | Resuscitation Hand operated neonate 240ml | 1 | System Plus | NA | NA | 2015-06-11 | 0 | 0 | 0 | 0 | W
58 |  | Room Heater | 1 | System Plus | NA | NA | 2015-11-11 | 0 | 0 | 0 | 0 | W
59 | SNCU | Room Heater | 1 | System Plus | NA | NA | 2015-11-11 | 0 | 0 | 0 | 0 | W
60 | Gynae | O.T Light ceiling | 1 | URKO INDIA | NA | NA | NA | 0 | 0 | 0 | 0 | W
61 | Gynae | O.T Light Portable | 1 | MONARCH SURGICAL | URKO INDIA | NA | NA | 0 | 0 | 0 | 0 | W
62 | Gynae | Suction machine Electrical | 1 | NA | MONARCH SURGICAL | MSI-RG02 | NA | 0 | 0 | 0 | 0 | W
63 | Gynae |  | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
64 | Gynae |  | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
65 | Gynae | Baby weighing machine | 1 | MEDICAL SYSTEMS&SERVICES | NA | NA | NA | 0 | 0 | 0 | 0 | W
66 | Gynae | Baby warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
67 | Gynae | Delivery table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
68 | Gynae | Delivery table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
69 | Gynae | Delivery table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
70 | Gynae | Delivery table | 1 | Evergreen Enterprices | NA | NA | NA | 1 | 2015-05-17 | 0 | 0 | W
71 | Gynae | Sterilizer | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
72 | Gynae | Sterilizer | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
73 | Gynae | B.P Apparatus | 1 | PAGODA | NA | NA | NA | 0 | 0 | 0 | 0 | W
74 | Gynae | B.P Apparatus | 1 | PAGODA | NA | NA | NA | 0 | 0 | 0 | 0 | W
75 | Gynae | B.P Apparatus | 1 | PAGODA | NA | NA | NA | 0 | 0 | 0 | 0 | W
76 | Gynae | Suction machine foot operated | 1 | System Plus | NA | NA | 2015-06-11 | 0 | 0 | 0 | 0 | W
77 | Gynae | Suction machine foot operated | 1 | System Plus | NA | NA | 2015-06-11 | 0 | 0 | 0 | 0 | W
78 | Gynae | Suction machine foot operated | 1 | Devine Medi healt pvt.ltd | NA | NA | 2015-12-15 | 0 | 0 | 0 | 0 | W
79 | Gynae | Suction machine foot operated | 1 | Medexcel | NA | NA | 2015-01-14 | 1 | 2015-01-16 | 0 | 0 | W
80 | Gynae | Suction machine foot operated | 1 | Medexcel | NA | NA | 2015-01-14 | 1 | 2015-01-16 | 0 | 0 | W
81 | Gynae | Suction machine foot operated | 1 | Medexcel | NA | NA | 2015-01-14 | 1 | 2015-01-16 | 0 | 0 | W
82 | Gynae | Suction machine foot operated | 1 | Medexcel | NA | NA | 2015-01-14 | 1 | 2015-01-16 | 0 | 0 | W
83 | Gynae | Suction machine Electrical | 1 | ANAND SURGICAL | NA | NA | NA | 0 | 0 | 0 | 0 | W
84 | Gynae | Foetal Doppler | 1 | Evergreen Enterprices | Sonoline b | NA | 2015-03-14 | 0 | 0 | 0 | 0 | W
85 | Gynae | Foetal Doppler | 1 | Evergreen Enterprices | Sonoline b | NA | 2015-03-14 | 0 | 0 | 0 | 0 | W
86 | Gynae | Foetal Doppler | 1 | Evergreen Enterprices | Sonoline b | NA | 2015-03-14 | 0 | 0 | 0 | 0 | W
87 | Gynae | Foetal Doppler | 1 | Evergreen Enterprices | Sonoline b | NA | 2015-03-14 | 0 | 0 | 0 | 0 | W
88 | Radiology | X-RAY 300 MA | 1 | WIPRO GE | DX300 |  | .3-91 | 0 | 0 | 1 | .5-16 | W
89 | Radiology | X-RAY 100 MA(mobile) | 1 | ALLENGERS | 100CBM | 20510802 | .01-03 | 0 | 0 | 1 | .7-15 | W
90 | Radiology | X-RAY 150 MA(mobile) | 1 | ALLENGERS | MARS15/SBM/APR | 2K130115017-X/HF | .2-13 | 0 | 0 | 0 | 0 | W
91 | Radiology | CR System | 1 | AGFA | CR35-X | 1944 | .12-07 | 0 | 0 | 1 | .7-15 | W
92 | Radiology |  | 1 | WORK STATION | NX2.0.800501 | NX1001-12260 | .12-07 | 0 | 0 | 1 |  | W
93 | Radiology |  | 1 | DRYSTAR | DS5302 | 3698 | .12-07 | 0 | 0 | 1 |  | W
94 | Radiology | ECG Machine | 1 | BIONATE | EKG2000 | EG0300120A | 2006 | 0 | 0 | 0 | 0 | W
95 | Radiology | ECG Machine | 1 | BPL | CARDIART408 | TIC3722 | .6-97 | 0 | 0 | 0 | 0 | W
96 | Radiology | ECG Machine | 1 | BPL | CARDIART6108 | TIC3721 | .9-01 | 0 | 0 | 0 | 0 | W
97 | Radiology | ECG Machine | 1 | BPL | CARDIART6108 | TIC3729 | .9-01 | 0 | 0 | 0 | 0 | W
98 | Radiology | 2-D Echocardio graphy | 1 | Philips | HD11XE | US21470302 | .3-14 | 1 | 2015-03-16 | 0 | 0 | W
99 | Trauma | Defibrillator | 1 | SCHILLER | DEFIGARD 400 | J10B135 | .07-10 | 1 | 2015-07-15 | 0 | 0 | W
100 | Trauma | Defibrillator | 1 | SCHILLER | DEFIGARD 400 | J10B134 | .07-10 | 1 | 2015-07-15 | 0 | 0 | W
101 | Trauma | O.T Light Portable | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
102 | Trauma | O.T Light Portable | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
103 | Trauma | Emergency Resuscitation | 1 | M/S Surgicoin Mediequip Pvt.Ltd | NA | NA | .7-10 | 0 | 0 | 0 | 0 | W
104 | Trauma | Emergency Resuscitation | 1 | M/S Surgicoin Mediequip Pvt.Ltd | NA | NA | .7-10 | 0 | 0 | 0 | 0 | W
105 | Trauma | Emergency Resuscitation | 1 | M/S Surgicoin Mediequip Pvt.Ltd | NA | NA | .7-10 | 0 | 0 | 0 | 0 | W
106 | Trauma | Emergency Resuscitation | 1 | M/S Surgicoin Mediequip Pvt.Ltd | NA | NA | .7-10 | 0 | 0 | 0 | 0 | W
107 | Trauma | Emergency Resuscitation | 1 | M/S Surgicoin Mediequip Pvt.Ltd | NA | NA | .7-10 | 0 | 0 | 0 | 0 | W
108 | Trauma | Oxygen Concentrator | 1 | MEDOXY | HG5-WN | NA | NA | 0 | 0 | 0 | 0 | W
109 | Trauma | Ultrasound machine | 1 | PHILIPS | HD-3 | Bo120230006434 | .3-11 | 0 | 0 | 1 | .9-15 | W
110 | Trauma | Anaesthesia | 1 | GALAXY | MEDITECGALAXY | NA | .08-10 | 0 | 0 | 1 | .8-15 | W
111 | Trauma | Semiauto Analyzer | 1 | TRANSASIA | ERBACHEM-5X | N100312 | NA | 0 | 0 | 1 | .8-15 | W
112 | Trauma | X-RAY Machine 65kva | 1 | ALLENGERS | OPEL-65 | 2K90565074-X\HF | .1-10 | 0 | 0 | 1 | .10-15 | W
113 | Trauma | Ventilator | 1 | Drager | Swinea | NA | NA | 0 | 0 | 0 | 0 | W
114 | Trauma | ECG M/C | 1 | BPL | NA | NA | .8-11 | 0 | 0 | 0 | 0 | W
115 | Trauma | Ambulance | 1 | Instromedix | HR55N4941 | NA | .4-12 | 0 | 0 | 0 | 0 | W
116 | Trauma | Ambulance | 1 | Instromedix | HR37C9246 | NA | .6-13 | 0 | 0 | 0 | 0 | W
117 | Trauma | Ambulance | 1 | Acon | HR37D1658 | NA | .5-13 | 0 | 0 | 0 | 0 | W
118 | Trauma | Genset(125kva) | 1 | Kirloskar | KG125WS | NA | .11-11 | 0 | 0 | 0 | 0
119 | Trauma | Mobile ot light | 1 | M/s Evergreen | Vision 6m | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
120 | Trauma | Mobile ot light | 1 | M/s Evergreen | Vision 6m | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
121 | Trauma | Mobile ot light | 1 | M/s Evergreen | Vision 6m | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
122 | Trauma | Mobile ot light | 1 | M/s Evergreen | Vision 6m | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
123 | Trauma | Mobile ot light | 1 | M/s Evergreen | Vision 6m | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
124 | Trauma | Mobile ot light | 1 | M/s Evergreen | Vision 6m | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
125 | Trauma | Double dome ot Light | 1 | M/s Hospitech | NA | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
126 | Trauma | Double dome ot Light | 1 | M/s Hospitech | NA | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
127 | Trauma | Double dome ot Light | 1 | M/s Hospitech | NA | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
128 | Trauma | Double dome ot Light | 1 | M/s Hospitech | NA | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
129 | Trauma | Double dome ot Light | 1 | M/s Hospitech | NA | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
130 | Trauma | Double dome ot Light | 1 | M/s Hospitech | NA | NA | .7-14 | 1 | .7-16 | 0 | 0 | W
131 | Trauma | Hydraulic Ot table | 1 | M/s Apex Meditek | Hospitech Industries | NA | .5-14 | 1 | 2015-05-16 | 0 | 0 | W
132 | Trauma | Hydraulic Ot table | 1 | M/s Apex Meditek | Hospitech Industries | NA | .5-14 | 1 | 2015-05-16 | 0 | 0 | W
133 | Trauma | Hydraulic Ot table | 1 | M/s Apex Meditek | Hospitech Industries | NA | .5-14 | 1 | 2015-05-16 | 0 | 0 | W
134 | Trauma | Hydraulic Ot table | 1 | M/s Apex Meditek | Hospitech Industries | NA | .5-14 | 1 | 2015-05-16 | 0 | 0 | W
135 | Trauma | Cautery Machine | 1 | M/s Apex Meditek | Div Lab | NA | .5-14 | 1 | 2015-05-16 | 0 | 0 | W
136 | Trauma | Cautery Machine | 1 | M/s Apex Meditek | Div Lab | NA | .5-14 | 1 | 2015-05-16 | 0 | 0 | W
137 | Trauma | Cautery Machine | 1 | M/s Apex Meditek | Div Lab | NA | .5-14 | 1 | 2015-05-16 | 0 | 0 | W
138 | Trauma | Cautery Machine | 1 | M/s Apex Meditek() | Div Lab | NA | .5-14 | 1 | 2015-05-16 | 0 | 0 | W
139 | Trauma | Defibrillator | 1 | Bene Heart | D6 | D4-42010598 | 14-15 | 1 | 2016-03-01 | 0 | 0 | W
140 | Physiothearpy | IR Lamp | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
141 | Physiothearpy | Traction | 1 | INDIAN HEALOSURGE LTD. | NA | NA | NA | 0 | 0 | 0 | 0 | W
142 | Physiothearpy | Traction | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 |  | NW
143 | Physiothearpy | Ultrasound therapy | 1 | LIFE CARE SYSTEMS | LCS SONIC PLUS | 1550506 | NA | 0 | 0 | 0 | 0 | W
144 | Physiothearpy | Ultrasound therapy | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
145 | Physiothearpy | Short wave diatthermy | 1 | INDIAN HEALOSURG LTD. | NA | NA | NA | 0 | 0 | 0 | 0 | W
146 | Physiothearpy | Static cycle | 1 | ALLIGRO | NA | NA | NA | 0 | 0 | 0 | 0 | W
147 | Physiothearpy | Paraffin wax bath M\C | 1 | INDIA MEDICO INST. | 2515 | 310396 | NA | 0 | 0 | 0 | 0 | W
148 | Physiothearpy | Microwave Diathermy &Traction Table with Couch | 1 | M.W Enterprises(MEL System KG(Gmbh) | MILI | Microwave=4E14R5,Traction=5C04Q3 | .3-15 | 1 | .3-17 | 0 | 0 | W
149 | OT | BP Apparatus | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
150 | OT | BP Apparatus | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
151 | OT | BP Apparatus Standing | 1 | Meditech | CM\L-22676 | 206028 | .08-09 | 0 | 0 | 0 | 0 | W
152 | OT | BP Apparatus Standing | 1 | NA | NA | NA | .08-09 | 0 | 0 | 0 | 0 | W
153 | OT | BP Apparatus Standing | 1 | NA | NA | NA |  | 0 | 0 | 0 | 0 | W
154 | OT | Laryngoscope | 1 | NA | NA | NA | .08-09 | 0 | 0 | 0 | 0 | W
155 | OT | Laryngoscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | w
156 | OT | Cystoscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
157 | OT | Plaster cutter\saw-Auto | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
158 | OT | Bone Drill | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
159 | OT | Feotoscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
160 | OT | Electrosurgical unit | 1 | L&T MEDICAL | T-400 | M03-1461 | NA | 0 | 0 | 0 | 0 | W
161 | OT | Electrosurgical unit | 1 | RAJAS | EX-300 | NA | NA | 0 | 0 | 0 | 0 | W
162 | OT | Electrosurgical unit | 1 | NA | 400DX | 5415 | NA | 0 | 0 | 0 | 0 | W
163 | OT | Autoclave Horizontal | 1 | YORCO,U.P | NA | NA | NA | 0 | 0 | 0 | 0 | W
164 | OT | Autoclave Horizontal | 1 | SIEMENS | NA | NA | NA | 0 | 0 | 0 | 0 | W
165 | OT | Autoclave Horizontal | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 |  | NW
166 | OT | Boiler \sterilizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
167 | OT | Boiler \sterilizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
168 | OT | Ceiling Light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | w
169 | OT | Ceiling Light | 1 | MAZMACO | NA | 778Y32W250 | NA | 0 | 0 | 0 | 0 | w
170 | OT | Ceiling Light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | w
171 | OT | Boyle' s Apparatus | 1 | MEDYSIS | NA | NA | .08-09 | 0 | 0 | 0 | 0 | W
172 | OT | Boyle' s Apparatus | 1 | MEDYSIS | NA | NA | .08-09 | 0 | 0 | 0 | 0 | W
173 | OT | Boyle' s Apparatus | 1 | PIONEER | 101000 | NA | .12-97 | 0 | 0 | 0 | 0 | W
174 | OT | Boyle' s Apparatus | 1 | PIONEER | 101000 | NA | .12-97 | 0 | 0 | 0 | 0 | W
175 | OT | Boyle' s Apparatus | 1 | GALAXY | DITEGALAXY | NA | .08-10 | 0 | 0 | 1 | .8-15 | W
176 | OT | Pulse Oximeter | 1 | MEDYSIS | OXYPULSE | 1194 | NA | 0 | 0 | 0 |  | W
177 | OT | Pulse Oximeter | 1 | MORETTI | NA | EF0710074-01 | NA | 0 | 0 |  |  | W
178 | OT | Pulse Oximeter | 1 | DATEX OHMEDA | NA | NA | NA | 0 | 0 |  |  | W
179 | OT | Pulse Oximeter | 1 | BPL | PO5835 | CMMG9C4723 | NA | 0 | 0 |  |  | W
180 | OT | Suction Apparatus | 1 | BERKLEY | BC5 | NA | NA | 0 | 0 |  |  | W
181 | OT | Suction Apparatus | 1 | GOLEY | NA | NA | NA | 0 | 0 |  |  | W
182 | OT | Suction Apparatus | 1 | NA | NA | NA | NA | 0 | 0 |  |  | W
183 | OT | O.T Table | 1 | NA | NA | NA | NA | 0 | 0 |  |  | W
184 | OT | O.T Table | 1 | NA | NA | NA | NA | 0 | 0 |  |  | W
185 | OT | O.T Table | 1 | NA | NA | NA | NA | 0 | 0 |  |  | W
186 | OT | O.T Table Ortho | 1 | COGMATE | SS-2000 | NA | NA | 0 | 0 |  |  | w
187 | OT | C-Arm | 1 | ALLENGERS | C-ARMHF | 200607174MARK3 | .08-06 | 0 | 0 | 1 | .12-15 | W
188 | OT | Mobile OT Light | 1 | SURGICOIN | NA | NA | NA | 0 | 0 |  |  | w
189 | OT | Mobile OT Light | 1 | SURGICOIN | NA | NA | NA | 0 | 0 |  |  | W
190 | OT | Endoscope | 1 | KARL STORZ | 482BA | DP0000010544 | NA | 0 | 0 |  |  | W
191 | OT | Laproscope | 1 | KLI | NA | NA | NA | 0 | 0 |  |  |  | NW
192 | OT | Laproscope | 1 | KLI | NA | NA | NA | 0 | 0 |  |  |  | NW
193 | OT | Laproscope | 1 | KLI | NA | NA | NA | 0 | 0 |  |  |  | NW
194 | OT | Laproscope | 1 | KLI | NA | NA | NA | 0 | 0 |  |  |  | NW
195 | OT | Laproscope | 1 | KLI | NA | NA | NA | 0 | 0 |  |  |  | NW
196 | OT | Laproscope | 1 | KLI | NA | NA | NA | 0 | 0 |  |  |  | NW
197 | OT | Laproscope | 1 | NESTOR | NA | NA | NA | 0 | 0 |  |  |  | NW
198 | OT | Laproscope | 1 | KARLSTORZ | NA | NA | NA | 0 | 0 |  |  | W
199 | OT | Laproscope | 1 | KARLSTORZ | 26034A | NA | NA | 0 | 0 |  |  | W
200 | OT | Mini L ight Source | 2 | NA | NA | NA | NA | 0 | 0 |  |  | W
201 | Lab | Immulite 1000 | 1 | DPC | OPEL-65 | 1174 | .1-07 | 0 | 0 |  |  | W
202 | Lab | RA 50 Auto analyzer | 1 | TECHNICOM | RA-50 | 10072 | .01-93 | 0 | 0 |  |  | W
203 | Lab | Microscope Uninocular | 3 | NA | NA | NA | NA | 0 | 0 |  |  | W
204 | Lab |  |  | NA | NA | NA | NA | 0 | 0
205 | Lab |  |  | NA | NA | NA | NA | 0 | 0
206 | Lab | Microscope Binocular | 21 | OLYMPUS | CH20i | i10f251 | .08-10 | 0 | 0 |  |  | W
207 | Lab |  |  | OLYMPUS | CH20i | i10f252 | .08-10 | 0 | 0 |  |  | W
208 | Lab |  |  | OLYMPUS | CH20i | i10f253 | .08-10 | 0 | 0 |  |  | W
209 | Lab |  |  | OLYMPUS | CH20i | i10f254 | .08-10 | 0 | 0 |  |  | W
210 | Lab |  |  | OLYMPUS | CH20i | i10f255 | .08-10 | 0 | 0 |  |  | W
211 | Lab |  |  | OLYMPUS | CH20i | i10f256 | .08-10 | 0 | 0 |  |  | W
212 | Lab |  |  | OLYMPUS | CH20i | i10f257 | .08-10 | 0 | 0 |  |  | W
213 | Lab |  |  | OLYMPUS | CH20i | i10f258 | .08-10 | 0 | 0 |  |  | W
214 | Lab |  |  |  | microlux-16 | 96-D-193 | NA | 0 | 0 |  |  | W
215 | Lab |  |  |  | Microlux-16 | 96-D-170 | NA | 0 | 0 |  |  | W
216 | Lab |  |  |  | microlux-16 | 96-J-320 | .01-98 | 0 | 0 |  |  | W
217 | Lab |  |  | AJAY OPTICS | AJ-12 | 1611/97-F-643 | .02-98 | 0 | 0 |  |  | W
218 | Lab |  |  | AJAY OPTICS | NA | NA | NA | 0 | 0 |  |  | W
219 | Lab |  |  | AJAY OPTICS | NA | NA | NA | 0 | 0 |  |  | W
220 | Lab |  |  | LABO | NA | NA | NA | 0 | 0 |  |  | W
221 | Lab |  |  | LABO | NA | NA | NA | 0 | 0 |  |  | W
222 | Lab |  |  | LABO | NA | NA | NA | 0 | 0 |  |  | W
223 | Lab |  |  | AJAY OPTICS | PZB-22 | 54597 |  | 0 | 0 |  |  | W
224 | Lab |  |  | AJAY OPTICS | PZB-22 | 54598 |  | 0 | 0 |  |  | W
225 | Lab |  |  | AJAY OPTICS | NA | NA | NA | 0 | 0 |  |  | W
226 | Lab |  |  | NA | NA | NA | NA | 0 | 0 |  |  | W
227 | Lab | Albunometer | 2 | NA | NA | NA | NA | 0 | 0 |  |  | W
228 | Lab |  |  | NA | NA | NA | NA | 0 | 0 |  |  | W
229 | Lab | DLC Counter | 3 | NA | NA | NA | NA | 0 | 0 |  |  | W
230 | Lab |  |  | NA | NA | NA | NA | 0 | 0 |  |  | W
231 | Lab |  |  | NA | NA | NA | NA | 0 | 0 |  |  | NW
232 | Lab | Glucometer | 2 | ROCHE | ACCU-CHEK | GNO7160125 | NA | 0 | 0 |  |  | W
233 | Lab |  |  | MILES (USA) | 5421 | 1200679 | NA | 0 | 0 |  |  | W
234 | Lab | Centrifuge | 4 | MICROSIL | T-10 | 527 | NA | 0 | 0 |  |  | W
235 | Lab |  |  | NA | NA | NA | NA | 0 | 0 |  |  | W
236 | Lab |  |  | REMI | R8C | NA | NA | 0 | 0 |  |  | W
237 | Lab |  |  | NA | NA | NA | NA | 0 | 0 |  |  | W
238 | Lab | QBC with Haemetoplate System | 1 | BECTION DISKINSON | 5353006 | 3500320121 | NA | 0 | 0 |  |  | W
239 | Lab | Refrigerator | 3 | LG | NA | NA | NA | 0 | 0 |  |  | W
240 | Lab |  |  | WHIRLPOOL | NA | NA | NA | 0 | 0 |  |  | W
241 | Lab |  |  | SAMSUNG | NA | NA | NA | 0 | 0 |  |  | W
242 | Lab | Needle Destroyer | 3 |  | NA | NA | NA | 0 | 0 |  |  | W
243 | Lab |  |  | ATTASHI ELECTRONICS | NA | NA | NA | 0 | 0 |  |  | W
244 | Lab |  |  | NA | NA | NA | NA | 0 | 0 |  |  | W
245 | Lab | Incubator | 3 | NA | NA | NA | NA | 0 | 0 |  |  | W
246 | Lab |  |  | VILCO | NA | NA | NA | 0 | 0 |  |  | W
247 | Lab |  |  | NA | NA | NA | NA | 0 | 0 |  |  | W
248 | Lab | Microtone | 2 | NA | NA | NA | NA | 0 | 0 |  |  | W
249 | Lab |  |  | NA | NA | NA | NA | 0 | 0
250 | Lab | Hot Air Oven | 1 | VILCO | NA | NA | NA | 0 | 0 |  |  | W
251 | Lab | Photocalorimeter | 1 | MICROSIL | PHOTIC20 | 291 | NA | 0 | 0 |  |  | W
252 | Lab | Hb Calorimeter | 1 | MAX ELECTRONICS | 54 | 599 | NA | 0 | 0 |  |  | W
253 | Lab | Automatic Knife Sharpener | 1 | NA | NA | NA | NA | 0 | 0 |  |  | W
254 | Lab | Water Bath (serological) | 1 | NA | NA | NA | NA | 0 | 0 |  |  | W
255 | Lab | Hot Plate | 1 | LABORATORY HOT PLATE | NA | NA | NA | 0 | 0 |  |  | W
256 | Lab | Cell Counter | 1 | Urit MedicalElectronics | Urit 2900plus | NA | .3-14 | 1 | .3-16 |  |  | W
257 | Lab | Semi Auto Analyzer | 1 | Erba | EC-5X | N1030371 | NA | 0 | 0 | 1 | .9-15 | W
258 | Eye | Ultrasonic A-Scan | 2 | DGH Technologies | DGH 3000B | 2244 | .08-10 | 0 | 0 | 0 | 0 | W
259 | Eye |  |  | BIOMEDIX OPTOTECHNIK&DEVICES | ECHORULE | 1966 | .09-01 | 0 | 0 | 0 | 0 | W
260 | Eye | Slit Lamp | 2 | NA | NA | 10070076 | .09-10 | 0 | 0 | 0 | 0 | W
261 | Eye |  |  | OHIRA(Toshbro) | SL-102 | S1021460 | .09-01 | 0 | 0 | 0 | 0 | W
262 | Eye | Keratometer(Horizontol) | 1 | OMEGA | OMEGA |  | .09-01 | 0 | 0 | 0 | 0 | W
263 | Eye | Autorefrractometer | 1 | RYUSYO INDUSTRIAL CORP. LTD. | SR7000 | X9J1674 | .09-01 | 0 | 0 | 0 | 0 | W
264 | Eye | Bull's eye lamp | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
265 | Eye | Opthalmoscope | 2 | HEINE(GERMANY) | VETA200 | NA | NA | 0 | 0 | 0 | 0 | W
266 | Eye |  |  | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
267 | Eye | Retinoscope | 1 | NA | NA | NA | .09-01 | 0 | 0 | 0 | 0 | W
268 | Eye | Operative Microscope | 3 | GUARDIAN OPLINE | GRA376 | NA | NA | 0 | 0 | 0 | 0 | W
269 | Eye |  |  | ARVIND ENGG. | NA | NA | NA | 0 | 0 | 0 | 0 | W
270 | Eye |  |  | Toshbro | Microflex F | FS1-12(836) | NA | 0 | 0 | 0 | 0 | W
271 | Eye | Phaco machine(swiss) | 1 | Toshbro | SWISS TECH | 39600023 | NA | 0 | 0 | 1 | .12-15 | W
272 | Eye | Cautery | 1 | ASCON MEDICAL INSTRUMENTS | WBC-980D | 410852 | NA | 0 | 0 | 0 | 0 | W
273 | Eye | Autoclave | 1 | Esteem Industries | NA | NA | NA | 0 | 0 | 0 | 0 | W
274 | Eye | Boiler\ Sterilizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
275 | Ent | Boiler | 2 | NA | NA | NA | 2015-11-03 | 0 | 0 | 0 | 0 | W
276 | Ent |  |  | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
277 | Ent | Bull si Lamp | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
278 | Ent | Bull si Lamp | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
279 | Ent | Audiometer(Brain stem evoked response Audiometer with ASSR) | 1 | Medilife Technologies(NeuroAudio ABR with ASSR ,Russia) | Neurosoft ,Russia | 0678UX | 2015-11-03 | 1 | .3-17 | 0 | 0 | W
280 | Ent | Audiometer | 1 | ELKON | EDAGIGGA3 | EG100313 | NA | 0 | 0 | 0 | 0 | W
281 | Ent | Audiometer | 1 | ELKON | EDA3N3 | 960336 | NA | 0 | 0 | 0 | 0 | W
282 | Ent | Auditory trainer | 1 | ELKON | AT-120 | 20063 | NA | 0 | 0 | 0 | 0 | W
283 | Ent | Otoacoustics Emission (OAE) Screeing unit | 1 | Medilife Technologies(Neurosoft ,Russia) | NeuroAudio Screen | 0289VX | NA | 1 | .3-17 | 0 | 0 | W
284 | Dental | Dental Chair | 2 | CONFIDENT | Mook ambika | 4052 | 18/3/2013 | 0 | 0 | 0 | 0 | W
285 | Dental | Dental Chair |  | CONFIDENT |  | 3997 |  | 0 | 0 | 0 | 0 | W
286 | Dental | Dental X-Ray | 1 | ARDET | ORIX65/10 | NA | 1999 | 0 | 0 | 0 | 0 | W
287 | Dental | Dental X-Ray | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 |  | NW
288 | Dental | Sterilizer | 1 | UV CHAMBER | NA | NA | NA | 0 | 0 | 0 | 0 | W
289 | Dental | Sterilizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
290 | Dental | Sterilizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
291 | Dental | Needle Destroyer | 1 | DENFORT INTERNATIONAL | NA | NA | NA | 0 | 0 | 0 | 0 | W
292 | Dental | Needle Destroyer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
293 | Dental | Autoclave | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
294 | Dental | Glass bead sterilizer | 1 | NA | ODIN 2000 | N | NA | 0 | 0 | 0 | 0 | W
295 | Blood Bank | ELISA Reader | 1 | NA | READWELL TOUCH | T0908RBK078 | 2008-01-01 | 0 | 0 | 0 | 0 | W
296 | Blood Bank | ELISA Reader | 1 | MEDITEST | MEDILISA | 3181058 | 1998-04-02 | 0 | 0 | 0 | 0 | W
297 | Blood Bank | ELISA Reader & Washer | 1 | NA | WASHWELL PLATE | AW0908RBK078 | 2008-01-01 | 0 | 0 | 0 | 0 | W
298 | Blood Bank | Incubator | 1 | BUDH SINGH&SONS | NA | NA | NA | 0 | 0 | 0 | 0 | W
299 | Blood Bank | Incubator | 1 | VILCO | NA | NA | NA | 0 | 0 | 0 | 0 | W
300 | Blood Bank | Incubator | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
301 | Blood Bank | Waterbath | 1 | YORCO | YSI-413 | 50231 | NA | 0 | 0 | 0 | 0 | W
302 | Blood Bank | Waterbath | 1 | YORCO | YSI-413 | 50269 | NA | 0 | 0 | 0 | 0 | W
303 | Blood Bank | Waterbath | 1 | LABTRONICS (PKL) | 80 | 200511 | NA | 0 | 0 | 0 | 0 | W
304 | Blood Bank | Hot Plate | 1 | REMI | NA | NA | NA | 0 | 0 | 0 | 0 | W
305 | Blood Bank | Centrifuge | 1 | NA | P12C | NA | NA | 0 | 0 | 0 | 0 | W
306 | Blood Bank | Centrifuge | 1 | MICROSIL | T-10 | 531 | NA | 0 | 0 | 0 | 0 | W
307 | Blood Bank | Centrifuge | 1 | REMI | C854/6 | FDLC-2829 | NA | 0 | 0 | 0 | 0 | W
308 | Blood Bank | Boiler | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
309 | Blood Bank | BP Apparatus | 26 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W(16) | NW(10)
310 | Blood Bank |  |  | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
311 | Blood Bank | Microscope | 4 | NA | MICROLUX-16 | NA | NA | 0 | 0 | 0 | 0 | W
312 | Blood Bank |  |  | LABOTRON | NA | 957822 | NA | 0 | 0 | 0 | 0 | W
313 | Blood Bank |  |  | LABOTRON | NA | 957823 | NA | 0 | 0 | 0 | 0 | W
314 | Blood Bank |  |  | LABOPTIC | 90V732 | NA | NA | 0 | 0 | 0 | 0 | W
315 | Blood Bank | Needle Destroyer | 1 | ECOLINE | NA | NA | NA | 0 | 0 | 0 | 0 | W
316 | Blood Bank | Emergency Light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
317 | Blood Bank | Hb Meter | 2 | MAREINLEILD | NA | NA | NA | 0 | 0 | 0 | 0 | W
318 | Blood Bank |  |  | MICROSIL (LINCO SCIENTIFIC, Ambala Cantt.) | AMI | NA | NA | 0 | 0 | 0 | 0 | W
319 | Blood Bank | Cold Box | 5 | ELECTROLUX | NA | NA | NA | 0 | 0 | 0 | 0 | W
320 | Blood Bank |  |  | ELECTROLUX | NA | NA | NA | 0 | 0 | 0 | 0 | W
321 | Blood Bank |  |  | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
322 | Blood Bank |  |  | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
323 | Blood Bank |  |  | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
324 | Blood Bank | Adult weigh machine | 4 | DR.BELTRAM | NA | NA | NA | 0 | 0 | 0 | 0 | W
325 | Blood Bank |  |  | DR.BELTRAM | NA | NA | NA | 0 | 0 | 0 | 0 | W
326 | Blood Bank |  |  | DR.BELTRAM | NA | NA | NA | 0 | 0 | 0 | 0 | W
327 | Blood Bank |  |  | DR.BELTRAM | NA | NA | NA | 0 | 0 | 0 | 0 | W
328 | Blood Bank | Autoclave(verticle) | 1 | YORCO | NA | NA | NA | 0 | 0 | 0 | 0 | W
329 | Blood Bank | Refrigerator | 8 | BRITISH INDIA | RJ04 | 1252 | NA | 0 | 0 | 0 | 0 | W
330 | Blood Bank |  |  | BRITISH INDIA | RD09 | 1253 | NA | 0 | 0 | 0 | 0 | W
331 | Blood Bank |  |  | THERMO FISHER | JEWETT | NA | NA | 0 | 0 | 0 | 0 | W
332 | Blood Bank |  |  | DEPEE | DBR303 | 6C015 | NA | 0 | 0 | 0 | 0 | W
333 | Blood Bank |  |  | REMI INSTRUMENTS | BR70\12-92 | R/R-260 | NA | 0 | 0 | 0 | 0 | W
334 | Blood Bank |  |  | ELECTOLUX | NA | NA | NA | 0 | 0 | 0 | 0 | W
335 | Blood Bank |  |  | ELECTOLUX | NA | NA | NA | 0 | 0 | 0 | 0 | W
336 | Blood Bank | Tube sealer | 1 | NA | NA | NA | 14/1/2013 | 0 | 0 | 0 | 0 | W
Contact details :
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer : 8295936159
Note on E268: manish sharma:

## SDH-AMBALA CANT
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- SDH Name of the Facility-Ambala Cantt
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Blood Bank | Microscope | 1 | lympus | CX21FSI | 3G0040 | 96 | 0 | 0 | 0 | 0 | W
2 | Blood Bank | Microscope | 1 | Quasmo | PZB-22 | 54823 | 2005 | 0 | 0 | 0 | 0 | W
3 | Blood Bank | Microscope | 1 |  |  |  | NA | 0 | 0 | 0 | 0 | W
4 | Blood Bank | Microscope | 1 |  |  |  | NA | 0 | 0 | 0 | 0 | W
5 | Blood Bank | Microscope | 1 |  |  |  | NA | 0 | 0 | 0 | 0 | W
6 | Blood Bank | Centrifuge machine | 1 | Microsil | T-10 | 319 | NA | 0 | 0 | 0 | 0 | W
7 | Blood Bank | Centrifuge machine | 1 | Microsil | T-10 | 497/6 | NA | 0 | 0 | 0 | 0 | W
8 | Blood Bank | Centrifuge machine | 1 |  |  |  | NA | 0 | 0 | 0 | 0 | W
9 | Blood Bank | Centrifuge machine | 1 |  |  |  | NA | 0 | 0 | 0 | 0 | W
10 | Blood Bank | Centrifuge machine | 1 |  |  |  | NA | 0 | 0 | 0 | 0 | W
11 | Blood Bank | Semi auto analyzer | 1 | Transasia | E5 |  | .08-14 | 0 | 0 | 0 | 0 | W
12 | Blood Bank | Semi auto analyzer | 1 | Merch | mikro | AT0331207mrv | 2010 | 0 | 0 | 0 | 0 | W
13 | Blood Bank | Blood bank refrigerator | 1 | joyleAutomation | JA-K03 |  | 1996 | 0 | 0 | 0 | 0 | W
14 | Blood Bank | Blood bank refrigerator | 1 | swasthika |  |  | 2005 | 0 | 0 | 0 | 0 | W
15 | Blood Bank | Blood bank refrigerator | 1 | swasthika |  |  | 2005 | 0 | 0 | 0 | 0 | W
16 | Blood Bank | Incubator | 1 | Visco |  |  |  | 0 | 0 | 0 | 0 | W
17 | Blood Bank | Colorimeter | 1 | NA | photic 20 | 438 |  | 0 | 0 | 0 | 0 | W
18 |  | Colorimeter | 1 | NA | photic20 |  |  | 0 | 0 | 0 | 0 | W
19 | Blood Bank | Glucometer | 3 | Zydus |  | 1065 |  | 0 | 0 | 0 | 0 | W
20 |  | Glucometer |  | Ames | 5421 | 1200506 |  | 0 | 0 | 0 | 0 | W
21 | Blood Bank | BPRL shaker | 1 | NA |  |  |  | 0 | 0 | 0 | 0 | W
22 | Blood Bank | Boiler | 1 | NA |  |  |  | 0 | 0 | 0 | 0 | W
23 | Blood Bank | Autoclave | 1 | NA |  |  |  | 0 | 0 | 0 | 0 | W
24 | Dental | Dental chair with unit | 1 | Confident | Mookambika |  | .03-13 | 0 | 0 | 0 | 0 | W
25 | Dental | Dental X-Ray | 1 | ARDET | ORIX65/10 |  |  | 0 | 0 | 0 | 0 | W
26 | Dental | Sterilizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
27 | Emergency | O.T Light ceiling | 1 | NA | NA | NA | 1998 | 0 | 0 | 0 | 0 | W
28 | Emergency | Needle Destroyer | 2 | Basil | NA | NA | NA | 0 | 0 | 0 | 0 | W
29 | Emergency | Suction Machine | 2 | Medisuc | NA | NA | 2008 | 0 | 0 | 0 | 0 | W
30 | Emergency | Autoclave | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
31 | Emergency | Boiler | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
32 | Emergency | Standing O.T light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
33 | Emergency | Defibrillator | 1 | Philips | NA | NA | NA | 0 | 0 | 0 | 0 | W
34 | Emergency | Laryngoscope | 1 | citisurg | NA | NA | NA | 0 | 0 | 0 | 0 | W
35 | Emergency | Ambubag | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
36 | Emergency | B.P Apparatus | 4 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
37 | SNCU | Phototherapy unit (warmer) | 1 | S.S Technomed limited | Tiana IRW-2426 | NA | 2008 | 0 | 0 | 0 | 0 | W
38 |  | Phototherapy unit (warmer) | 1 | NA | NA | NA | 2010 | 0 | 0 | 0 | 0 | W
39 | SNCU | Phototherapy | 2 | shreeyash electromedicals | NA | NA | NA | 0 | 0 | 0 | 0 | W
40 |  |  |  |  | NA | NA | 2010 | 0 | 0 | 0 | 0 | W
41 | SNCU | Baby suction machine | 1 | phlegm suction7E-B | NA | NA | NA | 0 | 0 | 0 | 0 | W
42 | SNCU | Baby weighing machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
43 | SNCU | Laryngoscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
44 | SNCU | Ambu bag | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
45 | SNCU | Doppler | 1 | NA | NA | NA | 2010 | 0 | 0 | 0 | 0 | W
46 | SNCU | PulseOximeter | `1 | Trulife | NA | CR-9805011240 | 2010 | 0 | 0 | 0 | 0 | W
47 | O.T. | Boyles Apparatus | 1 | Anesthesia equipment co. | Anesist-58 |  | .04-2009 | 0 | 0 | 0 | 0 | W
48 | O.T. | Boyles Apparatus | 1 |  |  |  | .01-1998 | 0 | 0 | 0 | 0 | W
49 | O.T. | Boyles Apparatus | 1 | Datex ohmeda | Boyle basic | G320/A1/2001 | .05-2004 | 0 | 0 | 0 | 0 | W
50 | O.T. | Vertical autoclave | 1 | Vijay scientific | A-7 |  | NA | 0 | 0 | 0 | 0 | W
51 | O.T. | Horizontal autoclave | 1 | Indofos |  | 733810 | 2010 | 0 | 0 | 0 | 0 | W
52 | O.T. | Horizontal autoclave | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
53 | O.T. | Horizontal autoclave | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
54 | O.T. | Pulse oximeter | 1 | BPL | CMMF8H4901 | Cleo | .12-2008 | 0 | 0 | 0 | 0 | W
55 | O.T. | Laproscope | 1 | NA | NA | NA | 1985 | 0 | 0 | 0 | 0 | W
56 | O.T. | Suction machine | 1 | Goley | Accu hgsuc | NA | 2009 | 0 | 0 | 0 | 0 | W
57 |  | Suction machine | 1 | Anands | Hi-vac | NA | NA | 0 | 0 | 0 | 0 | W
58 |  | Suction machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
59 |  | Suction machine |  | NA | WF-203 | NA | 2009 | 0 | 0 | 0 | 0 | W
60 | O.T. | Electrosurgical unit | 1 | Thailand | NA | j-a012 | 2009-01-04 | 0 | 0 | 0 | 0 | W
61 | O.T. | OT Table Hydraulically | 1 | Hemlux | C-2001 | NA | 1985 | 0 | 0 | 0 | 0 | W
62 | O.T. | OT Table Hydraulically | 1 |  | NA | NA | .04-2009 | 0 | 0 | 0 | 0 | W
63 | O.T. | OT Table Hydraulically | 1 | M/s Apex Meditek | Hospitech Industries | NA | .02-2015 | 0 | 0 | 0 | 0 | W
64 | O.T. | OT light ceiling | 3 | Hemlux | NA | NA | .04-2009 | 0 | 0 | 0 | 0 | W
65 | O.T. | OT light ceiling |  | Hemlux | NA | NA | NA | 0 | 0 | 0 | 0 | W
66 | O.T. | OT light ceiling |  | M/s Hospitech | NA | NA | NA | 0 | 0 | 0 | 0 | W
67 | O.T. | Cautery Machine | 1 | M/s Apex Meditek(Div Lab) | Trinity | NA | .02-2015 | 0 | 0 | 0 | 0 | W
68 | Physiothearpy | IR Lamp | 1 | M/S Surgons home india | ABCO | NA | .01-2008 | 0 | 0 | 0 | 0 | W
69 | Physiothearpy | Traction | 1 | Indian healosurge ltd. | electrotech | NA | .03-09 | 0 | 0 | 0 | 0 | W
70 | Physiothearpy | Ultrasound therapy | 1 | Novatech | US-21 | NA | 2007 | 0 | 0 | 0 | 0 | W
71 | Physiothearpy | Static cycle | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
72 | Physiothearpy | Parrafin wax | 1 | care medical system | NA | NA | NA | 0 | 0 | 0 | 0 | W
73 | Physiothearpy | TENS 4 Channel | 1 | Novatech | NA | NA | .10-07 | 0 | 0 | 0 | 0 | W
74 | Physiothearpy | Shoulder Wheel | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
75 | Physiothearpy | Quadriceps table | 1 | NA | NA | NA | .03-2009 | 0 | 0 | 0 | 0 | W
76 | X-Ray | X-ray machine 200 mA | 1 | ESCORT | D1745 | NA | 1986 | 0 | 0 | 0 | 0 | W
77 | X-Ray | X-ray machine 50mA | 1 | ESCORT | 1567 | NA | NA | 0 | 0 | 0 | 0 |  | NW
78 | X-Ray | X-ray machine15 mA | 1 | Micox | 1018 | NA | NA | 0 | 0 | 0 | 0 |  | NW
79 | X-Ray | Ultrasound Machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
80 | X-Ray | ECG machine | 1 | BPL | cardiart408 | NA | NA | 0 | 0 | 0 | 0 | W
81 | X-Ray | ECG machine | 1 | Bionet | cardiocare 2000 | NA | NA | 0 | 0 | 0 | 0 | W
[8 empty] | 0 | 0 | 0 | 0 | W
Contact details : 8295936144
Facility Incharge : Dr.Satish
Store Incharge :Smt. Reeta
Store keeper :Smt. Reeta
Biomedical Engineer : Navita Goswami

## SDH-NARAINGARH
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- SDH Name of the Facility-Naraingarh
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Eye | Oplhalmoscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
2 | Eye | Slit Lamp | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | X-Ray | x-Ray machine100mA | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | w
4 | X-Ray | X-Ray machine500mA | 1 | Allengers | Mars-40 | 2k130340114-x/HF | .04-2013 | 0 | 0 | 0 | 0 | w
5 | X-Ray | Dental x-ray | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | w
6 | X-Ray | ECG M/C | 2 | BPL | NA | NA | NA | 0 | 0 | 0 | 0 | w
7 | X-Ray | ECG M/C |  | Bionet | NA | NA | NA | 0 | 0 | 0 | 0 |  | NW
8 | X-Ray | Ultra sound m/c | 1 | L&T | Sonnet | NA | .12-13 | 0 | 0 | 0 | 0 | w
9 | Dental | Dental chair with unit | 1 | Confident | Mookambika | NA | 2013 | 0 | 0 | 0 | 0 | W
10 | Dental | Dental X-Ray | 1 | GOMAX | DENTEX1060 | NA | NA | 0 | 0 | 0 | 0 | W
11 | Dental | Needle destroyer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
12 | Dental | Suction machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
13 | Lab | Hot Air Oven | 1 | SWASTI ELECTRIC AND SCIENTIFIC | NA | NA | NA | 0 | 0 | 0 | 0 | w
14 | Lab | Microscope | 3 | OLYMPUS | CH20i | NA | 30-08-10 | 0 | 0 | 0 | 0 | W
15 | Lab |  |  | AJAY OPTICS | AJ-12 | NA | 13-02-98 | 0 | 0 | 0 | 0 | W
16 | Lab | Balance Chemical | 1 |  |  | NA |  | 0 | 0 | 0 | 0 | W
17 | Lab | Centrifuge(hand operated) | 8 | MICROSIL | T-10 | NA | 2007-06-03 | 0 | 0 | 0 | 0 | W
18 |  | Centrifuge |  | MICROSIL | T-10 | NA | 2007-09-10 | 0 | 0 | 0 | 0 | W
19 |  |  |  | centicon | CIC-570 | NA | 1975 | 0 | 0 | 0 | 0 | W
20 |  |  |  | centicon | CIC-570 | NA | 1975 | 0 | 0 | 0 | 0 | W
21 |  |  |  | NA | NA | NA | 1975 | 0 | 0 | 0 | 0 | W
22 |  |  |  | NA | NA | NA | 1975 | 0 | 0 | 0 | 0 | W
23 |  |  |  | NA | NA | NA | 1975 | 0 | 0 | 0 | 0 | W
24 |  |  |  | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
25 | Lab | Photoelectric meter | 4 | MICROSIL | PHOTIC20 | 435 | NA | 0 | 0 | 0 | 0 | W
26 |  |  |  | MICROSIL | PHOTIC20 | 1127 | NA | 0 | 0 | 0 | 0 | W
27 |  |  |  | elico pvt ltd | CL-157 | 3315 | NA | 0 | 0 | 0 | 0 | W
28 |  |  |  |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
29 | Lab | Semiauto analyzer | 1 | Transasia | NA | NA | 1994 | 0 | 0 | 0 | 0 | W
30 | Lab | Gulucometer | 4 | NA | NA | NA | 16-04-2007 | 0 | 0 | 0 | 0 | W
31 |  |  |  | NA | sensocad | NA | NA | 0 | 0 | 0 | 0 | W
32 |  |  |  | NA | Aimes | NA | NA | 0 | 0 | 0 | 0 | W
33 | Lab | Electric Balance | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
34 | Lab | Hot Plate | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
35 | Lab | Blood storage RAF | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
36 | Lab | Refrigertor | 4 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
37 | Labour room | O.T Light standing | 2 | Mazmaco | NA | NA | NA | 0 | 0 | 0 | 0 | W
38 | Labour room |  |  | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
39 | Labour room | Suction machine | 3 | Anand | NA | NA | NA | 0 | 0 | 0 | 0 | W
40 | Labour room |  |  |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
41 | Labour room |  |  |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
42 | Labour room | Suction machine(footler) | 1 | Anand | NA | NA | NA | 0 | 0 | 0 | 0 | W
43 | Labour room |  | 1 | System Pluse | NA | NA | 30-6-11 | 0 | 0 | 0 | 0 | W
44 | Labour room | Baby Weighing Machine | 1 |  | NA | NA |  | 0 | 0 | 0 | 0 | W
45 | Labour room | Incubator | 1 | S.S Technology | NA | NA | 22-09-10 | 0 | 0 | 0 | 0 | W
46 | Labour room | Phototherapy | 1 | LG | NA | NA | 22-09-10 | 0 | 0 | 0 | 0 | W
47 | Labour room | BABY WARMER | 1 | meditrin instruments | NA | NA | 22-09-10 | 0 | 0 | 0 | 0 | W
48 | Labour room | Delivery table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
49 | Labour room | Delivery table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
50 | Labour room | Delivery table | 1 | Evergreen Enterprices | NA | NA | .3-15 | 0 | 0 | 0 | 0 | W
51 | Labour room | Laryngoscope | 1 | System Pluse | NA | NA | .06/2011 | 0 | 0 | 0 | 0 | W
52 | Labour room | Opencare warmer | 1 | Phoenix | OCW-100 | TU1108 | .06/2011 | 0 | 0 | 0 | 0 | W
53 | Labour room | Opencare warmer | 1 |  |  | TU1110 | NA | 0 | 0 | 0 | 0 | W
54 | Labour room | CFL Phototherapy | 1 | Phoenix | CFL-101 | 1007 | NA | 0 | 0 | 0 | 0 | W
55 | Labour room | CFL Phototherapy | 1 | Phoenix |  | 1008 | NA | 0 | 0 | 0 | 0 | W
56 | Labour room | Resuscitator operated neonate 240ml | 1 | System Pluse | NA | NA | NA | 0 | 0 | 0 | 0 | W
57 | Labour room | Resuscitator operated neonate500ml | 2 | System Pluse | NA | NA | .06-11 | 0 | 0 | 0 | 0 | W
58 | O.T. | Boyles Apparatus | 1 | IOL | NA | 43731774 | 1975 | 0 | 0 | 0 | 0 | W
59 | O.T. | Boyles Apparatus | 1 | Vijay scientific | NA | NA | NA | 0 | 0 | 0 | 0 | W
60 | O.T. | Vertical autoclave | 1 | Vijay scientific | A-7 | NA | NA | 0 | 0 | 0 | 0 | W
61 | O.T. | Vertical autoclave | 1 | Drayton | NA | NA | NA | 0 | 0 | 0 | 0 | W
62 | O.T. | Horizontal autoclave | 1 | Rego | NA | 123450 | NA | 0 | 0 | 0 | 0 | W
63 | O.T. | Horizontal autoclave | 1 | NA | NA | 53-11458 | NA | 0 | 0 | 0 | 0 | W
64 | O.T. | OT Table | 1 | NA | NA | NA | 1975 | 0 | 0 | 0 | 0 |  | NW
65 | O.T. |  | 2 | NA | MSIRG02 | 2491004 | NA | 0 | 0 | 0 | 0 | W
66 | O.T. | OT Light major and minor | 2 | medicare | NA | 184 | 1975 | 0 | 0 | 0 | 0 | W
67 | O.T. |  |  | philips | NA | NA | 1975 | 0 | 0 | 0 | 0 | W
68 | O.T. | Suction machine | 2 | Anands | NA | NA | NA | 0 | 0 | 0 | 0 | W
69 | O.T. | Boiler | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
70 | O.T. | Cautery m/c | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | w
71 | O.T. | Nublizer | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9416753631
Facility Incharge : Dr.Ram Parkash
Store Incharge :Renu
Store keeper :Renu
Biomedical Engineer : Navita Goswami

## CHC-MULLANA
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility-CHC Name of the Facility-Mullana
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Radilogy | X-Ray machine | 1 | Siemens | NA | NA | NA | 0 | 0 | 0 | 0 | W
2 | Radilogy | ECG Machine | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Dental | Dental Chair | 1 | confident | mookambika | NA | 2013 | 0 | 0 | 0 | 0 | W
4 | OT | Boyles Apparatus | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | OT | Suction Machine | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | OT | Autoclave Machine | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | OT | Sterlizer | 5 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Lab | Blood Storage Refrigerator | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
9 | Labour room | Opencare warmer | 1 | Phonenix | OCW-100 | TU-1107 | .5-11 | 0 | 0 | 0 | 0 | W
10 | OT | Cardic Defibrillator with recorder | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
11 | Labour room | Resuscitator Naonate Operated | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
12 |  | Genset | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
13 | OT | Nublizer | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
14 | OT | Celing Light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9416292583
Facility Incharge : Dr.Kuldeep
Store Incharge :Sanjeev Kumar
Store keeper :Sanjeev Kumar
Biomedical Engineer : Navita Goswami

## PHC- Bihta
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility-PHC Name of the Facility- Bihta
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Confident | NA | NA | NA | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Suction Machine | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | Stream Sterlizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Delivery Hut | B.P Apparatus | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Delivery Hut | Autoclave | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | Delivery Table | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Store room | ILR | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Store room | Deep Freezer | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
9 | Delivery Hut | O.T Light | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
10 | Delivery Hut | Ambu Bag | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
11 | Delivery Hut | Laryngoscope | 2 | System Plus | NA | NA | .3-11 | 0 | 0 | 0 | 0 | W
12 | Delivery Hut | Resuscitator hand operated neonate 240mL | 1 | System Plus | NA | NA | .3-11 | 0 | 0 | 0 | 0 | W
Contact details :8607486777
Facility Incharge : Dr.Vishal Goyal
Store Incharge :Smt.Sudesh Kumari
Store keeper :Smt.Sudesh Kumari
Biomedical Engineer : Navita Goswami

## consolidate
Equipment Name | Quantity | Price | Total
X-Ray machine | 1
NRC | 7
Open care Warmer | 14
CFL Phototherapy | 7
Oxygen Hood | 6 | 3500
Syring Pump | 3 | 35000
Oxygen concentator | 2
Multi Para Monitor | 5 | 65000
Light Meter | 1
Embracenest Infant Warmer | 1
Mannequins (Portable birthing simulatore) | 1
Infantometer | 1
Serum Bilirubinometer | 1
Larynogoscope neonate | 4
Resuscitation Hand operated neonate 500ml | 3
Resuscitation Hand operated neonate 240ml | 2
O.T Light ceiling | 1
2-D Echocardio graphy | 1
Emergency Resuscitation | 5
Oxygen Concentrator | 1
TENS 4 Channel | 1
Shoulder Wheel | 1
Quadriceps table | 1
X-ray machine 200 mA | 1
X-ray machine 50mA | 1
X-ray machine15 mA | 1
Ultrasound machine | 2 | 350000
Anaesthesia | 1
Photoelectric meter | 4
Semiauto Analyzer | 2
X-RAY Machine 65kva | 1
Ventilator | 1
x-Ray machine100mA | 1
X-Ray machine500mA | 1
Dental x-ray | 1
ECG M/C | 3
Genset(125kva) | 1
IR Lamp | 2
Traction | 3
Ultrasound therapy | 3
Short wave diatthermy | 1
Static cycle | 2
Paraffin wax bath M\C | 1
Microwave Diathermy &Traction Table with Couch | 1
BP Apparatus | 2
BP Apparatus Standing | 3
ILR | 2
Deep Freezer | 2
O.T Light | 2
Laryngoscope | 1
Ambu Bag | 3
Laryngoscope | 6
Cystoscope | 1
Plaster cutter\saw-Auto | 1
Bone Drill | 1
Feotoscope | 1
Electrosurgical unit | 4
Autoclave Horizontal | 3
Boiler \sterilizer | 2
Ceiling Light | 3
Boyle' s Apparatus | 5
Vertical autoclave | 3
Horizontal autoclave | 5
Pulse Oximeter | 5
Suction Apparatus | 3
O.T Table | 3
O.T Table Ortho | 1
C-Arm | 1
Mobile ot light | 8
Double dome ot Light | 6
Hydraulic Ot table | 4
OT Table Hydraulically | 3
OT light ceiling | 3
Cautery Machine | 5
Standing O.T light | 1
Defibrillator | 4
O.T Light Portable | 3
Suction machine Electrical | 2
Phototherapy unit (warmer) | 2
Phototherapy | 2
Baby suction machine | 1
Baby weighing machine | 2
Phototherapy | 1
Baby warmer | 2
Delivery table | 9
Ultra sound m/c | 1
Dental chair with unit | 2
Dental X-Ray | 4
Sterilizer | 6
Stream Sterlizer | 1
Ambubag | 2
B.P Apparatus | 10
Suction machine foot operated | 7
Foetal Doppler | 4
X-RAY 300 MA | 1
X-RAY 100 MA(mobile) | 1
X-RAY 150 MA(mobile) | 1
CR System | 1
ECG Machine | 9
Endoscope | 1
Laproscope | 10
Mini L ight Source | 2
Immulite 1000 | 1
RA 50 Auto analyzer | 1
Microscope Uninocular | 3
Microscope Binocular | 21
Albunometer | 2
DLC Counter | 3
Colorimeter | 2
Glucometer | 5
Microscope | 3
Balance Chemical | 1
Centrifuge(hand operated) | 8
Centrifuge | 7
QBC with Haemetoplate System | 1
Emergency Light | 1
Hb Meter | 2
Cold Box | 5
Adult weigh machine | 4
Autoclave(verticle) | 1
Refrigerator | 11
BP Apparatus | 26
Microscope | 9
O.T Light ceiling | 1
Needle Destroyer | 9
Glass bead sterilizer | 1
ELISA Reader | 2
ELISA Reader & Washer | 1
Blood bank refrigerator | 3
Suction machine(footler) | 1
Baby Weighing Machine | 1
Incubator | 8
Microtone | 2
Hot Air Oven | 2
Photocalorimeter | 1
Hb Calorimeter | 1
Automatic Knife Sharpener | 1
Water Bath (serological) | 1
Waterbath | 3
Gulucometer | 4
Electric Balance | 1
Hot Plate | 3
Cell Counter | 1
Centrifuge machine | 5
Semi Auto Analyzer | 3
Ultrasonic A-Scan | 2
Oplhalmoscope | 1
Slit Lamp | 3
Keratometer(Horizontol) | 1
Autorefrractometer | 1
Bull's eye lamp | 1
Opthalmoscope | 2
Retinoscope | 1
Operative Microscope | 3
Phaco machine(swiss) | 1
Cautery | 1
BPRL shaker | 1
Boiler | 1
Autoclave | 5
Boiler\ Sterilizer | 1
Boiler | 7
Bull si Lamp | 2
Audiometer(Brain stem evoked response Audiometer with ASSR) | 1
Audiometer | 2
Auditory trainer | 1
Otoacoustics Emission (OAE) Screeing unit | 1
Dental Chair | 4
Doppler | 1
PulseOximeter
Resuscitator operated neonate 240ml | 1
Resuscitator operated neonate500ml | 2
Boyles Apparatus | 6
Blood storage RAF | 1
Refrigertor | 4
O.T Light standing | 2
OT Table | 1
OT Light major and minor | 2
Suction Machine | 16
Autoclave Machine | 2
Sterlizer | 5
Blood Storage Refrigerator | 1
Opencare warmer | 3
Cardic Defibrillator with recorder | 1
Resuscitator Naonate Operated | 1
Genset | 3
Nublizer | 3
Celing Light | 1
Tube sealer | 1
Resuscitator hand operated neonate 240mL | 1
Cautery m/c | 1
Nublizer | 2

## PHC-Samleheri
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility-PHC Name of the Facility- Samleheri
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | confident |  | NA | .6-90 | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Suction Machine | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | High Pressor Autoclave | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Delivery Hut | Stream Sterlizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Delivery Hut | B.P Apparatus | 4 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Store | ILR | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Delivery Hut | Delivery Table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Baby Warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
9 | Delivery Hut | Ot Light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details : 9466043297
Facility Incharge : Dr.Pankaj Saini
Store Incharge :Smt.Anju
Store keeper :Smt.Anju
Biomedical Engineer : Navita Goswami

## PHC-Nohani
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility-PHC Name of the Facility- Nohani
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Delivery Hut | Suction Machine | 1 | NA | NA | NA | .06-10 | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Suction Machine | 1 | NA | NA | NA | .3-11 | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | High Pressor Autoclave | 1 | NA | NA | NA | .10-2010 | 0 | 0 | 0 | 0 | W
4 | Delivery Hut | Stream Sterlizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Delivery Hut | B.P apparatus | 1 | NA | NA | NA | .01-13 | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | B.P apparatus | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Delivery Hut | Baby Warmer | 1 | NA | NA | NA | .11-14 | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Foot operated suction machine | 2 | NA | NA | NA | .10-10 | 0 | 0 | 0 | 0 | W
9 | Store | ILR | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
10 | Delivery Hut | Resuscitator Naonate Operated | 1 | System Pluse | NA | NA | NA | 0 | 0 | 0 | 0 | W
11 | Emergency | Examination Table | 1 | NA | NA | NA | .10-10 | 0 | 0 | 0 | 0 | W
12 | Delivery Hut | OT Light portable | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
13 | Delivery Hut | Ambu Bag | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
14 | Delivery Hut | Steam Sterlizer | 1 | NA | NA | NA | .03-12 | 0 | 0 | 0 | 0 | W
15 | Delivery Hut | Radiant Warmer | 1 | NA | NA | NA | .11-14 | 0 | 0 | 0 | 0 | W
16 | Ward | Oxygen Flow Meter | 1 | NA | NA | NA | .10-10 | 0 | 0 | 0 | 0 | W
17 | Ward | Oxygen Flow Meter | 1 | NA | NA | NA | .10-10 | 0 | 0 | 0 | 0 | W
18 | Delivery Hut | Laryngscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
19 | Delivery Hut | Glucometer | 1 | NA | NA | NA | .03-12 | 0 | 0 | 0 | 0 | W
20 | Delivery Hut | Oxygen cylinder | 1 | NA | NA | NA | .09-09 | 0 | 0 | 0 | 0 | W
21 | Delivery Hut | Oxygen cylinder | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
22 | Emergency | Stehoscope | 1 | NA | NA | NA | .10-10 | 0 | 0 | 0 | 0 | W
23 | Emergency | Stehoscope | 1 | NA | NA | NA | .01-13 | 0 | 0 | 0 | 0 | W
24 | Dental | Dental Chair | 1 | Confident | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details : 8295059297
Facility Incharge : Dr.Lakshey Bhalla
Store Incharge :Smt.Sarita
Store keeper :Smt.Sarita
Biomedical Engineer : Navita Goswami

## CHC-BARARA
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- CHC Name of the Facility-Barara
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Confident | NA | NA | NA | 0 | 0 | 0 | 0 | W
2 | Emergency | Suction Machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Emergency | Stream Sterlizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Emergency | B.P Apparatus | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Gynae OT | OT Light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Radiology | 300mA X-Ray machine | 1 | Allengers | mars-30 |  | .6-14 | 1 | .6-16 | 0 | 0 | W
7 | Emergency | Nublizer | 1 | Omron | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Gynae OT | Baby Warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
9 | Store | ILR | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
10 | Gynae OT | Oxygen Concentator | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
11 |  | OT Light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
12 | Gynae OT | Delivery Table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
13 | Gynae OT | Foot operated suction machine | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
14 | Emergency | Examination table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
15 | Gynae OT | Baby Warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
16 | Gynae OT | Ambu bag | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
17 | Gynae OT | Auto clave | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9813149887
Facility Incharge : Dr.Rajinder Saini
Store Incharge :R.K.Aggrawal
Store keeper :R.K.Aggrawal
Biomedical Engineer : Navita Goswami

## PHC-Kesri
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility-Kesri
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Suzdent | NA | NA | NA | 0 | 0 | 0 | 0 |  | NW
2 | Delivery Hut | Suction Machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | Stream Sterlizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Lab | Microscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Lab | Centrifuge machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | B.P Apparatus | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Delivery Hut | Portable ot light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Baby warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9216752752
Facility Incharge : Dr. Vishal Singla,
Store Incharge :Dr. Vishal Singla
Store keeper :Dr. Vishal Singla
Biomedical Engineer : Navita Goswami

## PHC-Ugala
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility-Ugala
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | confident | NA | NA | 1998 | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Suction Machine | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | B.P Apparatus | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Delivery Hut | Stream Sterlizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Store | ILR | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | Resuscitator Naonate Operated | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Delivery Hut | Resuscitator Naonate Operated | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Suction Machine (Foot Operated) | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details : 9729411069
Facility Incharge : Vipin Bhandari
Store Incharge :
Store keeper :
Biomedical Engineer : Navita Goswami

## CHC-SHAHZADPUR
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- CHC Name of the Facility-Shahzadpur
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Confident | mookambika | NA | .4-13 | 0 | 0 | 0 | 0 | W
2 | Lab | Eliza Analyser | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Gyane | Boyles Aperatus | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Gyane | Suction Machine | 3 | Suprem | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | ward | B.P apparatus | 4 | Diamond | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Gyane | Stream Sterlizer | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Lab | Binocular Microscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Store | ILR | 1 | NA | Denmark | Vest forast | NA | 0 | 0 | 0 | 0 | W
9 | Gyane | Opencare Warmer | 1 | Phoenix | OCW-100 | TU-1109 | .5-11 | 0 | 0 | 0 | 0 | W
10 | Gyane | Nublizer | 1 | Omron | NA | NA | NA | 0 | 0 | 0 | 0 | W
11 | Gyane | Baby Warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
12 | Gyane | CFL Phototherapy | 1 | Phoenix | CFL-101 | TU1006 | .5-11 | 0 | 0 | 0 | 0 | W
13 | Radiology | 300mA X-Ray machine | 1 | Allengers | mars-30 | 2K140230066 | .6-14 | 1 | .6-16 | 0 | 0 | W
14 | Gyane | Celing Light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9416494520
Facility Incharge : Dr.Tarun Prasad
Store Incharge :Jatinder
Store keeper :Jatinder
Biomedical Engineer : Navita Goswami

## PHC-Patreheri
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility-Patreheri
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Suzdent | NA | NA | NA | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Suction machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | High Pressor Autoclave | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Lab | Stream Sterlizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Lab | Incuberator | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | Resuscitator Naonate Operated | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Delivery Hut | Suction machine (Foot operated) | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Baby warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details : 9416395432
Facility Incharge : Dr. Vinod Kumar
Store Incharge :Nirmal Staff Nurse
Store keeper :Nirmal Staff Nurse
Biomedical Engineer : Navita Goswami

## PHC-Kurali
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility-Kurali
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Suzdent | NA | NA | NA | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Suction Machine | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | Stream Sterlizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Lab | Microscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Delivery Hut | B.P Apparatus | 4 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Delivery Hut | Portable ot light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Delivery Table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
9 | Delivery Hut | Baby warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9216752752
Facility Incharge : Dr. Vishal Singla,
Store Incharge :Dr. Vishal Singla
Store keeper :Dr. Vishal Singla
Biomedical Engineer : Navita Goswami

## PHC-Ambli
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility-Ambli
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Suction Machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Microscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | ILR | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Lab | Resuscitation hand operated 500mL | 1 | System Pluse | NA | NA | 23-6-11 | 0 | 0 | 0 | 0 | W
5 | Centrifuge machine | Microscope | 2 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | Dental chair | 1 | Suzdent | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9878772958
Facility Incharge : Dr.Reedhi Garg
Store Incharge :Avnit Bansal
Store keeper :Avnit Bansal
Biomedical Engineer : Navita Goswami

## PHC-Saha
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility- Saha
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Suzdent | NA | NA | NA | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Suction Machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | Stream Sterlizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Lab | Microscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Centrifuge machine | NA | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | B.P Apparatus | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Delivery Hut | Portable ot light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Baby warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9034653500
Facility Incharge : Dr. Vikas
Store Incharge :Mandeep Kumari
Store keeper :Mandeep Kumari
Biomedical Engineer : Navita Goswami

## CHC-CHAURMASTPUR
MASTER EQUIPMENT BASE
Name of District-Ambala Type of facility- CHC Name of the Facility- Chaurmastpur
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Confident | mook ambika |  | .4-13 | 0 | 0 | 0 | 0 | W
2 | Emergency | Boyles Apparatus | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Emergency | Suction Machine | 5 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Emergency | Autoclave Machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Emergency | Sterlizer | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Lab | Microscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Lab | Blood Storage Refrigerator | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Oxygen Concentator | 1 | Moditec | NA | NA | NA | 0 | 0 | 0 | 0 | W
9 | Delivery Hut | OT Light | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
10 | Delivery Hut | OT Table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
11 | Delivery Hut | Foot operated suction machine | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
12 | Emergency | Examination table | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
13 | Delivery Hut | Baby Warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
14 | Delivery Hut | Resuscitator Naonate Operated | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9991872525
Facility Incharge : Dr.Malkeet Singh
Store Incharge :Smt. Urmil Chawla
Store keeper :Smt. Urmil Chawla
Biomedical Engineer : Navita Goswami

## PHC-Majri
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility-Majri
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | confident | NA | NA | NA | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Suction Machine | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | Autoclave | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Delivery Hut | Stream Sterlizer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Delivery Hut | Delivery Table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | Wheel Chair | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Delivery Hut | Portable OT Light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Radiant warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
9 | Delivery Hut | Laryngscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
10 | Delivery Hut | Baby warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9802361100
Facility Incharge : Dr.Mandeep Sachdeva
Store Incharge :Sohan lal
Store keeper :Sohan lal
Biomedical Engineer : Navita Goswami

## PHC-Noorpur
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility-Noorpur
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | SUZ-DENT | NA | NA | .1-90 | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Suction machine | 2 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | Stream Sterlizer | 2 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Lab | Microscope | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Delivery Hut | B.P Apparatus | 3 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | Portable ot light | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Delivery Hut | Baby warmer | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Delivery table | 1 |  | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details : 01712872545
Facility Incharge : Dr. Vivek
Store Incharge :Prabhjot
Store keeper :Prabhjot
Biomedical Engineer : Navita Goswami

## PHC-Panjokhere
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility-Panjokhera
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Confident | NA | NA | NA | 0 | 0 | 0 | 0 | W
2 | Delivery Hut | Radiant warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | Bioler | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Delivery Hut | Baby weighing machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Delivery Hut | Portable OT Light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | Delivery Table | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Delivery Hut | Fetal Doppler | 1 | BPL | Mark11 | 04/2013 FQ582 | NA | 0 | 0 | 0 | 0 | W
8 | Lab | Digital Blood Pressure | 1 | Citizen | CH-432 | 25112 | NA | 0 | 0 | 0 | 0 | W
9 | Lab | Needle Destroyer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
10 | Lab | Suction Machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
11 | Delivery Hut | Auto clave (mini) | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
12 | Delivery Hut | Baby Ruscitation trolley | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
13 | Lab | Hot air oven | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
14 | Delivery Hut | B.P Apparatus | 4 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
15 | Store | ILR | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
16 | Store | Deep Freezer | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9996911222
Facility Incharge : Dr. Jaswinder Kaur
Store Incharge :Mrs. Rajni
Store keeper : Mrs. Rajni
Biomedical Engineer : Navita Goswami

## PHC-Naggal
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility-Naggal
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Confident | Chamundi Hydaulic | NA | .1-07 | 0 | 0 | 0 | 0 |  | NW
2 | Lab | Eliza Analyser | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | Boyles Aperatus | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Delivery Hut | Suction Machine | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Delivery Hut | B.P apparatus | 4 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | Delivery Hut | Stream Sterlizer | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Lab | Binocular Microscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Delivery Table | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
9 | Delivery Hut | Portable ot light | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
10 | Delivery Hut | Baby Warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
11 | Delivery Hut | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
12 | Delivery Hut | Fetal Doppler | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
13 | Delivery Hut | Baby Ruscitation trolley | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
14 | Store | ILR | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9216752752
Facility Incharge : Dr. Vishal Singla,
Store Incharge :Dr. Vishal Singla
Store keeper :Dr. Vishal Singla
Biomedical Engineer : Navita Goswami

## PHC-Boh
MASTER EQUIPMENT BASE
Name of District- Ambala Type of facility- PHC Name of the Facility-Boh
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental | Dental Chair | 1 | Suzdent | NA | NA | .3-09 | 0 | 0 | 0 | 0 |  | NW
2 | Delivery Hut | Suction Machine | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
3 | Delivery Hut | Stream Sterlizer | 3 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
4 | Delivery Hut | B.P apparatus | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
5 | Delivery Hut | Sterlizer | 2 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
6 | OPD | Eye Operating Microscope | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
7 | Store | ILR | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
8 | Delivery Hut | Resuscitator Naonate Operated | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
9 | Delivery Hut | Delivery table | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
10 | Delivery Hut | Portable ot light | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
11 | Delivery Hut | Baby warmer | 1 | NA | NA | NA | NA | 0 | 0 | 0 | 0 | W
Contact details :9991957583
Facility Incharge : Dr. Nishant Saini
Store Incharge :Smt.Monika
Store keeper :Smt.Monika
Biomedical Engineer : Navita Goswami