## ConsolidatedList
Project | Equipment Survey / Mapping Installed at Hospitals affiliated to Directorate of Health Services Government of Goa
Client | Directorate of Health Services Government of Goa
Consultant | Shree Consultancy Services Mumbai
Document | Consolidated Statement | [34 empty] | Rev - R1
Sr No | Item with description | Manufaacturer's name | Amount in Rs | Mobile Clinics | Blood Bank GMC | RNTCP - GMC BAMBOLIM | District Hospital of Margao | TB Hospital -Margao | District Hospital of Mapusa | Sub District Hospital of Ponda | Cottage Hospital of Chicalim | Community Health Center Cancona | Community Health Center Curchorem | Community Health Center Pernem | Community Health Center Valpoi | PHC Carsarvanem | PHC Bicholim | PHC Sankhali | PHC Candolim | PHC Aldona | PHC Siolim | PHC Colvale | PHC Colrlim | PHC Marcaim | PHC Shiroda | PHC Betki | PHC Sanguem | PHC Quepem | PHC Bali | PHC Curchorem | PHC Chinchinim | PHC Loutalim | PHC Casaulim | PHC Cortalim | Total Qty in No. | Total Cost in Rs
A | General Equipment
1 | Electric Needle Distroyer | Microseal | 1856 |  |  |  | 16 | 5 | 21 | 20 |  |  | 18 |  | 39 | 10 |  | 45 |  |  | 1 |  |  |  | 7 | 2 |  |  | 22 | [5 empty] | 206 | 382336
[35 empty] | 0 | 0
2 | Fumigator | Chaitanya Enterprises | 49350 |  |  |  | 2 |  | 3 | [25 empty] | 5 | 246750
[35 empty] | 0 | 0
3 | Fogging Machines | [10 empty] | 1 | 3 | [21 empty] | 4 | 0
[35 empty] | 0 | 0
| Thermal Fogging |  | 57000 | [31 empty] | 37 | 2109000
| ULV |  | 144000 | [31 empty] | 17 | 2448000
| Handy Fog |  | 10000 | [31 empty] | 40 | 400000
[35 empty] | 0 | 0
B | Hospital Plant Eqpt | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 | 4 Body Mortuary Cabinates | Blue Star | 395000 |  |  |  | 4 |  | 3 | 3 |  |  |  |  | 1 |  |  | 1 | [16 empty] | 12 | 4740000
[35 empty] | 0 | 0
2 | 6 Body Mortuary Cabinates | Blue Star | 282500 |  |  |  | 3 | [27 empty] | 3 | 847500
[35 empty] | 0 | 0
3 | Incinerator | MC Clelland Pvt Ltd | 227760 |  |  |  | 1 | [27 empty] | 1 | 227760
[35 empty] | 0 | 0
4 | Incinerator | Down Whitley | 885937 | [5 empty] | 1 | [25 empty] | 1 | 885937
[35 empty] | 0 | 0
5 | Telemedicine System with peripheral & Medical equipment | Elite | 30500000 |  |  |  | 1 | [27 empty] | 1 | 30500000
[35 empty] | 0 | 0
6 | HIMS with Hard ware | Glodyne | 8314729 | [5 empty] | 1 | [25 empty] | 1 | 8314729
[35 empty] | 0 | 0
7 | Gas Manifold System | L & T | 525000 |  |  |  | 1 | [27 empty] | 1 | 525000
[35 empty] | 0 | 0
8 | Gas Manifold System | MDD | 2730910 | [13 empty] | 1 | [17 empty] | 1 | 2730910
[35 empty] | 0 | 0
9 | Gas Manifold System | MGI | 8161350 | [5 empty] | 1 | [25 empty] | 1 | 8161350
[35 empty] | 0 | 0
10 | Gas Manifold System | MGI | 12000000 | [6 empty] | 1 | [24 empty] | 1 | 12000000
[35 empty] | 0 | 0
11 | Gas Manifold System | Hightech | 5600000 | [14 empty] | 1 | [16 empty] | 1 | 5600000
[35 empty] | 0 | 0
12 | Modular Operation Theatre System | MGI | 18517000 | [5 empty] | 1 | [25 empty] | 1 | 18517000
[35 empty] | 0 | 0
13 | Modular Operation Theatre System | Mediconz | 13500000 | [14 empty] | 1 | [16 empty] | 1 | 13500000
[35 empty] | 0 | 0
14 | Modular Operation Theatre System | MDD | 6265145 | [13 empty] | 1 | [17 empty] | 1 | 6265145
[35 empty] | 0 | 0
15 | Modular Operation Theatre System | MGI | 16400000 | [6 empty] | 1 | [24 empty] | 1 | 16400000
[35 empty] | 0 | 0
16 | CSSD | Nat Steel | 9458411 | [5 empty] | 1 | [25 empty] | 1 | 9458411
[35 empty] | 0 | 0
[35 empty] | 0 | 0
[35 empty] | 0 | 0
[35 empty] | 0 | 0
C | Refrigeration Equipment | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 | Storage Water Cooler | Blue Star | 9900 |  |  |  | 2 |  | 8 | [5 empty] | 5 |  | 4 | 4 | [16 empty] | 23 | 227700
[35 empty] | 0 | 0
2 | Refrigerator 170 Ltrs | Kelvinator | 9800 | [5 empty] | 1 | 1 | 1 | [23 empty] | 3 | 29400
[35 empty] | 0 | 0
3 | Refrigerator 175 Ltrs | Godrej | 10200 | [6 empty] | 2 | [5 empty] | 1 | [18 empty] | 3 | 30600
[35 empty] | 0 | 0
4 | Refrigerator 185 Ltrs | Samsung | 11250 | [7 empty] | 2 |  |  |  | 3 |  | 1 | 3 | [6 empty] | 2 | 1 | [8 empty] | 12 | 135000
[35 empty] | 0 | 0
5 | Refrigerator 185 Ltrs | Godrej | 9900 | [6 empty] | 1 | [5 empty] | 1 | [18 empty] | 2 | 19800
[35 empty] | 0 | 0
6 | Refrigerator 190 Ltrs | Panasonic | 10250 | [6 empty] | 1 | [24 empty] | 1 | 10250
[35 empty] | 0 | 0
7 | Refrigerator 236 Ltrs | Heir | 18500 | [5 empty] | 2 | 1 | [24 empty] | 3 | 55500
[35 empty] | 0 | 0
8 | Refrigerator 285 Ltrs | Samsung | 28260 |  |  |  | 6 |  | 3 | [5 empty] | 1 |  | 3 | 1 | [16 empty] | 14 | 395640
[35 empty] | 0 | 0
9 | Refrigerator 285 Ltrs | LG | 8800 |  |  |  | 7 |  | 1 | [5 empty] | 2 |  |  | 4 | [16 empty] | 14 | 123200
[35 empty] | 0 | 0
10 | Refrigerator 285 Ltrs (Medicine) | Blue Star | 11350 | [14 empty] | 5 | [16 empty] | 5 | 56750
[35 empty] | 0 | 0
11 | Refrigerator 300 Ltrs | Kelvinator | 20500 |  |  |  | 22 |  | 1 | 1 | [6 empty] | 1 | [17 empty] | 25 | 512500
[35 empty] | 0 | 0
12 | Refrigerator 220 Ltrs | Whirlpool | 14000 |  |  |  | 4 |  | 4 |  | 1 | [6 empty] | 1 | [6 empty] | 2 | [9 empty] | 12 | 168000
[35 empty] | 0 | 0
13 | Refrigerator 425 Ltrs | Whirlpool | 42050 | [6 empty] | 1 | [24 empty] | 1 | 42050
[35 empty] | 0 | 0
14 | Deep Freezer (bottle cooler) horizontal top model | Blue Star | 87000 |  |  |  | 1 |  | 1 | [11 empty] | 1 |  |  |  | 1 | [9 empty] | 4 | 348000
[35 empty] | 0 | 0
D | Sterilization Equipment | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 | Autoclave | Yorco | 105918.75 |  |  |  | 1 |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  | 1 |  |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 19 | 2012456.25
[35 empty] | 0 | 0
2 | Autoclave Vertical | SKY Autoclave | 76600 | [8 empty] | 1 |  | 1 | [10 empty] | 1 | [9 empty] | 3 | 229800
[35 empty] | 0 | 0
3 | Autoclave | Hoslab | 433125 |  |  |  | 1 |  |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 | [16 empty] | 6 | 2598750
[35 empty] | 0 | 0
4 | Autoclave Horizontal | Surgicon Mediquip Pvt Ltd | 176181 |  |  | 1 |  |  |  | 1 | [24 empty] | 2 | 352362
[35 empty] | 0 | 0
5 | Autoclave Horizontal | Surgicon Mediquip Pvt Ltd | 198800 |  | 1 | 1 | [28 empty] | 2 | 397600
[35 empty] | 0 | 0
6 | Autoclave Horizontal | Labotech Korea | 433125 | [5 empty] | 1 | [25 empty] | 1 | 433125
[35 empty] | 0 | 0
7 | Autoclave Horizontal | Natt | 96470 |  | 1 |  | 1 |  |  |  |  | 1 | [22 empty] | 3 | 289410
[35 empty] | 0 | 0
8 | Autoclave Veryicle Dubble | ACC International | 35000 | [22 empty] | 1 | [8 empty] | 1 | 35000
[35 empty] | 0 | 0
9 | Sterilizer Big | GE | 4926 | [8 empty] | 1 | [12 empty] | 3 | [9 empty] | 4 | 19704
[16 empty] | 3 | [18 empty] | 3 | 0
10 | Sterilizer (16'x8"x6") |  | 13556 |  | 1 | 1 | 2 |  | 2 | [25 empty] | 6 | 81336
[35 empty] | 0 | 0
11 | Sterilizer ( Medium ) | GE | 3637 | [8 empty] | 1 |  | 1 | [20 empty] | 2 | 7274
[35 empty] | 0 | 0
12 | Sterilizer (Medium ) | Goa Surgico | 5595.75 |  |  |  | 5 |  | 18 | 3 |  |  | 3 | 7 | 3 |  | 3 | 1 |  |  | 1 |  |  |  | 2 | 3 |  |  | 2 | [5 empty] | 51 | 285383.25
[35 empty] | 0 | 0
13 | Sterilizer ( Medium ) | Goa Surgico | 7275 |  |  |  | 11 |  |  |  | 2 | 1 | 2 |  | 8 |  |  | 12 | [9 empty] | 1 | [6 empty] | 37 | 269175
[35 empty] | 0 | 0
14 | Sterilizer ( Medium ) | J & J | 4781 |  |  |  | 31 |  |  | 2 |  | 4 |  | 1 | 4 |  |  | 1 | [16 empty] | 43 | 205583
[35 empty] | 0 | 0
15 | Sterilizer ( Small ) |  | 1665 | [5 empty] | 1 | [25 empty] | 1 | 1665
[35 empty] | 0 | 0
16 | Flash Autoclav(opthalmic OT) | Hanshine Medical Kores | 573750 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 1147500
[35 empty] | 0 | 0
E | WasteManagement Equipments | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 | Shreder | Saratech | 404250 |  |  |  | 1 |  | 2 | 1 |  | 1 | 1 | 1 | 1 |  | 1 | 2 |  |  | 1 |  |  |  | 1 |  |  | 1 | 2 | [5 empty] | 16 | 6468000
[35 empty] | 0 | 0
F | Medical Equipments | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 - A | LCD Blood Pressure Apparatus | Diamond | 2235 |  |  |  | 10 |  | 21 | 10 | 4 | 10 | 12 |  | 12 | 11 |  | 17 | 2 |  |  | 12 |  |  | 4 | 3 |  | 8 | 6 | [5 empty] | 142 | 317370
[35 empty] | 0 | 0
1 - B | LCD Blood Pressure Apparatus | Diamond | 1879.5 | [6 empty] | 10 | [24 empty] | 10 | 18795
[35 empty] | 0 | 0
2 | ECG Machine Single channel 610 AT | BPL | 48880 |  |  |  | 9 |  | 4 | [25 empty] | 13 | 635440
[35 empty] | 0 | 0
3 | ECG Machine (BPL) Cardiart 108T MKV I | BPL | 30160 |  |  |  | 2 |  | 4 | [5 empty] | 1 | [19 empty] | 7 | 211120
[35 empty] | 0 | 0
4 | Fully Automatic Single chanel ECG machine | Schiller | 19688 |  |  |  | 1 |  | 1 | 1 |  | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  |  | 1 | [9 empty] | 15 | 295320
[35 empty] | 0 | 0
5 | Fully Automatic ECG machine | Wipro GE Elect | 59540 |  |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  |  | 1 | [6 empty] | 1 | [9 empty] | 7 | 416780
[35 empty] | 0 | 0
6 | Fully Automatic Twelve lid ECG machine | Schiller | 33767.3 |  |  |  | 2 |  | 2 | 1 |  |  |  | 1 | [10 empty] | 1 | [9 empty] | 7 | 236371.1
[35 empty] | 0 | 0
7 | Fully Automatic 3 chanel ECG machine | Allenger Global Health Care System | 36750 |  |  |  | 1 |  | 1 | 2 |  | 1 |  |  | 1 | 1 |  | 1 | 1 |  | 1 |  |  |  | 1 | [9 empty] | 11 | 404250
[35 empty] | 0 | 0
8 | 2 Channel Monitor for ECG NIBP Temparature |  | 179010 |  |  |  | 1 | [27 empty] | 1 | 179010
[35 empty] | 0 | 0
9 | Pulse Oximeter | BPL | 79125 |  |  |  | 4 | [27 empty] | 4 | 316500
[35 empty] | 0 | 0
10 | Pulse Oximeter | L&T Planet 50 | 102050 |  |  |  | 5 |  | 6 | 2 |  | 4 | 2 |  | 1 |  |  | 1 | 1 |  | 1 | [13 empty] | 23 | 2347150
[35 empty] | 0 | 0
11 | Pulse Oximeter | Life Plus | 39589 |  |  |  | 7 |  | 5 | 1 | 1 | [13 empty] | 1 | [9 empty] | 15 | 593835
[35 empty] | 0 | 0
12 | Pulse Oximeter | L & T Comet P | 78750 |  |  |  | 2 | [27 empty] | 2 | 157500
[35 empty] | 0 | 0
13 | Pulse Oximeter + ECG +NIBP | L & T | 175032 |  |  |  | 4 |  |  |  | 1 | [23 empty] | 5 | 875160
[35 empty] | 0 | 0
14 | Pulse Oximeter | Lars | 125000 |  |  |  | 2 | [6 empty] | 1 | [20 empty] | 3 | 375000
[35 empty] | 0 | 0
15 | Pulse Oximeter Cum Bed side monitor | Universal Medical Mumbai | 68850 |  |  |  | 1 |  |  | 2 |  |  |  |  | 1 |  |  | 1 | [16 empty] | 5 | 344250
[35 empty] | 0 | 0
16 | Multi Para monitor | BPL | 77235 |  |  |  | 9 | [27 empty] | 9 | 695115
[35 empty] | 0 | 0
17 | Central Monitoring Unit | BPL | 136610 |  |  |  | 1 | [27 empty] | 1 | 136610
[35 empty] | 0 | 0
18 | Multi Channel vital sign Monitor with Capno | L & T | 341250 |  |  |  | 2 |  | 3 | [25 empty] | 5 | 1706250
[35 empty] | 0 | 0
19 | Bed side Monitor | EXCELO ECO | 78750 |  |  |  | 4 |  | 2 | [25 empty] | 6 | 472500
[35 empty] | 0 | 0
20 | Cardiac Monitor with diefibrillator | BPL | 72960 |  |  |  | 1 | [27 empty] | 1 | 72960
[35 empty] | 0 | 0
21 | Difibrilator | Schiller Health Care India Pvt Ltd Mumbai | 173250 |  |  |  | 1 |  | 3 | 1 |  | 1 | 1 | [21 empty] | 7 | 1212750
[35 empty] | 0 | 0
22 | Difibrilator | L & T | 385000 |  |  |  | 1 | [27 empty] | 1 | 385000
[35 empty] | 0 | 0
23 | Difibrilator | Scliier Defigard | 156918.69 |  |  |  | 1 | [27 empty] | 1 | 156918.69
[35 empty] | 0 | 0
24 | Difibrilator | Philips | [16 empty] | 1 |  | 1 | [13 empty] | 2 | 0
[35 empty] | 0 | 0
25 | Difibrilator | BPL | 170000 |  |  |  | 4 |  | 3 | [25 empty] | 7 | 1190000
[35 empty] | 0 | 0
26 | Cardioscope | G.E. Marqutte USA | 732800 |  |  |  | 1 | [27 empty] | 1 | 732800
[35 empty] | 0 | 0
27 | Syringe Infusion Pump | B. Braun | 90820 |  |  |  | 8 |  | 6 | [25 empty] | 14 | 1271480
[35 empty] | 0 | 0
28 | Syringe Infusion Pump | L &T | 70600 |  |  |  | 16 | [27 empty] | 16 | 1129600
[35 empty] | 0 | 0
29 | Infusion pump Volumetric B Brown | B. Braun | 98820 |  |  |  | 1 |  | 2 | [25 empty] | 3 | 296460
[35 empty] | 0 | 0
30 | Bubble CPAP | L &T | 420000 |  |  |  | 1 | [27 empty] | 1 | 420000
[35 empty] | 0 | 0
31 | ICCU Ventilator with Accessories | Savina | 937016 |  |  |  | 1 | [27 empty] | 1 | 937016
[35 empty] | 0 | 0
32 | Nebulizer |  | 1145 |  |  |  | 59 |  | 40 | 21 | 2 |  | 4 | 4 | [8 empty] | 2 |  | 1 |  |  | 1 | 2 |  | 2 | 2 |  |  | 140 | 160300
[35 empty] | 0 | 0
33 | Ultrasonic Nebulizer | Nuova | 11000 |  |  |  | 2 | [27 empty] | 2 | 22000
[35 empty] | 0 | 0
34 | Bera | Medicaid | 230768 | [5 empty] | 1 | [25 empty] | 1 | 230768
[35 empty] | 0 | 0
35 | ECT | Medicaid | 393994 | [5 empty] | 1 | [25 empty] | 1 | 393994
[35 empty] | 0 | 0
36 | EEG | Medicaid | 585362 | [5 empty] | 1 | [25 empty] | 1 | 585362
[35 empty] | 0 | 0
37 | Electronic Body Weighing Scale |  | 479 |  |  |  | 2 |  | 2 | 11 | [5 empty] | 1 | 1 | 2 | [16 empty] | 19 | 9101
[35 empty] | 0 | 0
G | Ophthalmic Equipments | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 | A Scan Biometer | Bio Medix Optotechnic & Devices Pvt Ltd | 166400 |  |  |  | 2 |  | 1 | [25 empty] | 3 | 499200
[35 empty] | 0 | 0
2 | Ophthalmoscope | Hein | 32625 |  |  |  | 5 |  | 1 | [11 empty] | 1 | [7 empty] | 1 | [5 empty] | 8 | 261000
| Opthalmoscope | Whelchallyn | 35000 |  |  |  | 1 | [27 empty] | 1 | 35000
3 | Indirect Ophthalmoscope | Appaswamy Associates | 18720 | [5 empty] | 1 | [25 empty] | 1 | 18720
[35 empty] | 0 | 0
4 | Otoscope | Mediquip | 5564 |  |  |  | 6 |  | 1 | [25 empty] | 7 | 38948
[35 empty] | 0 | 0
5 | keratometer | Appaswamy Associates | 19094 |  |  |  | 2 | [27 empty] | 2 | 38188
[35 empty] | 0 | 0
6 | Karatometer | Appaswamy Associates, Chennai | 13520 |  |  |  | 1 | [27 empty] | 1 | 13520
[35 empty] | 0 | 0
7 | keratometer | Bio Medix Optotechnic & Devices Pvt Ltd | 257524 | [5 empty] | 1 | [25 empty] | 1 | 257524
[35 empty] | 0 | 0
8 | keratometer Hand Held | Nidek | 332000 | [5 empty] | 1 | [25 empty] | 1 | 332000
[35 empty] | 0 | 0
9 | Phaco Emulsification | Karl Zeiss | 1419625 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 2839250
[35 empty] | 0 | 0
10 | Phaco Emulsification | Karl Zeiss | 520000 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 1040000
[35 empty] | 0 | 0
11 | Operating Microscope for Ophthalmic | Karl Zeiss | 663750 |  |  |  | 1 |  | 2 | [25 empty] | 3 | 1991250
[35 empty] | 0 | 0
12 | Surgical Operating Microscope | Appaswamy Associates, Chennai | 83200 |  |  |  | 2 |  | 1 | [25 empty] | 3 | 249600
[35 empty] | 0 | 0
13 | Opthalmic Operating Microscope | Mother wedel | 466875 |  |  |  | 1 | [27 empty] | 1 | 466875
[35 empty] | 0 | 0
14 | Slit Lamp Microscope Basic unit with adjustable table | Segal | 30456 |  |  |  | 1 | [27 empty] | 1 | 30456
[35 empty] | 0 | 0
15 | Opthalmic operation table | Appaswamy Associates | 73500 |  |  |  | 1 |  | 2 | [25 empty] | 3 | 220500
[35 empty] | 0 | 0
16 | Streik Retenoscope | Appaswamy Associates, Chennai | 45000 |  |  |  | 1 | [27 empty] | 1 | 45000
[35 empty] | 0 | 0
17 | Slit Lamp with Manuel stand | Appaswamy Associates, Chennai | 23920 |  |  |  | 1 |  | 2 | [25 empty] | 3 | 71760
[35 empty] | 0 | 0
18 | Yag Lazer | Nidek | 793439 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 1586878
[35 empty] | 0 | 0
10 | Tonometer | Schiot z (Riestar) | 5103 |  |  |  | 5 |  | 1 | [25 empty] | 6 | 30618
[35 empty] | 0 | 0
20 | Auto refractometer |  | 385320 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 770640
[35 empty] | 0 | 0
21 | Opto techniques devices | Bio Medix | 1397651 |  |  |  | 1 | [27 empty] | 1 | 1397651
[35 empty] | 0 | 0
22 | Digital Vision Chart | Aucolab | 29000 | [5 empty] | 1 | [25 empty] | 1 | 29000
[35 empty] | 0 | 0
23 | Ophthalmic Slit lamp | Karl Zeiss | 810000 | [5 empty] | 1 | [25 empty] | 1 | 810000
[35 empty] | 0 | 0
24 | Ophthalmic Slit lamp |  | 698826 | [5 empty] | 1 | [25 empty] | 1 | 698826
[35 empty] | 0 | 0
25 | Auto Perimeter | Karl Zeiss | 1754550 | [5 empty] | 1 | [25 empty] | 1 | 1754550
[35 empty] | 0 | 0
H | Pediatric Neonatal equipment | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 | Radiant warmer | Elite | 205800 |  |  |  | 5 |  | 7 | 2 |  |  | 1 | 1 | 2 |  | 1 | 1 | [6 empty] | 1 | [9 empty] | 21 | 4321800
[35 empty] | 0 | 0
2 | Radiant warmer | Minitech | 44062 |  |  |  | 1 |  | 2 | [25 empty] | 3 | 132186
[35 empty] | 0 | 0
3 | Radiant warmer | Phoenix | 210000 |  |  |  | 4 | [20 empty] | 1 | 1 | [5 empty] | 6 | 1260000
[35 empty] | 0 | 0
4 | Double surface photo theraphy unit | SH Pitkar Ortho tools pvt.ltd pune | 17160 |  |  |  | 1 |  | 2 |  | 1 | [23 empty] | 4 | 68640
[35 empty] | 0 | 0
5 | Phototheraphy unit with 6 tube light | SFWB, DHS, Panaji | 157500 |  |  |  | 1 | [27 empty] | 1 | 157500
[35 empty] | 0 | 0
6 | Phototheraphy unit with 6 tube light |  | 157500 |  |  |  | 1 |  | 3 | [25 empty] | 4 | 630000
[35 empty] | 0 | 0
7 | Digital Radiant Heat Warmer ( Phototheraphy unit 2 way |  | 17160 |  |  |  | 1 | [27 empty] | 1 | 17160
[28 empty] | 1 | [6 empty] | 1 | 0
8 | foetus Monitor | BPL | 151200 |  |  |  | 1 |  | 1 | [5 empty] | 1 |  | 1 | 2 | [6 empty] | 1 |  |  |  | 1 | [5 empty] | 8 | 1209600
[35 empty] | 0 | 0
9 | foetus Monitor | BPL | 22800 |  |  |  | 2 |  |  |  | 1 | [14 empty] | 1 | [8 empty] | 4 | 91200
[35 empty] | 0 | 0
10 | foetus Monitorv SFWB | Nidek Medical India | 5638 |  |  |  | 2 |  | 2 | 2 |  |  |  |  | 1 |  |  | 2 | [6 empty] | 1 | 1 | [8 empty] | 11 | 62018
[35 empty] | 0 | 0
11 | Baby Weighing Scale | phoenix | 42000 |  |  |  | 2 |  | 1 | [25 empty] | 3 | 126000
[35 empty] | 0 | 0
12 | Baby Weighing Scale | Tanita | 5006 |  |  |  | 2 |  |  | 8 | [6 empty] | 1 | [10 empty] | 1 | 1 | [5 empty] | 13 | 65078
[35 empty] | 0 | 0
13 | Baby Weighing Scale |  | 703 |  |  |  | 2 | [7 empty] | 12 |  |  | 13 | [16 empty] | 27 | 18981
[35 empty] | 0 | 0
14 | Neonatal Respirator | maquet | 1365000 |  |  |  | 4 | [27 empty] | 4 | 5460000
[35 empty] | 0 | 0
15 | Neonatal Respirator | Apptech | 56940 | [17 empty] | 1 |  |  |  | 1 |  |  |  | 1 | [5 empty] | 3 | 170820
[35 empty] | 0 | 0
16 | person equipment baby digital | Tee & CEE enterprises | 4515 |  |  |  | 1 | [21 empty] | 1 | [5 empty] | 2 | 9030
[35 empty] | 0 | 0
I | Pathalogy Equipment | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 | Blood gas Analyser | L&T | 840000 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 1680000
[35 empty] | 0 | 0
2 | Blood gas Analyser | Cyronics Instrument Pvt. Ltd. Pune | 321154 |  |  |  | 1 | [27 empty] | 1 | 321154
[35 empty] | 0 | 0
| Auto Analyser for Clinical Chemistry 3000 |  | 140400 |  |  |  | 2 |  | 1 | [25 empty] | 3 | 421200
[35 empty] | 0 | 0
| Full Automatic Chemistry Analyser With RO plant of B.Nova by BARC | Tulip diagnostics | 535500 |  |  |  | 2 |  | 1 | 1 | [24 empty] | 4 | 2142000
[35 empty] | 0 | 0
1 | Auto Analyser | Bio Chemical System International | 1020000 | [11 empty] | 1 |  |  | 2 | [16 empty] | 3 | 3060000
[35 empty] | 0 | 0
2 | Auto Analyser | Tulip Diagonostic | 230000 |  |  |  | 1 | [10 empty] | 2 | [16 empty] | 3 | 690000
[35 empty] | 0 | 0
3 | Dry Chenistry Analyser | Fuji | 983840 |  |  |  | 1 |  | 1 | 1 | [24 empty] | 3 | 2951520
[35 empty] | 0 | 0
4 | Electrolyte Analyser | Tulip | 120750 | [5 empty] | 1 | 1 | [24 empty] | 2 | 241500
[35 empty] | 0 | 0
5 | Automatic Electrolyte Analyser | Rocha Diagnostic | 165712 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 331424
[35 empty] | 0 | 0
6 | Semi Auto Analyser | Laxmi BTS 350 | 136000 |  |  |  | 3 |  | 2 | [7 empty] | 1 | [17 empty] | 6 | 816000
[35 empty] | 0 | 0
7 | Semi Auto Analyser | Robonik | 71308 | [5 empty] | 1 | 1 | [24 empty] | 2 | 142616
[35 empty] | 0 | 0
8 | Calorimeter | Kanad Vidyut | 37000 | [5 empty] | 1 | [25 empty] | 1 | 37000
[35 empty] | 0 | 0
9 | Auto Chemestry Analyser screen master 3000 with stabiliser |  | 135000 |  |  |  | 1 | [27 empty] | 1 | 135000
[35 empty] | 0 | 0
10 | Elisa reader with printer | thermofisher scientific USA | 385117 |  | 2 |  | 1 |  | 1 | [25 empty] | 4 | 1540468
[35 empty] | 0 | 0
11 | Elisa Washer semi Automatic | thermofisher scientific USA | 19225 |  | 2 |  | 2 |  | 1 | [25 empty] | 5 | 96125
[35 empty] | 0 | 0
12 | Microprocessor basel Micro plate reader with accessories | Electric Corpoaration of India Ltd Hyderabad | 82881 |  | 1 |  | 1 | [27 empty] | 2 | 165762
[35 empty] | 0 | 0
13 | QBC Paralence for detection of malaria | Sun Medical System ,Mumbai | 511500 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 1023000
[35 empty] | 0 | 0
14 | Photo Electric Colorimeter | ERMA Japan | 19500 |  | 2 |  | 3 | [27 empty] | 5 | 97500
[35 empty] | 0 | 0
15 | Hematology 3-Part Cell Counter | Mindray Medical | 320625 |  | 1 |  | 3 |  | 1 | 1 |  |  |  |  | 1 |  |  | 1 | [16 empty] | 8 | 2565000
[35 empty] | 0 | 0
16 | VDRL Rotator | Remi Lab World | 17156 |  | 1 |  | 1 |  | 2 | 1 |  |  |  |  | 1 |  |  | 1 | [16 empty] | 7 | 120092
[35 empty] | 0 | 0
17 | Hot Air Oven | Acmas Technology Welber | 67200 |  |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  | 1 | [16 empty] | 4 | 268800
[35 empty] | 0 | 0
18 | Hot Air Oven | ITL Lab | 45400 |  |  | 3 | [28 empty] | 3 | 136200
[35 empty] | 0 | 0
19 | Hot Air Oven | Bio Technics (India) | 5590 |  |  |  | 1 |  | 3 | [25 empty] | 4 | 22360
[35 empty] | 0 | 0
20 | Vortex Mixer | Accumax | 15187 |  |  | 1 | [28 empty] | 1 | 15187
[35 empty] | 0 | 0
21 | Distillation plant | Sonar | 12800 |  | 1 | 1 | [28 empty] | 2 | 25600
[35 empty] | 0 | 0
22 | Bottle Washing Mchine | System Plus | 136890 |  |  | 1 | [28 empty] | 1 | 136890
[35 empty] | 0 | 0
23 | pH Meter | Labo Chemie | 18800 |  |  | 2 |  |  | 1 | [25 empty] | 3 | 56400
[35 empty] | 0 | 0
24 | Incubator | Acmas Technology Welber | 35700 |  |  |  | 1 |  | 3 | 1 |  |  |  |  | 1 |  |  | 1 | [16 empty] | 7 | 249900
[35 empty] | 0 | 0
25 | Incubator | Thermolab Scientific | 70000 |  | 2 | 3 | [28 empty] | 5 | 350000
[35 empty] | 0 | 0
26 | Incubator | Biotechnics India | 9675 |  |  |  | 1 | [17 empty] | 1 | [9 empty] | 2 | 19350
[35 empty] | 0 | 0
27 | Inspissators | Grant | 276254 |  |  | 2 | [28 empty] | 2 | 552508
[35 empty] | 0 | 0
28 | Biosefty Cabinets | Tech Comp Ltd | 805475 |  | 2 | 2 | [28 empty] | 4 | 3221900
[35 empty] | 0 | 0
29 | HB 301 Analyser | Haemaque | 22050 |  | 4 |  | 1 |  | 1 |  |  | 1 | 2 | 2 | 2 | 1 |  | 1 | 2 |  | 1 | 1 |  |  | 1 |  |  |  | 1 | [5 empty] | 21 | 463050
[35 empty] | 0 | 0
30 | Microscope | [33 empty] | 0 | 0
|  | Labomed | 24447 | [5 empty] | 1 | [5 empty] | 1 |  |  | 1 | [9 empty] | 1 | [6 empty] | 4 | 97788
| Binocular Micrscope | Labovision | 24447 | [5 empty] | 1 | 1 | 1 |  |  |  | 1 |  |  | 1 | 1 |  | 1 | [13 empty] | 7 | 171129
| Binocular Micrscope | MICROOPTIC | 24447 | [5 empty] | 1 | 1 | 1 |  |  |  | 1 |  |  | 1 | 1 |  | 1 | [13 empty] | 7 | 171129
| Binocular Micrscope | MICROOPTIC | 24447 | [5 empty] | 1 | 1 |  |  |  |  | 1 |  |  | 1 | [10 empty] | 1 | [5 empty] | 5 | 122235
| Binocular Micrscope | Quosmo | 20138 | [5 empty] | 1 | 1 |  |  |  | 1 | 1 | 1 |  | 1 |  |  |  |  | 1 |  | 1 |  |  | 1 | 1 |  | 1 | 1 |  |  | 12 | 241656
| Fluroscent Microscope | Radical Instruments | 100406 |  |  | 1 | [28 empty] | 1 | 100406
| Binocular Micrscope |  | 20267 |  |  |  | 1 |  | 1 | [13 empty] | 1 |  | 1 |  |  | 1 | 1 |  | 1 | 1 |  |  | 8 | 162136
| Binocular Micrscope |  | 20267 |  |  |  | 1 | [27 empty] | 1 | 20267
| Binocular Micrscope | Microlux 1C | 20300 |  |  |  | 3 | [15 empty] | 1 |  |  |  |  | 1 |  |  | 1 | 1 |  |  | 7 | 142100
| Binocular Micrscope |  | 20138 |  |  |  | 1 | [27 empty] | 1 | 20138
[35 empty] | 0 | 0
31 | Electronic Torniquet | Indrajeet Marketing | 101250 |  |  |  | 1 | [27 empty] | 1 | 101250
[35 empty] | 0 | 0
32 | Centrifuge | Remi | 7650 |  |  |  | 7 |  |  | 4 | 1 |  |  | 1 | 2 | 1 |  | 3 |  |  |  |  | 1 |  | 1 |  |  | 1 | 2 |  | 1 | 1 |  |  | 26 | 198900
[35 empty] | 0 | 0
33 | Centrifuge | Remi | 33750 |  | 6 |  | 1 |  | 7 | [25 empty] | 14 | 472500
[35 empty] | 0 | 0
34 | Centrifuge | Eltek | 41475 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 82950
[35 empty] | 0 | 0
35 | Centriguge | Megafuge | 218161 |  | 2 | 1 | [28 empty] | 3 | 654483
[35 empty] | 0 | 0
36 | Bio Mixer | Remi Labworld | 217406.75 |  |  |  | 1 |  | 2 | [25 empty] | 3 | 652220.25
[35 empty] | 0 | 0
37 | Bio Mixer Blood collection moniter |  | 105350 |  |  |  | 1 | [27 empty] | 1 | 105350
[35 empty] | 0 | 0
38 | Shaker | ITL Lab | 149800 |  | 4 | 1 | 1 | [27 empty] | 6 | 898800
[35 empty] | 0 | 0
[35 empty] | 0 | 0
41 | Dielectric tube sealer | Fenwal Inc. USA | 335813 |  | 3 |  | 2 | [27 empty] | 5 | 1679065
[35 empty] | 0 | 0
42 | Electronic Balance | Indo Japanese | 34200 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 68400
43 | Stripper for Blood Bag Tubings |  | 15750 |  | 2 |  | 1 | [27 empty] | 3 | 47250
44 | Blood collection couch/chair with wheel | Shantadurga scientific traders | 194400 |  |  |  | 5 | [27 empty] | 5 | 972000
[35 empty] | 0 | 0
45 | Blood Refrigerator | GSAC Arravali Medical Safety appliances Pvt.Ltd New Delhli | 343655 |  | 4 |  | 1 | [27 empty] | 5 | 1718275
[35 empty] | 0 | 0
46 | Automated blood collection couch | Jove Automations | 108000 |  | 3 |  |  |  | 1 | [25 empty] | 4 | 432000
[35 empty] | 0 | 0
47 | Automated blood collection couch | Terumo Penpol | 139000 |  | 2 |  |  |  | 2 | [25 empty] | 4 | 556000
[35 empty] | 0 | 0
48 | Automated blood collection couch |  | 62000 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 124000
[35 empty] | 0 | 0
49 | Weighing devices for donor | Beauer | 24940 | [5 empty] | 1 | [25 empty] | 1 | 24940
[35 empty] | 0 | 0
50 | Electronic weighing scale | FEJ | 21000 |  | 9 |  |  |  | 2 | [25 empty] | 11 | 231000
[35 empty] | 0 | 0
51 | Biomixer | Jove Automations | 150000 |  | 5 |  |  |  | 1 | [25 empty] | 6 | 900000
[35 empty] | 0 | 0
53 | Blood Storage Refrigerator | Jewett | 601888 |  | 1 |  |  |  | 1 | [25 empty] | 2 | 1203776
[35 empty] | 0 | 0
54 | Deep Freezer | Cryo Scientific | 343655 |  | 1 | 1 | [28 empty] | 2 | 687310
[35 empty] | 0 | 0
55 | Blood Storage Refrigerator | Remi Electrokinetic | 500000 | [5 empty] | 2 | [25 empty] | 2 | 1000000
[35 empty] | 0 | 0
56 | Compound Microscope | Ajay Optik | 55000 |  | 1 |  |  |  | 2 | [25 empty] | 3 | 165000
[35 empty] | 0 | 0
57 | Serological Water bath | Sonar | 16000 |  | 1 | 1 |  |  | 1 | [25 empty] | 3 | 48000
[35 empty] | 0 | 0
58 | Serological Water bath | Labline Instruments | 10000 | [5 empty] | 1 | [25 empty] | 1 | 10000
[35 empty] | 0 | 0
60 | VDRL Rotator | Zenko | 12300 |  | 1 |  |  |  | 1 | [25 empty] | 2 | 24600
[35 empty] | 0 | 0
61 | VDRL Rotator | Remi | 12300 |  | 1 |  |  |  | 1 | [25 empty] | 2 | 24600
[35 empty] | 0 | 0
62 | Dielectric tube sealer | HLL Lifecare Ltd | 15000 | [5 empty] | 1 | [25 empty] | 1 | 15000
[35 empty] | 0 | 0
63 | Dielectric tube sealer | Labline Instruments | 17000 | [5 empty] | 1 | [25 empty] | 1 | 17000
[35 empty] | 0 | 0
64 | Dielectric tube sealer | Remi Labworld | [6 empty] | 1 | [25 empty] | 1 | 0
[35 empty] | 0 | 0
65 | ELISA reader and washer | Thermofisher Scientific | 400000 |  | 1 |  |  |  | 1 | [25 empty] | 2 | 800000
[35 empty] | 0 | 0
66 | Matrix Gel System | Tulip Diagnostics | 205200 | [5 empty] | 1 | [25 empty] | 1 | 205200
[35 empty] | 0 | 0
67 | Horizontal Autoclave (automatic) | Yorco YSU-617A | 176000 | [5 empty] | 1 | [25 empty] | 1 | 176000
[35 empty] | 0 | 0
68 | Iceliner | MRB 2000 | 500000 |  | 1 |  |  |  | 1 | [25 empty] | 2 | 1000000
[35 empty] | 0 | 0
70 | Centrifuge | Remi | 86000 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 172000
[35 empty] | 0 | 0
| Platelet Agitator |  | 145000 |  | 2 | [29 empty] | 2 | 290000
[35 empty] | 0 | 0
| Laminar Air Flow |  | 120000 |  | 1 | [29 empty] | 1 | 120000
[35 empty] | 0 | 0
| Plasma Thawing Bath |  | 26500 |  | 1 | [29 empty] | 1 | 26500
[35 empty] | 0 | 0
| Plasma Processor |  | 140000 |  | 2 | [29 empty] | 2 | 280000
[35 empty] | 0 | 0
J | Operation Theatre Equipment | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 | Anaesthesia Boyel's Apparatus with ventilator | L&T Av. Ulco Health Care | 315000 |  |  |  | 2 |  | 2 | 2 | 1 | 1 |  |  | 1 |  | 1 | 1 | [9 empty] | 1 | [6 empty] | 12 | 3780000
[35 empty] | 0 | 0
2 | Anaesthesia Boyel's Apparatus | Esab | 147420 |  |  |  | 5 |  |  |  |  | 2 | [22 empty] | 7 | 1031940
[35 empty] | 0 | 0
3 | Anaesthesia Boyel's Apparatus | BOC | 3750 |  |  |  | 2 |  |  | 1 | 1 | [23 empty] | 4 | 15000
[35 empty] | 0 | 0
4 | high Ende Anaesthesia Apparatus | Drager | 2190000 | [5 empty] | 4 | [25 empty] | 4 | 8760000
[35 empty] | 0 | 0
5 | Low End Anaesthesia Apparatus | Drager | 35000 | [5 empty] | 4 | [25 empty] | 4 | 140000
[35 empty] | 0 | 0
6 | Cautery Machine | Valley Lab | 453600 |  |  |  | 3 |  | 2 | 2 | 1 | 1 |  | 1 | 2 |  |  | 2 | [10 empty] | 1 | [5 empty] | 15 | 6804000
[35 empty] | 0 | 0
7 | Cautery Machine | L & T | 93600 |  |  |  | 1 |  |  | 1 | [24 empty] | 2 | 187200
[35 empty] | 0 | 0
8 | Cautery Machine | Delcoat | 200000 |  |  |  | 1 | [27 empty] | 1 | 200000
[35 empty] | 0 | 0
9 | Cautery Machine | Zeus | 510000 | [5 empty] | 10 | [25 empty] | 10 | 5100000
[35 empty] | 0 | 0
10 | Electric Drill Cannulated | Pietkar | 38350 |  |  |  | 9 | [27 empty] | 9 | 345150
[35 empty] | 0 | 0
11 | OT Lights Single Dome Portable | Philips | 30000 |  |  |  | 4 |  | 1 | 1 |  | 1 | 1 | 2 | [10 empty] | 1 |  |  | 1 | [6 empty] | 12 | 360000
[35 empty] | 0 | 0
12 | OT Lights Single Dome Portable 4 halogen lamp | Philips | 132448 |  |  |  | 4 |  | 1 | [19 empty] | 1 | [5 empty] | 6 | 794688
[35 empty] | 0 | 0
13 | OT Lights Single Dome Fix | Philips | 185650 |  |  |  | 2 | [20 empty] | 1 | [6 empty] | 3 | 556950
[35 empty] | 0 | 0
14 | OT Lights Double Dome Fix | Philips | 181312 |  |  |  | 1 |  |  |  |  | 2 | 1 | [21 empty] | 4 | 725248
[35 empty] | 0 | 0
15 | OT Lights Double dome Fix | Drager | 895000 | [5 empty] | 4 | [25 empty] | 4 | 3580000
[35 empty] | 0 | 0
16 | OT Lights Single Dome Fix | Drager | 297000 | [5 empty] | 4 | [25 empty] | 4 | 1188000
[35 empty] | 0 | 0
17 | OT Lights Double dome Fix | Trilux | 495000 | [13 empty] | 1 | [17 empty] | 1 | 495000
[35 empty] | 0 | 0
18 | OT Lights Single Dome Fix | Trilux | 795000 | [13 empty] | 2 | [17 empty] | 2 | 1590000
[35 empty] | 0 | 0
19 | OT Lights Double dome Fix | DrMac | 500000 | [6 empty] | 6 | [24 empty] | 6 | 3000000
[35 empty] | 0 | 0
20 | OT Lights Single Dome Fix | DrMac | 250000 | [6 empty] | 2 | [24 empty] | 2 | 500000
[35 empty] | 0 | 0
21 | Laryngoscope with 4 baldes | JJ Surgicals | 5399.68 |  |  |  | 6 |  | 1 | [7 empty] | 1 | [17 empty] | 8 | 43197.44
[35 empty] | 0 | 0
22 | Laryngoscope ANACS | Laxmi Health Agencies | 6625 |  |  |  | 6 |  | 4 | [25 empty] | 10 | 66250
[35 empty] | 0 | 0
23 | Laryngoscope Pediatric | Laxmi Health Agencies | 3840 |  |  |  | 3 |  | 1 | [25 empty] | 4 | 15360
[35 empty] | 0 | 0
24 | Suction Apparatus | Jalandhar Surgical works | 14608 |  |  |  | 2 |  |  | 1 | [24 empty] | 3 | 43824
[35 empty] | 0 | 0
25 | Suction Apparatus | Surgicraft | 94500 |  |  |  | 1 |  | 3 | [25 empty] | 4 | 378000
[35 empty] | 0 | 0
26 | Suction Apparatus | Chaitany Enterprises | 13000 |  |  |  | 13 |  | 1 | [25 empty] | 14 | 182000
[35 empty] | 0 | 0
27 | Suction Apparatus | J & J | 8156 |  |  |  | 22 |  |  | 2 |  | 5 | 3 | 3 | [14 empty] | 1 | [5 empty] | 36 | 293616
[35 empty] | 0 | 0
28 | Operation table | Janak Health Care | 398624 | [8 empty] | 1 | 1 |  | 1 |  | 3 | 1 | [6 empty] | 1 |  |  |  | 1 | [5 empty] | 9 | 3587616
[35 empty] | 0 | 0
29 | Operation table | Janak Health Care | 199311 |  |  |  | 5 |  | 1 | 3 | [24 empty] | 9 | 1793799
[35 empty] | 0 | 0
30 | Operation table | Pioneer | 187071 |  |  |  | 2 | [27 empty] | 2 | 374142
[35 empty] | 0 | 0
31 | Operation Table | Chaitanya Enterprises | 16650 |  |  |  | 1 |  |  |  |  | 1 | [22 empty] | 2 | 33300
[35 empty] | 0 | 0
32 | Operation Table | Sebrival surgfical | 81625 |  |  |  | 1 | [27 empty] | 1 | 81625
[35 empty] | 0 | 0
33 | Operation table | Minitech | 28600 | [6 empty] | 1 | [24 empty] | 1 | 28600
[35 empty] | 0 | 0
34 | Operation table hand operated | Janak Healthcare Pvt Ltd. | 38264 |  |  |  | 2 |  |  |  | 1 | [23 empty] | 3 | 114792
[35 empty] | 0 | 0
35 | Operation table | Jayon | 685000 | [5 empty] | 8 | [25 empty] | 8 | 5480000
[35 empty] | 0 | 0
36 | Operation table Ortho | Jayon | 1250000 | [5 empty] | 1 | [25 empty] | 1 | 1250000
[35 empty] | 0 | 0
37 | Operation table Ortho | Iron ore | 67794 |  |  |  | 1 | [27 empty] | 1 | 67794
[35 empty] | 0 | 0
38 | Operation table folding with lithoctomy legs rest |  | 838 | [10 empty] | 1 | [10 empty] | 1 | [9 empty] | 2 | 1676
[35 empty] | 0 | 0
39 | Labour Tables | Janak Health Care | 116936.5 |  |  |  | 2 |  |  | 3 | 2 |  |  | 1 |  |  | 1 | 1 | [6 empty] | 1 | 1 | [8 empty] | 12 | 1403238
[35 empty] | 0 | 0
40 | EV 500 Anesthesia Ventilator | Elite | 165360 |  |  |  | 1 | [27 empty] | 1 | 165360
[35 empty] | 0 | 0
41 | Endoscope with Monitor with Cold light sourcefor ENT | Karl Stroz | 1607314 | [5 empty] | 1 | 1 | [24 empty] | 2 | 3214628
[35 empty] | 0 | 0
42 | Telescope 4 mm 0 direct vision | Fiergert Endo Tech | 56000 |  |  |  | 1 | [27 empty] | 1 | 56000
[35 empty] | 0 | 0
43 | Telescope 4 mm 30 direct vision | Fiergert Endo Tech | 58000 |  |  |  | 1 | [27 empty] | 1 | 58000
[35 empty] | 0 | 0
44 | Hystero Scope | Karl Stroz | 75000 | [5 empty] | 1 | [25 empty] | 1 | 75000
[35 empty] | 0 | 0
45 | Microflex F | Toshbro Medicals | 466875 | [5 empty] | 1 | [25 empty] | 1 | 466875
[35 empty] | 0 | 0
46 | New version plaster cutter | Manman | 24800 |  |  |  | 2 | [27 empty] | 2 | 49600
[35 empty] | 0 | 0
47 | Electric Foot Operated saw | Inor | 150800 |  |  |  | 2 |  | 1 | [25 empty] | 3 | 452400
[35 empty] | 0 | 0
48 | Microsrtream Capnograph | L & T | 156000 |  |  |  | 1 | [27 empty] | 1 | 156000
[35 empty] | 0 | 0
49 | Focus Lamp | Philips |  |  |  |  | 1 |  | 1 | [25 empty] | 2 | 0
[35 empty] | 0 | 0
50 | Universal bone drill with check and key biomade | Kunal Surgical | 2120 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 4240
[35 empty] | 0 | 0
51 | Surgical Hand drill | Orthotool Marketing Pune | 5500 |  |  |  | 2 |  | 1 | [25 empty] | 3 | 16500
[35 empty] | 0 | 0
52 | EAR MICROSURGERY ENT MICROSCOPE | Karl Zeis | 708112 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 1416224
[35 empty] | 0 | 0
53 | Micro Motor for ENT surgery |  | 19950 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 39900
[35 empty] | 0 | 0
54 | Eletronic Endoflator with SEB System | Karl Stoz | 254550 |  |  |  | 1 | [27 empty] | 1 | 254550
[35 empty] | 0 | 0
55 | Eso phagoscopy ENT Instrument | KARL Storz | 416488 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 832976
[35 empty] | 0 | 0
56 | Double punctured laparascope | MAXER, Germany | 117882 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 235764
[35 empty] | 0 | 0
57 | Full set of Laparascope double puncture | Karl storz | 473953 |  |  |  | 2 | [27 empty] | 2 | 947906
[35 empty] | 0 | 0
58 | Full set of Laparascope make nester | Nester | 512329 |  |  |  | 1 | [27 empty] | 1 | 512329
[35 empty] | 0 | 0
59 | Operative Laparoscope with acessaries | Karl Storz | 843175 |  |  |  | 1 | [27 empty] | 1 | 843175
[35 empty] | 0 | 0
60 | Electric drill & saw | Manman | 205581 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 411162
[35 empty] | 0 | 0
61 | C-ARM IMAGE Intesifier TV System | SEIMENS | 1650000 |  |  |  | 1 |  | 2 | [25 empty] | 3 | 4950000
[35 empty] | 0 | 0
J | Radiology Equipment | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 | CT Scaner Single Slice | Siemens | 24059000 |  |  |  | 1 | [27 empty] | 1 | 24059000
[35 empty] | 0 | 0
2 | CT Scaner 16 Slice | GE | 24059000 | [5 empty] | 1 | [25 empty] | 1 | 24059000
[35 empty] | 0 | 0
3 | Portable X Ray machine | Siemens | 275000 | [5 empty] | 2 | [25 empty] | 2 | 550000
[35 empty] | 0 | 0
4 | X - Ray Machine | Polyscope2-Pleophos D | 554840 | [8 empty] | 1 | [5 empty] | 1 | [16 empty] | 2 | 1109680
[35 empty] | 0 | 0
5 | X - Ray Machine | Polyscope2- Multiphosic 15 1 Tube | 598000 | 2 |  |  | 1 |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | [10 empty] | 1 | [5 empty] | 12 | 7176000
[35 empty] | 0 | 0
6 | Siemens Flurovision | SEIMENS | 1085000 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 2170000
[35 empty] | 0 | 0
7 | multi mobile 2.5ma | seimens | 315000 |  |  |  | 1 | [27 empty] | 1 | 315000
[35 empty] | 0 | 0
8 | CR System | Fuji Films India | 1580000 |  |  |  | 1 |  | 1 | 1 |  |  |  |  | 1 |  |  | 1 | [9 empty] | 1 | 1 | [5 empty] | 7 | 11060000
[35 empty] | 0 | 0
9 | B/W Ultrasonography Machine | Siemens Sonoline | 870000 | 4 |  |  | 1 |  | 3 | 1 | [6 empty] | 1 | 1 | [9 empty] | 1 | [6 empty] | 12 | 10440000
[35 empty] | 0 | 0
10 | B/W Ultrasonography Machine | GE Logic 200 | 414000 |  |  |  | 1 |  |  | 1 | 1 | 1 |  | 1 | [20 empty] | 5 | 2070000
[35 empty] | 0 | 0
11 | Colour Doppler | Siemens | 2000000 |  |  |  | 1 |  | 1 | [25 empty] | 2 | 4000000
[35 empty] | 0 | 0
12 | Mamography Machines | Siemens | 3850000 | 2 | [30 empty] | 2 | 7700000
[35 empty] | 0 | 0
K | Dental Equipment | [33 empty] | 0 | 0
[35 empty] | 0 | 0
1 | Dental Unit | Chamunda Chair Unit | 516674 | [5 empty] | 3 | 1 |  | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  |  | 1 |  | 1 |  |  | 1 |  |  | 1 | 1 |  |  | 16 | 8266784
[35 empty] | 0 | 0
2 | Autoclave 7 Ltr with stabilizer | Uniclave | 70875 | [5 empty] | 2 | 1 |  | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  |  | 1 |  | 1 |  |  | 1 |  |  | 1 | 1 |  |  | 15 | 1063125
425634186.98
[35 empty] | 7% | 29794393.0886
`

## Summery & Percentage
Project | Equipment Survey / Mapping Installed at Hospitals affiliated to Directorate of Health Services Government of Goa
Client | Directorate of Health Services Government of Goa
Consultant | Shree Consultancy Services Mumbai
Document | Summery | [7 empty] | Rev R 1
Sr No | Item with description | Manufaacturer's name | Rate in Rs | Total Equipment | Non Working Equipment | WorkingEquipment | Cost of Total Equipments in Rs | Cost of Non working Equipments in Rs | % Cost of Repairable Equipment
A | General Equipment
1 | Electric Needle Distroyer | Microseal | 1856 | 206 | 50 | 156 | 382336 | 92800
2 | Fumigator | Chaitanya Enterprises | 49350 | 5 |  | 5 | 246750 | 0
3 | Fogging Machines
| Thermal Fogging |  | 57000 | 37 |  | 37 | 2109000 | 0
[6 empty] | 0 | 0 | 0
| ULV |  | 144000 | 17 |  | 17 | 2448000 | 0
[6 empty] | 0 | 0 | 0
| Handy Fog |  | 10000 | 40 |  | 40 | 400000 | 0
| Total Of General Equipment |  |  | 305 | 50 | 255 | 5586086 | 92800 | 1.6613
B | Hospital Plant Eqpt
1 | 4 Body Mortuary Cabinates | Blue Star | 395000 | 12 |  | 12 | 4740000 | 0
2 | 6 Body Mortuary Cabinates | Blue Star | 282500 | 3 |  | 3 | 847500 | 0
3 | Incinerator | MC Clelland Pvt Ltd | 227760 | 1 |  | 1 | 227760 | 0
4 | Incinerator | Down Whitley | 885937 | 1 |  | 1 | 885937 | 0
5 | Telemedicine System with peripheral & Medical equipment | Elite | 30500000 | 1 | 1 | 0 | 30500000 | 30500000
6 | HIMS with Hard ware | Glodyne | 8314729 | 1 | 1 | 0 | 8314729 | 8314729
7 | Gas Manifold System | L & T | 525000 | 1 |  | 1 | 525000 | 0
8 | Gas Manifold System | MDD | 2730910 | 1 |  | 1 | 2730910 | 0
9 | Gas Manifold System | MGI | 8161350 | 1 |  | 1 | 8161350 | 0
10 | Gas Manifold System | MGI | 12000000 | 1 |  | 1 | 12000000 | 0
11 | Gas Manifold System | Hightech | 5600000 | 1 |  | 1 | 5600000 | 0
12 | Modular Operation Theatre System | MGI | 18517000 | 1 |  | 1 | 18517000 | 0
13 | Modular Operation Theatre System | Mediconz | 13500000 | 1 |  | 1 | 13500000 | 0
14 | Modular Operation Theatre System | MDD | 6265145 | 1 |  | 1 | 6265145 | 0
15 | Modular Operation Theatre System | MGI | 16400000 | 1 |  | 1 | 16400000 | 0
16 | CSSD | Nat Steel | 9458411 | 1 |  | 1 | 9458411 | 0
| Total Of Hospital Plant Equipment |  |  | 29 | 2 | 27 | 138673742 | 38814729 | 27.99
C | Refrigeration Equipment
1 | Storage Water Cooler | Blue Star | 9900 | 23 |  | 23 | 227700 | 0
2 | Refrigerator 170 Ltrs | Kelvinator | 9800 | 3 |  | 3 | 29400 | 0
3 | Refrigerator 175 Ltrs | Godrej | 10200 | 3 |  | 3 | 30600 | 0
4 | Refrigerator 185 Ltrs | Samsung | 11250 | 12 | 2 | 10 | 135000 | 22500
5 | Refrigerator 185 Ltrs | Godrej | 9900 | 2 |  | 2 | 19800 | 0
6 | Refrigerator 190 Ltrs | Panasonic | 10250 | 1 |  | 1 | 10250 | 0
7 | Refrigerator 236 Ltrs | Heir | 18500 | 3 |  | 3 | 55500 | 0
8 | Refrigerator 285 Ltrs | Samsung | 28260 | 14 |  | 14 | 395640 | 0
9 | Refrigerator 285 Ltrs | LG | 8800 | 14 |  | 14 | 123200 | 0
10 | Refrigerator 285 Ltrs (Medicine) | Blue Star | 11350 | 5 |  | 5 | 56750 | 0
11 | Refrigerator 300 Ltrs | Kelvinator | 20500 | 25 |  | 25 | 512500 | 0
12 | Refrigerator 220 Ltrs | Whirlpool | 14000 | 12 |  | 12 | 168000 | 0
13 | Refrigerator 425 Ltrs | Whirlpool | 42050 | 1 |  | 1 | 42050 | 0
14 | Deep Freezer (bottle cooler) horizontal top model | Blue Star | 87000 | 4 |  | 4 | 348000 | 0
| Total Of Refrigeration Equipment |  |  | 122 | 2 | 120 | 2154390 | 22500 | 1.0444
D | Sterilization Equipment
1 | Autoclave | Yorco | 105918.75 | 19 |  | 19 | 2012456.25 | 0
2 | Autoclave Vertical | SKY Autoclave | 76600 | 3 |  | 3 | 229800 | 0
3 | Autoclave | Hoslab | 433125 | 6 |  | 6 | 2598750 | 0
4 | Autoclave Horizontal | Surgicon Mediquip Pvt Ltd | 176181 | 2 |  | 2 | 352362 | 0
5 | Autoclave Horizontal | Surgicon Mediquip Pvt Ltd | 198800 | 2 |  | 2 | 397600 | 0
6 | Autoclave Horizontal | Labotech Korea | 433125 | 1 |  | 1 | 433125 | 0
7 | Autoclave Horizontal | Natt | 96470 | 3 |  | 3 | 289410 | 0
8 | Autoclave Veryicle Dubble | ACC International | 35000 | 1 | 1 | 0 | 35000 | 35000
9 | Sterilizer Big | GE | 4926 | 4 |  | 4 | 19704 | 0
10 | Sterilizer (16'x8"x6") |  | 13556 | 6 | 2 | 4 | 81336 | 27112
11 | Sterilizer ( Medium ) | GE | 3637 | 2 |  | 2 | 7274 | 0
12 | Sterilizer (Medium ) | Goa Surgico | 5595.75 | 51 | 20 | 31 | 285383.25 | 111915
13 | Sterilizer ( Medium ) | Goa Surgico | 7275 | 37 | 13 | 24 | 269175 | 94575
14 | Sterilizer ( Medium ) | J & J | 4781 | 43 | 23 | 20 | 205583 | 109963
15 | Sterilizer ( Small ) |  | 1665 | 1 |  | 1 | 1665 | 0
16 | Flash Autoclav(opthalmic OT) | Hanshine Medical Kores | 573750 | 2 |  | 2 | 1147500 | 0
| Total Of Sterilization Equipment |  |  | 183 | 59 | 124 | 8366123.5 | 378565 | 4.525
E | WasteManagement Equipments
1 | Shreder | Saratech | 404250 | 16 |  | 16 | 6468000 | 0
| Total Of Waste Management Equipment |  |  | 16 | 0 | 16 | 6468000 | 0 | 0
F | Medical Equipments
1 - A | LCD Blood Pressure Apparatus | Diamond | 2235 | 142 |  | 142 | 317370 | 0
1 - B | LCD Blood Pressure Apparatus | Diamond | 1879.5 | 10 |  | 10 | 18795 | 0
2 | ECG Machine Single channel 610 AT | BPL | 48880 | 13 | 4 | 9 | 635440 | 195520
3 | ECG Machine (BPL) Cardiart 108T MKV I | BPL | 30160 | 7 |  | 7 | 211120 | 0
4 | Fully Automatic Single chanel ECG machine | Schiller | 19688 | 15 | 6 | 9 | 295320 | 118128
5 | Fully Automatic ECG machine | Wipro GE Elect | 59540 | 7 | 2 | 5 | 416780 | 119080
6 | Fully Automatic Twelve lid ECG machine | Schiller | 33767.3 | 7 | 2 | 5 | 236371.1 | 67534.6
7 | Fully Automatic 3 chanel ECG machine | Allenger Global Health Care System | 36750 | 11 | 5 | 6 | 404250 | 183750
8 | 2 Channel Monitor for ECG NIBP Temparature |  | 179010 | 1 |  | 1 | 179010 | 0
9 | Pulse Oximeter | BPL | 79125 | 4 |  | 4 | 316500 | 0
10 | Pulse Oximeter | L&T Planet 50 | 102050 | 23 | 8 | 15 | 2347150 | 816400
11 | Pulse Oximeter | Life Plus | 39589 | 14 | 7 | 7 | 554246 | 277123
12 | Pulse Oximeter | L & T Comet P | 78750 | 2 |  | 2 | 157500 | 0
13 | Pulse Oximeter + ECG +NIBP | L & T | 175032 | 5 | 3 | 2 | 875160 | 525096
14 | Pulse Oximeter | Lars | 125000 | 3 |  | 3 | 375000 | 0
15 | Pulse Oximeter Cum Bed side monitor | Universal Medical Mumbai | 68850 | 5 |  | 5 | 344250 | 0
16 | Multi Para monitor | BPL | 77235 | 9 | 2 | 7 | 695115 | 154470
17 | Central Monitoring Unit | BPL | 136610 | 1 |  | 1 | 136610 | 0
18 | Multi Channel vital sign Monitor with Capno | L & T | 341250 | 5 | 2 | 3 | 1706250 | 682500
19 | Bed side Monitor | EXCELO ECO | 78750 | 6 | 1 | 5 | 472500 | 78750
20 | Cardiac Monitor with diefibrillator | BPL | 72960 | 1 |  | 1 | 72960 | 0
21 | Difibrilator | Schiller Health Care India Pvt Ltd Mumbai | 173250 | 7 | 2 | 5 | 1212750 | 346500
|  |  |  | 0 |  | 0 | 0 | 0
22 | Difibrilator | L & T | 385000 | 1 |  | 1 | 385000 | 0
23 | Difibrilator | Scliier Defigard | 156918.69 | 1 |  | 1 | 156918.69 | 0
24 | Difibrilator | Philips |  | 2 |  | 2 | 0 | 0
25 | Difibrilator | BPL | 170000 | 7 | 2 | 5 | 1190000 | 340000
26 | Cardioscope | G.E. Marqutte USA | 732800 | 1 |  | 1 | 732800 | 0
27 | Syringe Infusion Pump | B. Braun | 90820 | 14 |  | 14 | 1271480 | 0
28 | Syringe Infusion Pump | L &T | 70600 | 16 | 7 | 9 | 1129600 | 494200
29 | Infusion pump Volumetric B Brown | B. Braun | 98820 | 3 | 3 | 0 | 296460 | 296460
30 | Bubble CPAP | L &T | 420000 | 1 | 1 | 0 | 420000 | 420000
31 | ICCU Ventilator with Accessories | Savina | 937016 | 1 |  | 1 | 937016 | 0
32 | Nebulizer |  | 1145 | 140 | 23 | 117 | 160300 | 26335
33 | Ultrasonic Nebulizer | Nuova | 11000 | 2 | 2 | 0 | 22000 | 22000
34 | Bera | Medicaid | 230768 | 1 |  | 1 | 230768 | 0
35 | ECT | Medicaid | 393994 | 1 |  | 1 | 393994 | 0
36 | EEG | Medicaid | 585362 | 1 |  | 1 | 585362 | 0
37 | Electronic Body Weighing Scale |  | 479 | 19 |  | 19 | 9101 | 0
| Total Of Medical Equipment |  |  | 509 | 82 | 427 | 19901246.79 | 5163846.6 | 25.9474
G | Ophthalmic Equipments
1 | A Scan Biometer | Bio Medix Optotechnic & Devices Pvt Ltd | 166400 | 3 |  | 3 | 499200 | 0
2 | Ophthalmoscope | Hein | 32625 | 8 |  | 8 | 261000 | 0
| Opthalmoscope | Whelchallyn | 35000 | 1 |  | 1 | 35000 | 0
3 | Indirect Ophthalmoscope | Appaswamy Associates | 18720 | 1 |  | 1 | 18720 | 0
4 | Otoscope | Mediquip | 5564 | 7 |  | 7 | 38948 | 0
5 | keratometer | Appaswamy Associates | 19094 | 2 |  | 2 | 38188 | 0
6 | Karatometer | Appaswamy Associates, Chennai | 13520 | 1 |  | 1 | 13520 | 0
7 | keratometer | Bio Medix Optotechnic & Devices Pvt Ltd | 257524 | 1 |  | 1 | 257524 | 0
8 | keratometer Hand Held | Nidek | 332000 | 1 |  | 1 | 332000 | 0
9 | Phaco Emulsification | Karl Zeiss | 1419625 | 2 |  | 2 | 2839250 | 0
10 | Phaco Emulsification | Karl Zeiss | 520000 | 2 |  | 2 | 1040000 | 0
11 | Operating Microscope for Ophthalmic | Karl Zeiss | 663750 | 3 |  | 3 | 1991250 | 0
12 | Surgical Operating Microscope | Appaswamy Associates, Chennai | 83200 | 3 |  | 3 | 249600 | 0
13 | Opthalmic Operating Microscope | Mother wedel | 466875 | 1 |  | 1 | 466875 | 0
14 | Slit Lamp Microscope Basic unit with adjustable table | Segal | 30456 | 1 |  | 1 | 30456 | 0
15 | Opthalmic operation table | Appaswamy Associates | 73500 | 3 |  | 3 | 220500 | 0
16 | Streik Retenoscope | Appaswamy Associates, Chennai | 45000 | 1 |  | 1 | 45000 | 0
17 | Slit Lamp with Manuel stand | Appaswamy Associates, Chennai | 23920 | 3 |  | 3 | 71760 | 0
18 | Yag Lazer | Nidek | 793439 | 2 |  | 2 | 1586878 | 0
10 | Tonometer | Schiot z (Riestar) | 5103 | 6 |  | 6 | 30618 | 0
20 | Auto refractometer |  | 385320 | 2 |  | 2 | 770640 | 0
21 | Opto techniques devices | Bio Medix | 1397651 | 1 |  | 1 | 1397651 | 0
22 | Digital Vision Chart | Aucolab | 29000 | 1 |  | 1 | 29000 | 0
23 | Ophthalmic Slit lamp | Karl Zeiss | 810000 | 1 |  | 1 | 810000 | 0
24 | Ophthalmic Slit lamp |  | 698826 | 1 |  | 1 | 698826 | 0
25 | Auto Perimeter | Karl Zeiss | 1754550 | 1 |  | 1 | 1754550 | 0
| Total Of Ophthalmic Equipment |  |  | 59 | 0 | 59 | 15526954 | 0 | 0
H | Pediatric Neonatal equipment
1 | Radiant warmer | Elite | 205800 | 21 | 12 | 9 | 4321800 | 2469600
2 | Radiant warmer | Minitech | 44062 | 3 |  | 3 | 132186 | 0
3 | Radiant warmer | Phoenix | 210000 | 6 |  | 6 | 1260000 | 0
4 | Double surface photo theraphy unit | SH Pitkar Ortho tools pvt.ltd pune | 17160 | 4 |  | 4 | 68640 | 0
5 | Phototheraphy unit with 6 tube light | SFWB, DHS, Panaji | 157500 | 1 |  | 1 | 157500 | 0
6 | Phototheraphy unit with 6 tube light |  | 157500 | 4 |  | 4 | 630000 | 0
7 | Digital Radiant Heat Warmer ( Phototheraphy unit 2 way |  | 17160 | 1 |  | 1 | 17160 | 0
8 | foetus Monitor | BPL | 151200 | 8 | 2 | 6 | 1209600 | 302400
9 | foetus Monitor | BPL | 22800 | 4 |  | 4 | 91200 | 0
10 | foetus Monitorv SFWB | Nidek Medical India | 5638 | 11 |  | 11 | 62018 | 0
11 | Baby Weighing Scale | phoenix | 42000 | 3 |  | 3 | 126000 | 0
12 | Baby Weighing Scale | Tanita | 5006 | 13 |  | 13 | 65078 | 0
13 | Baby Weighing Scale |  | 703 | 27 |  | 27 | 18981 | 0
14 | Neonatal Respirator | maquet | 1365000 | 4 | 2 | 2 | 5460000 | 2730000
15 | Neonatal Respirator | Apptech | 56940 | 3 | 3 | 0 | 170820 | 170820
16 | person equipment baby digital | Tee & CEE enterprises | 4515 | 2 |  | 2 | 9030 | 0
| Total Of Pediatric & Neonatal Equipment |  |  | 115 | 19 | 96 | 13800013 | 5672820 | 41.1074
I | Pathalogy Equipment
1 | Blood gas Analyser | L&T | 840000 | 2 |  | 2 | 1680000 | 0
2 | Blood gas Analyser | Cyronics Instrument Pvt. Ltd. Pune | 321154 | 1 |  | 1 | 321154 | 0
3 | Auto Analyser for Clinical Chemistry 3000 |  | 140400 | 3 |  | 3 | 421200 | 0
4 | Full Automatic Chemistry Analyser With RO plant of B.Nova by BARC | Tulip diagnostics | 535500 | 4 |  | 4 | 2142000 | 0
5 | Auto Analyser | Bio Chemical System International | 1020000 | 3 |  | 3 | 3060000 | 0
6 | Auto Analyser | Tulip Diagonostic | 230000 | 3 |  | 3 | 690000 | 0
7 | Dry Chenistry Analyser | Fuji | 983840 | 3 |  | 3 | 2951520 | 0
8 | Electrolyte Analyser | Tulip | 120750 | 2 |  | 2 | 241500 | 0
9 | Automatic Electrolyte Analyser | Rocha Diagnostic | 165712 | 2 |  | 2 | 331424 | 0
10 | Semi Auto Analyser | Laxmi BTS 350 | 136000 | 6 | 1 | 5 | 816000 | 136000
11 | Semi Auto Analyser | Robonik | 71308 | 2 |  | 2 | 142616 | 0
12 | Calorimeter | Kanad Vidyut | 37000 | 1 |  | 1 | 37000 | 0
13 | Auto Chemestry Analyser screen master 3000 with stabiliser |  | 135000 | 1 |  | 1 | 135000 | 0
14 | Elisa reader with printer | thermofisher scientific USA | 385117 | 4 |  | 4 | 1540468 | 0
15 | Elisa Washer semi Automatic | thermofisher scientific USA | 19225 | 5 |  | 5 | 96125 | 0
16 | Microprocessor basel Micro plate reader with accessories | Electric Corpoaration of India Ltd Hyderabad | 82881 | 2 |  | 2 | 165762 | 0
17 | QBC Paralence for detection of malaria | Sun Medical System ,Mumbai | 511500 | 2 |  | 2 | 1023000 | 0
18 | Photo Electric Colorimeter | ERMA Japan | 19500 | 5 |  | 5 | 97500 | 0
19 | Hematology 3-Part Cell Counter | Mindray Medical | 320625 | 8 |  | 8 | 2565000 | 0
20 | VDRL Rotator | Remi Lab World | 17156 | 7 |  | 7 | 120092 | 0
21 | Hot Air Oven | Acmas Technology Welber | 67200 | 4 |  | 4 | 268800 | 0
22 | Hot Air Oven | ITL Lab | 45400 | 3 |  | 3 | 136200 | 0
23 | Hot Air Oven | Bio Technics (India) | 5590 | 4 |  | 4 | 22360 | 0
24 | Vortex Mixer | Accumax | 15187 | 1 |  | 1 | 15187 | 0
25 | Distillation plant | Sonar | 12800 | 2 |  | 2 | 25600 | 0
26 | Bottle Washing Mchine | System Plus | 136890 | 1 |  | 1 | 136890 | 0
27 | pH Meter | Labo Chemie | 18800 | 3 |  | 3 | 56400 | 0
28 | Incubator | Acmas Technology Welber | 35700 | 7 |  | 7 | 249900 | 0
29 | Incubator | Thermolab Scientific | 70000 | 5 |  | 5 | 350000 | 0
30 | Incubator | Biotechnics India | 9675 | 2 |  | 2 | 19350 | 0
31 | Inspissators | Grant | 276254 | 2 |  | 2 | 552508 | 0
32 | Biosefty Cabinets | Tech Comp Ltd | 805475 | 4 |  | 4 | 3221900 | 0
33 | HB 301 Analyser | Haemaque | 22050 | 21 |  | 21 | 463050 | 0
34 | Microscope
|  | Labomed | 24447 | 4 |  | 4 | 97788 | 0
| Binocular Micrscope | Labovision | 24447 | 7 |  | 7 | 171129 | 0
| Binocular Micrscope | MICROOPTIC | 24447 | 7 |  | 7 | 171129 | 0
| Binocular Micrscope | MICROOPTIC | 24447 | 5 |  | 5 | 122235 | 0
| Binocular Micrscope | Quosmo | 20138 | 12 |  | 12 | 241656 | 0
| Fluroscent Microscope | Radical Instruments | 100406 | 1 |  | 1 | 100406 | 0
| Binocular Micrscope |  | 20267 | 8 |  | 8 | 162136 | 0
| Binocular Micrscope |  | 20267 | 1 |  | 1 | 20267 | 0
| Binocular Micrscope | Microlux 1C | 20300 | 7 |  | 7 | 142100 | 0
| Binocular Micrscope |  | 20138 | 1 |  | 1 | 20138 | 0
35 | Electronic Torniquet | Indrajeet Marketing | 101250 | 1 |  | 1 | 101250 | 0
36 | Centrifuge | Remi | 7650 | 26 | 5 | 21 | 198900 | 38250
37 | Centrifuge | Remi | 33750 | 14 |  | 14 | 472500 | 0
38 | Centrifuge | Eltek | 41475 | 2 |  | 2 | 82950 | 0
41 | Centriguge | Megafuge | 218161 | 3 |  | 3 | 654483 | 0
42 | Bio Mixer | Remi Labworld | 217406.75 | 3 |  | 3 | 652220.25 | 0
43 | Bio Mixer Blood collection moniter |  | 105350 | 1 |  | 1 | 105350 | 0
44 | Shaker | ITL Lab | 149800 | 6 |  | 6 | 898800 | 0
45 | Dielectric tube sealer | Fenwal Inc. USA | 335813 | 5 |  | 5 | 1679065 | 0
46 | Electronic Balance | Indo Japanese | 34200 | 2 |  | 2 | 68400 | 0
47 | Stripper for Blood Bag Tubings |  | 15750 | 3 |  | 3 | 47250 | 0
48 | Blood collection couch/chair with wheel | Shantadurga scientific traders | 194400 | 5 |  | 5 | 972000 | 0
49 | Blood Refrigerator | GSAC Arravali Medical Safety appliances Pvt.Ltd New Delhli | 343655 | 5 |  | 5 | 1718275 | 0
50 | Automated blood collection couch | Jove Automations | 108000 | 4 |  | 4 | 432000 | 0
51 | Automated blood collection couch | Terumo Penpol | 139000 | 4 |  | 4 | 556000 | 0
53 | Automated blood collection couch |  | 62000 | 2 |  | 2 | 124000 | 0
54 | Weighing devices for donor | Beauer | 24940 | 1 |  | 1 | 24940 | 0
55 | Electronic weighing scale | FEJ | 21000 | 11 |  | 11 | 231000 | 0
56 | Biomixer | Jove Automations | 150000 | 6 |  | 6 | 900000 | 0
57 | Blood Storage Refrigerator | Jewett | 601888 | 2 | 2 | 0 | 1203776 | 1203776
58 | Deep Freezer | Cryo Scientific | 343655 | 2 | 2 | 0 | 687310 | 687310
60 | Blood Storage Refrigerator | Remi Electrokinetic | 500000 | 2 |  | 2 | 1000000 | 0
61 | Compound Microscope |  | 55000 | 3 | 1 | 2 | 165000 | 55000
62 | Serological Water bath | Sonar | 16000 | 3 |  | 3 | 48000 | 0
63 | Serological Water bath | Labline Instruments | 10000 | 1 |  | 1 | 10000 | 0
64 | VDRL Rotator | Zenko | 12300 | 2 |  | 2 | 24600 | 0
65 | VDRL Rotator | Remi | 12300 | 2 |  | 2 | 24600 | 0
66 | Dielectric tube sealer | HLL Lifecare Ltd | 15000 | 1 |  | 1 | 15000 | 0
67 | Dielectric tube sealer | Labline Instruments | 17000 | 1 |  | 1 | 17000 | 0
68 | Dielectric tube sealer | Remi Labworld |  | 1 |  | 1 | 0 | 0
70 | ELISA reader and washer | Thermofisher Scientific | 400000 | 2 |  | 2 | 800000 | 0
71 | Matrix Gel System | Tulip Diagnostics | 205200 | 1 |  | 1 | 205200 | 0
72 | Horizontal Autoclave (automatic) | Yorco YSU-617A |  | 1 |  | 1 | 0 | 0
73 | Iceliner | MRB 2000 | 500000 | 2 |  | 2 | 1000000 | 0
74 | Centrifuge | Remi | 86000 | 2 |  | 2 | 172000 | 0
75 | Platelet Agitator |  | 145000 | 2 |  | 2 | 290000 | 0
76 | Laminar Air Flow |  | 120000 | 1 |  | 1 | 120000 | 0
77 | Plasma Thawing Bath |  | 26500 | 1 |  | 1 | 26500 | 0
78 | Plasma Processor |  | 140000 | 2 |  | 2 | 280000 | 0
| Total Of Patho & Blood Bank Equipment |  |  | 316 | 11 | 305 | 41352859.25 | 2120336 | 5.1274
J | Operation Theatre Equipment
1 | Anaesthesia Boyel's Apparatus with ventilator | L&T Av. Ulco Health Care | 315000 | 12 | 6 | 6 | 3780000 | 1890000
2 | Anaesthesia Boyel's Apparatus | Esab | 147420 | 7 |  | 7 | 1031940 | 0
3 | Anaesthesia Boyel's Apparatus | BOC | 3750 | 4 |  | 4 | 15000 | 0
4 | high Ende Anaesthesia Apparatus | Drager | 2190000 | 4 |  | 4 | 8760000 | 0
5 | Low End Anaesthesia Apparatus | Drager | 35000 | 4 | 1 | 3 | 140000 | 35000
6 | Cautery Machine | Valley Lab | 453600 | 15 |  | 15 | 6804000 | 0
7 | Cautery Machine | L & T | 93600 | 2 | 2 | 0 | 187200 | 187200
8 | Cautery Machine | Delcoat |  | 1 | 1 | 0 | 0 | 0
9 | Cautery Machine | Zeus | 510000 | 10 | 5 | 5 | 5100000 | 2550000
10 | Electric Drill Cannulated | Pietkar | 38350 | 9 |  | 9 | 345150 | 0
11 | OT Lights Single Dome Portable | Philips | 30000 | 12 |  | 12 | 360000 | 0
12 | OT Lights Single Dome Portable 4 halogen lamp | Philips | 132448 | 6 |  | 6 | 794688 | 0
13 | OT Lights Single Dome Fix | Philips | 185650 | 3 |  | 3 | 556950 | 0
14 | OT Lights Double Dome Fix | Philips | 181312 | 4 |  | 4 | 725248 | 0
15 | OT Lights Double dome Fix | Drager | 895000 | 4 |  | 4 | 3580000 | 0
16 | OT Lights Single Dome Fix | Drager | 297000 | 4 |  | 4 | 1188000 | 0
17 | OT Lights Double dome Fix | Trilux | 495000 | 1 |  | 1 | 495000 | 0
18 | OT Lights Single Dome Fix | Trilux | 795000 | 2 |  | 2 | 1590000 | 0
19 | OT Lights Double dome Fix | DrMac | 500000 | 6 |  | 6 | 3000000 | 0
20 | OT Lights Single Dome Fix | DrMac | 250000 | 2 |  | 2 | 500000 | 0
21 | Laryngoscope with 4 baldes | JJ Surgicals | 5399.68 | 8 |  | 8 | 43197.44 | 0
22 | Laryngoscope ANACS | Laxmi Health Agencies | 6625 | 10 |  | 10 | 66250 | 0
23 | Laryngoscope Pediatric | Laxmi Health Agencies | 3840 | 4 |  | 4 | 15360 | 0
24 | Suction Apparatus | Jalandhar Surgical works | 14608 | 3 |  | 3 | 43824 | 0
25 | Suction Apparatus | Surgicraft | 94500 | 4 |  | 4 | 378000 | 0
26 | Suction Apparatus | Chaitany Enterprises | 13000 | 14 |  | 14 | 182000 | 0
27 | Suction Apparatus | J & J | 8156 | 36 |  | 36 | 293616 | 0
28 | Operation table | Janak Health Care | 398624 | 9 |  | 9 | 3587616 | 0
29 | Operation table | Janak Health Care | 199311 | 9 |  | 9 | 1793799 | 0
30 | Operation table | Pioneer | 187071 | 2 |  | 2 | 374142 | 0
31 | Operation Table | Chaitanya Enterprises | 16650 | 2 |  | 2 | 33300 | 0
32 | Operation Table | Sebrival surgfical | 81625 | 1 |  | 1 | 81625 | 0
33 | Operation table | Minitech | 28600 | 1 |  | 1 | 28600 | 0
34 | Operation table hand operated | Janak Healthcare Pvt Ltd. | 38264 | 3 |  | 3 | 114792 | 0
35 | Operation table | Jayon | 685000 | 8 | 4 | 4 | 5480000 | 2740000
36 | Operation table Ortho | Jayon | 1250000 | 1 |  | 1 | 1250000 | 0
37 | Operation table Ortho | Iron ore | 67794 | 1 |  | 1 | 67794 | 0
38 | Operation table folding with lithoctomy legs rest |  | 838 | 2 |  | 2 | 1676 | 0
39 | Labour Tables | Janak Health Care | 116936.5 | 12 |  | 12 | 1403238 | 0
40 | EV 500 Anesthesia Ventilator | Elite | 165360 | 1 |  | 1 | 165360 | 0
41 | Endoscope with Monitor with Cold light sourcefor ENT | Karl Stroz | 1607314 | 2 |  | 2 | 3214628 | 0
42 | Telescope 4 mm 0 direct vision | Fiergert Endo Tech | 56000 | 1 |  | 1 | 56000 | 0
43 | Telescope 4 mm 30 direct vision | Fiergert Endo Tech | 58000 | 1 |  | 1 | 58000 | 0
44 | Hystero Scope | Karl Stroz | 75000 | 1 |  | 1 | 75000 | 0
45 | Microflex F | Toshbro Medicals | 466875 | 1 |  | 1 | 466875 | 0
46 | New version plaster cutter | Manman | 24800 | 2 |  | 2 | 49600 | 0
47 | Electric Foot Operated saw | Inor | 150800 | 3 |  | 3 | 452400 | 0
48 | Microsrtream Capnograph | L & T | 156000 | 1 | 1 | 0 | 156000 | 156000
49 | Focus Lamp | Philips |  | 2 |  | 2 | 0 | 0
50 | Universal bone drill with check and key biomade | Kunal Surgical | 2120 | 2 |  | 2 | 4240 | 0
51 | Surgical Hand drill | Orthotool Marketing Pune | 5500 | 3 |  | 3 | 16500 | 0
52 | EAR MICROSURGERY ENT MICROSCOPE | Karl Zeis | 708112 | 2 |  | 2 | 1416224 | 0
53 | Micro Motor for ENT surgery |  | 19950 | 2 |  | 2 | 39900 | 0
54 | Eletronic Endoflator with SEB System | Karl Stoz | 254550 | 1 |  | 1 | 254550 | 0
55 | Eso phagoscopy ENT Instrument | KARL Storz | 416488 | 2 |  | 2 | 832976 | 0
56 | Double punctured laparascope | MAXER, Germany | 117882 | 2 |  | 2 | 235764 | 0
57 | Full set of Laparascope double puncture | Karl storz | 473953 | 2 |  | 2 | 947906 | 0
58 | Full set of Laparascope make nester | Nester | 512329 | 1 |  | 1 | 512329 | 0
59 | Operative Laparoscope with acessaries | Karl Storz | 843175 | 1 |  | 1 | 843175 | 0
60 | Electric drill & saw | Manman | 205581 | 2 |  | 2 | 411162 | 0
61 | C-ARM IMAGE Intesifier TV System | SEIMENS | 1650000 | 3 | 1 | 2 | 4950000 | 1650000
| Total Of Operation Theatre Equipment |  |  | 280 | 21 | 259 | 69350594.44 | 9208200 | 13.2778
J | Radiology Equipment
1 | CT Scaner Single Slice | Siemens | 24059000 | 1 |  | 1 | 24059000 | 0
2 | CT Scaner 16 Slice | GE | 24059000 | 1 |  | 1 | 24059000 | 0
3 | Portable X Ray machine | Siemens | 275000 | 2 |  | 2 | 550000 | 0
4 | X - Ray Machine | Polyscope2-Pleophos D | 554840 | 2 |  | 2 | 1109680 | 0
5 | X - Ray Machine | Polyscope2- Multiphosic 15 1 Tube | 598000 | 12 |  | 12 | 7176000 | 0
6 | Siemens Flurovision | SEIMENS | 1085000 | 2 | 1 | 1 | 2170000 | 1085000
7 | multi mobile 2.5ma | seimens | 315000 | 1 |  | 1 | 315000 | 0
8 | CR System | Fuji Films India | 1580000 | 7 |  | 7 | 11060000 | 0
9 | B/W Ultrasonography Machine | Siemens Sonoline | 870000 | 12 |  | 12 | 10440000 | 0
10 | B/W Ultrasonography Machine | GE Logic 200 | 414000 | 5 | 3 | 2 | 2070000 | 1242000
11 | Colour Doppler | Siemens | 2000000 | 2 |  | 2 | 4000000 | 0
12 | Mamography Machines | Siemens | 3850000 | 2 |  | 2 | 7700000 | 0
| Total Of Radiology Equipment |  |  | 49 | 4 | 45 | 94708680 | 2327000 | 2.457
K | Dental Equipment
1 | Dental Unit | Chamunda Chair Unit | 516674 | 16 | 1 | 15 | 8266784 | 516674
2 | Autoclave 7 Ltr with stabilizer | Uniclave | 70875 | 15 |  | 15 | 1063125 | 0
| Total Of DentalEquipment |  |  | 31 | 1 | 30 | 9329909 | 516674 | 5.5378
Total | [6 empty] | 425218597.98 | 64317470.6
% of Non working Equipments | [6 empty] | 15.1257