## KAYAKALP-virtual(DH,SDH,CHC,PHC
APS | Kayakalp Clean Hospitals Awards | [6 empty] | Ver- 1020/V/0.2
Checklist for Virtual Assessment (DH, SDH, CHC & PHC-with bed)
The Cleanliness Score Card
| Name of Facility | 100% |  | Level of Assessment
| Grading |  |  | Improvement
Thematic Scores
| A. Hospital Upkeep |  | B. Sanitation & Hygiene | E. Support Services
| 40 |  | 40 | 20
| C. Waste Management |  | D. Infection Control | F. Hygiene Promotion
| 40 |  | 40 | 20
G. Beyond Hospital Boundary
20
Ref. No. | Criteria | Assessment Method | Means of Verification | Compliance |  |  |  | Remarks
A | HOSPITAL / FACILITY UPKEEP
A1 | Pest & Animal Control |  |  | 4
A1.1 | No stray animals within the facility premises | OB | Observe for the presence of stray animals such as dogs, cats, cattle, pigs, etc. within the premises. Check for intact boundary wall, presence of secured gate with cattle traps | 2 |  | 0
A1.2 | Pest Control Measures are implemented in the facility | SI/RR/ OB | Check for the evidence at the facility to control rodents, insects, anti-termite treatment and mosquito control measures | 2 |  | 1
A2 | Landscaping & Gardening |  |  | 4 |  | 2
A2.1 | No wild vegetation and overgrown branches of plants/trees | OB | Check that wild vegetation does not exist. Shrubs and Trees are well maintained. Over grown branches of plants/ tree have been trimmed regularly. | 2
A2.2 | Green area are well maintained and provision of Herbal Garden | OB/SI | Gardens/ green area are secured with fence The facility maintains a herbal garden for the medicinal plants | 2
A3 | Maintenance of Open Areas |  |  | 4
A3.1 | No abandoned / dilapidated building within the premises and no unauthorized occupation | OB | Check for presence of any ‘abandoned building’ within the facility premises and any encroachment of the facility by the vendors, unauthorised shops etc. | 2
A3.2 | No water logging in open areas | OB | Check for water accumulation in open areas because of faulty drainage, leakage from the pipes, etc. | 2
A4 | Facility Appearance |  |  | 4
A4.1 | Name of the facility is prominently displayed at the entrance and having uniform signage system | OB | Name of the facility is prominently displayed as per state’s policy. The name board of the facility is well illuminated / florescent to have visibility in night All signage’s (directional & departmental ) are in uniform colour scheme and in local language | 2
A4.2 | No chipping-off plasters and faded painting in the facility | OB | Check that wall (Internal and External) plaster is not chipped-off and the building is painted/ whitewashed in uniform approved colour and Paint has not faded away. Check for presence of any outdated Posters | 2
A5 | Infrastructure Maintenance |  |  | 4
A5.1 | No major cracks, seepage and chipped plaster in the facility | OB/RR | No major cracks, seepage, chipped plaster & floors are seen within the building. The Building is periodically maintained | 2
A5.2 | Facility has adequate facility for parking of vehicles | OB | Check that there is a demarcated space for parking of the vehicles as well as for the Ambulances and vehicles are parked systematically | 2
A6 | Illumination |  |  | 4
A6.1 | Adequate illumination in the front of the facility and on its access road | OB/RR | Check that the facility front, entry gate and access road are well illuminated and usage of energy efficient bulb like LED | 2
A6.2 | Adequate illumination inside the building | OB | Check for adequate lighting arrangements through natural lights and usage of energy efficient bulbs like LED. | 2
A7 | Maintenance of Furniture & Fixture |  |  | 4
A7.1 | Window and doors are well maintained | OB | Check, if Window panes are intact, and provided with Grill/ Wire Meshwork. Doors are intact and painted /varnished | 2
A7.2 | No broken, rusted or unpolished furniture in the facility | OB | Check that all furniture’s are painted and not broken. Mattresses are clean and not torn. Look for patient beds, Trolleys, Stretchers, Wheel Chairs, IV Stands etc. | 2
A8 | Removal of Junk Material |  |  | 4
A8.1 | Facility has documented and implemented States' Condemnation policy | SI/RR | Check if the facility has drafted its condemnation policy or have got one from the state. Check whether it has been complied. | 2
A8.2 | No junk material within the facility premises | OB | Check if unused / condemned articles and outdated record are kept in the Nursing stations, OPD clinics, Labour Room, Injection Room, Dressing Room, Wards, stairs, open areas, roof tops, balcony etc. No condemned vehicles are parked Check for availability of a demarcated & secured space for collecting and storing the junk material before its disposal | 2
A9 | Water Conservation |  |  | 4
A9.1 | No wastage of water in the facility | OB | Check for leaking taps, pipes, over-flowing tanks and dysfunctional cisterns | 2
A9.2 | The facility has a functional rain water harvesting system | OB/SI | Check for rain water harvesting system and check its functionality and usage | 2
A10 | Work Place Management |  |  | 4
A10.1 | The Staff periodically sort useful and unnecessary articles at work station | SI/OB | Ask the staff about the frequency of sorting and removal of unnecessary articles from their work place like Nursing stations, work bench, dispensing counter in Pharmacy, etc. Check for presence of unnecessary articles. | 2
A10.2 | Articles are labelled for easy recognition and easy retrieval. | SI/OB | Check that drugs, instruments, record, etc. are labelled for facilitating easy identification. | 2
B | SANITATION & HYGIENE
B1 | Cleanliness of Circulation Area |  |  | 4
B1.1 | No dirt/Grease/Stains/ Cobwebs/Bird Nest/ Dust/ vegetation on the walls and roof in the facility circulation area | OB | Check that floors and walls of Corridors, Waiting area, stairs, roof top for any visible or tangible dirt, grease, stains, etc. Check that roof, walls, corners of Corridors, Waiting area, stairs, roof top for any Cobweb, Bird Nest, etc. | 2
B1.2 | Surfaces are conducive for effective cleaning | OB | Check if surfaces are smooth for cleaning Check the floors and walls for cracks, uneven or any other defects which may adversely impact the cleaning procedure | 2
B2 | Cleanliness of Wards |  |  | 4
B2.1 | No dirt/Grease/Stains/ Cobwebs/Bird Nest/ Dust/ vegetation on the walls and roof in the ward | OB | Check the floors and walls of wards for any visible or tangible dirt, grease, stains, etc. Check the roof, walls, corners of wards for any Cobweb, Bird Nest, etc. | 2
B2.2 | Surfaces are conducive for effective cleaning | OB | Check if surfaces are smooth for cleaning Check the floors and walls for cracks, uneven or any other defects which may adversely impact the cleaning procedure | 2
B3 | Cleanliness of Procedure Areas |  |  | 4
B3.1 | No dirt/Grease/Stains/ Cobwebs/Bird Nest/ Dust/ vegetation on the walls and roof in the procedure area. | OB | Check that floors and walls of Procedure area like Labour Room, OT, Dressing Room, Immunization Room etc. (As Applicable) for any visible or tangible dirt, grease, stains, etc. Check that roof, walls, corners of these area for any Cobweb, Bird-nest, vegetation, etc. | 2
B3.2 | Surfaces are conducive for effective cleaning | OB | Check if surfaces are smooth for ensuring cleaning Check the floors and walls for cracks, uneven or any other defects which may affect cleaning procedure | 2
B4 | Cleanliness of Ambulatory & Diagnostic Areas |  |  | 4
B4.1 | No dirt/Grease/Stains and Cobwebs/Bird Nest/ Dust on walls and roof in Ambulatory & Diagnostic area. | OB | Check that floors and walls of OPD, Lab, X-ray etc. (If available) for any visible or tangible dirt, grease, stains, etc. Check that roof, walls, corners of these area for any Cobweb, Bird Nest, etc. | 2
B4.2 | Surfaces are conducive of effective cleaning | OB | Check if surfaces are smooth for ensuring cleaning Check the floors and walls for cracks, uneven or any other defects which may affect cleaning procedure. | 2
B5 | Cleanliness of Auxiliary Areas |  |  | 4
B5.1 | No dirt/Grease/ Stains/ Garbage in Auxiliary Area | OB | Check that floors and walls of Pharmacy, Stores, cold chain Room, Meeting Room etc. (As applicable) for any visible or tangible dirt, grease, stains, etc. Check that roof, walls, corners of these area for any Cobweb, Bird Nest, etc. | 2
B5.2 | Surfaces are conducive of effective cleaning | OB | Check if surfaces are smooth enough for cleaning check floors and walls for cracks, uneven or any other defects which may affect cleaning procedure | 2
B6 | Cleanliness of Toilets |  |  | 4
B6.1 | No dirt/Grease/Stains/ Garbage in Toilets | OB | Check some of the toilets randomly in indoor and outdoor areas for any visible dirt, grease, stains, water accumulation in toilets | 2
B6.2 | Toilets have running water and functional cistern. | OB/SI | Ask staff to open tap and operate cistern of the flush | 2
B7 | Use of standards materials and Equipment for Cleaning |  |  | 4
B7.1 | Availability of Detergent Disinfectant solution / Hospital Grade Phenyl for Cleaning purpose | SI/OB/RR | Ask with the cleaning staff if they are getting adequate supply. Verify the consumption record. Check, if the cleaning staffs are aware of correct concentration and dilution method for preparing cleaning solution. | 2
B7.2 | Availability of Cleaning Equipment | SI/OB/RR | Check the availability of mops, brooms, collection buckets. Verify with the consumption record | 2
B8 | Use of Standard Methods Cleaning |  |  | 4
B8.1 | Use of Three bucket system for cleaning | SI/OB | Check if cleaning staff uses three bucket system for cleaning. (One bucket for Cleaning solution, second for plain water and third one for wringing the mop.) Ask the cleaning staff about the process. Disinfection and washing of mops after every cleaning cycle need to be undertaken. | 2
B8.2 | Use unidirectional method and out word mopping | SI/OB | Ask the cleaning staff to demonstrate, how they apply mop on floors. It should be in one direction without returning to the starting point. The mop should move from inner area to outer area of the room. Separate mop is used for the Procedure area. | 2
B9 | Monitoring of Cleanliness Activities |  |  | 4
B9.1 | Use of Housekeeping Checklist in Toilets | OB/RR | Check that Housekeeping Checklist is displayed in the facility and updated. Check Housekeeping record if checklists are daily updated . | 2
B9.2 | Periodic Monitoring of Housekeeping activities | SI/RR | Periodic Monitoring is done by person designated. Please check record of such monitoring | 2
B10. | Drainage and Sewage Management |  |  | 4
B10.1 | Availability of closed drainage system | OB/SI | Check, the facility has a closed drainage system or else drains and it should be properly covered. | 2
B10.2 | No blocked/ over-flowing drains in the facility | OB | Observe that the drains are not overflowing or blocked | 2
C | WASTE MANAGEMENT
C1 | Segregation of Biomedical Waste |  |  | 4
C1.1 | Segregation of BMW is done as per BMW management rule,2016 & its (amendment) | SI/OB | Anatomical waste and soiled dressing material are segregated in Yellow Bin General and infectious waste are not mixed | 2
C1.2 | Display of work instructions for segregation and handling of Biomedical waste | OB | Checks for instructions for segregation of waste in different colour coded bins are displayed at point of use. | 2
C2 | Collection and Transportation of Biomedical Waste |  |  | 4 | 0 | 0 | 0
C2.1 | The facility has linkage with a CWTF Operator or has deep burial pit (with prior approval of the prescribed authority) | OB/SI/RR | Check record for functional linkage with a CWTF In absence of such linkage, check existence of deep burial pit, which has approval of the prescribed authority. | 2
C2.2 | Transportation of biomedical waste is done in closed container/trolley | OB/SI/RR | Check if transportation of waste from clinical areas to storage areas is done in covered trolleys / Bins. Trolleys used for patient shifting should not be used for transportation of waste. | 2
C3 | Sharp Management |  |  | 4
C3.1 | Disinfection of Broken / Discarded Glassware is done as per recommended procedure | OB/SI/ RR | Check if such waste is either pre-treated with 1-2% Sodium Hypochlorite (having 30% residual chlorine) for 20 minutes or by autoclaving/ microwave/ hydroclave, followed storage in puncture proof and leak proof boxes or containers with blue coloured marking for re-cycling. | 2
C.3.2 | Sharp Waste is stored in Puncture proof containers | OB/SI | Check availability of Puncture & leak proof container (White Translucent) at point of use for storing needles, syringes with fixed needles, needles from cutter/burner, scalpel blade, etc. | 2
C4 | Storage of Biomedical Waste |  |  | 4
C4.1 | Dedicated Storage facility is available for biomedical waste | OB | Check if the health facility has dedicated room for storage of Biomedical waste before disposal/handing over to Common Treatment Facility. | 2
C4.2 | No Biomedical waste is stored for more than 48 Hours | SI/RR | Verify that the waste is being disposed / handed over to CTF within 48 hour of generation. Check the record especially during holidays | 2
C5 | Disposal of Biomedical waste |  |  | 4
C5.1 | The facility has adequate facility for disposal of Biomedical waste | RR/OB/SI | The Health facility within 75 KM of CTF shall have a valid contract with a Common Treatment facility for disposal of Bio medical waste. Or else facility should have Deep Burial Pit and Sharp Pit within premises of Health facility. Such deep burial pit should have approval of the Prescribed Authority. | 2
C5.2 | Facility manages recyclable waste as per approved procedure | OB/SI | Check management of IV Bottles (Plastic), IV tubes, Urine Bags, Syringes, Catheter, etc. (Autoclaving/ Microwaving/ Hydroclaving followed by shredding or a combination of sterilisation and shredding. Later treated waste is handed over to registered vendors. | 2
C6 | Management Hazardous Waste |  |  | 4
C6.1 | Availability of Mercury Spill Management Kit and Staff is aware of Mercury Spill management | SI/OB | Check for Mercury Spill Management Kit and ask staff what he/she would do in case of Mercury spill. (If facility is mercury free give full compliance) | 2
C6.2 | Disposal of Expired or discarded medicine | SI/RR | Returned back to manufacturer or supplier Alternatively handed over to CWTF Operator for incineration at temperature > 1200 *C | 2
C7 | Solid General Waste Management |  |  | 4
C7.1 | Availability of Compost pit as per specification | OB/SI | Availability of compost pit for Bio degradable general waste. | 2
C7.2 | Innovations in managing general waste | OB/SI | Look for efforts of the health facility in managing General Waste, such as Recycling of paper waste, vermicomposting, waste to energy initiative, etc. | 2
C8 | Liquid Waste Management |  |  | 4
C8.1 | Body fluids, secretions in suction apparatus, blood and other exudates in OT, Labour room etc. are disposed only after treatment. | OB/SI | Check that such secretions, blood and exudates are treated as per protocol. | 2
C8.2 | The facility has treatment facility for managing infectious liquid waste | OB/SI | Check the availability of effluent treatment system. | 2
C9 | Equipment and Supplies for Bio Medical Waste Management |  |  | 4
C9.1 | Availability of Bins & liners for segregated collection of waste at point of use | OB/SI | One set of bins of appropriate size at each point of generation for Biomedical and General waste with chlorine free liners. | 2
C9.2 | Availability of Needle/ Hub cutter and puncture proof boxes | OB/SI | At each point of generation of sharp waste | 2
C10 | Statuary Compliances |  |  | 4
C10.1 | The facility has a valid authorization for Bio Medical waste Management from the prescribed authority | RR | Check for the validity of authorization certificate and facility submit annual report regularly to the prescribed authority | 2
C10.2 | The facility maintains record, as required under the Biomedical Waste Rules 2016 &its amendments | RR | Check following record - a. Yearly Health Check-up record of all handlers b. BMW training record of all staff (once in year training) c. Immunisation record of all waste handlers | 2
D | INFECTION CONTROL
D1 | Hand Hygiene |  |  | 4
D1.1 | Availability of Sink and running water at point of use with display of hand washing instructions | OB | Check for washbasin with functional tap, soap and running water at all points of use with display of hand washing instructions. | 2
D1.2 | Staff is aware of standard hand washing protocol | SI | Ask facility staff to demonstrate 6 steps of normal hand wash and 5 moments of hand washing | 2
D2 | Personal Protective Equipment (PPE) |  |  | 4
D2.1 | Use of Gloves, Masks ,Head cap, Apron etc. | OB | Check, if staff uses Gloves, mask head caps , and aprons in patient care and procedure areas | 2
D2.2 | Use of Heavy Duty Gloves and gumboot by waste handlers | OB | Check, if the housekeeping staff and waste handlers are using heavy duty gloves and gum boots | 2
D3 | Personal Protective Practices |  |  | 4
D3.1 | The staff is aware of use of gloves, when to use (occasion) and its type | SI/OB | Check with the staff when do they wear gloves, and when gloves are not required. The Staff should also know difference between clean & sterilized gloves and when to use | 2
D3.2 | Correct method of wearing and removing PPEs | SI/OB | Ask the staff to demonstrate correct method of wearing and removing Gloves, Caps and masks etc.. | 2
D4 | Decontamination and Cleaning of Instruments |  |  | 4
D4.1 | Staff knows how to make Chlorine solution | SI | Ask the staff how to make 1% chlorine solution from Bleaching powder and Hypochlorite solution | 2
D4.2 | Decontamination of operating and Surface examination table, dressing tables etc. after every procedures | SI/OB | Ask staff when and how they clean the operating surfaces either by chlorine solution or Disinfectant like carbolic acid | 2
D5 | Disinfection & Sterilization of Instruments |  |  | 4
D5.1 | Adherence to Protocols for Sterlization | SI/OB/RR | Check about awareness of recommended temperature, duration and pressure for autoclaving instruments - 121 degree C, 15 Pound Pressure for 20 Minutes (30 Minutes if wrapped) Linen - 121 C, 15 Pound for 30 Minutes. Check if the staff know the protocol for sterilization of laparoscope soaking it in 2% Glutaraldehyde solution for 10 Hours | 2
D5.2 | Adherence to Protocol for High Level disinfection | SI/OB | Check with the staff process about of High Level disinfection using Boiling for 20 minutes with lid on, soaking in 2% Glutaraldehyde/Chlorine solution for 20 minutes. | 2
D6 | Spill Management |  |  | 4
D6.1 | Staff is aware of how to manage spills | SI/OB | Check for adherence to protocols | 2
D6.2 | Availability of spill management Kit | SI/OB | Check availability of kits | 2
D7 | Isolation and Barrier Nursing |  |  | 4
D7.1 | Infectious patients are not mixed for general patients | OB/SI | Check infectious patients are seprated from other patients | 2
D7.2 | Maintenance of adequate bed to bed distance in wards | OB | A distance of 3.5 Foot is maintained between two beds in wards | 2
D8 | Infection Control Program |  |  | 4
D8.1 | Infection Control Committee is constituted and functional in the facility | RR/SI | Check for the enabling order and minutes of the meeting | 2
D8.2 | Immunization and medical check-up of the facility staff | RR/SI | Check the staff has been immunized against Hepatitis B Check for the medical check-up record | 2
D9 | Hospital Acquired Infection Surveillance |  |  | 4
D9.1 | Regular microbiological surveillance of Critical areas | RR/SI | Check for the records of microbiological surveillance of critical areas like OT, Labour room, ICU, SNCU etc. | 2
D9.2 | Facility reports all notifiable diseases and events | RR/SI | Check that the facility has list of all notifiable disease needs immediate/periodic reporting to higher authority. Check record that notifiable diseases have been reported in program such as IDSP and AEFI Surveillance. | 2
D10 | Environment Control |  |  | 4
D10.1 | Cross-ventilation at Patient Care areas (ward, labour room and dressing room) | OB/SI | Check availability of Fans/ air conditioning/ Heating/ exhaust/ Ventilators as per environment condition and requirement | 2
D10.2 | Preventive measures for air borne infections has been taken | OB/SI | Check staff is aware, adhere and promote respiratory hygiene and cough etiquettes | 2
E | SUPPORT SERVICES
E1 | Laundry Services & Linen Management |  |  | 4
E1.1 | The facility has adequate stock (including reserve) of linen | RR/SI | Check the stock position and its turn-over during last one year in term of demand and availability | 2
E1.2 | No stained bedsheets, pillows, curtains used in the facility | OB/SI | Observe the condition of linen in use in the facility | 2
E2 | Water Sanitation |  |  | 4
E2.1 | The facility receives adequate quantity of water as per requirement | RR/SI/PI | At least 200 litres of water per bed per day is available (if municipal supply). or the water is available on 24x7 basis at all points of usage | 2
E2.2 | There is storage tank for the water and tank is cleaned periodically | RR | The facility should have capacity to store 48 hours water requirement Water tank is cleaned at six monthly interval and record of bacteriological examination is available. | 2
E3 | Pharmacy and store |  |  | 4
E3.1 | Medicines are arranged systematically | OB/SI | Check all the shelves/racks containing medicines are labelled in pharmacy and drug store Heavy items are stored at lower shelves/racks Fragile items are not stored at the edges of the shelves Drugs and consumables are stored away from water and sources of heat, direct sunlight etc. Drugs are not stored at floor and adjacent to wall | 2
E3.2 | Cold storage equipment's are clean and managed properly | OB | Check ILR, Deep freezers and Ice packs are clean Check there is a practice of regular cleaning. Check vaccines are kept in sequence Check work instruction for storage of vaccines are displayed at point of use | 2
E4 | Security Services |  |  | 4
E4.1 | The main gate of premises, Hospital building, wards, OT and Labour room are secured | OB | Check for the presence of security personnel at critical locations | 2
E4.2 | Departments are locked after working hours | OB/SI | Departments like OPD, Store, Administrative office etc. are locked after working hours. | 2
E5 | Out-sourced Services Management |  |  | 4
E5.1 | There is valid contract for outsource services (if any) like housekeeping, BMW Management | RR/SI | Check for contract document of all outsource services Check for defined and measurable deliverables | 2
E5.2 | Service provided by the outsource agency are measured periodically | RR/SI | Check if performance of the vendors have been evaluated and recorded | 2
F | HYGIENE PROMOTION
F1 | Community Monitoring & Patient Participation |  |  | 4
F1.1 | Local community and organisations are involved in monitoring and promoting cleanliness | SI/RR | Members of RKS and Local Governance bodies monitor the cleanliness of the facility at pre-defined intervals Local NGO/ Civil Society Organizations/Panchayati Raj Institution are involved in cleanliness of the facility | 2
F1.2 | Patients are made aware of their responsibility of keeping the health facility clean | OB/PI | Ask patients about their roles & responsibilities with regards to cleanliness. Patient’s responsibilities should be prominently displayed | 2
F2 | Information Education and Communication |  |  | 4
F2.1 | IEC regarding importance of maintaining hand hygiene is displayed in hospital premises | OB | Should be displayed prominently in local language | 2
F2.2 | IEC regarding Swachhata Abhiyan is displayed within the facilities’ premises | OB | Should be displayed prominently in local language | 2
F3 | Leadership and Team work |  |  | 4
F3.1 | Cleanliness and infection control committee has representation of all cadre of staff including Group ‘D’ and cleanings staff | RR/SI | Verify with the record Ask different members about their roles and responsibilities | 2
F3.2 | The facility identifies good performing staff members and departments | RR/SI | Check with the facility administration about any such practices | 2
F4 | Training and Capacity Building and Standardization |  |  | 4
F4.1 | SOPs for Bio medical waste Management and training | RR/SI | Check the SOPs and training of staff as per defined SOPs of BMW management | 2
F4.2 | SOPs for Cleaning and infection control practices and training | SI/RR | Check the SOPs and training of staff as per defined SOPs of cleaning and infection control practices | 2
F5 | Staff Hygiene and Dress Code |  |  | 4
F5.1 | The facility has dress code policy for all cadre of staff | OB/SI | The facility staff adhere to dress code | 2
F5.2 | Identity cards and name plates have been provided to all staff | OB | Check staff uses I Card and name plate | 2
G | BEYOND HOSPITAL BOUNDARY
G1 | Promotion of Swachhata & Coordination with Local bodies |  |  | 4
G1.1 | The Facility coordinates with local Gram Panchayat/Urban local bodies and NGOs for improving Swachhata in vicinity of the health facility | RR/SI | Check for evidence of any collective action to improve Swachhata in the victinity of the facility such as cleaning of drains, maintenance of parking space, orderly arrangement of hawkers (outside the facility), rickshaw, auto, taxi, construction & maintenance of public toilets, improving street-lighting, removing cattle nuisance, etc.. | 2
G1.2 | Facility coordinates with other departments for improving Swachhata | RR/SI | Look for evidence of coordination with departments such as Education (school programs on hygiene promotions), Water and Sanitation (making area ODF), PWD (Repair & Maintenance), Forest Department (Plantation Drive) etc., which contributes strengthening towards of hygiene & sanitation | 2
G2 | Cleanliness of approach road and surrounding area |  |  | 4
G2.1 | Area around the facility is clean, neat and tidy | OB | Check for any litter/garbage/refuse in the surrounding area No stagnation of water in the surrounding and open drains | 2
G2.2 | Approach road are clean, even and free from pot-holes | OB | Check that approach roads are clean and free from pot-holes and water stagnation | 2
G3 | Public Amenities in Surrounding Area |  |  | 4
G3.1 | Availability of Public amenities in the surrounding Area | OB | Check for availability of public amenities in the surrounding area like toilets, urinals and drinking water facility | 2
G3.2 | Availability of adequate parking facilities for Public Transport such as Cycle Rickshaw, Tanga, Auto, Taxi etc. | OB | Check signage & parking space: Also check that such transports are not parked haphazardly | 2
G4 | Aesthetics of Surrounding area |  |  | 4
G4.1 | Parks and green areas in the surrounding area are well maintained | OB/SI | Check that there no wild vegetation & growth in the surroundings. Shrubs and trees are well maintained. Dry leaves and green waste are removed regularly. | 2
G4.2 | Illumination in surrounding area | OB | Check that hospital front, approach road and surrounding area are having provision of street lights | 2
G5 | Maintenance of surrounding area and Waste Management |  |  | 4
G5.1 | Availability of bins for General recyclable and biodegradable wastes | OB | Check availability adequate number of bins for Biodegradable and recyclable general waste | 2
G5.2 | Regular repairs and maintained of roads, footpaths and pavements | OB/SI | Check the current condition of the road- pot-holes, broken footpath etc. and enquired for last repaired done | 2