|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **GENERAL HOSPITAL TEJU, LOHIT DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **O.T ROOM** | **O.T LIGHT(7)** | **1** | **NOT VISIBLE** | **NOT FOUND** | **NOT WRITTEN** |  | **NOT FOUND** |  | **YES** |
| **2** | **O.T ROOM** | **O.T TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **O.T ROOM** | **ANAESTHESIA MACHINE** | **1** | **DATEX-OHMEDA** | **#** | **#** |  | **#** | **YES** |  |
| **4** | **O.T ROOM** | **OPERATIONAL MICROSCOPE** | **1** | **\*** | **PP-Z** | **S824A322** |  | **#** | **YES** |  |
| **5** | **O.T ROOM** | **LAPROSCOPE** | **1** | **DUAL CONTROL** | **\*** | **9JS457** |  | **#** | **YES** |  |
| **6** | **O.T ROOM** | **OPERATIONALMICROSCOPE** | **1** | **SHIN NIPPON** | **OP-2** | **S82A178** |  | **#** | **YES** |  |
| **7** | **MINOR O.T** | **O.T LIGHT (4)** | **1** | **ANAND** | **\*** | **#** |  | **#** |  | **YES** |
| **8** | **MINOR O.T** | **LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **9** | **MINOR O.T** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **10** | **MINOR O.T** | **SPOT LIGHT** | **1** | **LOCAL MFG** | **LR93948** | **BCE00242** |  | **#** | **YES** |  |
| **11** | **MINOR O.T** | **VERTICAL AUTOCLAVE** | **1** | **ELCON** | **#** | **#** |  | **#** | **YES** |  |
| **12** | **MINOR O.T** | **STIRLIZER(EYE)** | **1** | **TUTTNAUER** | **VALUE CLAVE** |  |  | **#** | **YES** |  |
| **13** | **MINOR O.T** | **VERTICAL AUTOCLAVE** | **1** | **REMEX** | **#** | **#** |  | **#** | **YES** |  |
| **14** | **MINOR O.T** | **STIRLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **15** | **MINOR O.T** | **PATIENT**  **MONITOR** | **1** | **DATEX** | **#** | **86875** |  | **#** | **YES** |  |
| **16** | **O.T STORE** | **STIRLIZER** | **1** | **VEST** | **#** | **#** |  | **#** |  | **YES** |
| **17** | **O.T STORE** | **SUCTION MACHINE** | **1** | **HI-VAC** | **#** | **#** |  | **#** |  | **YES** |
| **18** | **O.T STORE** | **VERTICAL AUTOCLAVE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **19** | **O.T STORE** | **VERTICAL AUTOCLAVE** | **1** | **UNILAB** | **#** | **#** |  | **#** |  | **YES** |
| **20** | **O.T STORE** | **VERTICAL AUTOCLAVE** | **1** | **DUKE** | **#** | **#** |  | **#** |  | **YES** |
| **21** | **O.T STORE** | **VERTICAL AUTOCLAVE** | **1** | **DUKE** | **#** | **#** |  | **#** |  | **YES** |
| **22** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **23** | **LABOUR ROOM** | **BABY WARMER** | **1** | **MEDI WAVES INC.** | **#** | **#** |  | **#** | **YES** |  |
| **24** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **25** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SHIVA** | **#** | **#** |  | **#** |  | **YES** |
| **26** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **27** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **28** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **#** | **YES** |  |
| **29** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** |  |  | **#** | **YES** |  |
| **30** | **X-RAY ROOM** | **X-RAY(100mA)** | **1** | **SIEMENS** | **5201** | **014990** |  | **#** |  | **YES** |
| **31** | **X-RAY ROOM** | **X-RAY(300mA)** | **1** | **ALLENGERS** | **MATSHANN** | **2K80130008-Y** |  | **#** | **YES** |  |
| **32** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH20i BIMF** | **12B612** |  | **#** | **YES** |  |
| **33** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH20i BIMF** | **166371** |  | **#** | **YES** |  |
| **34** | **LABORATORY** | **WATER BATH** | **1** | **YORCO** | **#** | **#** |  | **#** |  | **YES** |
| **35** | **LABORATORY** | **WATER BATH** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **36** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **PZO** | **#** |  | **#** |  | **YES** |
| **37** | **LABORATORY** | **MICROSCOPE** | **1** | **MAGNUS** | **#** | **MOHMCBSM** |  | **#** |  | **YES** |
| **38** | **LABORATORY** | **OVEN** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **39** | **LABORATORY** | **REFRIDGERATOR** | **1** | **GODREJ** | **GD-22** | **#** |  | **#** | **YES** |  |
| **40** | **LABORATORY** | **REFRIDGERATOR** | **1** | **KELVINATOR** | **KHE-173** | **1890300037** |  | **#** |  | **YES** |
| **41** | **LABORATORY** | **OVEN** | **1** | **NO NAME** | **#** | **#** |  | **#** |  | **YES** |
| **42** | **LABORATORY** | **CENTRIFUGE** | **1** | **HETTICHI** | **D-78532** | **143831** |  | **#** | **YES** |  |
| **43** | **LABORATORY** | **DIGITALCOLORIMETER** | **1** | **UNILAB** | **RH-133** | **60392** |  | **#** | **YES** |  |
| **44** | **DENTAL ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **45** | **DENTAL ROOM** | **DENTAL CHAIR** | **1** | **DENFORT INTERNATIONAL** | **DF** | **AC-01** |  | **#** |  | **YES** |
| **46** | **DENTAL ROOM** | **VERTICAL AUTOCLAVE** | **1** | **SHIVA** | **#** | **#** |  | **#** | **YES** |  |
| **47** | **DENTAL ROOM** | **DENTAL CHAIR** | **1** | **CONFIDENT** | **MODEL-IV** | **#** |  | **#** |  | **YES** |
| **48** | **DENTAL ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **49** | **DENTAL ROOM** | **DENTAL X-RAY** | **1** | **#** |  | **TSP819** |  | **#** | **YES** |  |
| **50** | **ULTRASOUND ROOM** | **ULTRASOUND MACHINE** | **1** | **IMMUNOVATIVE** | **Xuzhov** | **97608721** |  | **#** |  | **YES** |
| **51** | **REFRACTION ROOM** | **STIRLIZER** | **1** | **LOCAL** | **#** | **#** |  | **#** | **YES** |  |
| **52** | **REFRACTION ROOM** | **OPTHALMOSCOPE** | **1** | **WELCHALLYM** | **#** | **11710** |  | **#** | **YES** |  |
| **53** | **REFRACTION ROOM** | **RETINAL SCOPE** | **1** | **#** | **#** | **18240** |  | **#** | **YES** |  |
| **54** | **MALARIA ROOM** | **ELISHA WASHER** | **1** | **ROBONIK** | **#** | **AW0220115RBK** |  | **#** | **YES** |  |
| **55** | **MALARIA ROOM** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH20i BIMF** | **I10e025** |  | **#** | **YES** |  |
| **56** | **MALARIA ROOM** | **MICROSCOPE** | **1** | **UNILAB** | **GE-44** | **#** |  | **#** |  | **YES** |
| **57** | **MALARIA ROOM** | **MICROSCOPE** | **1** | **UNILAB** | **GE-44** | **#** |  | **#** |  | **YES** |
| **58** | **ICTC** | **CENTRIFUGE** | **1** | **REMI** | **R8C** | **#** |  | **#** | **YES** |  |
| **59** | **ICTC** | **ROTORY SHKER** | **1** | **NOT FOUND** | **RS-12** | **#** |  | **#** | **YES** |  |
| **60** | **ICTC** | **INCUBATOR** | **1** | **ANALAB** | **#** | **#** |  | **#** |  | **YES** |
| **61** | **ICTC** | **REFRIDGERATOR** | **1** | **WHIRLPOOL** | **#** | **#** |  | **#** | **YES** |  |
| **62** | **ICTC** | **REFRIDGERATOR** | **1** | **ELECTROLAY** | **#** | **#** |  | **#** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
| **67** | **T.B LAB** | **BINOCULAR MICROSCOPE** | **1** | **OLYMPUS** | **LABOMED** | **518548** |  | **10-12-2002** | **YES** |  |
| **68** | **T.B LAB** | **BINOCULAR MICROSCOPE** | **1** | **OLYMPUS** | **LABOMED** | **506** |  | **19-12-2005** | **YES** |  |
| **69** | **T.B LAB** | **WATER BATH** | **1** | **SEROLOGICAL** |  |  |  |  | **YES** |  |
| **70** | **T.B LAB** | **BINOCULAR MICROSCOPE** | **1** | **OLYMPUS** | **LABOMED** | **9384594** |  | **13-12-2012** | **YES** |  |
| **71** | **STORE** | **DESKTOP** | **1** | **HCL** | **#** | **#** |  | **#** | **YES** |  |
| **72** | **STORE** | **REFRIDGERATOR** | **1** | **LG** | **#** | **#** |  | **#** | **YES** |  |
| **73** | **BLOOD BANK** | **CENTRIFUGE** | **1** | **ALMANCRO** | **#** | **#** |  | **#** |  | **YES** |
| **74** | **BLOOD BANK** | **WATER BATH** | **1** | **ALMANCRO** | **#** | **#** |  | **#** | **YES** |  |
| **75** | **BLOOD BANK** | **BLOOD BANK REFRIGERATOR(BIG)** | **1** | **HAIER** | **#** | **#** |  | **#** | **YES** |  |
| **76** | **BLOOD BANK** | **BLOOD BANK REFRIGERATOR(BIG)** | **1** | **HAIER** | **#** | **#** |  | **#** | **YES** |  |
| **77** | **BLOOD BANK** | **BLOOD BANK REFRIGERATOR(SMALL)** | **1** | **YORCO** | **#** | **#** |  | **#** | **YES** |  |
| **78** | **BLOOD BANK** | **OVEN** | **1** | **ALMILCO(SMALL)** | **#** | **#** |  | **#** | **YES** |  |
| **79** | **BLOOD BANK** | **BLOOD COLLECTION MONITOR** | **1** | **\*** | **BCM-10U LITRE** | **EFCM-743** |  | **#** | **YES** |  |
| **80** | **BLOOD BANK** | **BLOOD BAG TUBE SEALER** | **1** | **LABTOP** | **LTS-4** | **12052731** |  | **JULY 2012** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **60** | **TOTAL NO.OF EQUIPMENTS** | **81** |
| **TOTAL STAFF** | **80** | **TOTAL EQUIPMENTS COST** | **7659000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | |  | |  | |  |  |  | |  | |  | |  | |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | | | | | | | |
|
| **C.H.C NAMSAI, LOHIT DISTRICT** | | | | | | | | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | | **Manufacturer** | | **Model** | | **Equipment S.No.** | | **Price** | | **Installation date** | | **Working status** | | |
|  |  |  |  | |  | |  | |  | | **W** | | **NW** |
|  |  |  |  | |  | |  | |  | |  | |  | |  | |  |
|  |  |  |  | |  | |  | |  | |  | |  | |  | |  |
| 3 | **STORE** | **SUCTION MACHINE** | 1 | | **LOCAL MFG** | | **#** | | **#** | |  | | **#** | | **1** | | **YES** |
| 4 | **STORE** | **VERTICAL AUTOCLAVE** | **1** | | **LOCAL MFG** | | **#** | | **#** | |  | | **18 FEB 2010** | | **YES** | |  |
| 5 | **STORE** | **STIRLIZER** | 1 | | **LOCAL MFG** | | **#** | | **#** | |  | | **#** | |  | | **YES** |
| 6 | **X-RAY ROOM** | **X-RAY(20mA)** | 1 | | **SQUAREM** | | **174** | | **8114** | |  | | **01-03-2005** | | **YES** | |  |
| 7 | **X-RAY ROOM** | **X-RAY(60mA)** | 1 | | **SIEMENS** | | **620-01** | | **014784** | |  | | **1993** | |  | | **YES** |
| 8 | **ICTC** | **REFRIDGE** | 1 | | **LG** | | **#** | | **3** | |  | | **#** | | **YES** | |  |
| 9 | **ICTC** | **OVEN** | 1 | | **UNILAB** | | **1** | | **#** | |  | | **#** | |  | | **YES** |
| 10 | **ICTC** | **STIRLIZER** | 1 | | **LOCAL MFG** | | **#** | | **#** | |  | | **#** | | **YES** | |  |
| 11 | **ICTC** | **VERTICAL AUTOCLAVE** | 1 | | **LOCAL MFG** | | **#** | | **#** | |  | | **#** | | **YES** | |  |
| 12 | **LABOUR ROOM** | **NEBULIZER** | 1 | | **MEDIMIST** | | **#** | | **#** | |  | | **#** | |  | | **YES** |
| 13 | **LABORATORY** | **CENTRIFUGE** | 1 | | **LOCAL MFG** | | **#** | | **#** | |  | | **#** | | **YES** | |  |
| 14 | **LABORATORY** | **MICROSCOPE** | 1 | | **OLYMPUS** | | **BMI CH 20i** | | **i1OD092** | |  | | **#** | | **YES** | |  |
| 15 | **LABORATORY** | **REFRIDGE** | 1 | | **ELECTROLUX** | | **#** | | **93080926150060000** | |  | | **#** | | **YES** | |  |
| 16 | **LABORATORY** | **MICROSCOPE** | **1** | | **MAGNUS** | | **S18540** | | **24600** | |  | | **28-05-2014** | | **YES** | |  |
| 17 | **LABORATORY** | **MICROSCOPE** | 1 | | **OLYMPUS** | | **MLX** | | **#** | |  | | **#** | | **YES** | |  |
| 18 | **LABORATORY** | **STIRLIZER** | 1 | | **LOCAL MFG** | | **#** | | **#** | |  | | **#** | | **YES** | |  |
| 19 | **MINOR O.T** | **SUCTION MACHINE(FOOT)** | 1 | | **LOCAL MFG** | | **#** | | **#** | |  | | **#** | |  | | **YES** |
| 20 | **MINOR O.T** | **BABY WARMER** | 1 | | **AVI HEALTHCARE PVT. LTD.** | | **IW4100** | | **NTD102K1401021/05** | |  | | **#** | | **YES** | |  |
| 21 | **MINOR O.T** | **HALOGEN SPOTLIGHT** | 1 | | **BASCO INDIA LTD.** | | **HL 2000** | | **#** | |  | | **#** | | **YES** | |  |
| 22 | **MINOR O.T** | **ANAESTHESIA MACHINE** | 1 | | **AV ULCO HEALTHCARE PVT. LTD.** | | **ELITE 615** | | **#** | |  | | **#** | | **#** | | **YES** |
| 23 | **MINOR O.T** | **SUCTION MACHINE** | 1 | | **SURGIX** | | **#** | | **#** | |  | | **#** | | **#** | | **YES** |
| 24 | **MINOR O.T** | **RADIENT WARMER** | 1 | | **PRAGATHI MEDICAL SYTEMS** | | **#** | | **#** | |  | | **#** | | **#** | |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **15** | **TOTAL NO.OF EQUIPMENTS** | **24** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **1587500** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **C.H.C MAHADEVPUR, LOHIT DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
|  |  |  |  |  |  |  |  |  |  |  |
| **2** | **MINOR O.T** | **LAMP** | **1** | **LOCAL MFG** | **\*** | **#** |  | **FEB 2015** | **YES** |  |
| **3** | **MINOR O.T** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **2006** |  | **YES** |
| **4** | **MINOR O.T** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **2006** | **YES** |  |
| **5** | **EYE ROOM** | **REFRACTION SLIT** | **1** | **LOCAL MFG** | **#** | **#** |  |  | **YES** |  |
| **6** | **LABORATORY** | **REFRIDGE** | **1** | **PANASONIC** | **#** | **#** |  | **2014** | **YES** |  |
| **7** | **LABORATORY** | **CENTRIFUGE** | **1** | **LOCAL MFG** | **#** | **#** |  | **2003** |  | **YES** |
| **8** | **LABORATORY** | **BINOCULAR MICROSCOPE** | **1** | **OLYMPUS** | **BMI CH 20i** | **#** |  | **#** | **YES** |  |
| **9** | **LABORATORY** | **BINOCULAR MICROSCOPE** | **1** | **OLYMPUS** | **BMI CH 20i** | **#** |  | **#** |  | **YES** |
| **10** | **LABORATORY** | **REFRIDGE** | **1** | **LG** | **#** | **303NROD234722** |  | **#** | **YES** |  |
| **11** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **12** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **13** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **#** | **YES** |  |
| **14** | **LABOUR ROOM** | **STIRLIZER** | **1** | **SURGI CRAFT** | **#** | **#** |  | **#** | **YES** |  |
| **15** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **16** | **LABOUR ROOM** | **RADIENT WARMER** | **1** | **AVI HEALTHCARE PVT. LTD.** | **#** | **NTD202K1301008/02** |  | **2013** | **YES** |  |
| **17** | **LABOUR ROOM** | **NEBULIZER** | **1** | **NOT VISIBLE** | **#** | **#** |  | **#** | **YES** |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **17** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **294500** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
| **C.H.C CHOKHAM, LOHIT DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABORATORY** | **CENTRIFUGE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **LABORATORY** | **CALORIMETER** | **1** | **UNIVERSAL-BIO** | **#** | **#** |  | **#** |  | **YES** |
| **3** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH 20i** | **I10E28** |  | **#** | **YES** |  |
| **4** | **LABORATORY** | **REFRIDGE** | **1** | **LG** | **#** | **GL195RL4** |  | **#** | **YES** |  |
| **5** | **LABORATORY** | **INCUBATOR** | **1** | **SPINE** | **#** | **#** |  | **#** | **YES** |  |
| **6** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **OIC** | **801327** |  | **#** |  | **YES** |
| **7** | **X-RAY ROOM** | **X-RAY(60mA)** | **1** | **MEDITRONICS** | **DIAGNOX-60** | **5G084** |  | **2010** | **YES** |  |
| **8** | **STORE ROOM** | **O.T LIGHT(4)** | **1** | **ANAND** | **#** | **#** |  | **#** |  | **YES** |
| **9** | **STORE ROOM** | **VERTICAL AUTOCLAVE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **10** | **STORE ROOM** | **NEBULIZER** | **1** | **HANDYNEB** | **#** | **PCB115609** |  | **2011** | **YES** |  |
| **11** | **STORE ROOM** | **NEBULIZER** | **1** | **MEDI-MIST** | **#** | **#** |  | **#** | **YES** |  |
| **12** | **DENTAL ROOM** | **DENTAL CHAIR WITH COMPRESSURE** | **1** | **TECHNODENT EQUIPMENT PVT LTD.** | **CAJ 35** | **AVK 60692** |  | **2003** |  | **YES** |
| **13** | **DENTAL ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **2006** | **YES** |  |
| **14** | **DENTAL ROOM** | **REFRIDGE** | **1** | **KELVINATOR** | **#** | **#** |  | **#** | **YES** |  |
| **15** | **O.T ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **#** | **YES** |  |
| **16** | **O.T ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **17** | **O.T ROOM** | **RADIENT WARMER** | **1** | **CAREVEL** | **#** | **NRHM(HMSI/RKS)-03** |  | **2011-12** | **YES** |  |
| **18** | **O.T ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **19** | **O.T ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **20** | **STORE ROOM** | **SUCTION MACHINE** | **1** | **V-GAUGE** | **#** | **#** |  | **#** |  | **YES** |
| **21** | **STORE ROOM** | **SUCTION MACHINE** | **1** | **DYNAMIC** | **#** | **009** |  | **#** |  | **YES** |
| **22** | **STORE ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **#** |  | **YES** |
| **23** | **STORE ROOM** | **SUCTION MACHINE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **24** | **API-OFFICE** | **REFRIDGE** | **1** | **GOGREJ** | **#** | **#** |  | **#** |  | **YES** |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **24** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **898000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **C.H.C WAKRO, LOHIT DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **MINOR O.T** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **MINOR O.T** | **VERTICAL AUTOCLAVE** | **1** | **SNI** | **#** | **#** |  | **#** |  | **YES** |
| **3** | **LABOUR ROOM** | **BABY WARMER** | **1** | **AVI HEALTHCARE PVT. LTD** | **#** | **NTD202K1301018/01** |  | **#** | **YES** |  |
| **4** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **5** | **LABORATORY** | **MICROSCOPE BINOCULAR** | **1** | **MAGNUS** | **MLX B-PLUS** | **14F0001** |  | **#** | **YES** |  |
| **6** | **LABORATORY** | **CALORIMETER** | **1** | **ENVIROMENTAL &SCIENTIFIC CO.** | **322** | **010B199** |  | **#** |  | **YES** |
| **7** | **LABORATORY** | **CENTRIFUGE** | **1** | **REMI** | **C-854/6** | **LNLC-8831** |  | **#** | **YES** |  |
| **8** | **LABORATORY** | **INCUBATOR** | **1** | **ELITE** | **#** | **#** |  | **#** | **YES** |  |
| **9** | **LABORATORY** | **FRIDGE** | **1** | **LG** | **#** | **908NLCP006083** |  | **#** | **YES** |  |
| **10** | **COMPUTER ROOM** | **DESKTOP** | **1** | **HP** | **CNC** | **145Q2R3** |  | **2013** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
| **13** | **NURSES DUTY ROOM** | **NEBULIZER** | **1** | **#** | **#** | **PCB 50810** |  | **#** | **YES** |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **13** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **156000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **C.H.C SANPURA, LOHIT DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABOUR ROOM** | **BABY WARMER** | **1** | **AVI HEALTHCARE PVT. LTD** | **#** | **NTD 202K1301008** |  | **02-03-2013** | **YES** |  |
| **2** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **4** | **LABOUR ROOM** | **LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **5** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **#** |  | **YES** |
| **6** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **7** | **LABOUR ROOM** | **LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **8** | **LABORATORY** | **BINOCULAR MICROSCOPE** | **1** | **LABOMED** | **#** | **06077123** |  | **#** | **YES** |  |
| **9** | **LABORATORY** | **MICROSCOPE** | **1** | **UNILAB** | **#** | **#** |  | **#** |  | **YES** |
| **10** | **LABORATORY** | **MICROSCOPE** | **1** | **UNILAB** | **#** | **#** |  | **#** |  | **YES** |
| **11** | **LABORATORY** | **VERTICAL AUTOCLAVE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **12** | **LABORATORY** | **VERTICAL AUTOCLAVE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **15** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **161000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **P.H.C NEW MOHANG, LOHIT DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABOUR ROOM** | **RADIENT WARMER** | **1** | **AVI HEALTHCARE PVT.LTD.** | **\*** | **NTD2D2K1303005/03** |  | **2013** | **YES** |  |
| **2** | **LABOUR ROOM** | **VERTICAL AUTOCLAVE** | **1** | **LOCAL MFG** | **\*** | **#** |  |  | **YES** |  |
| **3** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **\*** | **#** |  | **25/7/2012** | **YES** |  |
| **4** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **\*** | **#** |  | **#** | **YES** |  |
| **5** | **LABOUR ROOM** | **SUCTION MACHINE (FOOT)** | **1** | **LOCAL MFG** | **\*** | **#** |  | **#** |  | **YES** |
| **6** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **\*** | **#** |  | **#** | **YES** |  |
| **7** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **8** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **9** | **LABOUR ROOM** | **FRIDGE** | **1** | **LG** | **#** | **203NRZX230677** |  | **#** | **YES** |  |
| **10** | **LABORATORY** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **11** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **#** | **#** |  | **#** | **YES** |  |
| **12** | **LABORATORY** | **CENTRIFUGE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **13** | **LABORATORY** | **MICROSCOPE** | **1** | **NO NAME** | **#** | **#** |  | **2000** |  | **YES** |
| **14** | **LABORATORY** | **DESKTOP** | **1** | **COMPAQ** | **#** | **#** |  | **2012** | **YES** |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **14** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **181500** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **P.H.C PIYONG, LOHIT DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **LABOUR ROOM** | **BABY WARMER** | **1** | **1AVI HEALTHCARE PVT. LTD.** | **#** | **NTD202K1301014101** |  | **2013** | **YES** |  |
| **3** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **LOCAL MFG** | **#** | **#** |  | **2009** |  | **YES** |
| **4** | **LABOUR ROOM** | **LABOUR TABLE WITH COMPRESSOR** | **1** | **NO NAME** | **#** | **#** |  | **#** |  | **YES** |
| **5** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **6** | **LABORATORY** | **MICROSCOPE** | **1** | **LOCAL MFG** | **CH 20i** | **12A738** |  | **#** | **YES** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **6** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **116500** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **P.H.C LATHO, LOHIT DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **INJECTION ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** |  |  |  |  | **YES** |
| **2** | **LABORATORY** | **REFRIDGE** | **1** | **LG** | **#** | **303NRFM234899** |  | **2013** | **YES** |  |
| **3** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH 20i** | **12B622** |  | **2013** | **YES** |  |
| **4** | **LABOUR ROOM** | **BABY WARMER WITH PHOTO THEREPY** | **1** | **PRAGATHI MEDICAL SYSTEMSPVT. LTD** | **#** | **#** |  | **2011** | **YES** |  |
| **5** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **6** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **7** | **LABOUR ROOM** | **VERTICAL AUTOCLAVE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **8** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **#** |  | **YES** |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **11** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **114000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **P.H.C LOILANG, LOHIT DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABORATORY** | **LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **2** | **LABORATORY** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **LABORATORY** | **NEEDLE DESTROYER** | **1** | **RAMTEC** | **#** | **#** |  | **#** | **YES** |  |
| **4** | **LABORATORY** | **MICROSCOPE** | **1** | **MAGNUS** | **MLX** | **#** |  | **#** |  | **YES** |
| **5** | **LABORATORY** | **CENTRIFUGE** | **1** | **ADITYA** |  | **#** |  | **#** |  | **YES** |
| **6** | **LABORATORY** | **COLORIMETER** | **1** | **OCTA-1** | **VECTOR** | **5154** |  | **#** |  | **YES** |
| **7** | **LABOUR ROOM** | **RADIANT WARMER** | **1** | **AVI HEALTHCARE PVT. LTD.** | **#** | **NTD202K1303005/04** |  | **#** | **YES** |  |
| **8** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **9** | **LABOUR ROOM** | **SPOT LIGHT LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **10** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **11** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **11** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **121200** |
|  | |  |  |

**DETAILED STUDY OF MEDICAL EQUIPMENT IN LOHIT DISTRICT**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |
| **S.No.** | **Name of the Institution** | **TYPE OF HOSPITAL** | **Total Equipment** |  |  | **No. of Working Equipment** | **No. of NOT Working Equipment** | **% of Dysfunction equipment** |
| **1** | **TEZU** | **GH** | **81** |  |  | **56** | **25** | **30.86 %** |
| **2** | **NAMSAI** | **CHC** | **24** |  |  | **14** | **10** | **41.66 %** |
| **3** | **MAHADEVPUR** | **CHC** | **17** |  |  | **13** | **4** | **23.52 %** |
| **4** | **CHOKHAM** | **CHC** | **24** |  |  | **14** | **10** | **41.66 %** |
| **5** | **WAKRO** | **CHC** | **13** |  |  | **10** | **3** | **23.07 %** |
| **6** | **SANPURA** | **CHC** | **15** |  |  | **6** | **9** | **60 %** |
| **7** | **NEW MOHANG** | **PHC** | **14** |  |  | **10** | **4** | **28.57 %** |
| **8** | **PIYONG** | **PHC** | **6** |  |  | **3** | **3** | **50 %** |
| **9** | **LATHO** | **PHC** | **11** |  |  | **9** | **2** | **18.18 %** |
| **10** | **LOILANG** | **PHC** | **11** |  |  | **6** | **5** | **45.45 %** |

* **NON- OPERATIONAL PHC:**

**TAFAGRAM**

**BEKULIANG**

**MEDO**

**IMPUM**

**Percentage of Dysfunctional equipment 18.18 % to 60 %**

**Summary of Biomedical Equipment Inventory Survey in Lohit District**

**Name of facility with Highest Dysfunctional Rate: C.H.C. SUNPURA**

Highest Dysfunctional Rate:**60 %**

**Name of facility with Lowest Dysfunctional Rate : P.H.C. LATHO**

Lowest Dysfunctional Rate: **18.18 %**

Average Dysfunctional Rate: **39.09 %**

**Total Cost of Equipments: 8624200**

Total No. of Equipments: 216

|  |
| --- |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **DISTRICT HOSPITAL YINKIONG, UPPER SIANG** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
| **W** | **NW** |
| **1** | **MINOR O.T** | **SUCTION MACHINE** | **1** | **SURGI VAC** | **#** | **C-190-015** |  | **#** |  | **YES** |
| **2** | **MINOR O.T** | **SUCTION MACHINE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **MINOR O.T** | **O.T TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **4** | **MINOR O.T** | **RADIENT WARMER** | **1** | **AVI HEALTH CARE PVT. LTD.** | **#** | **NT0207K12050004/05** |  | **#** | **YES** |  |
| **5** | **MINOR O.T** | **SPOT LIGHT**  **(HALOGEN)** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **6** | **MINOR O.T** | **SUCTION MACHINE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **7** | **O.T ROOM** | **ANAESTHESIA MACHINE** | **1** | **UMA INDUSTRIES** | **#** | **#** |  | **#** | **YES** |  |
| **8** | **O.T ROOM** | **HALOGEN LIGHT** | **1** | **HL 2000** | **#** | **#** |  | **#** |  | **YES** |
| **9** | **O.T ROOM** | **O.T TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **1999** |  | **YES** |
| **10** | **O.T ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **#** | **YES** |  |
| **11** | **O.T ROOM** | **O.T LIGHT(8)** | **1** | **SURGIDENT** | **#** | **#** |  | **2011** | **YES** |  |
| **12** | **O.T ROOM** | **O.T TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **13** | **O.T ROOM** | **ANAESTHESIA MACHINE** | **1** | **UMA INDUSTRIES** | **#** | **#** |  | **#** | **YES** |  |
| **14** | **O.T ROOM** | **PATIENT MONITOR** | **1** | **MEDIAID INC.** | **#** | **258006647** |  | **#** | **YES** |  |
| **15** | **O.T ROOM** | **RADIENT WARMER** | **1** | **AVI HEALTH CARE PVT. LTD.** | **IW4100SR** | **NTD102K1401015/02** |  | **#** | **YES** |  |
| **16** | **O.T ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **17** | **STIRLIZATION ROOM** | **VERTICAL AUTOCLAVE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **18** | **STIRLIZATION ROOM** | **RADIENT WARMER** | **1** | **MEDIACARE** | **COSYCOVCH** |  |  | **#** |  | **YES** |
| **19** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH 20i** | **i10E001** |  | **#** | **YES** |  |
| **20** | **LABORATORY** | **CENTRIFUGE** | **1** | **REMI** | **AOKC-507** | **#** |  | **#** | **YES** |  |
| **21** | **LABORATORY** | **CENTRIFUGE** | **1** | **REMI** | **AOKC-507** | **#** |  | **#** |  | **YES** |
| **22** | **LABORATORY** | **FRIDGE** | **1** | **HAIER** |  | **#** |  | **#** | **YES** |  |
| **23** | **LABORATORY** | **MICROSCOPE** | **1** | **UNILAB** | **GE-98** | **#** |  | **#** |  | **YES** |
| **24** | **LABORATORY** | **MICROSCOPE** | **1** | **UNILAB** | **GE-98** | **#** |  | **#** |  | **YES** |
| **25** | **LABORATORY** | **MICROSCOPE** | **1** | **MAGNUS** | **1100483** | **#** |  | **#** |  | **YES** |
| **26** | **LABORATORY** | **INCUBATOR** | **1** | **NAVYUG** | **#** | **#** |  | **#** |  | **YES** |
| **27** | **LABORATORY** | **INCUBATOR** | **1** | **NAVYUG** | **#** | **#** |  | **#** |  | **YES** |
| **28** | **LABORATORY** | **COLORIMETER** | **1** | **INNOVA-1000** | **#** | **#** |  | **#** | **YES** |  |
| **29** | **LABORATORY** | **SHAKER** | **1** | **MIOWO** | **#** | **#** |  | **#** | **YES** |  |
| **30** | **BLOOD BANK** | **BLEEDING COSION** | **1** | **DAIOR MANUFACTURE** | **4R4213X** | **DF562-8** |  | **25/02/2011** | **YES** |  |
| **31** | **BLOOD BANK** | **BLOOD COLLECTION MONITOR** | **1** | **REMI** | **BCM-10 ULTRA** |  |  | **#** | **YES** |  |
| **32** | **BLOOD BANK** | **FRIDGE** | **1** | **HAIER** | **5013** | **15967** |  | **#** | **YES** |  |
| **33** | **BLOOD BANK** | **BLOOD BAG TUBE SEALER** | **1** | **LABTOP** | **LTS-4** | **12062734** |  | **#** | **YES** |  |
| **34** | **BLOOD BANK** | **BLOOD STORAGE REFRIDGERATOR** | **1** | # | **HXL-608 A** | **BE06PMEIT00B2BAA0109** |  | **#** | **YES** |  |
| **35** | **BLOOD BANK** | **BLOOD STORAGE REFRIDGERATOR** | **1** | # | **HXL-608 A** | **BE06PMEIT00B2BAS0039** |  | **#** | **YES** |  |
| **36** | **BLOOD BANK** | **BLOOD STORAGE REFRIDGERATOR** | **1** | # | **BBRGI-0** | **0902203** |  | **2011** |  | **YES** |
| **37** | **BLOOD BANK** | **BLOOD STORAGE REFRIDGERATOR** | **1** | **LABTOP INSTRUMENTS PVT. LTD.** | **LBR-100** | **12072773** |  | **07/2012** | **YES** |  |
| **38** | **BLOOD BANK** | **FRIDGE** | **1** | **ELECTROLUX** |  | **61010592** |  | **#** |  | **YES** |
| **39** | **BLOOD BANK** | **ELISA READER** | **1** | **ERBA** | **LISA SCAM EM** | **130816** |  | **#** | **YES** |  |
| **40** | **BLOOD BANK** | **ELISA WASHER** | **1** | **ERBA** | **ERBA LISA WASH** | **130718** |  | **#** | **YES** |  |
| **41** | **BLOOD BANK** | **MINI ROTORSHAKER** | **1** | **REMI** | **RS-12R** | **GFCM-1013** |  | **#** | **YES** |  |
| **42** | **BLOOD BANK** | **SHAKER** | **1** | **KC** | **#** | **#** |  | **#** | **YES** |  |
| **43** | **BLOOD BANK** | **DESKTOP** | **1** | **HP** | **HP7540** | **CNCB130Q9P** |  | **3/2008** | **YES** |  |
| **44** | **X-RAY ROOM** | **X-RAY (300mA)** | **1** | **SIEMENS** | **#** | **689254** |  | **1989** | **YES** |  |
| **45** | **INJECTION ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **46** | **DENTAL ROOM** | **DENTAL CHAIR WITH COMPRESSOR** | **1** | **NO NAME** | **#** | **#** |  | **#** | **YES** |  |
| **47** | **O.T ROOM** | **OPERATIONAL MICROSCOPE** | **1** | **#** | **Op-Z** | **#** |  | **#** | **YES** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **47** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **5165000** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **CHC JENGGING, UPPER SIANG** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **O.T ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **O.T ROOM** | **LAMP** | **1** | **NO NAME** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **O.T ROOM** | **O.T TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **4** | **LABORATORY** | **INCUBATOR** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **5** | **LABORATORY** | **CALORIMETER** | **1** | **PRECISION** | **#** | **#** |  | **#** | **YES** |  |
| **6** | **LABORATORY** | **CENTRIFUGE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **7** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH 20i BiMF** | **I10e002** |  | **#** | **YES** |  |
| **8** | **LABORATORY** | **CENTRIFUGE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **9** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **10** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SHIVA** | **SL-1** | **#** |  | **#** | **YES** |  |
| **11** | **LABOUR ROOM** | **SUCTION MACHINE**  **(FOOT)** | **1** | **SHIVA** | **#** | **#** |  | **#** | **YES** |  |
| **12** | **LABOUR ROOM** | **BABY WARMER** | **1** | **AVI HEALTH CARE PVT. LTD.** | **NTD 202K120** | **-6002** |  | **#** | **YES** |  |
| **13** | **LABOUR ROOM** | **LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **14** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **15** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **15** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **214000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **CHC GEKU, UPPER SIANG** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABOUR ROOM** | **VERTICAL AUTOCLAVE** | **1** | **LIFE** | **#** | **#** |  |  |  | **YES** |
| **2** | **LABOUR ROOM** | **LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  |  |  | **YES** |
| **3** | **LABOUR ROOM** | **RADIENT WARMER** | **1** | **AVI HEALTHCARE PVT LTD** | **IW4100SR** | **NTD102K1401015/04** |  | **23-03-2015** | **YES** |  |
| **4** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  |  | **YES** |  |
| **5** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  |  | **YES** |  |
| **6** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  |  |  | **YES** |
| **7** | **LABORATORY** | **CENTRIFUGE** | **1** | **REMI** | **C84/44/05** | **DNLC-2511** |  |  | **YES** |  |
| **8** | **LABORATORY** | **BINOCULAR MICROSCOPE** | **1** | **SU SWOX** | **SKC-400** | **#** |  | **#** | **YES** |  |
| **9** | **LABORATORY** | **COLORIMETER** | **1** | **ERMA INC.** | **AE11S1386** | **#** |  | **#** | **YES** |  |
| **10** | **LABORATORY** | **WATER BATH** | **1** | **LOCAL MFG** | **#** | **#** |  | **2013** |  | **YES** |
| **11** | **LABORATORY** | **STIRLIZER (BIG)** | **1** | **LOCAL MFG** | **#** | **#** |  |  |  | **YES** |
| **12** | **LABORATORY** | **WATER HEATER** | **1** | **DIVYA** | **#** | **#** |  | **10/04/2015** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **13** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **140500** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | |  |  |  |  |  | | |  | |  | |  |  |  | |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | | | | | | | | | | |
|
| **CHC MARIYANG, UPPER SIANG** | | | | | | | | | | | | | | | | | | | | |
| **S.No** | **Equipment category** | | | **Equipment name** | | | **Qty** | **Manufacturer** | | **Model** | | **Equipment S.No.** | | | |  | | **Installation date** | **Working status** | |
|  |  | | |  | | |  |  | |  | |  | | **W** | **NW** |
| **1** | **LABORATORY** | | | **MICROSCOPE** | | | **1** | **SUSWO** | | **BINOCULAR** | | **3443** | | | |  | | **#** | **YES** |  |
| **2** | **LABORATORY** | | | **CENTRIFUGE** | | | **1** | **NO NAME** | | **SKC-400** | | **#** | | | |  | | **#** | **YES** |  |
| **3** | **LABORATORY** | | | **STIRLIZER** | | | **1** | **LOCAL MFG** | | **#** | | **#** | | | |  | | **#** | **YES** |  |
| **4** | **LABORATORY** | | | **STIRLIZER** | | | **1** | **LOCAL MFG** | | **#** | | **#** | | | |  | | **#** |  | **YES** |
| **5** | **LABOUR ROOM** | | | **RADIENT WARMER** | | | **1** | **AVI HEALTHCARE PVT. LTD** | | **IW4100SR** | | **NTD102K14010104106** | | | |  | | **2013** | **YES** |  |
| **6** | **LABOUR ROOM** | | | **STIRLIZER** | | | **1** | **LOCAL MFG** | | **#** | | **#** | | | |  | | **#** | **YES** |  |
| **7** | **LABOUR ROOM** | | | **SUCTION MACHINE** | | | **1** | **SURGIX** | | **#** | | **#** | | | |  | | **#** | **YES** |  |
| **8** | **LABOUR ROOM** | | | **LABOUR TABLE** | | | **1** | **LOCAL MFG** | | **#** | | **#** | | | |  | | **#** | **YES** |  |
| **9** | **LABOUR ROOM** | | | **LAMP** | | | **1** | **LOCAL MFG** | | **#** | | **#** | | | |  | | **#** |  | **YES** |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **9** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **113000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **CHC TUTING, UPPER SIANG** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABOUR ROOM** | **VERTICAL AUTOCLAVE** | **1** | **SONA** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **LABOUR ROOM** | **VERTICAL AUTOCLAVE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **3** | **LABOUR ROOM** | **O.T LIGHT** | **1** | **NO NAME FOUND** | **#** | **#** |  | **#** |  | **YES** |
| **4** | **LABOUR ROOM** | **BABY WARMER** | **1** | **DELTA MEDICAL APPLIANCES** | **#** | **#** |  | **#** |  | **YES** |
| **5** | **LABOUR ROOM** | **BABY WARMER** | **1** | **S.S TECHNOMATE PVT. LTD.** | **AN ISO 9001** | **#** |  | **2008** | **YES** |  |
| **6** | **LABORATORY** | **MICROSCOPE (BINOCULAR)** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **7** | **LABORATORY** | **MICROSCOPE**  **(MONOCULAR)** | **1** | **MAGNUS** | **MLX** | **#** |  | **#** | **YES** |  |
| **8** | **LABORATORY** | **CENTRIFUGE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **9** | **LABORATORY** | **CENTRIFUGE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **10** | **LABORATORY** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **11** | **LABORATORY** | **FRIDGE** | **1** | **GODREJ** | **CLASSIC** | **#** |  | **#** | **YES** |  |
| **12** | **X-RAY ROOM** | **X-RAY** | **1** | **PHILLIPS** | **#** | **108054** |  | **#** | **YES** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **12** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **674500** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **PHC KATAN, UPPER SIANG** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **LABOUR ROOM** | **LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **3** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **4** | **LABOUR ROOM** | **RADIENT WARMER** | **1** | **AVI HEALTHCARE PVT. LTD.** | **IW4100SR** | **NTD102K14010104009** |  | **2013** | **YES** |  |
| **5** | **LABORATORY** | **MICROSCOPE** | **1** | **NO NAME** | **#** | **#** |  | **#** |  | **YES** |
| **6** | **LABORATORY** | **CENTRIFUGE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **7** | **LABORATORY** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **7** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **102000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **PHC JEYING , UPPER SIANG** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** | **Price** | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **LABOUR ROOM** | **LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **4** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **#** | **YES** |  |
| **5** | **LABOUR ROOM** | **SUCTION MACHINE**  **(FOOT)** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **6** | **LABOUR ROOM** | **RADIENT WARMER** | **1** | **AVI HEALTHCARE PVT.LTD.** | **IW4100SR** | **NTD102K140101040179** |  | **2013** | **YES** |  |
| **7** | **LABORATORY** | **MICROSCOPE** | **1** | **MAGNUS** | **MLX** | **#** |  | **#** |  | **YES** |
| **8** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH 20i** | **#** |  | **#** | **YES** |  |
| **9** | **LABORATORY** | **CENRIFUGE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **10** | **LABORATORY** | **FRIDGE** | **1** | **GODREJ** | **#** | **#** |  | **#** |  | **YES** |
|  |  |  |  |  |  |  |  |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **10** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **134000** |
|  | |  |  |

**DETAILED STUDY OF BIOMEDICAL EQUIPMENT IN UPPER SIANG DISTRICT**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |
| **S.No.** | **Name of the Institution** | **TYPE OF HOSPITAL** | **Total Equipment** |  |  | **No. of Working Equipment** | **No. of NOT Working Equipment** | **% of Dysfunction equipment** |
| **1** | **YINGKIONG** | **GH** | **47** |  |  | **32** | **15** | **31.91%** |
| **2** | **JENGGING** | **CHC** | **15** |  |  | **12** | **3** | **20%** |
| **3** | **GEKU** | **CHC** | **13** |  |  | **8** | **5** | **38.46%** |
| **4** | **MARIYANG** | **CHC** | **9** |  |  | **7** | **2** | **22.22%** |
| **5** | **TUTING** | **PHC** | **12** |  |  | **7** | **5** | **41.66%** |
| **6** | **KATAN** | **PHC** | **7** |  |  | **4** | **3** | **42.85%** |
| **7** | **JEYING** | **PHC** | **10** |  |  | **7** | **3** | **30%** |

**Percentage of Dysfunctional equipment 20 % to 42.85 %**

**Summary of Biomedical Equipment Inventory Survey in upper siang District**

**Name of facility with Highest Dysfunctional Rate : P.H.C. KATAN**

Highest Dysfunctional Rate:**42.85 %**

**Name of facility with Lowest Dysfunctional Rate : C.H.C JENGGING**

Lowest Dysfunctional Rate: **20 %**

Average Dysfunctional Rate: **31.47 %**

**Total Cost of Equipments: 6600000**

Total No. of Equipments: 113

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
| **CHC HYULIANG, ANJAW DISTRICT** | | | | | | | | | | |
| **S.no** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **ULTRASOUND ROOM** | **ULTRASOUND MACHINE** | **1** | **SONATA** | **LX** | **N05L3369** |  | **#** | **YES** |  |
| **2** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **4** | **LABOUR ROOM** | **SPOT LIGHT** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **5** | **LABOUR ROOM** | **RADIENT WARMER** | **1** | **MEDIWAVES INC** | **#** | **#** |  | **#** | **YES** |  |
| **6** | **LABOUR ROOM** | **PULSE OXIMETER** | **1** | **BPL** | **#** | **OG4203** |  | **#** |  | **YES** |
| **7** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **8** | **LABOUR ROOM** | **LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **9** | **LABOUR ROOM** | **VERTICAL AUTOCLAVE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **10** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **11** | **OFFICE** | **DESKTOP** | **1** | **HCL** | **#** | **3105BG282107** |  |  | **YES** |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **12** | **X-RAY ROOM** | **X-RAY MACHINE** | **1** | **ALLENGER** | **#** | **2K91030385-X** |  | **15/12/2009** | **YES** |  |
| **13** | **STORE ROOM** | **STIRLIZER** | **6** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **14** | **O.T ROOM** | **O.T LIGHT(4)** | **1** | **ANAND** | **#** | **#** |  | **#** | **YES** |  |
| **15** | **O.T ROOM** | **AUTOCLAVE (BIG)** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **16** | **O.T ROOM** | **ANAESTHESIA MACHINE** | **1** | **L&T** | **#** | **#** |  | **#** |  | **YES** |
| **17** | **O.T ROOM** | **O.T TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **18** | **O.T ROOM** | **OPERATIONAL MICROSCOPE** | **1** | **OSHIN NIPPON** | **OP-2** | **Sep-74** |  | **2011** |  | **YES** |
| **19** | **DENTAL ROOM** | **DENTAL X-RAY** | **1** | **ME** | **#** |  |  | **#** |  | **YES** |
| **20** | **DENTAL ROOM** | **SLIT LAMP** | **1** |  | **FSL3532** | **14527Z** |  | **2009** |  | **YES** |
| **21** | **LABORATORY** | **CENTRIFUGE** | **1** |  | **#** | **#** |  | **#** | **YES** |  |
| **22** | **LABORATORY** | **SEMI AUTO ANALYZER** | **1** | **SINDURI BIOTECH** | **SB-251** | **#** |  | **#** | **YES** |  |
| **23** | **LABORATORY** | **SHAKER** | **1** | **V.D.R.L** | **#** | **#** |  | **#** | **YES** |  |
| **24** | **LABORATORY** | **FRIDGE** | **1** | **VIDEOCON** | **R-134a** | **9360406222** |  | **#** |  | **YES** |
| **25** | **LABORATORY** | **CENTRIFUGE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **26** | **LABORATORY** | **INCUBATOR** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **27** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH 20i** | **I10b033** |  | **5/5/2010** | **YES** |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **27** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **2575000** |
|  | |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **10** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **110000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **CHC MANCHAL (YATANG) ,ANJAW DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABOUR ROOM** | **LABOUR TABLE (WOODEN)** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **2** | **LABOUR ROOM** | **SPOT LIGHT** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **LABOUR ROOM** | **RADIENT WARMER** | **1** | **MEDIWAVES INC.** | **#** | **#** |  | **#** | **YES** |  |
| **4** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **5** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **6** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **7** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **8** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **9** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** |  |
| **10** | **LABOUR ROOM** | **VERTICAL AUTOCLAVE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **CHC GOILIANG ,ANJAW DISTRICT** | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
|  |  |  |  |  |  |  | **W** | **NW** |
| **1** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** |  |  |  |  | **YES** |  |
| **2** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** |  |  |  | **2011** | **YES** |  |
| **3** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** |  |  |  |  |  | **YES** |
| **4** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** |  |  |  |  |  | **YES** |
| **5** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** |  |  |  |  | **YES** |  |
| **6** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** |  |  |  |  | **YES** |  |
| **7** | **LABOUR ROOM** | **LAMP** | **1** | **LOCAL MFG** |  |  |  | **2011** | **YES** |  |
| **8** | **LABORATORY** | **MICROSCOPE** | **1** | **MAGNUS** | **MLX** |  |  | **2004** |  | **YES** |
| **9** | **LABORATORY** | **CENRIFUGE** | **1** | **LOCAL MFG** |  |  |  |  |  | **YES** |
| **10** | **LABORATORY** | **COLORIMETER (ANALOG)** | **1** | **SYSMAX** |  |  |  | **2006** |  | **YES** |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **10** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **83000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | |
|
| **PHC CHAGLAGAM, ANJAW DISTRICT** | | | | | | | | | | | |
| **S.No** | **Equipment category** | **Equipment name** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | | |
|  |  |  |  |  |  |  | **W** | **NW** | |
| **1** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** | |  |
| **2** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | | **YES** |
| **3** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | | **YES** |
| **4** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** | |  |
| **5** | **LABOUR ROOM** | **STIRLIZER** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** | |  |
| **6** | **LABOUR ROOM** | **PULSE OXIMETER** | **1** | **BPL** | **#** | **OG 4203** |  | **#** |  | | **YES** |
| **7** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **#** |  | | **YES** |
| **8** | **LABORATORY** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH20i** | **#** |  | **15/6/11** | **YES** | |  |
| **9** | **LABORATORY** | **SPOT LIGHT** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** | |  |
| **10** | **LABORATORY** | **LAMP** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** | **YES** | |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **10** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **136000** |
|  | |  |  |

**DETAILED STUDY OF BIOMEDICAL EQUIPMENT IN ANJAW DISTRICT**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **S.No.** | **Name of the Institution** | **TYPE OF HOSPITAL** | **Total Equipment** |  |  | **No. of Working Equipment** | **No. of NOT Working Equipment** | **% of Dysfunction equipment** |
| **1** | **HYULIANG** | **CHC** | **27** |  |  | **19** | **8** | **29.62%** |
| **2** | **GOILIANG** | **CHC** | **10** |  |  | **5** | **5** | **50%** |
| **3** | **MANCHAL** | **CHC** | **10** |  |  | **4** | **6** | **60.00%** |
| **4** | **HAWAI** | **CHC** | **17** |  |  | **12** | **5** | **29.41%** |
| **5** | **CHANGLAGAM** | **PHC** | **10** |  |  | **6** | **4** | **40.00%** |

**NON –OPERATIONAL PHC:-**

1. **WALLONG**
2. **KHERANG**
3. **SHIRONG**
4. **KIBHITHO**
5. **QUIBANG**
6. **PAYA**
7. **METENGLIANG**

**Percentage of Dysfunctional equipment 29.62 % to 60 %**

**Summary of Biomedical Equipment Inventory Survey in Anjaw District**

**Name of facility with Highest Dysfunctional Rate : C.H.C. MANCHAL**

Highest Dysfunctional Rate:**60 %**

**Name of facility with Lowest Dysfunctional Rate : C.H.C HYULIANG**

Lowest Dysfunctional Rate: **29.62 %**

Average Dysfunctional Rate: **44.81 %**

**Total Cost of Equipments: 3183000**

Total No. of Equipments: **74**

|  |
| --- |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **ANINI DH, DIBANG VALLEY DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***Qty*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** |  | ***Installation date*** | ***Working status*** | |
| ***W*** | ***NW*** |
| **1** | **LABORATORY** | **BINUCLEAR MICROSCOPE** | **1** | **LABOMED** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **LABORATORY** | **REFRIDGERATOR** | **1** | **VIDEOCON** | **#** | **#** |  | **#** |  | **YES** |
| **3** | **LABORATORY** | **WATER BATH** | **1** | **YORCO** | **##** | **#** |  | **#** |  | **YES** |
| **4** | **LABORATORY** | **AUTOANALYSER** | **1** | **ROBONIK** |  | **AT0541112RBK** |  | **#** | **YES** |  |
| **5** | **LABORATORY** | **URINE ANALYSER** | **1** | **ROBONIK** | **URICHA** | **UA004112RBK** |  | **#** | **YES** |  |
| **6** | **LABORATORY** | **BINUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **CH20i BIMF** | **14D0557** |  | **#** | **YES** |  |
| **7** | **LABORATORY** | **BINUCLEAR MICROSCOPE** | **1** | **SUSWOX** | **SKC-400** | **3490** |  | **#** | **YES** |  |
| **8** | **LABORATORY** | **BINUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **CH20i BIMF** | **#** |  | **#** | **YES** |  |
| **9** | **LABORATORY** | **COLORIMETER** | **1** | **MONOZYME** | **#** | **#** |  | **#** |  | **YES** |
| **10** | **LABORATORY** | **COLORIMETER** | **1** | **HETTICH** | **HAEMATOKRIT-24** | **#** |  | **#** |  | **YES** |
| **11** | **LABORATORY** | **CENTRIFUGE** | **1** | **HETTICH** | **#** | **#** |  | **#** | **YES** |  |
| **12** | **LABORATORY** | **CENTRIFUGE** | **1** | **REMI** | **EBA8** | **#** |  | **#** |  | **YES** |
| **13** | **LABORATORY** | **MICROSCOPE** | **1** | **SUSWOX** | **SKC-400** | **#** |  | **#** | **YES** |  |
| **14** | **LABORATORY** | **INCUBATOR** | **1** |  | **#** | **#** |  | **#** |  | **YES** |
| **15** | **LABORATORY** | **INCUBATOR** | **1** | **UNIVERSAL** | **#** | **#** |  | **#** |  | **YES** |
| **16** | **DENTAL ROOM** | **DENTAL CHAIR** | **1** | **CONFIDENT** | **DFS-690** | **#** |  | **#** |  | **YES** |
| **17** | **DENTAL ROOM** | **DENTAL CHAIR** | **1** | **DEFORANT** | **#** | **#** |  | **#** |  | **YES** |
| **18** | **DENTAL ROOM** | **SUCTION MACHINE** | **1** | **LOCAL** | **#** | **TSP819** |  | **#** | **YES** |  |
| **19** | **DENTAL ROOM** | **SUCTION MACHINE** | **1** |  | **Xuzhov** | **97608721** |  | **#** |  | **YES** |
| **20** | **COLD CHAIN** | **REFRIGERATOR** | **1** | **HAIER** | **#** | **#** |  | **#** | **YES** |  |
| **21** | **COLD CHAIN** | **REFRIGERATOR** | **1** | **DULAS** | **#** | **#** |  | **#** | **YES** |  |
| **22** | **IMMUNISATION** | **REFRIGERATOR** | **1** | **ANAND** | **R-7281** | **14892** |  | **#** | **YES** |  |
| **23** | **EMERGENCY** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **24** | **EMERGENCY** | **OT-TABLE** | **1** | **ANAND** | **#** | **#** |  | **#** |  | **YES** |
| **25** | **EMERGENCY** | **SUCTION MACHINE** | **1** | **SURGIX** | **#** | **#** |  | **#** |  | **YES** |
| **26** | **EMERGENCY** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **27** | **DRESSING ROOM** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **28** | **DRESSING ROOM** | **NEEDLE CUTTER** | **1** | **SONOSCAPE** | **#** | **#** |  | **#** | **YES** |  |
| **29** | **ULTRASOUND ROOM** | **ULTRASOUND** | **1** | **SONOSCAPE** | **ASI** | **262626110** |  | **#** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
| ***36*** | ***X RAY ROOM*** | ***X RAY MACHINE*** | ***1*** | ***MEDITRONICS*** | ***DIAGNOX 100*** | ***#*** |  | ***#*** |  | ***YES*** |
|  |  |  |  |  | ***TOTAL COST*** |  | ***1932200*** | ***#*** |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **36** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **1687200** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQIPMENT BASE** | | | | | | | | | | | | |
|
| **ETALIN PHC, DIBANG VALLEY DISTRICT** | | | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | | ***Qty*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** | |  | ***Installation date*** | ***Working status*** | |
| ***W*** | ***NW*** |
| ***1*** | ***LABOUR ROOM*** | | ***AUTOCLAVE*** | ***1*** | ***LOCAL MFG.*** | ***#*** | | ***#*** |  | ***#*** | ***YES*** |  |
| ***2*** | ***LABOUR ROOM*** | ***CENTRIFUGE*** | | ***1*** | ***REMI*** | ***#*** | ***#*** | |  | ***#*** | ***YES*** |  |
| ***3*** | ***LABOUR ROOM*** | ***MICROSCOPE*** | | ***1*** | ***OLYMPUS*** | ***#*** | ***#*** | |  | ***#*** | ***YES*** |  |
| ***4*** | ***LABOUR ROOM*** | ***NEBULIZER*** | | ***1*** |  | ***#*** | ***#*** | |  | ***#*** | ***YES*** |  |
| ***5*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** | | ***1*** | ***LOCAL MFG.*** | ***#*** | ***#*** | |  | ***#*** | ***YES*** |  |
| ***6*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** | | ***1*** | ***LOCAL MFG.*** | ***#*** | ***#*** | |  | ***#*** | ***YES*** |  |
| ***7*** | ***LABOUR ROOM*** | ***NEEDLE CUTTER*** | | ***1*** | ***LOCAL MFG.*** | ***#*** | ***#*** | |  | ***#*** | ***YES*** |  |
| ***8*** | ***LABOUR ROOM*** | ***OT TABLE*** | | ***1*** | ***#*** | ***#*** | ***#*** | |  | ***#*** | ***YES*** |  |
| ***9*** | ***LABOUR ROOM*** | ***BABY WARMER*** | | ***1*** | ***#*** | ***#*** | ***#*** | |  | ***#*** | ***YES*** |  |
| ***10*** | ***LABOUR ROOM*** | ***OT LIGHT*** | | ***1*** | ***#*** | ***#*** | ***#*** | |  | ***#*** |  | ***YES*** |
| ***11*** | ***X RAY ROOM*** | ***X-RAY MAHINE*** | | ***1*** | ***#*** | ***#*** | ***#*** | |  | ***#*** |  | ***YES*** |
|  |  |  | |  |  | ***TOTAL COST*** |  | | ***678700*** |  |  |  |
|  |  |  | |  |  | ***TOTAL COST OF DISTRICT*** |  | | ***2610900*** |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **11** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **678700** |
|  | |  |  |

**DETAILED STUDY OF MEDICAL EQUIPMENT IN DIBANG VALLEY DISTRICT**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |
| S.No. | Name of the Institution | TYPE OF HOSPITAL | Total Equipment |  |  | No. of Working Equipment | No. of NOT Working Equipment | % of Dysfunction equipment |
| 1 | ANINI | GH | 36 |  |  | 20 | 16 | 44.45% |
| 2 | ETALINI | PHC | 11 |  |  | 9 | 2 | 18.18% |
|  |  |  |  |  |  |  |  |  |

**Percentage of Dysfunctional equipment 18.18 % to 44.45 %**

**Summary of Biomedical Equipment Inventory Survey in west District (Sikkim)**

**Name of facility with Highest Dysfunctional Rate : D.H ANINI**

Highest Dysfunctional Rate:**44.45 %**

**Name of facility with Lowest Dysfunctional Rate : P.H.C ETALIN**

Lowest Dysfunctional Rate: **18.18 %**

Average Dysfunctional Rate: **31.31 %**

**Total Cost of Equipments: 2365900**

Total No. of Equipments:**47**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
| **KHONSA GH, TIRAP DISTRICT** | | | | | | | | | | |
| **S.no** | **Equipment category** | **Equipmentname** | **Qty** | **Manufacturer** | **Model** | **Equipment S.No.** |  | **Installation date** | **Working status** | |
| **W** | **NW** |
| **1** | **LABORATORY** | **CENTRIFUGE** | **1** | **HETTICHI** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **LABORATORY** | **OVEN** | **1** | **YORCO** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **LABORATORY** | **COLORIMETER** | **1** | **ERMA INC** | **#** | **#** |  | **#** | **YES** |  |
| **4** | **LABORATORY** | **BINUCLEAR MICROSCOPE** | **1** | **LABOMED** | **#** | **#** |  | **#** | **YES** |  |
| **5** | **LABORATORY** | **MONONUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **#** | **#** |  | **#** | **YES** |  |
| **6** | **LABORATORY** | **INCUBATOR** | **1** | **LOCAL MFG** | **#** | **#** |  | **#** |  | **YES** |
| **7** | **LABORATORY** | **OVEN** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **8** | **LABORATORY** | **CENTRIFUGE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **9** | **LABORATORY** | **SEMI AUTOANALYZER** | **1** | **ROBONIK** |  | **AW0210115RBK** |  | **Jul-15** | **YES** |  |
| **9** | **LABORATORY** | **ELISA READER** | **1** | **ROBONIK** | **READWELLTOUCH** | **RT0210115RBK** |  | **#** | **YES** |  |
| **10** | **LABORATORY** | **ELISA WASHER** | **1** |  | **#** | **#** |  | **#** | **YES** |  |
| **12** | **LABORATORY** | **SEMI AUTOANALYZER** | **1** | **PRIEFEST** | **#** | **#** |  | **#** | **YES** |  |
| **13** | **LABORATORY** | **WATERBATH** | **1** | **SEROLOGICAL** | **#** | **#** |  | **#** | **YES** |  |
| **14** | **LABORATORY** | **CENTRIFUGE** | **1** | **REMI** | **#** | **#** |  | **#** | **YES** |  |
| **15** | **LABORATORY** | **SEMI AUTOANALYZER** | **1** | **ATAR21 PLUS** | **#** | **#** |  | **#** | **YES** |  |
| **16** | **LABORATORY** | **BLOOD SHAKER** | **1** | **HAEMTOKRIT 24** | **#** | **#** |  | **#** | **YES** |  |
| **17** | **LABORATORY** | **BINUCLEAR MICROSCOPE** | **1** | **HITTACHI** | **#** | **#** |  | **#** |  | **YES** |
| **18** | **LABORATORY** | **MONONUCLEAR MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **19** | **LABORATORY** | **MONONUCLEAR MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **20** | **LABORATORY** | **COLORIMETER** |  | **#** | **#** | **#** |  | **#** |  | **YES** |
| **21** | **LABORATORY** | **COLORIMETER** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **22** | **LABORATORY** | **MONONUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **#** | **#** |  | **#** |  | **YES** |
| **23** | **LABORATORY** | **MONONUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **#** | **#** |  | **#** |  | **YES** |
| **24** | **LABORATORY** | **MONONUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **#** | **#** |  | **#** |  | **YES** |
| **25** | **LABORATORY** | **MONONUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **#** | **#** |  | **#** |  | **YES** |
| **26** | **LABORATORY** | **MONONUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **#** | **#** |  | **#** |  | **YES** |
| **27** | **LABORATORY** | **MONONUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **#** | **#** |  | **#** |  | **YES** |
| **28** | **LABORATORY** | **MONONUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **#** | **#** |  | **#** |  | **YES** |
| **29** | **LABORATORY** | **GLUCOMETER** | **1** | **ACCU CHECK** | **4680456002** | **55503934366** |  | **#** | **YES** |  |
| **30** | **DENTAL ROOM** | **DENTAL CHAIR** | **1** | **CLINIC** | **ITALICA** | **500** |  | **#** | **YES** |  |
| **31** | **MALAYRIA** | **BINUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **CH20IBIMF** | **14A1006** |  | **#** | **YES** |  |
| **32** | **MALAYRIA** | **MONONUCLEAR MICROSCOPE** | **1** | **OLYMPUS** |  | **240583** |  | **#** | **YES** |  |
| **33** | **NRHM** | **LAPTOP** | **1** | **COMPAQ** | **CQ156565** | **#** |  | **#** | **YES** |  |
| **34** | **NRHM** | **DEKSTOP** | **1** | **ZENITH** | **AL1702W** | **#** |  | **#** | **YES** |  |
| **35** | **X RAY ROOM** | **X RAY MACHINE 100ma** | **1** | **SIEMENS** | **141401043** | **A2755** |  | **#** |  | **YES** |
| **36** | **X RAY ROOM** | **X RAY MACHINE 300ma** |  | **SQUAREM** | **CLAREX-24** | **F-300** |  | **Jun-11** |  | **YES** |
| **37** | **X RAY ROOM** | **X RAY MACHINE 300ma** | **1** | **ME** | **ME-2** | **ME1010** |  | **#** | **YES** |  |
| **38** | **AIDS** | **CENTRIFUGE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **39** | **AIDS** | **INCUBATOR** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **40** | **AIDS** | **REFRIGERATOR** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **41** | **AIDS** | **BLOOD SHAKER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **42** | **AIDS** | **NEEDLE CUTTER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
| **45** | **AMBULANVE(NRHM)** | **X RAY100ma** | **1** | **GME** | **GME-60** | **#** |  | **#** |  | **YES** |
| **46** | **AMBULANVE(NRHM)** | **ULTRASOUND** | **1** | **BELSSON** | **321D028C** | **#** |  | **#** | **YES** |  |
| **47** | **DRESSING ROOM** | **NEBULIZER** | **1** | **HANDYNEB** | **NGM8984** | **#** |  | **#** | **YES** |  |
| **48** | **OT** | **FUMGATOR** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **49** | **OT** | **OT TBLE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **50** | **OT** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **51** | **OT** | **OT TABLE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **52** | **OT** | **OT TABLE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **53** | **OT** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **54** | **OT** | **AUTOCLAVE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **55** | **OT** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **56** | **OT** | **ANAESTHESIA MACHINE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **57** | **OT** | **ELECTROCAUTRY** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **58** | **OT** | **ADVANCE FOCOUSING LIGHT** | **1** | **#** | **#** | **#** |  | **#** | **YEESS** |  |
| **59** | **OT** | **HALOGEN LIGHT** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **60** | **OT** | **AUTOCLAVE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **61** | **OT** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **62** | **OT** | **FOCUSING LIGHT** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **63** | **OT** | **FOCUSING LIGHT** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **64** | **LABOUR ROOM** | **HALOGEN SPOT LIGHT** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **65** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **66** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **67** | **LABOUR ROOM** | **FOOT SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **68** | **LABOUR ROOM** | **BABY WARMER** | **1** | **AVI HEALTH CARE** | **IWH100IR** | **NTD1062** |  | **#** | **YES** |  |
| **69** | **LABOUR ROOM** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **70** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **71** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **72** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **73** | **LABOUR ROOM** | **BABY WARMER** | **1** | **AVI HELATH CARE** | **K1401015/05** | **NTD1062** |  | **#** |  | **YES** |
| **74** | **EYE OT** | **AUTOCLAVE** | **1** | **MODIS** | **MER-4** | **1109** |  | **#** | **YES** |  |
| **75** | **EYE OT** | **KERATOMETER** | **1** | **#** | **#** | **1728** |  | **#** | **YES** |  |
| **76** | **EYE OT** | **A-SCAN** | **1** | **SUHADRA INDUSTRIES** | **354/2012** |  |  | **#** | **YES** |  |
| **77** | **EYE OT** | **OPERATING MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **78** | **EYE OT** | **OPERATING MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **78** |  |  |  |  |  |  |  |  |  |  |
| **78** |  |  |  |  |  |  |  |  |  |  |
| **78** |  |  |  |  |  |  |  |  |  |  |
| **78** |  |  |  |  |  |  |  |  |  |  |
| **79** |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | **TOTAL COST** |  | **7580400** | **#** |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **79** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **7580400** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | | | | | | | | | | |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
| **DEOMALI CHC , TIRAP DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***Qty*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** | ***Price*** | ***Installation date*** | ***Working status*** | |
| ***W*** | ***NW*** |
| **1** | ***DRESSING ROOM*** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **2** | ***DRESSING ROOM*** | **NEEDLE CUTTER** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **3** | ***LABOUR ROOM*** | **BABY MERWAR** | **1** | **NEOTHERM** | **IW4100SR** | **NTD102K1401015/01** |  | **#** |  | **YES** |
| **4** | ***LABOUR ROOM*** | **AUTOCLAVE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **5** | ***LABOUR ROOM*** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **6** | ***LABOUR ROOM*** | **OT LIGHT** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **7** | ***LABOUR ROOM*** | **LABOUR TABLE** |  | **#** | **#** | **#** |  | **#** | **YES** |  |
| **8** | ***LABOUR ROOM*** | **LABOUR TABLE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **10** | ***LABORATORY*** | **CENTRIFUGE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **11** | ***LABORATORY*** | **RFERIGERATOR** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **12** | ***LABORATORY*** | **BINUCLEAR MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **13** | ***LABORATORY*** | **MONONUCLEAR MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **14** | ***LABORATORY*** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **15** | ***LABORATORY*** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **16** | ***LABORATORY*** | **FOCUS LIGHT** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **17** | ***LABORATORY*** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **18** | ***DENTAL ROOM*** | **DENTAL CHAIR** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **19** | ***MINOR OT*** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **20** | ***MINOR OT*** | **LABOUR TABLE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **21** | **MALAYRIA** | **BINUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **#** | **#** |  | **#** | **YES** |  |
| **22** | ***DOTS ROOM*** | **BINUCLEAR MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **23** | ***DOTS ROOM*** | **BINUCLEAR MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **24** | ***X ARY ROOM*** | **X RAY MACHINE** | **1** | **SIEMENS** | **1314** |  |  | **#** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | **TOTAL COST** |  |  | **927200** |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **26** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **927200** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **SOHA PHC, TIRAP DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipmentname*** | ***Qty*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** | ***Price*** | ***Installation date(m-yy)*** | ***Working status*** | |
| ***W*** | ***NW*** |
| **1** | ***LABOUR ROOM*** | **LABOUR TABLE** | **1** |  |  |  |  |  | **YES** |  |
| **2** | ***LABOUR ROOM*** | **AUTOCALVE** | **1** |  |  |  |  |  |  | **YES** |
| **3** | ***LABOUR ROOM*** | **LABOUR TABLE** | **1** |  |  |  |  |  | **YES** |  |
| **4** | ***LABOUR ROOM*** | **FOUSING LIGHT** | **1** |  |  |  |  |  |  | **YES** |
| **5** | ***LABORATORY*** | **BINUCLEAR MICROSCOPE** | **1** |  |  |  |  |  |  | **YES** |
| **6** | ***LABORATORY*** | **MONONUCLEAR MICROSCOPE** | **1** |  |  |  |  |  |  | **YES** |
| **7** | ***LABORATORY*** | **MONONUCLEAR MICROSCOPE** | **1** |  |  |  |  |  |  | **YES** |
|  |  |  |  |  | **TOTAL COST** |  | **114500** |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **7** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **114500** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **LAZU PHC, TIRAP DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***Qty*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** |  | ***Installation date*** | ***Working status*** | |
| ***W*** | ***NW*** |
| **1** | ***LABOUR ROOM*** | **LABOUR TABLE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **2** | ***LABOUR ROOM*** | **LABOUR TABLE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **3** | ***LABOUR ROOM*** | **SUCTION MACHINE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** |  | **YES** |
| **4** | ***LABOUR ROOM*** | **SUCTION MACHINE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** |  | **YES** |
| **5** | ***LABOUR ROOM*** | **STERLIZER** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **6** | ***LABOUR ROOM*** | **STERLIZER** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **7** | ***LABOUR ROOM*** | **AUTOCLAVE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **8** | ***LABORATORY*** | **CENTRIFUGE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
|  |  |  |  |  | **TOTAL COST** |  | **88500** |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **8** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **88500** |
|  | |  |  |

**DETAILED STUDY OF BIOMEDICAL EQUIPMENT IN TIRAP DISTRICT**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | |  |  |  |  |  |  |
| **S.No.** | **Name of the Institution** | **TYPE OF HOSPITAL** | **Total Equipment** | | **Total Cost of Equipment`** | **AMC/CMC OF EQUIPMENTS** | **No. of Working Equipment** | **No. of NOT Working Equipment** | **% of Dysfunction equipment** |
| **1** | **KHONSA** | **GH** | **79** | | **10305400** | **721378** | **46** | **33** | **41.77%** |
| **2** | **DEOMALI** | **CHC** | **26** | | **1017200** | **71204** | **22** | **4** | **15.38%** |
| **3** | **SOHA** | **PHC** | **7** | | **114500** | **8015** | **2** | **5** | **71.42%** |
| **4** | **LAZU** | **PHC** | **8** | | **88500** | **6195** | **6** | **2** | **25%** |

* **NON-OPERATIONAL PHC:-**

**LAZU**

**DADAM**

**KAPU**

**PANI DURIA**

**BORDURIA**

**NOTUM KHETI**

**MEDO**

**Percentage of Dysfunctional equipment 15.38 % to 71.42 %**

**Summary Of Biomedical Equipment Inventory Survey In Tirap District Arunachal Pradesh**

**Name of facility with Highest Dysfunctional Rate : PHC SOHA**

Highest Dysfunctional Rate:**71.42 %**

**Name of facility with Lowest Dysfunctional Rate : C.H.C DEOMALI**

Lowest Dysfunctional Rate: **15.38%**

Average Dysfunctional Rate: **43.42 %**

**Total Cost of Equipments: 8710600**

Total No. of Equipments: **120**

|  |
| --- |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **CHANGLANG DH, CHANGLANG DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***QTY*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** |  | ***Installation date*** | ***Working status*** | |
| ***W*** | ***NW*** |
| **1** | **OT** | **O.T LIGHT** | **1** | **ANAND** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **OT** | **OT-TABLE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **OT** | **OT TABLE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **4** | **OT** | **SUCTION MACHINE** | **1** | **SURGIX** |  | **684** |  | **#** | **YES** |  |
| **5** | **OT** | **VERTICAL AUTOCLAVE** | **1** | **ALM** | **ID 189800** | **ARO32574** |  | **#** |  | **YES** |
| **7** | **OT** | **AUTOCLAVE** | **1** | **DRAGER** | **Fabius Plus** | **VRZM-0069** |  | **#** | **YES** |  |
| **8** | **OT** | **STERLIZER** | **1** | **WelchAllyn** | **/0050** | **62208055** |  | **#** |  | **YES** |
| **9** | **OT** | **FUMIGATOR** | **1** | **ALM** | **6208** | **ARO32579** |  | **#** | **YES** |  |
| **10** | **OT** | **FUMIGATOR** | **1** | **MASTER CARE** |  |  |  | **#** | **YES** |  |
| **11** | **OT** | **NEBULIZER** | **1** | **OMRON** | **COMPA-I-R** | **535101** |  | **#** |  | **YES** |
| **12** | **OT** | **NEBULIZER** | **1** | **OMRON** | **COMPA-I-R** | **535100** |  | **#** |  | **YES** |
| **13** | **OT** | **ECG MACHINE** | **1** | **MEDICAD** | **CARDIOFAX** | **B31508** |  | **#** | **YES** |  |
| **14** | **OT** | **ANAESTHESIA MACHINE** | **1** | **NOT AVAILABLE** | **#** | **#** |  | **#** | **YES** |  |
| **15** | **OT** | **ELECTROCAUTRY** | **1** | **SCHILLER** | **SURGITOM-GD400** | **158486172** |  | **#** | **YES** |  |
| **16** | **OT** | **PULSE OXYMETER** | **1** | **BPL** | **#** | **#** |  | **#** | **YES** |  |
| **17** | **OT** | **DEFIBRILLATOR** | **1** | **SCHILLER** | **CARDIO PLUS** | **O821E** |  | **#** | **YES** |  |
| **18** | **OT** | **ULTRASOUND MACHINE** | **1** | **MEDITRORNICS** | **HS2000** | **80108119** |  | **#** | **YES** |  |
| **19** | **OT** | **ULTRASOUND MACHINE** | **1** | **MEDITRORNICS** | **HS2000** | **AVHHA0032** |  | **#** | **YES** |  |
| **20** | **OT** | **FOETAL HEART MONITOR** | **1** | **BPL** | **FOETO-ZX** | **M2010** |  | **#** | **YES** |  |
| **21** | **OT** | **ULTRASOUND MACHINE** | **1** | **MINDRAY** | **DP2200** | **ML-5C102389** |  | **#** | **YES** |  |
| **22** | **OT** | **ECG MACHINE** | **1** | **BPL** | **CARDIOART** | **103T BAMA3121400** |  | **#** |  | **YES** |
| **23** | **OT** | **DIATHERMY** | **1** | **DELTA MEDICAL APPILIANCES** |  | **DC2K802028101** |  | **#** |  | **YES** |
| **24** | **DENTAL ROOM** | **DENTAL CHAIR** | **1** | **CONFIDENT** | **#** | **#** |  | **#** | **YES** |  |
| **25** | **DENTAL ROOM** | **AUTOCLAVE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **26** | **DENTAL ROOM** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |
| **28** | **WARD** | **NEBULIZER** | **1** | **HANDYNEB** | **#** | **NGM89846** |  | **#** | **YES** |  |
| **29** | **WARD** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **30** | **BLOOD BANK** | **INCUBATOR** | **1** | **UNIVERSAL** | **#** | **#** |  | **#** |  | **YES** |
| **31** | **BLOOD BANK** | **CENTRIFUGE** | **1** | **ALMILRO** | **#** | **#** |  | **#** | **YES** |  |
| **32** | **BLOOD BANK** | **WATER BATH** | **1** | **ALMILRO** | **#** | **#** |  | **#** | **YES** |  |
| **33** | **BLOOD BANK** | **REFRIGERATOR** | **1** | **GODREJ** | **R290** | **27781** |  | **#** |  | **YES** |
| **34** | **BLOOD BANK** | **BLOOD CABINET** | **1** | **TERUMOPENOL** | **505007** |  |  | **#** | **YES** |  |
| **35** | **BLOOD BANK** | **BLOOD CABINET** | **1** | **YORCO** | **YSI-572** | **1200476** |  | **15-Jan** | **YES** |  |
| **36** | **BLOOD BANK** | **REFRIGERATOR** | **1** | **HAIER** |  |  |  | **#** | **YES** |  |
| **37** | **BLOOD BANK** | **BLOOD DONATION COACH** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **38** | **BLOOD BANK** | **BLOOD WEIGHING MACHINE** | **1** | **REMI** | **BCM-10 ULTRA** | **EFCM-739** |  | **#** | **YES** |  |
| **39** | **BLOOD BANK** | **TUBE SEALER** | **1** | **LAPTOP** | **LTS-4** | **12062733** |  | **#** | **YES** |  |
| **40** | **PPTCTC** | **DEKSTOP** | **1** | **HP** | **HP7540** | **CNC81107C12** |  | **#** |  | **YES** |
| **41** | **ICTC** | **DEKSTOP** | **1** | **HP** | **HP7540** | **CNC80409XH** |  | **#** |  | **YES** |
| **42** | **IDSP** | **DEKSTOP** | **1** | **HCL** | **#** | **#** |  | **#** | **YES** |  |
| **43** | **IDSP** | **DEKSTOP** | **1** | **HCL** | **#** | **#** |  | **#** | **YES** |  |
| **44** | **RNTCP** | **DEKSTOP** | **1** | **HP** | **#** | **#** |  | **#** | **YES** |  |
| **45** | **RNTCP** | **DEKSTOP** | **1** | **HP** | **#** | **#** |  | **#** | **YES** |  |
| **46** | **OFFICE** | **DEKSTOP** | **1** | **HP** | **#** | **#** |  | **#** | **YES** |  |
| **47** | **OFFICE** | **DEKSTOP** | **1** | **HP** | **#** | **#** |  | **#** | **YES** |  |
| **48** | **LABORAORY** | **BLOOD SHAKER** | **1** | **REMI** | **RS-12R** | **GFCM-1010** |  | **#** |  | **YES** |
| **49** | **LABORAORY** | **WATER BATH** | **1** | **YORCO** | **YSI-413** | **3761** |  | **29/2/1996** | **YES** |  |
| **50** | **LABORAORY** | **CENTRIFUGE** | **1** | **REMI** | **#** | **#** |  | **#** |  | **YES** |
| **51** | **LABORAORY** | **CENTRIFUGE** | **1** | **REMI** | **#** | **#** |  | **#** |  | **YES** |
| **52** | **LABORAORY** | **AUTOANALYSER** | **1** | **STAR 21** | **#** | **E10348** |  | **#** |  | **YES** |
| **53** | **LABORAORY** | **BINUCLEAR MICROSCOPE** |  | **OLYMPUS** | **CH20i** | **7J1504** |  |  | **YES** |  |
| **54** | **LABORAORY** | **DEKSTOP** | **1** | **HCL** | **#** | **#** |  | **NOT INSTLLED** | **YES** |  |
| **55** | **LABORAORY** | **MONONUCLEAR MICROSCOPE** | **1** | **LOBOMED** | **UJ-5** | **89U683** |  | **#** |  | **YES** |
| **56** | **LABORAORY** | **COLORIMETER** | **1** | **ELECTROLUX** | **I-18** | **10123** |  | **#** | **YES** |  |
| **57** | **LABORAORY** | **BINUCLEAR MICROSCOPE** | **1** | **ELECTROLUX** | **MRB-2000** | **#** |  | **#** |  | **YES** |
| **58** | **LABOUR ROOM** | **RADIANT** WARMER | **1** | **SERVO** | **SRHW2K80202712** | **#** |  | **#** | **YES** |  |
| **59** | **LABOUR ROOM** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **60** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **61** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **62** | **X-RAY ROOM** | **X RAY MACHINE 300ma** | **1** | **BHARAT ELECTRONICS** | **E92403** | **#** |  | **#** | **YES** |  |
| **63** | **X-RAY ROOM** | **PORTABLE X RAY MACHINE 60ma** | **1** | **INRAYS** |  | **137** |  | **#** |  | **YES** |
| **64** | **X-RAY ROOM** | **PORTABLE X RAY MACHINE 60ma** | **1** | **INRAYS** |  | **310** |  | **#** |  | **YES** |
| **65** | **X-RAY ROOM** | **DEKSTOP** | **1** | **ACER** | **V193HQV** | **1.28E+10** |  | **#** |  | **YES** |
| **66** | **MINOR O.T** | **OT LIGHT** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **67** | **MINOR O.T** | **OT LIGHT** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **68** | **MINOR O.T** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **69** | **MINOR O.T** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **70** | **MINOR O.T** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **71** | **MINOR O.T** | **SUCTION MACHINE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **72** | **MINOR O.T** | **AUTOCLAVE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **73** | **OPTHAMOLOGY** | **SLIT LAMP** | **1** | **GEM OPTECH** | **GSL-N1** |  |  | **#** | **YES** |  |
| **74** | **OPTHAMOLOGY** | **SLIT LAMP** | **1** | **FUJITRON** | **3532** | **A0031XH3S** |  | **#** | **YES** |  |
| **75** | **OPTHAMOLOGY** | **BIOMETER** | **1** | **OPTOTECHNIK** | **#** | **1969** |  | **#** | **YES** |  |
| **76** | **OPTHAMOLOGY** | **SURGICAL MICROSCOPE** | **1** | **APPASAMY** | **#** | **AAOM20-1** |  | **#** | **YES** |  |
| **77** | **OPTHAMOLOGY** | **SURGICAL MICROSCOPE** | **1** | **APPASAMY** | **#** |  |  | **#** | **YES** |  |
| **78** | **OPTHAMOLOGY** | **KERATOMETER** | **1** | **APPASAMY** | **#** | **111035** |  | **#** | **YES** |  |
| **79** | **OPTHAMOLOGY** | **KERATOMETER** | **1** | **APPASAMY** | **#** | **#** |  | **#** | **YES** |  |
| **80** | **OPTHAMOLOGY** | **AUTO REFRACATOMETER** | **1** | **MARS MEDICA** | **MARS-800** | **101109** |  | **#** | **YES** |  |
| **81** | **OPTHAMOLOGY** | **NOX CHAIR UNIT** | **1** | **MARS MEDICA** | **#** | **#** |  | **#** | **YES** |  |
| **82** | **OPTHAMOLOGY** | **VISION CHART(LCD)** | **1** | **MARS MEDICA** |  | **A2-9035454** |  | **#** | **YES** |  |
| **83** | **OPTHAMOLOGY** | **AUTOCLAVE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **84** | **OPTHAMOLOGY** | **AUTOCLAVE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **85** | **OPTHAMOLOGY** | **FUMIGATOROR** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
|  |  |  |  |  |  | **TOTAL COST** | **11202000** |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **85** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **11202000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | | | | | | | | | | |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
| **MIAO CHC, CHANGLANG DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***QTY*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** |  | ***Installation date*** | ***Working status*** | |
| ***W*** | ***NW*** |
| **1** | **LABOUR ROOM** | **RADIANT WARMER** | **1** |  |  | **DRHWPH20050** |  | **2011** |  | **YES** |
| **2** | **LABOUR ROOM** | **LABOUR TABLE** | **1** |  |  | **#** |  | **#** | **YES** |  |
| **3** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **ASPIRATOR 30** |  | **#** |  | **#** | **YES** |  |
| **4** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **5** | **LABOUR ROOM** | **LABOUR TABLE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **6** | **OT** | **AUTOCLAVE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **7** | **OT** | **AUTOCLAVE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **8** | **OT** | **FUMIGATOR** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **9** | **OT** | **OT LIGHT** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **10** | **OT** | **OT TABLE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **11** | **OT** | **STERLIZER** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **12** | **OT** | **STERLIZER** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **13** | **OT** | **STERLIZER** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **14** | **OT** | **FOETAL DOPPLER** | **1** | **BPL** | **FD9713** | **DQTA041070** |  | **#** | **YES** |  |
| **15** | **OT** | **FOETAL DOPPLER** | **1** | **BPL** | **FD9714** |  |  | **#** |  | **YES** |
| **16** | **OT** | **NEBULIZER** | **1** | **OMRON** | **NE-C25-EN2** | **535112** |  | **#** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
| **19** | **LABORATORY** | **OVEN** | **1** | **UNILAB** | **#** | **60834** |  | **2015** | **YES** |  |
| **20** | **LABORATORY** | **OVEN** | **1** | **UNILAB** | **#** | **#** |  | **#** |  | **YES** |
| **21** | **LABORATORY** | **CENTRIFUGE** | **1** | **CENTRIKON** | **LIC-510** | **#** |  | **#** | **YES** |  |
| **22** | **LABORATORY** | **WATERBATH** | **1** | **SEROLOGICAL** | **#** | **#** |  | **#** |  | **YES** |
| **23** | **LABORATORY** | **WATERBATH** | **1** | **UNILAB** | **RM-165** | **60388** |  | **#** |  | **YES** |
| **24** | **LABORATORY** | **NEEDLLE CUTTER** | **1** |  |  |  |  | **#** | **YES** |  |
| **25** | **MALAYRIA** | **MICROSCOPE** | **1** | **OLYMPUS** | **CH20IBIMF** | **7009806** |  | **#** | **YES** |  |
| **26** | **MALAYRIA** | **MONONUCLEAR MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **27** | **MALAYRIA** | **MONONUCLEAR MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **28** | **MALAYRIA** | **CENTRIFUGE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **29** | **MALAYRIA** | **CENTRIFUGE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **30** | **MALAYRIA** | **ANALYSER WITH CENTRIFUGE** | **1** | **QBC** | **424434** | **3450014** |  | **#** |  | **YES** |
| **31** | **MALAYRIA** | **BINUCLEAR MICROSCOPE** | **1** |  |  |  |  | **#** |  | **YES** |
| **32** | **MALAYRIA** | **MONO NUCLEAR MICROSCOPE** | **1** | **UNILAB** | **MRX** | **1100044** |  | **#** |  | **YES** |
| **33** | **MALAYRIA** | **MONO NUCLEAR MICROSCOPE** | **1** | **UNILAB** | **\*** | **\*** |  | **#** |  | **YES** |
| **34** | **MALAYRIA** | **MONO NUCLEAR MICROSCOPE** | **1** | **UNILAB** | **\*** | **\*** |  | **#** |  | **YES** |
|  |  |  |  |  |  |  |  |  |  |  |
| **36** | **MALAYRIA** | **MONO NUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | **2590118** | **29751** |  | **#** |  | **YES** |
| **37** | **MALAYRIA** | **MONO NUCLEAR MICROSCOPE** | **1** | **MAGNUS** | **39200** | **76474** |  | **#** |  | **YES** |
| **38** | **AIDS** | **INCUBATOR** | **1** | **UNILAB** | **RH177** | **60039** |  | **#** | **YES** |  |
| **39** | **AIDS** | **OVEN** | **1** | **\*** | **\*** | **\*** |  | **#** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |
| **41** | **AIDS** | **REFRIGERATOR** | **1** | **VIDEOCON** | **#** | **#** |  | **#** |  | **YES** |
| **42** | **AIDS** | **REFRIGERATOR** | **1** | **LG** | **#** | **81NLYY053202** |  | **#** | **YES** |  |
| **43** | **AIDS** | **CENTRIFUGE** | **1** | **UNILAB** | **RH-142** | **22761** |  | **#** |  | **YES** |
| **44** | **X RAY ROOM** | **X RAY MACHINE50ma** | **1** | **ESCORT** | **#** | **#** |  | **#** |  | **YES** |
|  |  |  |  |  |  |  |  |  |  |  |
| **46** | **DIAGNOSIS CENTRE** | **CT-SCAN** | **1** | **TOSHIBA** | **#** | **#** |  | **NOT INSTALLED** | **YES** |  |
| **47** | **DIAGNOSIS CENTRE** | **DEFIBRELLATOR** | **1** | **#** | **#** | **#** |  | **NOT INSTALLED** | **YES** |  |
| **48** | **DIAGNOSIS CENTRE** | **X RAY MACHINE** | **1** | **#** | **#** | **#** |  | **NOT INSTALLED** | **YES** |  |
| **49** | **DIAGNOSIS CENTRE** | **ULTRASOUND** | **1** | **ALOODA** | **IPC-1530** | **#** |  | **NOT INSTALLED** | **YES** |  |
| **50** | **DENTAL ROOM** | **DENTAL CHAIR** | **1** | **D2** | **T-16DLX** | **#** |  | **#** |  | **YES** |
| **51** | **DENTAL ROOM** | **VERTICAL AUTOCLAVE** | **1** | **#** | **#** | **#** |  | **#** |  | **YES** |
| **52** | **DENTAL ROOM** | **STERLIZER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **53** | **DENTAL ROOM** | **VERTICAL AUTOCLAVE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **54** | **DENTAL ROOM** | **MICROMOTOR** | **1** | **ARATHON** | **#** | **111249004** |  | **#** | **YES** |  |
| **55** | **DENTAL ROOM** | **HANGING MOTOR** | **1** | **DA-DENT** | **#** | **781** |  | **#** | **YES** |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | **TOTAL COST** | **2712200** |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **56** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **2442200** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | |  |  |  | |  |  | | |  | |  |  |  | |  | |
|  | |  |  |  | |  |  | | |  | |  |  |  | |  | |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | | | | | | | |
|
| **BORDUMSA CHC, CHANGLANG DISTRICT** | | | | | | | | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | | ***Equipment name*** | | ***QTY*** | ***Manufacturer*** | | ***Model*** | ***Equipment S.No.*** | |  | | ***Installation date*** | | ***Working status*** | | |
| ***W*** | | ***NW*** |
| **1** | **LABORATORY** | | **INCUBATOR** | | **1** | **UNILAB** | |  |  | |  | | **#** | | **YES** | |  |
| **2** | **LABORATORY** | | **CENTRIFUGE** | | **1** | **REMI** | | **C-852** | **KDLC-12795** | |  | | **#** | | **YES** | |  |
| **3** | **LABORATORY** | | **REFRIGERATOR** | | **1** | **HAIER** | |  |  | |  | | **#** | | **YES** | |  |
| **4** | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | | **1** | **OLYMPUS** | | **C7-1201** | **751504** | |  | | **#** | | **YES** | |  |
| **5** | **OPTHALMOLOGY** | | **SLIT LAMP** | | **1** | **MEDISCIENCE** | | **MSL-2000HD** | **348504** | |  | | **#** | | **YES** | |  |
| **6** | **MALAYRIA** | | **BINUCLEAR MICROSCOPE** | | **1** | **OLYMPUS** | | **CH20I** | **I10D144** | |  | | **#** | |  | |  |
| **7** | **MALAYRIA** | | **MONONUCLEAR MICROSCOPE** | | **1** | **#** | | **#** | **#** | |  | | **#** | |  | | **YES** |
| **8** | **MALAYRIA** | | **MONONUCLEAR MICROSCOPE** | | **1** | **#** | | **#** | **#** | |  | | **#** | |  | | **YES** |
| **9** | **MALAYRIA** | | **SUCTION MACHINE** | | **1** | **#** | | **#** | **#** | |  | | **#** | |  | | **YES** |
| **10** | **MALAYRIA** | | **SUCTION MACHINE** | | **1** | **#** | | **#** | **#** | |  | | **#** | |  | | **YES** |
| **11** | **MALAYRIA** | | **STERLIZER** | | **1** | **#** | | **#** | **#** | |  | | **#** | |  | | **YES** |
| **12** | **DENTAL ROOM** | | **DENTAL CHAIR** | | **1** | **CLINIX** | |  |  | |  | | **#** | |  | | **YES** |
| **13** | **DENTAL ROOM** | | **STERLIZER** | | **1** | **#** | | **#** | **#** | |  | | **#** | | **YES** | |  |
| **14** | **LABOUR ROOM** | | **LABOUR TABLE** | | **1** | **#** | | **#** | **#** | |  | | **#** | | **YES** | |  |
| **15** | **LABOUR ROOM** | | **LABOUR TABLE** | | **1** | **#** | | **#** | **#** | |  | | **#** | | **YES** | |  |
| **16** | **LABOUR ROOM** | | **MONONUCLEAR MICROSCOPE** | | **1** | **#** | | **#** | **#** | |  | | **#** | | **YES** | |  |
| **17** | **LABOUR ROOM** | | **FOCUSING LIGHT** | | **1** | **#** | | **#** | **#** | |  | | **#** | | **YES** | |  |
| **18** | **LABOUR ROOM** | | **BABY WARMER** | | **1** | **DELTA MEDICAL APPLIANCES** | |  | **DRHWPH21210010014/06** | |  | | **#** | | **YES** | |  |
| **19** | **LABOUR ROOM** | | **PORTABLE SUTION MACHINE** | | **1** | **PIONEER** | | **#** | **#** | |  | | **#** | | **YES** | |  |
| **20** | **LABOUR ROOM** | | **AUTOCLAVE** | | **1** |  | |  |  | |  | | **#** | | **YES** | |  |
| **21** | **LABOUR ROOM** | | **NEBULIZER** | | **1** | **SAFE NABE** | | **DS-24** | **2.01E+09** | |  | | **#** | | **YES** | |  |
| **22** | **DRESSING ROOM** | | **SUCTION MACHINE** | | **1** | **#** | | **#** | **#** | |  | | **#** | | **YES** | |  |
| **23** | **DRESSING ROOM** | | **STERLIZER** | | **1** | **#** | | **#** | **#** | |  | | **#** | | **YES** | |  |
| **24** | **X RAY ROOM** | | **X RAY MACHINE60ma** | | **1** | **MEDITRONICS** | | **DIAGNOX-100** | **AERB/01/370** | |  | | **#** | | **YES** | |  |
| **25** | **ULTRSOUND ROOM** | | **ULTRSOUND MACHINE** | | **1** | **TOSHIBA** | | **TA312** | **24191071** | |  | | **#** | | **YES** | |  |
|  |  | |  | |  |  | |  |  | |  | |  | |  | |  |
| **27** | **OPTHALMOLOGY** | | **OPRRATING MICROSCOPE** | | **1** | **ZEISS** | | **6635** | **6.64E+09** | |  | | **#** | | **YES** | |  |
| **28** | **OPTHALMOLOGY** | | **STERLIZER** | | **1** | **#** | | **#** | **#** | |  | | **#** | | **YES** | |  |
|  |  | |  | |  |  | |  | **TOTAL COST** | | **2914000** | |  | |  | |  |
|  |  | |  | |  |  | |  |  | |  | |  | |  | |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **60** | **TOTAL NO.OF EQUIPMENTS** | **28** |
| **TOTAL STAFF** | **80** | **TOTAL EQUIPMENTS COST** | **2914000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | |  | |  | |  |  |  | | |  |  | |  | |  |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | | | | | | | |
|
| **JAIRAMPUR CHC, CHANGLANG DISTRICT** | | | | | | | | | | | | | | | | | |
| ***S.no*** | | ***Equipment category*** | | ***Equipment name*** | ***QTY*** | ***Manufacturer*** | | ***Model*** | | ***Equipment S.No.*** |  | | ***Installation date(m-yy)*** | ***Working status*** | | | |
| ***W*** | | ***NW*** | |
| **1** | | **LABOUR ROOM** | | **LABOUR TABLE** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **2** | | **LABOUR ROOM** | | **LABOUR TABLE** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **3** | | **LABOUR ROOM** | | **FOCUSING LIGHT** | **1** | **#** | | **#** | | **#** |  | | **#** |  | | **YES** | |
| **4** | | **LABOUR ROOM** | | **SUCTION MACHINE** | **1** | **SURGI VAC** | |  | | **C-189-013** |  | | **#** | **YES** | |  | |
| **5** | | **LABOUR ROOM** | | **BABY WARMER** | **1** | **NOT AVAILABLE** | |  | | **DRHWPH2K10010022/04** |  | | **#** | **YES** | |  | |
| **6** | | **LABOUR ROOM** | | **PORTABLE SUCTION MACHINE** | **1** |  | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **7** | | **LABOUR ROOM** | | **VETICAL AUTOCLAVE** | **1** | **PHLEGM -SUCTION** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **8** | | **LABOUR ROOM** | | **BABY WARMER** | **1** |  | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **9** | | **LABOUR ROOM** | | **FUMIGATOR** | **1** |  | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **10** | | **LABOUR ROOM** | | **PORTABLE SUCTION MACHINE** | **1** | **ASPIRATOR-30** | | **#** | | **#** |  | | **#** |  | | **YES** | |
| **11** | | **LABOUR ROOM** | | **VERTICAL AUTOCLAVE** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **12** | | **LABOUR ROOM** | | **STERLIZER** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **13** | | **LABOUR ROOM** | | **SUCTION MACHINE** | **1** | **#** | | **#** | | **#** |  | | **#** | **YESYES** | |  | |
| **14** | | **LABOUR ROOM** | | **NEBULIZER** | **1** | **HANDY NAB** | | **NULIFE** | | **NGM101057** |  | | **#** |  | | **YES** | |
| **15** | | **LABOUR ROOM** | | **SUCTION MACHINE** | **1** | **SHIVA** | |  | |  |  | | **#** | **YES** | |  | |
| **16** | | **LABOUR ROOM** | | **FOOT SUCTION MACHINE** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **17** | | **DRESSING ROOM** | | **FOCUSING LIGHT** | **1** | **#** | | **#** | | **#** |  | | **#** |  | | **YES** | |
| **18** | | **DRESSING ROOM** | | **LABOUR TABLE** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **19** | | **LABORATORY** | | **CENTRIFUGE** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **20** | | **LABORATORY** | | **CENTRIFUGE** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **21** | | **LABORATORY** | | **WATER BATH** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **22** | | **LABORATORY** | | **OVEN** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **23** | | **LABORATORY** | | **INCUBATOR** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **24** | | **LABORATORY** | | **WATER BATH** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **25** | | **LABORATORY** | | **REFRIGERATOR** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **26** | | **LABORATORY** | | **COLORIMETER** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **27** | | **LABORATORY** | | **NEEDLE CUTTER** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **29** | | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **30** | | **X RAY ROOM** | | **X ARY MACHINE100ma** | **1** | **MEDITRONICS** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **31** | | **DENTAL ROOM** | | **DENTAL CHAIR** | **1** | **DENFRONT** | | **DFS-690** | |  |  | | **#** | **YES** | |  | |
| **32** | | **DENTAL ROOM** | | **AUTOCLAVE** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **33** | | **DENTAL ROOM** | | **STERLIZER** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **34** | | **MALAYRIA** | | **MICROSCOPE** | **1** | **OLYMPUS** | | **CH20IBIMF** | | **I10DI28** |  | | **#** | **YES** | |  | |
| **35** | | **MALAYRIA** | | **NEEDLE CUTTER** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
|  | |  | |  |  |  | |  | |  |  | |  |  | |  | |
| **37** | | **OPD** | | **NEEDLE CUTTER** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
| **38** | | **OPD** | | **NEEDLE CUTTER** | **1** | **#** | | **#** | | **#** |  | | **#** | **YES** | |  | |
|  | |  | |  |  |  | |  | | **TOTAL COST** | **951800** | |  |  | |  | |
|  | |  | |  |  |  | |  | |  |  | |  |  | |  | |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **25** | **TOTAL NO.OF EQUIPMENTS** | **38** |
| **TOTAL STAFF** | **35** | **TOTAL EQUIPMENTS COST** | **951800** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | |  | |  |  | | |  | |  | |  | |  | |  | |  |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | | | | | | | | | |
|
| **DIYUN CHC,CHANGLANG DISTRICT** | | | | | | | | | | | | | | | | | | | |
| ***S.no*** | | ***Equipment category*** | | ***Equipment name*** | | | ***QTY*** | ***Manufacturer*** | | ***Model*** | | ***Equipment S.No.*** | |  | | ***Installation date*** | | ***Working status*** | |
| ***W*** | ***NW*** |
| **1** | | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | | | **1** | **OLYMPUS** | | **CH20I** | | **7J15044** | |  | | **#** | | **YES** |  |
| **2** | | **LABORATORY** | | **MONONUCLEAR MICROSCOPE** | | | **1** | **OLYMPUS** | | **#** | | **#** | |  | | **#** | | **YES** |  |
| **3** | | **LABORATORY** | | **MONONUCLEAR MICROSCOPE** | | | **1** | **UNILAB** | | **MLX** | |  | |  | | **#** | | **YES** |  |
| **4** | | **LABORATORY** | | **WATER BATH** | | | **1** | **UNILAB** | | **RH165** | | **B0386** | |  | | **#** | | **YES** |  |
| **5** | | **LABORATORY** | | **CENTRIFUGE** | | | **1** | **REMI** | | **#** | | **#** | |  | | **#** | | **YES** |  |
| **6** | | **LABORATORY** | | **MONONUCLEAR MICROSCOPE** | | | **1** | **OLYMPUS** | | **#** | | **48160** | |  | | **#** | | **YES** |  |
| **7** | | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | | | **1** | **MAGNUS** | | **#** | | **1100311** | |  | | **#** | |  | **YES** |
| **8** | | **LABORATORY** | | **MONONUCLEAR MICROSCOPE** | | | **1** | **#** | | **#** | | **#** | |  | | **#** | |  | **YES** |
| **9** | | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | | | **1** | **OLYMPUS** | | **CH20I** | | **7J15044** | |  | | **#** | | **YES** |  |
| **10** | | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | | | **1** | **KYOWA** | | **10258** | | **0729-679** | |  | | **#** | |  | **YES** |
| **11** | | **OT** | | **FOCUSING LIGHT** | | | **1** |  | |  | |  | |  | | **#** | |  | **YES** |
| **12** | | **X ARY ROOM** | | **X ARY MAHINE100ma** | | | **1** | **MEDITRONICS** | |  | | **9F0-10** | |  | | **#** | |  | **YES** |
| **13** | | **DENTAL ROOM** | | **DENTAL CHAIR** | | | **1** | **#** | | **#** | | **2.01E+09** | |  | | **25/11/2014** | | **YES** |  |
| **14** | | **LABOUR ROOM** | | **STERLIZER** | | | **1** | **#** | | **#** | | **#** | |  | |  | | **YES** |  |
| **15** | | **LABOUR ROOM** | | **BABY WARMER** | | | **1** | **DELTA MEDICAL APPLIANCES** | |  | | **DRHWPH2K100/10014/02** | |  | | **#** | | **YES** |  |
| **16** | | **LABOUR ROOM** | | **AUTOCLAVE** | | | **1** | **#** | | **#** | | **#** | |  | | **#** | | **YES** |  |
| **17** | | **LABOUR ROOM** | | **SUCTION MACHINE** | | | **1** | **#** | | **#** | | **#** | |  | | **#** | |  | **YES** |
| **18** | | **LABOUR ROOM** | | **AUTOCLAVE** | | | **1** | **#** | | **#** | | **#** | |  | | **#** | |  | **YES** |
|  | |  | |  | | |  |  | |  | |  | |  | |  | |  |  |
|  | |  | |  | | |  |  | |  | | **TOTAL COST** | | **830500** | |  | |  |  |
|  | |  | |  | | |  |  | |  | |  | |  | |  | |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **15** | **TOTAL NO.OF EQUIPMENTS** | **19** |
| **TOTAL STAFF** | **26** | **TOTAL EQUIPMENTS COST** | **830500** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | |  | |  | |  | |  | |  |  | |  | |  | |  | |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | | | | | | | | | |
|
| **MANMAO CHC, CHANGLANG DISTRICT** | | | | | | | | | | | | | | | | | | | |
| ***S.no*** | | ***Equipment category*** | | ***Equipment name*** | ***QTY*** | ***Manufacturer*** | | ***Model*** | | ***Equipment S.No.*** | | |  | | ***Installation date*** | | ***Working status*** | | |
| ***W*** | | ***NW*** |
| **1** | | **LABOUR ROOM** | | **BABY WARMER** | **1** | **NEOTHERN** | | **1023** | | **NTD2K309008/04** | | |  | | **13-May** | | **YES** | |  |
| **2** | | **LABOUR ROOM** | | **LABOUR TABLE** | **1** | **NE** | | **#** | | **#** | | |  | | **#** | | **YES** | |  |
| **3** | | **LABOUR ROOM** | | **FOCUSING LIGHT** | **1** | **#** | | **#** | | **#** | | |  | | **#** | | **YES** | |  |
| **4** | | **LABOUR ROOM** | | **AUTOCLAVE** | **1** | **#** | | **#** | | **#** | | |  | | **#** | | **YES** | |  |
| **5** | | **LABOUR ROOM** | | **SUCTION MACHINE** | **1** | **#** | | **#** | | **#** | | |  | | **#** | | **YES** | |  |
| **6** | | **LABOUR ROOM** | | **SUCTION MACHINE** | **1** | **#** | | **#** | | **#** | | |  | | **#** | | **YES** | |  |
| **7** | | **LABOUR ROOM** | | **STERLIZER** | **1** | **#** | | **#** | | **#** | | |  | | **#** | |  | | **YES** |
| **8** | | **LABOUR ROOM** | | **STERLIZER** | **1** | **#** | | **#** | | **#** | | |  | | **#** | |  | | **YES** |
| **9** | | **LABOUR ROOM** | | **FUMIGATION MACHINE** | **1** | **#** | | **#** | | **#** | | |  | | **#** | | **YES** | |  |
| **10** | | **LABORATORY** | | **CENTRIFUGE** | **1** | **C-852** | | **HDLO-10193** | |  | | |  | | **#** | | **YES** | |  |
| **11** | | **LABORATORY** | | **STERLIZER** | **1** | **#** | | **#** | | **#** | | |  | | **#** | | **YES** | |  |
| **12** | | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | **1** | **KYOWA** | | **10354** | | **823118** | | |  | | **#** | | **YES** | |  |
| **13** | | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | | **CH201** | | **I10D088** | | |  | | **#** | | **YES** | |  |
| **14** | | **LABORATORY** | | **WATER BATH** | **1** | **UNILAB** | | **#** | | **#** | | |  | | **#** | | **YES** | |  |
| **15** | | **DRESSING ROOM** | | **STERLIZER** | **1** | **#** | | **#** | | **#** | | |  | | **#** | | **YES** | |  |
|  | |  | |  |  |  | |  | | **TOTAL COST** | | | **169500** | |  | |  | |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **10** | **TOTAL NO.OF EQUIPMENTS** | **15** |
| **TOTAL STAFF** | **20** | **TOTAL EQUIPMENTS COST** | **169500** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | |  | |  | |  | |  | |  | |  | |  | | |  | |  | |  |
|  | |  | |  | |  | |  | |  | |  | |  | | |  | |  | |  |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | | | | | | | | | | | |
|
| **NAMPONG PHC, CHANGLANG DISTRICT** | | | | | | | | | | | | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | | ***Equipment name*** | | ***QTY*** | | ***Manufacturer*** | | ***Model*** | | ***Equipment S.No.*** | |  | | ***Installation date*** | | | ***Working status*** | | | |
| ***W*** | | ***NW*** | |
| **1** | **LABOUR ROOM** | | ***LABOUR TABLE*** | | **1** | | **#** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **2** | **LABOUR ROOM** | | ***LABOUR TABLE*** | | **1** | | **#** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **3** | **LABOUR ROOM** | | ***BABY WARMER*** | | **1** | | **DIGITAL RADIANT WARMER** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **4** | **LABOUR ROOM** | | ***SUCTION MACHINE*** | | **1** | | **ASPIRATOR-30** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **5** | **LABOUR ROOM** | | ***FOCUSING LIGHT*** | | **1** | |  | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **6** | **LABOUR ROOM** | | ***NEBULIZER*** | | **1** | | **AERO** | | **#** | | **1003909** | |  | | **#** | | | **YES** | |  | |
| **7** | **LABOUR ROOM** | | ***AUTOCLAVE*** | | **1** | |  | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **8** | **LABOUR ROOM** | | ***AUTOCLAVE*** | | **1** | |  | | **#** | | **#** | |  | | **#** | | |  | | **YES** | |
| **9** | **LABOUR ROOM** | | ***OT LIGHT*** | | **1** | | **ANAND** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **10** | **MALAYRIA** | | **BINUCLEAR MICROSCOPE** | | **1** | | **UNILAB** | | **GE-48** | | **23821** | |  | | **#** | | | **YES** | |  | |
| **11** | **MALAYRIA** | | **MONONUCLEAR MICROSCOPE** | | **1** | | **UNILAB** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **12** | **MALAYRIA** | | **MONONUCLEAR MICROSCOPE** | | **1** | | **OLYMPUS** | | **#** | | **#** | |  | | **#** | | |  | | **YES** | |
| **13** | **LABORATORY** | | ***INCUBATOR*** | | **1** | | **#** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **14** | **LABORATORY** | | ***FUMIGATOR*** | | **1** | | **#** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **15** | **LABORATORY** | | ***CENTRIFUGE*** | | **1** | | **REMI** | | **C-852** | | **KDLC-12786** | |  | | **#** | | | **YES** | |  | |
| **16** | **LABORATORY** | | ***COLORIMETER*** | | **1** | | **#** | | **322** | | **722** | |  | | **#** | | | **YES** | |  | |
| **17** | **LABORATORY** | | ***CENTRIFUGE*** | | **1** | | **#** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **18** | **LABORATORY** | | ***WATERBATH*** | | **1** | | **#** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **19** | **COLD CHAIN** | | ***REFRIGERATOR*** | | **1** | | **SOLAR DULAS** | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
| **20** | **COLD CHAIN** | | ***NEEDLE CUTTER*** | | **1** | |  | | **#** | | **#** | |  | | **#** | | | **YES** | |  | |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  | |
|  |  | |  | |  | |  | |  | | **TOTAL COST** | | **305200** | | |  | |  | |  | |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  | |
|  |  | |  | |  | |  | |  | |  | |  | |  | | |  | |  | |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **10** | **TOTAL NO.OF EQUIPMENTS** | **21** |
| **TOTAL STAFF** | **15** | **TOTAL EQUIPMENTS COST** | **305200** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **INNAO PHC, CHANGLANG DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***QTY*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** | ***COST OF EQUIPMENT*** | ***Installation date(m-yy)*** | ***Working status*** | |
| ***W*** | ***NW*** |
| **1** | **LABOUR ROOM** | **BABY WARMER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **2** | **LABOUR ROOM** | **SUCTION MACHINE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **3** | **LABOUR ROOM** | **FOETAL DOPPLER** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **4** | **MALAYRIA** | **BINUCLEAR MICROSCOPE** | **1** | **#** | **#** | **#** |  | **#** | **YES** |  |
| **5** | **MALAYRIA** | **BINUCLEAR MICROSCOPE** | **1** | **V** | **#** | **#** |  | **#** | **YES** |  |
| **6** | **MALAYRIA** | **AUTOCLAVE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **7** | **MALAYRIA** | **AUTOCLAVE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** | **YES** |  |
| **8** | **MALAYRIA** | **AUTOCLAVE** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** |  | **YES** |
| **9** | **MALAYRIA** | **NEBULIZER** | **1** | **LOCAL MFG.** | **#** | **#** |  | **#** |  | **YES** |
| **10** | **MALAYRIA** | **NEEDLE CUTTER** | **1** | **LOCAL MFG.** |  |  |  | **#** | **YES** |  |
|  |  |  |  |  |  | **TOTAL COST** | **136200** |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **8** | **TOTAL NO.OF EQUIPMENTS** | **10** |
| **TOTAL STAFF** | **10** | **TOTAL EQUIPMENTS COST** | **136200** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | |  | |  | |  | |  | |  |  | | | |  |  |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | | | | | | | | |
|
| **NAMTOK PHC, CAHNGLANG DISTRICT** | | | | | | | | | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | | ***Equipment name*** | | ***QTY*** | | ***Manufacturer*** | | ***Model*** | ***Equipment S.No.*** | ***Price*** | | | ***Installation date(*** | ***Working status*** | | | |
| ***W*** | ***NW*** | | |
| ***1*** | ***LABOUR ROOM*** | | ***STERLIZER*** | | ***1*** | | **\*** | | **#** | **#** |  | | | **#** |  | ***YES*** | | |
| **2** | ***LABOUR ROOM*** | | **STERLIZER** | | **1** | | **\*** | | **#** | **#** |  | | | **#** | ***YES*** |  | | |
| **3** | ***LABOUR ROOM*** | | **STERLIZER** | | **1** | | **\*** | | **#** | **#** |  | | | **#** | ***YES*** |  | | |
| **4** | ***LABOUR ROOM*** | | **STERLIZER** | | **1** | | **\*** | | **#** | **#** |  | | | **#** | ***YES*** |  | | |
| **5** | ***LABOUR ROOM*** | | **BABY WARMER** | | **1** | | **\*** | | **#** | **#** |  | | | **#** |  | ***YES*** | | |
| **6** | ***LABOUR ROOM*** | | **NEBULIZER** | | **1** | | **\*\*** | | **#** | **#** |  | | | **#** | ***YES*** |  | | |
| **7** | ***LABOUR ROOM*** | | **SUCTION MACHNE** | | **1** | | **\*** | | **#** | **#** |  | | | **#** |  | ***YES*** | | |
| **8** | ***LABOUR ROOM*** | | **LABOUR TABLE** | | **1** | | **\*** | | **#** | **#** |  | | | **#** | ***YES*** |  | | |
| **9** | ***LABOUR ROOM*** | | **LABOUR TABLE** | | **1** | | **\*** | | **#** | **#** |  | | | **#** | ***YES*** |  | | |
| **10** | ***LABOUR ROOM*** | | **FOCUSING LIGHT** | | **1** | |  | | **#** | **#** |  | | | **#** | ***YES*** |  | | |
| **11** | **LABORATORY** | | **MICROSCOPE** | | **1** | | **O\*LYMPUS** | | **#** | **#** |  | | | **#** | ***YES*** |  | | |
| **12** | **LABORATORY** | | **MICROSCOPE** | | **1** | | **OLYMPUS** | | **#** | **#** |  | | | **#** | ***YES*** |  | | |
|  |  | |  | |  | |  | |  | **TOTAL COST** | **156000** | | |  |  |  | | |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **8** | **TOTAL NO.OF EQUIPMENTS** | **12** |
| **TOTAL STAFF** | **10** | **TOTAL EQUIPMENTS COST** | **156000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | |  | |  |  | |  |  |  | |  | |  | |
|  |  |  | |  | |  |  | |  |  |  | |  | |  | |
| **MASTER EQIPMENT BASE** | | | | | | | | | | | | | | | | |
|
| **KHIMIYONG PHC, CHANGLANG DISTRICT** | | | | | | | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | | ***Equipment name*** | ***QTY*** | ***Manufacturer*** | | | ***Model*** | ***Equipment S.No.*** |  | | ***Installation date*** | | ***Working status*** | | |
| ***W*** | | ***NW*** |
| ***1*** | ***LABOUR ROOM*** | | ***AUTOCLAVE*** | ***1*** | ***4500*** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **2** | ***LABOUR ROOM*** | | **BABY WARMER** | **1** | **DELTA** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **3** | ***LABOUR ROOM*** | | **STERLIZER** | **1** | **#** | | | **#** | **#** |  | | **#** | |  | | **YES** |
| **4** | ***LABOUR ROOM*** | | **SUCTION MACHINE** | **1** | **SURGIX** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **5** | ***LABOUR ROOM*** | | **LABOUR TABLE** | **1** | **#** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **6** | ***LABOUR ROOM*** | | **FOCOUSING LIGHT** | **1** | **#** | | | **#** | **#** |  | | **#** | |  | | **YES** |
| **7** | ***LABOUR ROOM*** | | **LABRE TABLE** | **1** | **#** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **8** | ***LABOUR ROOM*** | | **STERLIZER** | **1** | **#** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **9** | ***LABOUR ROOM*** | | **NEBULIZER** | **1** | **#** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **10** | ***LABOUR ROOM*** | | **PORTABLE SUCTION MACHINE** | **1** | **#** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **11** | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | **1** | **OLYMPUS** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **12** | **LABORATORY** | | **OVEN** |  | **#** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **13** | **LABORATORY** | | **CENTRIFUGE** |  | **REMI** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **14** | **LABORATORY** | | **WATER BATH** |  | **YORCO** | | | **#** | **#** |  | | **#** | | ***YES*** | |  |
| **14** | **LABORATORY** | | **MONONUCLEAR MICROSCOPE** | **1** | **UNILAB** | | | **#** | **#** |  | |  | | ***YES*** | |  |
|  |  | |  |  |  | | |  | **TOTAL COST** | **220000** | |  | |  | |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **8** | **TOTAL NO.OF EQUIPMENTS** | **14** |
| **TOTAL STAFF** | **10** | **TOTAL EQUIPMENTS COST** | **220000** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | |  |  | |  | | |  | |  |  |  |  |  |
|  |  | |  |  | |  | | |  | |  |  |  |  |  |
|  | | | | | | | | | | | | | | | |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | | | | | |
| **KHARSANG PHC, CAHNGLANG DISTRICT** | | | | | | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | | ***Equipment name*** | | ***QTY*** | ***Manufacturer*** | | | | ***Model*** | ***Equipment S.No.*** | **Price** | ***Installation date*** | ***Working status*** | |
| ***W*** | ***NW*** |
| **1** | ***LABOUR ROOM*** | | **BABY WARMER** | | **1** | **SURGIX** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **2** | ***LABOUR ROOM*** | | **SUCTION MACHINE** | | **1** | **#** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **3** | ***LABOUR ROOM*** | | **LABOUR TABLE** | | **1** | **#** | | | | **#** | **#** |  | **#** |  | **YES** |
| **4** | ***LABOUR ROOM*** | | **SUCTION MACHINE** | | **1** | **#** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **5** | ***LABOUR ROOM*** | | **PORTABLE SUCTION MACHINE** | | **1** | **#** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **6** | ***LABOUR ROOM*** | | **STERLIZER** | | **1** | **#** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **7** | ***LABOUR ROOM*** | | **SUCTION MACHINE** | | **1** | **#** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **8** | **LABORATORY** | | **AUTOCLAVE** | | **1** | **OLYMPUS** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **9** | **LABORATORY** | | **CENTRIFUGE** | |  |  | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **10** | **LABORATORY** | | **CENTRIFUGE** | |  | **REMI** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **11** | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | |  | **KYOWAGETHSA** | | | | **BIOLUX-CXB** | **823129** |  | **#** | ***YES*** |  |
| **12** | **LABORATORY** | | **MONONUCLEAR MICROSCOPE** | |  | **MAGNUS** | | | |  |  |  | **#** | ***YES*** |  |
| **13** | **LABORATORY** | | **BINUCLEAR MICROSCOPE** | |  | **OLYMPUS** | | | | **CWHK10XI** | **7D09809** |  | **#** | ***YES*** |  |
| **14** | **LABORATORY** | | **MONONUCLEAR MICROSCOPE** | |  | **OLYMPUS** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **15** | **LABORATORY** | | **FOCUSING LIGHT** | |  | **#** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **16** | **LABORATORY** | | **STERLIZER** | |  | **#** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **17** | **LABORATORY** | | **SUCION MACHINE** | |  | **#** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **18** | **LABORATORY** | | **STERLIZER** | |  | **#** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **19** | **LABORATORY** | | **LABOUR LIGHT** | |  | **#** | | | | **#** | **#** |  | **#** | ***YES*** |  |
| **20** | **LABORATORY** | | **LABOUR LIGHT** | | **1** | **#** | | | | **#** | **#** |  |  | ***YES*** |  |
| **21** | **LABORATORY** | | **LABOUR LIGHT** | | **1** | **#** | | | | **#** | **#** |  |  | ***YES*** |  |
| **22** | **LABORATORY** | | **OT LIGHT** | | **1** | **#** | | | | **#** | **#** |  |  | ***YES*** |  |
| **23** | **LABORATORY** | | **OT LIGHT** | | **1** | **#** | | | | **#** | **#** |  |  | ***YES*** |  |
| **24** | **LABORATORY** | | **OT LIGHT** | |  | **#** | | | | **#** | **#** |  |  | ***YES*** |  |
| **25** | **LABORATORY** | | **WATER BATH** | | **1 1** | **#** | | | | **#** | **#** |  |  | ***YES*** |  |
| **26** | **LABORATORY** | | **MONONUCLEAR MICROSCOPE** | | **1** | **UNILAB** | | | | **#** | **#** |  |  | ***YES*** |  |
|  |  | |  | |  |  | | | |  | **TOTAL COST** | **628000** |  |  |  |
|  |  |  | | |  | |  |  | | |  |  |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **15** | **TOTAL NO.OF EQUIPMENTS** | **26** |
| **TOTAL STAFF** | **18** | **TOTAL EQUIPMENTS COST** | **628300** |
|  | |  |  |

**DETAILED STUDY OF MEDICAL EQUIPMENTS IN CHANGLANG DISTRICT**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | | |  |  |  |  |  |  |
| **S.No.** | **Name of the Institution** | | **TYPE OF HOSPITAL** | **Total Equipment** | |  |  | **No. of Working Equipment** | **No. of NOT Working Equipment** | **% of Dysfunction equipment** |
| **1** | **CHANGLANG** | | **DH** | **85** | |  |  | **46** | **25** | **29.41%** |
| **2** | **MIAO** | | **CHC** | **56** | |  |  | **33** | **23** | **41.07%** |
| **3** | **BORDUMSA** | | **CHC** | **28** | |  |  | **22** | **6** | **21.42%** |
| **4** | **JAIRAMPUR** | | **CHC** | **38** | |  |  | **34** | **4** | **10.52%** |
| **5** | **DIYUN** | | **CHC** | **19** | |  |  | **12** | **7** | **36.84%** |
| **6** | **MANMAO** | | **CHC** | **15** | |  |  | **13** | **2** | **13.33%** |
| **7** | **KHIMIYONG** | | **PHC** | **14** | |  |  | **12** | **2** | **14.28%** |
| **8** | **NAMPONG** | | **PHC** | **21** | |  |  | **19** | **2** | **9.52%** |
| **9** | **NAMTOK** | | **PHC** | **12** | |  |  | **9** | **3** | **25%** |
| **10** | **KHARSANG** | | **PHC** | **26** | |  |  | **13** | **13** | **50%** |
| **11** | **INNAO** | | **PHC** | **10** | |  |  | **8** | **2** | **20%** |

* **NON-OPERATIONAL PHC:-**

1. **YATDAM**
2. **VIJAYNAGAR**

**Percentage of Dysfunctional equipment 9.52 % to 50 %**

**Summary of Biomedical Equipment Inventory Survey in Changlang District**

**Name of facility with Highest Dysfunctional Rate : PHC KHARSANG.**

Highest Dysfunctional Rate:**50 %**

**Name of facility with Lowest Dysfunctional Rate : P.H.C. KHARSANG**

Lowest Dysfunctional Rate: **9.52 %**

Average Dysfunctional Rate: **30.51 %**

**Total Cost of Equipments:** :  **Rs.** **20001300**

Total No. of Equipments: 324

|  |
| --- |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
| **ROING DISTRICT HOSPITAL, LOWER DIBANG VALLEY DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***Qty*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** |  | ***Installation date*** | ***Working status*** | |
| ***W*** | ***NW*** |
| ***1*** | ***LABORATORY*** | ***CENTRIFUGE MACHINE*** | ***1*** | ***SYMAX*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***2*** | ***LABORATORY*** | ***NEEDLE DESTROYER*** | ***1*** | ***YORCO*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***3*** | ***LABORATORY*** | ***REFRIGERATOR*** | ***1*** | ***VIDEOCON*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***4*** | ***LABORATORY*** | ***OVEN*** | ***1*** | ***UNIVERSE*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***5*** | ***LABORATORY*** | ***REFRIGERATOR*** | ***1*** | ***VIDEOCON*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***6*** | ***LABORATORY*** | ***MICROSCOPE*** | ***1*** | ***HAEMATOKRIT-24*** | **#** | **#** |  | **#** |  | ***YES*** |
| ***7*** | ***LABORATORY*** | ***MICROSCOPE*** | ***1*** | ***LOCAL*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***8*** | ***LABORATORY*** | ***CENTRIFUGE MACHINE*** | ***1*** | **#** | **#** | **#** |  | **#** |  | ***YES*** |
| ***9*** | ***LABORATORY*** | ***PORTABLE REFRIGERATOR*** | ***1*** | ***PCS*** | ***PCS12*** |  |  | **#** |  | ***YES*** |
| ***10*** | ***LABORATORY*** | ***WATER BATH*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***11*** | ***LABORATORY*** | ***MICROSCOPE*** | ***1*** | ***LABOMED*** |  | ***20537*** |  | **#** | ***YES*** |  |
| ***12*** | ***LABORATORY*** | ***BLOOD BANK RFRIGERATOR*** | ***1*** | ***HAIER*** | ***HXC-608A*** |  |  | **#** |  | ***YES*** |
| ***13*** | ***LABORATORY*** | ***BLOOD BANK RFRIGERATOR*** | ***1*** | ***HAIER*** | ***BE06PME*** | ***IT00B2BAU0006*** |  | **#** |  | ***YES*** |
| ***14*** | ***OT*** | ***ELECTROCAUTRY*** | ***1*** | ***MICROSURGICAL*** | ***ACC001*** |  |  | **#** | ***YES*** |  |
| ***15*** | ***0T*** | ***ENDOSCOPE*** | ***1*** | ***STORZ*** | ***#*** | ***187815S*** |  | **#** | ***YES*** |  |
| ***16*** | ***OT*** | ***SUCTION MACHINE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***17*** | ***OT*** | ***BABY WEIGHING MACHINE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***18*** | ***OT*** | ***OT TABLE*** | ***1*** | **#** | **#** | **#** |  | **#** |  | ***YES*** |
| ***19*** | ***OT*** | ***SUCTION MACHINE*** | ***1*** | ***SURGIX*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***20*** | ***OT*** | ***SUCTION MACHINE*** | ***1*** | ***SURGIX*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***21*** | ***OT*** | ***OPERATING MICROSCOPE*** | ***1*** | ***SHIN NIPPON OP-2*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***22*** | ***OT*** | ***OT LIGHT*** | ***1*** |  | **#** | **#** |  | **#** | ***YES*** |  |
| ***23*** | ***OT*** | ***AUTOMATIC OT TABLE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***24*** | ***OT*** | ***OT LIGHT*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***25*** | ***OT*** | ***AUTOMATIC OT TABLE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***26*** | ***OT*** | ***OVEN*** | ***1*** | ***SIEMENS*** | ***5272*** | ***11052*** |  | **#** | ***YES*** |  |
| ***27*** | ***OT*** | ***STERLIZER*** |  | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***28*** | ***OT*** | ***OT LIGHT*** | ***1*** | ***KE*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***29*** | ***OT*** | ***LAMP*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***30*** | ***OT*** | ***LAMP*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***31*** | ***OT*** | ***LAMP*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***32*** | ***OT*** | ***AUTTOCLAVE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***33*** | ***OT*** | ***AUTTOCLAVE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***34*** | ***OT*** | ***AUTTOCLAVE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***35*** | ***LABOUR ROOM*** | ***SUCTION MJACHINE*** | ***1*** | ***SURGIX*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***36*** | ***LABOUR ROOM*** | ***FOOT OPERATED SUCTION MACHINE*** | ***1*** |  | **#** | **#** |  | **#** |  | ***YES*** |
| ***37*** | ***LABOUR ROOM*** | ***OT LIGHT*** | ***1*** | ***ANAND*** | **#** | **#** |  | **#** |  | ***YES*** |
| ***38*** | ***LABOUR ROOM*** | ***WEIGHING MACHINE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***39*** | ***LABOUR ROOM*** | ***FOETAL HEART MONITOR*** | ***1*** | **#** | **#** | **#** |  | ***2008*** | ***YES*** |  |
| ***40*** | ***LABOUR ROOM*** | ***LAMP*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***41*** | ***LABOUR ROOM*** | ***BABY WARMER*** | ***1*** | ***MEDICAD*** | **#** | **#** |  | **#** |  | ***YES*** |
| ***42*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***43*** | ***LABOUR ROOM*** | ***BABY WARMER*** | ***1*** | ***MEDI WAVE*** | **#** | **#** |  | **#** |  | ***YES*** |
| ***44*** | ***GYNE-ROOM*** | ***SUCTION MACHINE*** | ***1*** | ***ASPIRATOR*** | **#** | **#** |  | **#** |  | ***YES*** |
| ***45*** | ***GYNE-ROOM*** | ***SUCTION MACHINE*** | ***1*** | ***7E-B*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***46*** | ***GYNE-ROOM*** | ***NEBULIZER*** | ***1*** | ***NEBUFLO*** |  | ***4IJ140011/096*** |  | ***Jan-04*** | ***YES*** |  |
| ***47*** | ***GYNE-ROOM*** | ***ENDOSCOPE*** | ***1*** | ***OLYMPUS*** | ***FB-25K-1*** | ***25511722*** |  | **#** | ***YES*** |  |
| ***48*** | ***GYNE-ROOM*** | ***ROOM HEATER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***49*** | ***GYNE-ROOM*** | ***STERLIZER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***50*** | ***GYNE-ROOM*** | ***STERLIZER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***51*** | ***GYNE-ROOM*** | ***STERLIZER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***52*** | ***GYNE-ROOM*** | ***STERLIZER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***53*** | ***GYNE-ROOM*** | ***STERLIZER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***54*** | ***GYNE-ROOM*** | ***STERLIZER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***55*** | ***GYNE-ROOM*** | ***AUTOMATIC OT TABLE*** | ***1*** | ***COGNATE*** | ***S5-251*** | ***1194*** |  | **#** |  | ***YES*** |
| ***56*** | ***GYNE-ROOM*** | ***HORIZONTAL AUTOCLAVE*** | ***1*** | ***KI*** | **#** | **#** |  | **#** |  | ***YES*** |
| ***57*** | ***GYNE-ROOM*** | ***ANAESTHESIA*** | ***1*** | ***MEDILINE*** | **#** | **#** |  | **#** |  | ***YES*** |
| ***58*** | ***GYNE-ROOM*** | ***PULSE OXYMETER*** | ***1*** | ***CSI*** | **#** | **#** |  | **#** |  | ***YES*** |
| ***59*** | ***GYNE-ROOM*** | ***FUMIGATOR*** | ***1*** | ***CRITICART*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***60*** | ***REFRACTION ROOM*** | ***OPTHALMOSCOPE(A-SCAN)*** | ***1*** | ***SVOER*** | ***SW-1000*** | ***JH1381AX*** |  | **#** | ***YES*** |  |
| ***61*** | ***REFRACTION ROOM*** | ***DIRECT OPTHALMOSCOPE*** | ***1*** | ***HEINE*** | ***BETA-200*** |  |  | **#** | ***YES*** |  |
| ***62*** | ***REFRACTION ROOM*** | ***MICROSC OPE*** | ***1*** | ***OLYMPUS*** |  | ***805165*** |  | **#** | ***YES*** |  |
| ***63*** | ***REFRACTION ROOM*** | ***MICROSCOPE*** | ***1*** | ***LABO*** |  |  |  | **#** |  | ***YES*** |
| ***64*** | ***REFRACTION ROOM*** | ***MICROSCOPE*** | ***1*** | ***OLYMPUS*** |  | ***2522728*** |  | **#** |  | ***YES*** |
| ***65*** | ***REFRACTION ROOM*** | ***BINUCLEAR MICROSCOPE*** | ***1*** |  | ***KYOWA*** | ***729684*** |  | **#** |  | ***YES*** |
| ***66*** | ***REFRACTION ROOM*** | ***BINUCLEAR MICROSCOPE*** | ***1*** | ***LEICADME*** |  | ***13595XXX*** |  | **#** |  | ***YES*** |
| ***67*** | ***REFRACTION ROOM*** | ***ENDOSCOPE(COLONOSCOPE)*** | ***1*** | ***OLYMPUS*** | ***EAJN-128*** | ***2410468*** |  | **#** | ***YES*** |  |
| ***68*** | ***REFRACTION ROOM*** | ***AUTO ANALYSER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***69*** | ***REFRACTION ROOM*** | ***WATER BATH*** | ***1*** | ***ALOKA*** | ***3590*** | ***M06126*** |  | **#** | ***YES*** |  |
| ***70*** | ***REFRACTION ROOM*** | ***BLOOD CELL COUNTER*** | ***1*** | ***YORCO*** | **#** | ***04J0152*** |  | **#** | ***YES*** |  |
| ***71*** | ***X RAY ROOM*** | ***X ARY 100 ma*** | ***1*** | ***STALLION-50*** | **#** |  |  | **#** |  | ***YES*** |
| **72** | **CT SCAN** | **CT SCAN SINGLE SLICE** | **1** | **TOSHIBA** | **CTM-44-0232** | **1259** |  | **2007** |  | ***YES*** |
| ***73*** | ***OPTHALMOLOGY*** | ***SLIT LAMP*** | ***1*** | ***FUJITRON*** | ***FSI-355HY*** | ***H1200347*** |  | **#** | ***YES*** |  |
| ***74*** | ***OPTHALMOLOGY*** | ***INDIRECT OPTHALMOSCOPE*** | ***1*** | ***HEINE*** | ***OMEGA-180*** |  |  | **#** | ***YES*** |  |
| ***75*** | ***OPTHALMOLOGY*** | ***KEROTOMETER*** | ***1*** | ***BOSH AND LOMB*** | **#** | ***1210502089*** |  | **#** | ***YES*** |  |
| ***76*** | ***OPTHALMOLOGY*** | ***STERLIZER*** | ***1*** |  | **#** | **#** |  | **#** | ***YES*** |  |
| ***77*** | ***DENTAL ROOM*** | ***DENTAL CHAIR*** | ***1*** | ***CONFIDENT*** | **#** | **#** |  | **#** | ***YES*** |  |
| ***78*** | ***DENTAL ROOM*** | ***DENTAL CHAIR*** | ***1*** | ***EDQ*** | ***T-16DLX*** | **#** |  | **#** |  | ***YES*** |
| ***79*** | ***DENTAL ROOM*** | ***STERLIZER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***80*** | ***DENTAL ROOM*** | ***DENTAL X RAY*** | ***1*** | **#** | **#** | **#** |  | **#** |  | ***YES*** |
| ***81*** | ***CASUALITY*** | ***STERLIZER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***82*** | ***CASUALITY*** | ***TABLE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***83*** | ***CASUALITY*** | ***TABLE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***84*** | ***CASUALITY*** | ***SUCTION MACHINBE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***85*** | ***CASUALITY*** | ***SUCTION MACHINE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
| ***89*** | ***CASUALITY*** | ***ELISA READER*** | ***1*** | ***ROBMILK*** |  | ***AW0017011SRBK*** |  | **#** | ***YES*** |  |
| ***90*** | ***CASUALITY*** | ***ELISA WASHER*** | ***1*** | ***ROBMILK*** |  | ***RT0280115RBK*** |  | **#** | ***YES*** |  |
| ***91*** | ***CASUALITY*** | ***INCUBATOR*** | ***1*** | ***YORCO*** | ***YSI-438*** |  |  | **#** |  | ***YES*** |
| ***92*** | ***CASUALITY*** | ***INCUBATOR*** | ***1*** | ***YORCO*** | ***YSI-438*** |  |  | **#** |  | ***YES*** |
| ***93*** | ***BLOODE BANK*** | ***REFRIGERATOR*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***94*** | ***BLOODE BANK*** | ***WATER BATH*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***95*** | ***BLOODE BANK*** | ***OVEN*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***96*** | ***BLOODE BANK*** | ***WATER BATH*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***97*** | ***BLOODE BANK*** | ***CENTRIFUGE MACHINE*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***98*** | ***BLOODE BANK*** | ***REFRIGERATOR*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***99*** | ***BLOODE BANK*** | ***BLOOD COLLECTION MONITOR*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***100*** | ***BLOODE BANK*** | ***BLOOD COLLECTION MONITOR*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***101*** | ***BLOODE BANK*** | ***TUBE SEALER*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***102*** | ***BLOODE BANK*** | ***AUTOCLAVE*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***103*** | ***BLOODE BANK*** | ***STIRLIZER*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** |  |  |
| ***104*** | ***BLOODE BANK*** | ***CENTRIFUGE MACHINE*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***105*** | ***BLOODE BANK*** | ***AUTO ANALYSER*** | ***1*** | ***STAR 21*** |  | ***E10343*** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***106*** | ***STORE ROOM*** | ***ULTRA SOUNDD*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***107*** | ***STORE ROOM*** | ***FULLY AUOANALYSER*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***108*** | ***STORE ROOM*** | ***VIDEO GRAPHIC PRINTER*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***109*** | ***STORE ROOM*** | ***DEFIB.*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
| ***110*** | ***STORE ROOM*** | ***AUTOMATIC TISSUE PROCESSOR*** | ***1*** | **#** | **#** | **#** |  | ***NOT INSTALLED*** | ***YES*** |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
| ***114*** |  |  |  | ***TOTAL COST*** |  |  | ***18919200*** |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **60** | **TOTAL NO.OF EQUIPMENTS** | **114** |
| **TOTAL STAFF** | **70** | **TOTAL EQUIPMENTS COST** | ***18919200*** |
|  | |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | | |
|
| **PARBHUK CHC, LOWER DIBANG VALLEY DISTRICT** | | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | | ***Equipment name*** | ***Qty*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** |  | ***Installation date*** | ***Working status*** | |
| ***W*** | ***NW*** |
| ***1*** | | ***LABORATORY*** | ***CENTRIFUGE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***2*** | ***LABORATORY*** | | ***OVEN*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***3*** | ***LAB1ORATORY*** | | ***MICROSCOPE*** | ***1*** | ***OLYMPUS*** | ***CH20IBIMF*** | ***703287*** |  | **#** | ***YES*** |  |
| ***4*** | ***X RAY ROOM*** | | ***X RAY*** | ***1*** |  | ***RX-60*** |  |  | **#** |  | ***YES*** |
|  |  | |  |  |  |  |  |  |  |  |  |
|  |  | |  |  |  |  |  |  |  |  |  |
| ***7*** | ***ULTRASOUND ROOM*** | | ***ULTRASOUND*** | ***1*** | ***SONOSCAPE*** | ***A5*** | ***26285247*** |  | **#** | ***YES*** |  |
| ***8*** | ***MINOR OT*** | | ***OT TABLE*** | ***1*** | **#** | **#** | **#** |  | **#** |  |  |
| ***9*** | ***MINOR OT*** | | ***OT TABLE*** | ***1*** | **#** | **#** | **#** |  | **#** |  |  |
| ***10*** | ***MINOR OT*** | | ***VERTICAL AUTOCLVE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***11*** | ***MINOR OT*** | | ***VERTICAL AUTOCLVE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***12*** | ***MINOR OT*** | | ***VERTICAL AUTOCLVE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***13*** | ***MINOR OT*** | | ***VERTICAL AUTOCLVE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***14*** | ***DENTAL ROOM*** | | ***DENTAL CHAIR*** | ***1*** | **#** | **#** | ***DFS-690*** |  | **#** |  | ***YES*** |
| ***15*** | ***DENTAL ROOM*** | | ***DENTAL CHAIR*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***16*** | ***DENTAL ROOM*** | | ***STERLIZER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***17*** | ***DENTAL ROOM*** | | ***NEEDLE CUTTER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***18*** | ***DENTAL ROOM*** | | ***NEEDLE CUTTER*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
|  |  | |  |  |  | ***TOTAL COST*** |  | ***1433900*** |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **18** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | ***1433900*** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **KORONU CHC, LOWER DIBANG VALLEY DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***Qty*** | ***Manufacturer*** | **Model** | ***Equipment S.No.*** |  | ***Installation date(m-yy)*** | ***Working status*** | |
| ***W*** | ***NW*** |
| ***1*** | ***LABOUR ROOM*** | ***BABY WARMER*** | ***1*** | ***DELTA MEDICAL APPLIANCES*** |  | ***DRHWPH2K10010014/9*** |  | **#** | ***YES*** |  |
| ***2*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** | ***1*** | ***DYNAMICS*** |  | ***D009*** |  | **#** | ***YES*** |  |
| ***3*** | ***LABOUR ROOM*** | ***LABOUR TABLE*** | ***1*** | **#** | **#** | **#** |  | **#** | ***YES*** |  |
| ***4*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** | ***1*** | **#** | **#** | **#** |  | **#** |  | ***YES*** |
| ***5*** | ***LABOUR ROOM*** | ***STERLIZER*** | ***1*** | **#** | **#** | **#** |  | **#** |  | ***YES*** |
| ***6*** | ***LABOUR ROOM*** | ***AUTOCLAVE*** | ***1*** | **#** | **#** | **#** |  | **#** |  | ***YES*** |
|  |  |  |  |  | ***TOTAL COST*** |  | ***90500*** |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found.**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **5** | **TOTAL NO.OF EQUIPMENTS** | **6** |
| **TOTAL STAFF** | **6** | **TOTAL EQUIPMENTS COST** | **90500** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **BOLLUNG PHC, LOWER DIBANG VALLEY DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***Qty*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** | ***price*** | ***Installation date(m-yy)*** | ***Working status*** | |
| ***W*** | ***NW*** |
| ***1*** | ***LABOUR ROOM*** | ***BOILER*** | ***1*** | ***#*** | ***#*** | ***#*** |  | ***#*** |  | ***YES*** |
| ***2*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** | ***1*** | ***#*** | ***#*** | ***#*** |  | ***#*** |  | ***YES*** |
| ***3*** | ***LABOUR ROOM*** | ***STERLIZER*** | ***1*** | ***#*** | ***#*** | ***#*** |  | ***#*** |  | ***YES*** |
| ***4*** |  |  |  |  |  |  |  |  |  |  |
| ***5*** | ***OPD*** | ***BOILER*** | ***1*** | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **5** | **TOTAL NO.OF EQUIPMENTS** | **5** |
| **TOTAL STAFF** | **8** | **TOTAL EQUIPMENTS COST** | **65000** |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **HUNLI CHC , LOWER DIBANG VALLEY DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***Qty*** | ***Manufacturer*** |  |  | ***Price*** | ***Installation datE*** | ***Working status*** | |
| ***W*** | ***NW*** |
| ***1*** | ***LABOUR ROOM*** | ***OT LIGHT*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
| ***2*** | ***LABOUR ROOM*** | ***AUTOCLAVE*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** |  | ***YES*** |
| ***3*** | ***LABOUR ROOM*** | ***BABY WARMER*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
| ***4*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** |  | ***OLYMPUS*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
| ***5*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
| ***6*** | ***LABOUR ROOM*** | ***STERLIZER*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
| ***7*** | ***LABOUR ROOM*** | ***NEEDLE CUTTER*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
| ***8*** | ***LABOUR ROOM*** | ***NEEDLE CUTTER*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
| ***9*** | ***LABOUR ROOM*** | ***NEEDLE CUTTER*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
| ***10*** | ***LABOUR ROOM*** | ***NEEDLE CUTTER*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** |  | ***YES*** |
|  |  |  |  |  |  |  |  |  |  |  |
| ***12*** | ***LABORATORY*** | ***MICROSCOPE*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
| ***13*** | ***LABORATORY*** | ***CENTRIFUGE*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
| ***14*** | ***LABORATORY*** | ***OVEN*** |  | ***#*** | ***#*** | ***#*** |  | ***#*** | ***YES*** |  |
|  |  |  |  |  | ***TOTAL COST*** |  | ***349300*** |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **14** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | **349300** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
| **IDULI PHC, LOWER DIBANG VALLEY** | | | | | | | | | | |
| *S.no* | *Equipment category* | *Equipment name* | *Qty* | *Manufacturer* | *Model* |  |  | Installation Date | *Working status* | |
| *W* | *NW* |
| *1* | *LABORATORY* | *MICROSCOPE* | *1* | *UNILAB* |  |  |  | *#* | *YES* |  |
| *2* | *LABORATORY* | *MICROSCOPE* | *1* | *UNILAB* | *GE-48* | *23806* |  | *#* |  | *YES* |
| *3* | *OT* | *OT LIGHT* | *1* | *#* |  |  |  | *#* | *YES* |  |
| *4* | *OT* | *CENTRIFUGE* | *1* | *REMI* | *C 852* | *KD2/12798* |  | *#* | *YES* |  |
| *5* | *OT* | *SUCTION MACHINE* | *1* | *#* | *#* | *#* |  | *#* | *YES* |  |
| *6* | *OT* | *SUCTION MACHINE* | *1* | *#* | *#* | *#* |  | *#* | *YES* |  |
| *7* | *OT* | *OT LIGHT* | *1* | *SURGIX* | *#* | *#* |  | *#* | *YES* |  |
| *8* | *OT* | *RADIANT WARMER* | *1* | *#* | *#* | *#* |  | *#* | *YES* |  |
| *9* | *OT* | *AUTOCLAVE* | *1* | *#* | *#* | *#* |  | *#* | *YES* |  |
| *10* | *OT* | *AUTOCLAVE* | *1* | *#* | *#* | *#* |  | *#* | *YES* |  |
| *11* | *OT* | *LABOUR TABLE* | *1* | *#* | *#* | *#* |  | *#* | *YES* |  |
| *12* | *OT* | *STERLIZER* | *1* | *#* | *#* | *#* |  | *#* | *YES* |  |
|  |  |  |  |  | TOTAL COST |  | 273500 |  |  |  |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** | **6** | **TOTAL NO.OF EQUIPMENTS** | **12** |
| **TOTAL STAFF** | **10** | **TOTAL EQUIPMENTS COST** | **273500** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER EQUIPMENT BASE** | | | | | | | | | | |
|
| **DOMBUK CHC, LOWER DIBANG VALLEY DISTRICT** | | | | | | | | | | |
| ***S.no*** | ***Equipment category*** | ***Equipment name*** | ***Qty*** | ***Manufacturer*** | ***Model*** | ***Equipment S.No.*** | ***Price*** | ***Installation date(m-yy)*** | ***Working status*** | | |
|  | ***W*** | ***NW*** | |
| ***1*** | ***LABOUR ROOM*** | ***OT LIGHT*** | ***1*** | **#** | **#** | **#** | ***70000*** | **#** | ***YES*** |  | |
| ***2*** | ***LABOUR ROOM*** | ***AUTOCLAVE*** | ***1*** | **#** | **#** | **#** | ***10000*** | **#** |  | ***YES*** | |
| ***3*** | ***LABOUR ROOM*** | ***BABY WARMER*** | ***1*** | **#** | **#** | **#** | ***38000*** | **#** | ***YES*** |  | |
| ***4*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** | ***1*** | **#** | **#** | **#** | ***6500*** | **#** | ***YES*** |  | |
| ***5*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** | ***1*** | **#** | **#** | **#** | ***6500*** | **#** | ***YES*** |  | |
| ***6*** | ***LABOUR ROOM*** | ***LABOUR TABLE*** | ***1*** | **#** | **#** | **#** | ***25000*** | **#** |  | ***YES*** | |
| ***7*** | ***LABOUR ROOM*** | ***OT LIGHT*** | ***1*** | **#** | **#** | **#** | ***70000*** | **#** |  | ***YES*** | |
| ***8*** | ***LABOUR ROOM*** | ***SUCTION MACHINE*** | ***1*** | **#** | **#** | **#** | ***6500*** | **#** |  | ***YES*** | |
| ***9*** | ***LABOUR ROOM*** | ***LABOUR TABLE*** | ***1*** | **#** | **#** | **#** | ***25000*** | **#** | ***YES*** |  | |
| ***10*** | ***LABOUR ROOM*** | ***STERLIZER*** | ***1*** | **#** | **#** | **#** | ***4500*** | **#** | ***YES*** |  | |
| ***11*** | ***LABOUR ROOM*** | ***NEEDLE CUTTER*** | ***1*** | **#** | **#** | **#** | ***1200*** | **#** | ***YES*** |  | |
| ***12*** | ***LABOUR ROOM*** | ***NEEDLE CUTTER*** | ***1*** | **#** | **#** | **#** | ***1200*** | **#** | ***YES*** |  | |
| ***13*** | ***LABOUR ROOM*** | ***NEEDLE CUTTER*** | ***1*** | **#** | **#** | **#** | ***1200*** | **#** | ***YES*** |  | |
| ***14*** | ***LABOUR ROOM*** | ***NEEDLE CUTTER*** | ***1*** | **#** | **#** | **#** | ***1200*** | **#** | ***YES*** |  | |
| ***15*** | ***LABOUR ROOM*** | ***NEEDLE CUTTER*** | ***1*** | **#** | **#** | **#** | ***1200*** | **#** | ***YES*** |  | |
| ***16*** | ***ENT*** | ***AUTOSCOPE*** | ***1*** | **#** | **#** | **#** | ***70000*** | **#** | ***YES*** |  | |
| ***17*** | ***X RAY*** | ***X RAY MACHINE*** | ***1*** | **#** | **#** | **#** | ***450000*** | **#** | ***YES*** |  | |
|  |  |  |  |  |  |  |  |  |  |  | |
|  |  |  |  |  | ***TOTAL COST*** |  | ***788000*** |  |  |  | |

**NOTE:- \*stands for not visible and # stands for not found**

|  |  |  |  |
| --- | --- | --- | --- |
| **TOTAL NO. OF BEDS** |  | **TOTAL NO.OF EQUIPMENTS** | **18** |
| **TOTAL STAFF** |  | **TOTAL EQUIPMENTS COST** | ***788000*** |
|  | |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | | |  |  |  |  |  |  |
| S.No. | Name of the Institution | | TYPE OF HOSPITAL | Total Equipment | |  |  | No. of Working Equipment | No. of NOT Working Equipment | % of Dysfunction equipment |
| 1 | ROING | | DH | 114 | |  |  | 89 | 25 | 21.92 % |
| 2 | PARBHUK | | CHC | 18 | |  |  | 16 | 2 | 11.11 % |
| 3 | KORONU | | CHC | 6 | |  |  | 3 | 3 | 50 % |
| 4 | HUNLI | | CHC | 14 | |  |  | 12 | 2 | 14.28 % |
| 5 | DOMBHUK | | CHC | 18 | |  |  | 13 | 5 | 27.77 % |
| 6 | IDULI | | CHC | 12 | |  |  | 11 | 1 | 8.33 % |
| 7 | BOLLUNG | | PHC | 5 | |  |  | 2 | 3 | 60 % |

**DETAILED STUDY OF MEDICAL EQUIPMENT OF LOWER DIBANG VALLEY DISTRICT**

* **NON OPERATIONLA PHC**:-

1. **AMPUNG**
2. **DESALI**
3. **JIA**
4. **PAGLAM**

|  |
| --- |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |

**Percentage of Dysfunctional equipment 8.33 % to 60 %**

**Summary of Biomedical Equipment Inventory Survey in lower dibang valley**

**Name of facility with Highest Dysfunctional Rate : P.H.C. BOLLUNG**

Highest Dysfunctional Rate:**60 %**

**Name of facility with Lowest Dysfunctional Rate : C.H.C . IDULI**

Lowest Dysfunctional Rate: **8.33 %**

Average Dysfunctional Rate: **34.16 %**

**Total Cost of Equipments: RS. 21874400**