## CIVIL HOSPITAL
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-26
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | Civil Hospital (KulluI)
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | O.P.D | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | Weighing Machine | Doctor | * | * | 1 |  | 1 | 2500 | 2500
# |  | Ventilator | Hofrit | Carat-II | C1215397 | 1 |  | 1 | 350000 | 350000
# |  | Multipara Monitor | Nidek | Horizon | 20310 | 1 |  | 1 | 80000 | 80000
# |  | Multipara Monitor | Nidek | Horizon | 20308 | 1 |  | 1 | 80000 | 80000
# |  | Needle Destroyer | Sap Life | * | * | 1 |  | 1 | 1200 | 1200
# |  | Nebulizer | Aeromac | * | * | 1 |  | 1 | 6500 | 6500
# |  | Ventilator | Hofritech | * | C1215599 | 1 |  | 1 | 350000 | 350000
# |  | Suction Machine | Sugix | * | * | 1 |  | 1 | 6500 | 6500
# |  | B.P.Instrument | Novaphone | * | * | 1 |  | 1 | 650 | 650
# |  | Baby Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# |  | X-Ray(Digital) | Care Stream | Direct View | * | 1 |  | 1 | 450000 | 450000
# | X-RAY | X-Ray Machine 500MA | Allengers | Allengers525 | * | 1 |  | 1 | 450000 | 450000
# | PROCEDURE ROOM | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Destroyer | Indian | * | * |  | 1 | 1 | 1200 | 1200
# |  | Suction Machine | Sugix | * | * | 1 |  | 1 | 6500 | 6500
# |  | O.T.Light | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | O.T.Talbe(Hydrolic) | Indian | * | * | 1 |  | 1 | 350000 | 350000
# |  | Needle Destroyer | Sai Life | * | * | 1 |  | 1 | 1200 | 1200
# | O.T | Autoclave(Horizontal) | Yorco | * | * | 1 |  | 1 | 55000 | 55000
# |  | Fumigator | Indian | * | * | 1 |  | 1 | 4500 | 4500
# |  | C-Arm | Allengers | * | * | 1 |  | 1 | 800000 | 800000
# |  | Diathermy | Medichem | * | 014-015002 | 1 |  | 1 | 650000 | 650000
# |  | O.T.Table(Hydrolic) | Indian | * | * | 1 |  | 1 | 350000 | 350000
# |  | Anesthisia Machine | Drages | Fabilus Plus | ASD0017 | 1 |  | 1 | 450000 | 450000
# |  | Anesthisia Machine | Drages | Infinity | * | 1 |  | 1 | 450000 | 450000
# |  | Suction Machine | Surgix | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Destroyer | Sai Life | * | * | 1 |  | 1 | 1200 | 1200
# | M.C.H | Needle Cutter | Sheetha | * | * | 1 |  | 1 | 1200 | 1200
# |  | Deep Freezer | Vestfrost | * | * | 1 |  | 1 | 150000 | 150000
# |  | Deep Freezer | Vestfrost | * | * | 1 |  | 1 | 150000 | 150000
# |  | Deep Freezer | Vestfrost | * | * | 1 |  | 1 | 150000 | 150000
# |  | I.L.R | Vestfrost | * | * | 1 |  | 1 | 300000 | 300000
# |  | I.L.R | Vestfrost | * | * | 1 |  | 1 | 300000 | 300000
# | MATERNITY WARD | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | Domestic Refrigerator | Samsung | * | * | 1 |  | 1 | 15000 | 15000
# |  | B.P.Instrument | Indian | * | * |  | 1 | 1 | 650 | 650
# |  | B.P.Instrument | Diamond | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | Diamond | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | Diamond | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | Diamond | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | Diamond | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | Allied | * | * | 1 |  | 1 | 650 | 650
# |  | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | Baby Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | Baby Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# | MATERNITY WARD | Foetal Doppler | Cowmen | * | 2014FQ0404 |  | 1 | 1 | 80000 | 80000
# |  | Foetal Doppler | Niscomed | * | 01503PQ370671 | 1 |  | 1 | 80000 | 80000
# |  | Foetal Doppler | Niscomed | * | 01503PQ370619 | 1 |  | 1 | 80000 | 80000
# |  | Foetal Doppler | Niscomed | * | 01503PQ370634 | 1 |  | 1 | 80000 | 80000
# | # | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# | # | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# | # | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# | # | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# | # | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# | # | Baby Warmer | Bird Meditech | * | 184 | 1 |  | 1 | 38000 | 38000
# | # | Suction Machine | Surgix | * | * | 1 |  | 1 | 6500 | 6500
# | # | O2 Concentrator | Indian | * | KXTCOC5086 |  | 1 | 1 | 45000 | 45000
# | # | Baby Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# | # | Ultrasound Machine | Sumazdu | * | SDU7120101 | 1 |  | 1 | 450000 | 450000
# | # | Printer | Sony | UP897MD | 105646 |  | 1 | 1 | 450000 | 450000
# | # | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# | # | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# | MALE SURGICAL WARD | Weighing Machine | MSN | * | * | 1 |  | 1 | 2500 | 2500
# |  | Needle Cutter | Sai Life | * | * | 1 |  | 1 | 1200 | 1200
# | MEDICAL WARD | Nebulizer | * | RJ203 | G0110440 | 1 |  | 1 | 6500 | 6500
# |  | Needle Destroyer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | B.P.Instrument | * | * | * | 1 |  | 1 | 650 | 650
# |  | Nebulizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | B.P.Instrument(Stand) | * | * | * | 1 |  | 1 | 1100 | 1100
# |  | B.P.Instrument(Stand) | * | * | * | 1 |  | 1 | 1100 | 1100
# | C.C.U | Needle Cutter | Sai Life | * | * | 1 |  | 1 | 1200 | 1200
# |  | Multipara Monitor | Nidek | Horizon | 3120313 | 1 |  | 1 | 80000 | 80000
# |  | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Multipara Monitor | Nidek | Horizon | 113120307 | 1 |  | 1 | 80000 | 80000
# |  | Multipara Monitor | Nidek | Horizon | 113120305 | 1 |  | 1 | 80000 | 80000
# |  | Infussion Pump | L&T | SP104 | 1202253 | 1 |  | 1 | 40000 | 40000
# |  | Defibrillator | Schiller | Deagard400 | Ji4A033 | 1 |  | 1 | 170000 | 170000
# |  | Infussion Pump | Leasnraj | * | * | 1 |  | 1 | 40000 | 40000
# |  | Nebulizer | Medi Mfat | * | * | 1 |  | 1 | 6500 | 6500
# |  | Nebulizer | Omron | * | * | 1 |  | 1 | 6500 | 6500
# |  | B.P.Instrument | Elkometer | * | * | 1 |  | 1 | 650 | 650
# |  | Domestic Refrigerator | Videocon | * | * | 1 |  | 1 | 15000 | 15000
# | NURSE DUTY ROOM | Baby Weighing Machine | Goldtech | * | * | 1 |  | 1 | 2500 | 2500
# |  | Needle Cutter | Microsd | * | * | 1 |  | 1 | 1200 | 1200
# |  | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | Fumigator | Indian | * | * | 1 |  | 1 | 4500 | 4500
# |  | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | Domestic Refrigerator | Videocon | * | * | 1 |  | 1 | 15000 | 15000
# | S.N.C.U | Domestic Refrigerator | Samsung | * | * | 1 |  | 1 | 15000 | 15000
# |  | Multipara Monitor | Nidek | Horizon | 113120300 | 1 |  | 1 | 80000 | 80000
# |  | Baby Warmer | Bird Meditech | * | 190 | 1 |  | 1 | 38000 | 38000
# |  | Baby Warmer | Bird Meditech | * | 197 | 1 |  | 1 | 38000 | 38000
# |  | Baby Warmer | Shreeyak | * | 427110 | 1 |  | 1 | 38000 | 38000
# |  | Multipara Monitor | BPL | MPM5644 | 28002 | 1 |  | 1 | 80000 | 80000
# | S.N.C.U | Infussion Pump | Hansraj | PA313 | 7303035 | 1 |  | 1 | 40000 | 40000
# |  | Multipara Monitor | Nidek | FA313 | 303039 | 1 |  | 1 | 80000 | 80000
# |  | O2 Concentrator | Taurur | * | 0113A | 1 |  | 1 | 45000 | 45000
# |  | Syringe Infussion Pump | Hansraj | FA313 | N733008 | 1 |  | 1 | 40000 | 40000
# |  | Baby Warmer | Phoenix | * | * | 1 |  | 1 | 38000 | 38000
# |  | Baby Warmer | Bird Meditech | * | 0189 | 1 |  | 1 | 38000 | 38000
# |  | Baby Warmer | Bird Meditech | * | 202 | 1 |  | 1 | 38000 | 38000
# |  | Baby Warmer | Bird Meditech | * | 180 | 1 |  | 1 | 38000 | 38000
# |  | Baby Warmer | Bird Meditech | * | 181 | 1 |  | 1 | 38000 | 38000
# |  | Suction Machine | Anands | Eurovac | * | 1 |  | 1 | 6500 | 6500
# |  | Baby Weighing Machine | Goldtech | * | * | 1 |  | 1 | 2500 | 2500
# |  | Phototherapy | Bird Meditech | L&T | 070 | 1 |  | 1 | 15500 | 15500
# |  | Syringe Infussion Pump | SS Med | AP12DL | 301001401051 | 1 |  | 1 | 40000 | 40000
# |  | Phototherapy | Bird Meditech | * | 065 | 1 |  | 1 | 15500 | 15500
# |  | Phototherapy | Bird Meditech | * | 080 | 1 |  | 1 | 15500 | 15500
# |  | Phototherapy | Bird Meditech | * | 072 | 1 |  | 1 | 15500 | 15500
# |  | Phototherapy | Shreyash | * | 419 | 1 |  | 1 | 15500 | 15500
# |  | Phototherapy | Shreyash | * | * | 1 |  | 1 | 15500 | 15500
# |  | Phototherapy | Shreyash | * | * | 1 |  | 1 | 15500 | 15500
# |  | Baby Warmer | Bird Meditech | * | 200 | 1 |  | 1 | 38000 | 38000
# |  | Nebulizer | Omron | * | 620802 | 1 |  | 1 | 6500 | 6500
# | INJECTION ROOM | Needle Cutter | Indian | * | * |  | 1 | 1 | 1200 | 1200
# |  | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | Domestic Refrigerator | Godrej | Classic | * | 1 |  | 1 | 15000 | 15000
# | MALE OPD | B.P.Instrument(Stand Type) | Novaphone | * | * | 1 |  | 1 | 1100 | 1100
# | PEDIATRICKS OPD | Baby Weighing Machine | Swistes | * | * | 1 |  | 1 | 2500 | 2500
# |  | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | Weighing Machine | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# |  | B.P.Instrument | Diamond | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument(HG) | Pioneer | * | * | 1 |  | 1 | 1100 | 1100
# | FEMALE OPD | B.P.Instrument | * | DXJ-210 | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument(Stand Type) | Indian | * | * | 1 |  | 1 | 1100 | 1100
# |  | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | MEDICINE OPD | B.P.Instrument | Diamond | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | Pioneer | * | * | 1 |  | 1 | 650 | 650
# | SKIN OPD | Skin Cotrey Machine | Basco | * | * | 1 |  | 1 | 55000 | 55000
# | ENT OPD | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | DENTAL LAB | Dental Chair | * | * | * |  | 1 | 1 | 150000 | 150000
# |  | Dental Lathe Machine | Unident | 503 | 293 | 1 |  | 1 | 20000 | 20000
# |  | Micromotor | Seyang | Marathon | BB3063 | 1 |  | 1 | 10000 | 10000
# |  | Boiller (Small) | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | DENTAL OPD | Denatal Chair | Grabus | * | * | 1 |  | 1 | 150000 | 150000
# |  | Denatal Chair | Grabus | * | * | 1 |  | 1 | 150000 | 150000
# |  | Light Cure | Denta Morica | Litex 680A | 11035 | 1 |  | 1 | 10000 | 10000
# |  | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | Light Cure | Denta Morica | Litex680A | A11036 | 1 |  | 1 | 10000 | 10000
# |  | Scaler | Denta Morica | * | A16343 | 1 |  | 1 | 4500 | 4500
# |  | Autoclave(Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | dental Chair | Gratus | * | * | 1 |  | 1 | 150000 | 150000
# |  | Light Cure | Unicon | * | 25055 | 1 |  | 1 | 10000 | 10000
# | DENTAL OPD | Dental X-Ray | Unicon | * | * | 1 |  | 1 | 450000 | 450000
# | PHYSIOTHERAPY UNIT | Wax Bath | Indian | * | * | 1 |  | 1 | 4500 | 4500
# |  | Diathermy | Meditech | * | * |  | 1 | 1 | 650000 | 650000
# |  | Traction Machine | Indian | * | * | 1 |  | 1 | 350000 | 350000
# |  | Tense | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | Ultrasound Machine | Indian | * | * | 1 |  | 1 | 450000 | 450000
# | MINOR O.T | Boiller (Large) | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | GENERAL LAB | Incubator | Indian | * | * | 1 |  | 1 | 375000 | 375000
# |  | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# |  | Microscope(Binocular) | Sus Woseh | * | * | 1 |  | 1 | 30000 | 30000
# |  | Cell Counter | Sysmax | XPLW | 43640 | 1 |  | 1 | 350000 | 350000
# |  | Chemical Balanse | Indian | * | * | 1 |  | 1 | 4500 | 4500
# | BIOCHEM LABS | Analyser | Tran Asin | Erba 5 | * |  | 1 | 1 | 200000 | 200000
# |  | Analyser | Tran Asin | Chem7 | * | 1 |  | 1 | 200000 | 200000
# |  | Domestic Refrigerator | Samsung | * | * | 1 |  | 1 | 15000 | 15000
# |  | Oven | Indian | * | * | 1 |  | 1 | 4500 | 4500
# |  | Centrifuge | Eltek | TC81WW | * | 1 |  | 1 | 6500 | 6500
# |  | Hot Air Oven | Indian | * | * |  | 1 | 1 | 4500 | 4500
# |  | Microscope(Binocular) | Radical | XLR-3T | 26612 | 1 |  | 1 | 30000 | 30000
# |  | Auto Analyser | Trans Asia | EM200 | B131206 | 1 |  | 1 | 200000 | 200000
# |  | Microscope(Binocular) | Labomed | Vission2000 | 0566 | 1 |  | 1 | 30000 | 30000
# |  | Water Bath | Adarsh | * | * | 1 |  | 1 | 4500 | 4500
# |  | Water Bath | * | * | * |  | 1 | 1 | 4500 | 4500
# | EYE OPD | Slit Lamp | Takagi | SN2N | 0914296 | 1 |  | 1 | 13000 | 13000
# |  | Yag Laser | Nidek | YC-1600 | 61763 | 1 |  | 1 | 450000 | 450000
# |  | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | B.P.Instrument | Protix | * | * | 1 |  | 1 | 650 | 650
# |  | Microscope(Opthetho) | Heine | K180 | * | 1 |  | 1 | 30000 | 30000
# |  | Microscope(Opthetho) | Heine | Beta200 | * | 1 |  | 1 | 30000 | 30000
# |  | Tonometer | Reieter | * | * | 1 |  | 1 | 170000 | 170000
# |  | Needle Cutter | Life Aid | * | * | 1 |  | 1 | 1200 | 1200
# |  | Auto Refractometer | Unicess | URK800 | K80AC2A | 1 |  | 1 | 50000 | 50000
# |  | A-Scan | Appeswemy | Scen Plus | 11000304A | 1 |  | 1 | 450000 | 450000
# |  | A-Scan | Biomedik | Ecorule2 | 210210 | 1 |  | 1 | 450000 | 450000
# |  | A-Scan | Biomedik | Ecorule2 | 1961 | 1 |  | 1 | 450000 | 450000
# |  | Keratometer | Indian | * | * | 1 |  | 1 | 50000 | 50000
# |  | Keratometer | Indian | * | * | 1 |  | 1 | 50000 | 50000
# | BLOOD BANK | B.B.R | Jewet | BBR25 | 63535199 | 1 |  | 1 | 250000 | 250000
# |  | Suction Machine | Anand | * | 8B6918 | 1 |  | 1 | 6500 | 6500
# |  | Domestic Refrigerator | LG | * | * | 1 |  | 1 | 15000 | 15000
# |  | B.P.Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | Profex | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | Pioneer | * | * | 1 |  | 1 | 650 | 650
# |  | Blood Weighing Machine | Braun | * | * | 1 |  | 1 | 4500 | 4500
# |  | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# |  | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | Autoclave(Vertical) | Jindal | * | * | 1 |  | 1 | 65000 | 65000
# |  | Microscope(Binocular) | Laso | Bioplan | * | 1 |  | 1 | 30000 | 30000
# |  | Needle Destroyer | Nulife | * | * | 1 |  | 1 | 1200 | 1200
# |  | Centrifuge | Hoticr | * | * | 1 |  | 1 | 6500 | 6500
# |  | Water Bath | Indian | * | * | 1 |  | 1 | 4500 | 4500
# | BLOOD BANK | Hot Air Oven | As Cart | * | * | 1 |  | 1 | 4500 | 4500
# |  | B.B.R | Sm Scientific | * | * | 1 |  | 1 | 250000 | 250000
# |  | Domestic Refrigerator | Godrej | Classic | * | 1 |  | 1 | 15000 | 15000
# |  | Domestic Refrigerator | LG | * | * | 1 |  | 1 | 15000 | 15000
# |  | Elisa Reader | Rapid | Lisa Plus | 451605002E | 1 |  | 1 | 200000 | 200000
# |  | Elisa Washer | Rapid | Elsa Wash | 461602013E | 1 |  | 1 | 250000 | 250000
# |  | Rotary Shaker | Indian | * | * | 1 |  | 1 | 4500 | 4500
# |  | Incubator | Tanco | * | * | 1 |  | 1 | 375000 | 375000
# |  | Needle Cutter | * | * | * |  | 1 | 1 | 1200 | 1200
# |  | Needle Cutter | * | * | * |  | 1 | 1 | 1200 | 1200
# |  | B.P.Instrument(Stand) | * | * | * |  | 1 | 1 | 1100 | 1100
# |  | B.P.Instrument(Stand) | * | * | * |  | 1 | 1 | 1100 | 1100
# | STORE ROOM | B.P.Instrument(Stand) | Indian | * | * | 1 |  | 1 | 1100 | 1100
# |  | Suction Machine | * | * | * |  | 1 | 1 | 6500 | 6500
# | O.T | Autoclave(Horizontal) | Indian | * | * | 1 |  | 1 | 55000 | 55000
# |  | Analyser | Bac | Boyle Basic | * | 1 |  | 1 | 200000 | 200000
# |  | O.T.Table | * | * | * |  | 1 | 1 | 45000 | 45000
# |  | O.T.Light | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | O.T.Table | Brilliant | * | * | 1 |  | 1 | 45000 | 45000
# |  | O.T.Table | Talkaci | OM8 | 1114708 | 1 |  | 1 | 45000 | 45000
# |  | O.T.Table | Labomed | Prima | * | 1 |  | 1 | 45000 | 45000
# |  | Anesthisia Machine | Dragun | Teduces | 1199 | 1 |  | 1 | 450000 | 450000
# |  | O.T.Light | Philps | Philips Major | * | 1 |  | 1 | 45000 | 45000
# |  | O.T.Table | Cognate | * | * | 1 |  | 1 | 45000 | 45000
# |  | O.T.Table(Hydrolic) | Indian | * | * | 1 |  | 1 | 350000 | 350000
# |  | Ceiling O.T.Light | Philips | Philips M-70 | * | 1 |  | 1 | 350000 | 350000
# |  | Anesthisia Machine | Mindray | MotovebEX2 | 51003588 | 1 |  | 1 | 450000 | 450000
# |  | Multipara Monitor | Spacelab | UltraviewSL2800 | * | 1 |  | 1 | 80000 | 80000
# |  | O.T.Table | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | Suction Machine | Surgix | * | * | 1 |  | 1 | 6500 | 6500
# |  | Diathermy | L&T | Maestro Plus | * | 1 |  | 1 | 650000 | 650000
# |  | Endoscopy | Storz | Telecome DX11 | 20233020 | 1 |  | 1 | 850000 | 850000
# |  | Endoscopy Monitor | Sony | 3001404 | 201204 | 1 |  | 1 | 850000 | 850000
# |  | Bay Warmer | Meditrin |  | * | 1 |  | 1 | 38000 | 38000
# |  | Autoclave(Horizontal) | Medicare | * | 369 | 1 |  | 1 | 55000 | 55000
# |  | Fumigator | Indian | * | * |  | 1 | 1 | 4500 | 4500
# |  | Multipara Monitor | Mek | MP500 | 50002J0236 | 1 |  | 1 | 80000 | 80000
# |  | Defebrillator | Mindray | BenehartD6 | DG53012912 | 1 |  | 1 | 170000 | 170000
# |  | Mortuary Chamber | Indian | * | * | 1 |  | 1 | 600000 | 600000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 241
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 22487500
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 1574125

## HANSA PHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-24
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | HANSA PHC
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | B.P.Instrument | Smartcare | * | * | 1 |  | 1 | 650 | 650
# | # | Needle Cutter | Medigold | * | * | 1 |  | 1 | 1200 | 1200
# | # | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 4
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 14850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 1039.5

## RAISON PHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-26
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | RAISON P.H.C
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | B.P.Instrument | Life Line | * | * | 1 |  | 1 | 650 | 650
# | # | Microscope(Monocular) | Moh 2 | * | * | 1 |  | 1 | 18500 | 18500
# | # | Needle Cutter | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# | # | Hot Air Oven | Indian | * | * | 1 |  | 1 | 4500 | 4500
# | # | Autoclave(Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | I.L.R | Vestfroast | * | * | 1 |  | 1 | 300000 | 300000
# | # | Deep Freezer | Vestfroast | * | * | 1 |  | 1 | 150000 | 150000
# | # | Baby Weighing Machine | Misaki | * | * | 1 |  | 1 | 2500 | 2500
# | # | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle Cutter | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# | DENTAL ROOM | Dental Chair | Bestodent | * | * | 1 |  | 1 | 150000 | 150000
# |  | Scaler | Unicon | * | R02304 | 1 |  | 1 | 4500 | 4500
# |  | Light Care | Unicon | * | * | 1 |  | 1 | 10000 | 10000
# |  | Dental X-Ray | Meditrix | Dentx | * | 1 |  | 1 | 450000 | 450000
# |  | Needle Destroyer | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# |  | B.P.Instrument | Life Line | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | Life Line | * | * | 1 |  | 1 | 650 | 650
# |  | B.P.Instrument | Life Line | * | * |  | 1 | 1 | 650 | 650
# |  | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boiller | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | STORE | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | B.P.Instrument | Heratcare | * | * | 1 |  | 1 | 650 | 650
# |  | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 23
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1193850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 83569.5

## LAGATSUKA PHC
Name of Consultant :- |  |  | Umar Farooque |  |  |  | Date:- |  | 2015-06-26
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | LAGATSUKH P.H.C (KULLU)
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | B.P.Instrument | Romson | * | * | 1 |  | 1 | 650 | 650
# | # | Domestic Refrigerator | LG | * | * | 1 |  | 1 | 15000 | 15000
# | # | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# | # | Baby Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# | # | Nebulizer | Romson | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle Destroyer | Medigold | * | * | 1 |  | 1 | 1200 | 1200
# | # | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Autoclave(Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | B.P.Instrument | * | * | * |  | 1 | 1 | 650 | 650
# | # | B.P.Instrument | * | * | * |  | 1 | 1 | 650 | 650
# | # | B.P.Instrument | * | * | * |  | 1 | 1 | 650 | 650
# | # | B.P.Instrument | * | * | * |  | 1 | 1 | 650 | 650
# | # | B.P.Instrument | * | * | * |  | 1 | 1 | 650 | 650
# | # | B.P.Instrument | * | * | * |  | 1 | 1 | 650 | 650
# | # | Stabilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# | # | Boiller | Indian | * | * |  | 1 | 1 | 6500 | 6500
# | # | B.P.Instrument(Stand Type) | * | * | * |  | 1 | 1 | 1100 | 1100
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 17
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 117850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 8249.5

## PHC NAGGAR
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-26
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC Naggar
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle Cutter | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# | # | Needle Cutter | Indian | * | * |  | 1 | 1 | 1200 | 1200
# | # | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# | # | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | Domestic Refrigerator | LG | * | * | 1 |  | 1 | 15000 | 15000
# | # | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | Hot Air Oven | Indian | * | * | 1 |  | 1 | 4500 | 4500
# | # | Centrifuge | Remi | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Microscope (Binocular) | Labomed | * | * | 1 |  | 1 | 30000 | 30000
# | # | B. P. Apparatus | Ramson | * | * | 1 |  | 1 | 650 | 650
# | # | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# | # | X-Ray Machine | SIEMENS | * | * | 1 |  | 1 | 450000 | 450000
# | # | x-Ray Machine (Dental) | Meditrix | * | * | 1 |  | 1 | 450000 | 450000
# | # | ILR | Vest Frost | * | * |  | 1 | 1 | 300000 | 300000
# | # | Deep Freezer | Vest Frost | * | * |  | 1 | 1 | 150000 | 150000
# | # | Dental Chair | GNATUS | * | * | 1 |  | 1 | 150000 | 150000
# | # | Scalar | Unicorn | * | * | 1 |  | 1 | 4500 | 4500
# | # | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Autoclave | Indian | * | * | 1 |  | 1 | 55000 | 55000
# | # | Dental Lathe | Indian | * | * | 1 |  | 1 | 150000 | 150000
# | # | Micro Motor | Indian | * | * | 1 |  | 1 | 10000 | 10000
# | # | Needle Cutter | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# | # | B. P. Apparatus | Medi Guard | * | * | 1 |  | 1 | 650 | 650
# | # | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | OT Light | Indian | * | * | 1 |  | 1 | 45000 | 45000
# | # | Radiant Warmer | Bird Meditech | * | * | 1 |  | 1 | 38000 | 38000
# | # | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# | # | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# | # | Suction Machine | Surgix | * | * | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 31
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1918300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 134281

## CIVIL HOSPITAL MANALI
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-25
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | Civil Hospital Manali
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OT | Suction Machine | Surgix | * | * | 1 |  | 1 | 6500 | 6500
# |  | Aneasthesia Machine | Indian | * | * | 1 |  | 1 | 450000 | 450000
# |  | Infant Baby Warmer | Indian | * | * |  | 1 | 1 | 38000 | 38000
# |  | OT Table | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | Laser Table | Indian | * | * |  | 1 | 1 | 14000 | 14000
# |  | OT Light | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | Infant Baby Warmer | Phoenix | * | * | 1 |  | 1 | 38000 | 38000
# |  | Horizontal Autoclave | Indian | * | * |  | 1 | 1 | 55000 | 55000
# |  | Boiler | Indian | * | * |  | 1 | 1 | 6500 | 6500
# |  | OT Light | Indian | * | * |  | 1 | 1 | 45000 | 45000
# |  | Weighing Machine | Indian | * | * |  | 1 | 1 | 2500 | 2500
# | LABOUR ROOM | Labour Table | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | Labour Table | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | Infant Baby Warmer | Bird Meditek | * | * | 1 |  | 1 | 38000 | 38000
# |  | Baby Weighing Machine | Braun | * | * | 1 |  | 1 | 2500 | 2500
# |  | Baby Weighing Machine | * | * | * | 1 |  | 1 | 2500 | 2500
# |  | Phototherapy | Bird Meditek | * | * | 1 |  | 1 | 15500 | 15500
# |  | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Ceiling Light | Indian | * | * | 1 |  | 1 | 350000 | 350000
# |  | Boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# | NURSE ROOM | B. P. Apparatus | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# | FEMALE WARD | Oxygen Concentrator | Medoxy | * | * | 1 |  | 1 | 45000 | 45000
# |  | Multi Para Monitor | Nidek | * | * | 1 |  | 1 | 80000 | 80000
# |  | Nebulizer | Ready Mist | * | * | 1 |  | 1 | 6500 | 6500
# | LAB | Analyzer | Erba | * | * | 1 |  | 1 | 200000 | 200000
# |  | Incubator | Indian | * | * | 1 |  | 1 | 375000 | 375000
# |  | Incubator | Indian | * | * | 1 |  | 1 | 375000 | 375000
# |  | Serological Water Bath | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | Centrifuge | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Microscope (Binocular) | Indian | * | * | 1 |  | 1 | 30000 | 30000
# |  | Needle Cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | Calorimeter | * | * | * |  | 1 | 1 | 4500 | 4500
# |  | Domestic Refrigerator | Videocon | * | * | 1 |  | 1 | 15000 | 15000
# | MCH | ILR | Vest Frost | * | * | 1 |  | 1 | 300000 | 300000
# |  | Deep Freezer | Vest Frost | * | * | 1 |  | 1 | 150000 | 150000
# |  | SPOT Light | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Autoclave (Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | Baby Weighing machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | BLOOD BANK | BBR | Remi | * | * | 1 |  | 1 | 250000 | 250000
# |  | Deep Freezer | Voltas | * | * | 1 |  | 1 | 150000 | 150000
# |  | Domestic Refrigerator | Videocon | * | * | 1 |  | 1 | 15000 | 15000
# |  | Water Bath | I Care | * | * | 1 |  | 1 | 4500 | 4500
# |  | Microscope (Binocular) | Indian | * | * | 1 |  | 1 | 30000 | 30000
# |  | Incubator | Indian | * | * | 1 |  | 1 | 375000 | 375000
# |  | Centrifuge | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | STORE ROOM | B. P. Apparatus | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | Dental Chair | * | * | * | 1 |  | 1 | 150000 | 150000
# |  | Cautery Machine | * | * | * | 1 |  | 1 | 55000 | 55000
# |  | Fetal Doppler | * | * | * | 1 |  | 1 | 80000 | 80000
# | X-RAY | X-Ray Machine | Meditronics | * | * | 1 |  | 1 | 450000 | 450000
# |  | X-Ray Machine (Dental) | Meditronics | * | * | 1 |  | 1 | 450000 | 450000
# |  | Oxygen Concentrator | * | * | * | 1 |  | 1 | 45000 | 45000
# |  | Oxygen Concentrator | * | * | * | 1 |  | 1 | 45000 | 45000
# |  | ECG Machine | BPL | * | * | 1 |  | 1 | 52000 | 52000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 62
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 5074700
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 355229

## CIVIL HOSPITAL BANJAR
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-29
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | Civil Hospital Banjar
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | MINOR OT | Boiler (Large) | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | LAB | Water Bath | Gupta Scientific | * | * |  | 1 | 1 | 4500 | 4500
# |  | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | Rotator | Yorco | * | * | 1 |  | 1 | 4500 | 4500
# |  | Centrifuge | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Centrifuge | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Binocular Microscope | Indian | * | * | 1 |  | 1 | 30000 | 30000
# |  | Incubator | Indian | * | * | 1 |  | 1 | 375000 | 375000
# |  | Incubator | Ambassador | * | * | 1 |  | 1 | 375000 | 375000
# |  | Domestic Fridge | LG | GL-181/2007 | * | 1 |  | 1 | 15000 | 15000
# |  | Analyzer | RMS Daksha | * | * | 1 |  | 1 | 200000 | 200000
# | DENTAL OPD | Dental Chair | Bestodent | * | 0010062 01408A | 1 |  | 1 | 150000 | 150000
# |  | Autoclave (Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | Needle Cutter | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# |  | Ultrasonic Scalar | Wood Pecker | * | * | 1 |  | 1 | 1500 | 1500
# |  | Boiler (Large) | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Dental Chair | Confident | Mode V | * |  | 1 | 1 | 150000 | 150000
# |  | Dental Lathe | Unident | 501 | 161A | 1 |  | 1 | 20000 | 20000
# |  | Micro Motor | Saeshni | * | 6517-0 | 1 |  | 1 | 10000 | 10000
# | LABOUR ROOM | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | Suction Machine | Anand | HIVAC | * | 1 |  | 1 | 6500 | 6500
# |  | Radiant Warmer | Indian | * | * | 1 |  | 1 | 38000 | 38000
# |  | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Baby Weighing Machine | Gold Tech | * | * | 1 |  | 1 | 2500 | 2500
# |  | Boiler (Large) | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Medi Guard | * | * | 1 |  | 1 | 1200 | 1200
# |  | Nebulizer | Apex | Eco Plus | * | 1 |  | 1 | 6500 | 6500
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | Pulse Oximeter | Romsons | * | * | 1 |  | 1 | 55000 | 55000
# | CHILD WARD | Radiant Warmer | Shreeyash | * | * |  | 1 | 1 | 38000 | 38000
# | MCH | Deep Freezer | Haier | HBD 116 | * | 1 |  | 1 | 250000 | 250000
# |  | Deep Freezer | Haier | HBD 116 | * | 1 |  | 1 | 250000 | 250000
# |  | ILR | Vest Frost | NMK142 | 44713213 | 1 |  | 1 | 250000 | 250000
# |  | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# | OPD | Labour Table | Indian | * | * |  | 1 | 1 | 14000 | 14000
# |  | OT Light | Indian | * | * |  | 1 | 1 | 45000 | 45000
# |  | B. P. Apparatus | Ramson | * | * | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Ramson | * | * | 1 |  | 1 | 650 | 650
# | X-RAY | X-Ray Machine | Bharat Electronics | Focus | Edge 0813 | 1 |  | 1 | 450000 | 450000
# |  | View box | Indian | * | * | 1 |  | 1 | 10000 | 10000
# |  | View box | Indian | * | * | 1 |  | 1 | 10000 | 10000
# |  | ECG Machine | RMS | Vesta 3019 | T301A 1502031 | 1 |  | 1 | 52000 | 52000
# |  | ECG Machine | GE | MAC 500 | 51000 1553 | 1 |  | 1 | 52000 | 52000
# |  | Ultrasound Machine | Siemens | Sonoline G20 | 10031205 | 1 |  | 1 | 450000 | 450000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 45
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3453750
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 241762.5

## CHC NIRMAND
Name of Consultant :- | [6 empty] | Date:- |  | 2015-07-02
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC Nirmand
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | INJECTION ROOM | Needle Cutter | Medi Gold | * | * | 1 |  | 1 | 1200 | 1200
# | OPD | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# |  | Adult Weighing Machine | Prestige | * | * | 1 |  | 1 | 2500 | 2500
# |  | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | DENTAL OPD | B. P. Apparatus | Jain Co | * | * | 1 |  | 1 | 650 | 650
# |  | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Cooker Type Autoclave | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | Dental Chair | Confident | * | * | 1 |  | 1 | 150000 | 150000
# |  | Scalar | Denta Merica | Scalar 880 | A08801 | 1 |  | 1 | 4500 | 4500
# |  | Light Cure Unit | Denta Merica | * | * | 1 |  | 1 | 10000 | 10000
# |  | Needle Cutter | MAC | * | * | 1 |  | 1 | 1200 | 1200
# | STORE | Domestic Fridge | Godrej | * | 5633060 | 1 |  | 1 | 15000 | 15000
# |  | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# |  | Ultrasound Machine | SHIMAZ DU | SDU-350 XL | 5110118 | 1 |  | 1 | 450000 | 450000
# |  | Adult Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | OPD | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | NURSE DUTY ROOM | Domestic Fridge | LG | GL 185 | * | 1 |  | 1 | 15000 | 15000
# |  | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | LABOUR ROOM | Radiant Warmer | Bird Meditech | Innova | RM/RW/886/05/11/12 | 1 |  | 1 | 38000 | 38000
# |  | Baby Weighing Machine | Braun | * | * | 1 |  | 1 | 2500 | 2500
# |  | Baby Weighing Machine | Gold Tech | * | * | 1 |  | 1 | 2500 | 2500
# |  | Suction Machine | Anand | * | * | 1 |  | 1 | 6500 | 6500
# |  | Suction Machine | True VAC | * | * | 1 |  | 1 | 6500 | 6500
# |  | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | Spot Light | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | MCH | Deep Freezer | Haier | HBD 116 | BE04G 4E2600B A5E0030 | 1 |  | 1 | 250000 | 250000
# |  | ILR | Vest Frost | NMK 142 | 44713091 | 1 |  | 1 | 250000 | 250000
# |  | Deep Freezer | Haier | * | * |  | 1 | 1 | 250000 | 250000
# |  | Needle Cutter | MAC | * | * | 1 |  | 1 | 1200 | 1200
# |  | Adult Weighing Machine | DR GEN | * | * | 1 |  | 1 | 2500 | 2500
# |  | Baby Weighing Machine | Braun | * | * | 1 |  | 1 | 2500 | 2500
# |  | Domestic Fridge | Godrej | Gdn 185B | * | 1 |  | 1 | 15000 | 15000
# |  | Incubator | ALCO | * | * | 1 |  | 1 | 375000 | 375000
# |  | Needle Cutter | Medi Gold | * | * | 1 |  | 1 | 1200 | 1200
# |  | Binocular Microscope | Indian | * | * | 1 |  | 1 | 30000 | 30000
# |  | Blood Analyzer | ERBA | CHEM 7 | * | 1 |  | 1 | 200000 | 200000
# |  | Binocular Microscope | ALCO | ABW 71-B | M-29087 | 1 |  | 1 | 30000 | 30000
# |  | Centrifuge | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Centrifuge | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Incubator | Indian | * | * | 1 |  | 1 | 375000 | 375000
# |  | Incubator | Ambassador | * | * | 1 |  | 1 | 375000 | 375000
# |  | Adult Weighing Machine | Deluxe | * | * | 1 |  | 1 | 2500 | 2500
# |  | Adult Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1 | 650 | 650
# | MCH | Needle Cutter | SRK | * | * | 1 |  | 1 | 1200 | 1200
# |  | ILR | Vest Frost | * | * |  | 1 | 1 | 250000 | 250000
# | X-RAY | X-Ray Machine | BHEL | Collimax | E15161 |  | 1 | 1 | 450000 | 450000
# | STORE | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | OT Table | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | OT Table | Indian | * | * | 1 |  | 1 | 45000 | 45000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 53
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3793400
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 265538

## CIVIL HOSPITAL ANNI
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-30
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | Civil Hospital Anni
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LAB | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | Chemical Analyzer | Robonik | Priest | AT 2300 314RBK | 1 |  | 1 | 200000 | 200000
# |  | Centrifuge | Microsil | * | * | 1 |  | 1 | 6500 | 6500
# |  | Incubator | Indian | * | * | 1 |  | 1 | 375000 | 375000
# |  | Domestic Refrigerator | Godrej | * | * | 1 |  | 1 | 15000 | 15000
# |  | Chemical Analyzer | RMS | * | * | 1 |  | 1 | 200000 | 200000
# |  | Weighing machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# |  | Binocular Microscope | Magnus | * | 13D1029 | 1 |  | 1 | 30000 | 30000
# |  | Binocular Microscope | Labomed | Vision 2000 | 1592 | 1 |  | 1 | 30000 | 30000
# |  | Water Bath | Indian | * | * | 1 |  | 1 | 4500 | 4500
# |  | Centrifuge | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | MCH | Weighing machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# |  | ILR | Vest Frost | MK 144 | 91209543 | 1 |  | 1 | 250000 | 250000
# |  | Deep Freezer | Vest Frost | * | * | 1 |  | 1 | 250000 | 250000
# |  | Needle Cutter | Sai Life | * | * | 1 |  | 1 | 1200 | 1200
# |  | Baby Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# |  | Baby Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | NURSE ROOM | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# |  | Needle Cutter | LAP | * | * | 1 |  | 1 | 1200 | 1200
# |  | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Domestic Refrigerator | Videocon | Marvel | * | 1 |  | 1 | 15000 | 15000
# |  | B. P. Apparatus | Novaphone | * | 30391811-13 | 1 |  | 1 | 650 | 650
# |  | Nebulizer | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | B. P. Apparatus | Novaphone | * | * | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | Radiant Warmer | Meditech | * | * | 1 |  | 1 | 38000 | 38000
# |  | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Foot Suction Machine | Shiva | * | * | 1 |  | 1 | 6500 | 6500
# |  | Oxygen Concentrator | Taurus | * | * | 1 |  | 1 | 45000 | 45000
# |  | Baby Weighing Machine | Swisser | * | * | 1 |  | 1 | 2500 | 2500
# |  | Foetal Doppler | Jain Co | * | * | 1 |  | 1 | 80000 | 80000
# |  | OT Light | Indian | * | * | 1 |  | 1 | 45000 | 45000
# | EYE OPD | Eye Tonometer | Indian | * | * |  | 1 | 1 | 170000 | 170000
# | DENTAL OPD | Cooker Type Autoclave | Life | * | * | 1 |  | 1 | 65000 | 65000
# |  | Dental Chair | confident | * | * | 1 |  | 1 | 150000 | 150000
# |  | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# |  | Sterilizer | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Scalar | 880 Plus | CE 0434 | * | 1 |  | 1 | 4500 | 4500
# |  | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# |  | Light Cure Unit | Litex | 680A | * | 1 |  | 1 | 10000 | 10000
# |  | Domestic Refrigerator | Haier | NRD-2105 | * | 1 |  | 1 | 15000 | 15000
# |  | Needle Cutter | Microsil | * | * |  | 1 | 1 | 1200 | 1200
# | DENTAL OPD | Needle Cutter | Microsil | * | * |  | 1 | 1 | 1200 | 1200
# |  | Needle Cutter | Microsil | * | * |  | 1 | 1 | 1200 | 1200
# |  | Needle Cutter | Microsil | * | * |  | 1 | 1 | 1200 | 1200
# |  | Needle Cutter | Microsil | * | * |  | 1 | 1 | 1200 | 1200
# |  | Dental X-Ray | Colimex | THX1-12580 | * | 1 |  | 1 | 450000 | 450000
# |  | Dental X-Ray | Colimex | * | * | 1 |  | 1 | 450000 | 450000
# | FEMALE WARD | Nebulizer | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | MINOR OT | OT Table | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | OT Table | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | Autoclave | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | OT Light | Indian | * | * |  | 1 | 1 | 45000 | 45000
# |  | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boyle's Apparatus | L & T | * | EL3-074 | 1 |  | 1 | 65000 | 65000
# |  | OT Table | Indian | * | * |  | 1 | 1 | 45000 | 45000
# | OPD | B. P. Apparatus | Novaphone | * | 303913 |  | 1 | 1 | 650 | 650
# |  | B. P. Apparatus | Novaphone | * | 303919 | 1 |  | 1 | 650 | 650
# |  | Baby Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# |  | B. P. Apparatus | Pagoda | CN/L-0896 | 302646 | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Pagoda | * | * | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Pagoda | CM/L-0768968 | 303915 |  | 1 | 1 | 650 | 650
# |  | B. P. Apparatus | Novaphone | * | 14094538 |  | 1 | 1 | 650 | 650
# | BLOOD BANK | Centrifuge | Labtop Instruments Pvt Ltd | LIC-4 | 14094514 | 1 |  | 1 | 6500 | 6500
# |  | Microscope | Micro Lux | HBM | 14094525 | 1 |  | 1 | 30000 | 30000
# |  | Digital water Bath | Hicare | HWB | * | 1 |  | 1 | 4500 | 4500
# |  | ILR | TATA | * | * | 1 |  | 1 | 250000 | 250000
# |  | Incubator | Hicare | ISJ | 14094501 | 1 |  | 1 | 375000 | 375000
# |  | BBR | Job Automation | HB!-40 | R11101227 | 1 |  | 1 | 250000 | 250000
# |  | BBR | Hicare | JAR3 | * | 1 |  | 1 | 250000 | 250000
# |  | Ultrasound Machine | SHIMAZDU | SDU-350 | 5110117 | 1 |  | 1 | 450000 | 450000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 73
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 4943300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 346031

## CHC JAREE
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-27
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC Jaree
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | Suction Machine | Santoshi | * | * | 1 |  | 1 | 6500 | 6500
# |  | Oxygen Concentrator | Taurus | * | * | 1 |  | 1 | 45000 | 45000
# |  | Baby Weighing Machine | Gold Tech | * | * | 1 |  | 1 | 2500 | 2500
# |  | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | Foetal Doppler | Medi Gold | * | * |  | 1 | 1 | 80000 | 80000
# |  | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Radiant Warmer | Indian | * | * | 1 |  | 1 | 38000 | 38000
# |  | Foot Suction | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Medi Gold | * | * | 1 |  | 1 | 1200 | 1200
# |  | Nebulizer | Emed | A410 | * | 1 |  | 1 | 6500 | 6500
# |  | Domestic Refrigerator | Samsung | * | * | 1 |  | 1 | 15000 | 15000
# | OPD | Needle Cutter | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# |  | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | OT Light | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | Cooker Type Autoclave | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | Boiler | Indian | * | * |  | 1 | 1 | 6500 | 6500
# |  | X-Ray Machine | GE | Stallion 100 | 26017 | 1 |  | 1 | 450000 | 450000
# | EYE OPD | Opthalmoscope | Heine | Promax 5 | * | 1 |  | 1 | 15500 | 15500
# |  | Retinoscope | Heine | Microflex5 | * | 1 |  | 1 | 45000 | 45000
# |  | Retinoscope | Kashmir Surgical Works | Beta200 | * | 1 |  | 1 | 45000 | 45000
# |  | Tonometer | Schidek | * | * |  | 1 | 1 | 170000 | 170000
# | DENTAL | Dental Chair | Confident | * | * | 1 |  | 1 | 150000 | 150000
# |  | Scalar | Denta Merica | Scalar-850 | * | 1 |  | 1 | 4500 | 4500
# |  | Light Cure Unit | Denta Merica | Litex 680A | * | 1 |  | 1 | 10000 | 10000
# |  | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | Scalar | Denta Merica | Litex 680A | * | 1 |  | 1 | 4500 | 4500
# |  | Dental Lathe | Unident | * | * | 1 |  | 1 | 20000 | 20000
# |  | Dental Lathe | Perfect | * | * | 1 |  | 1 | 20000 | 20000
# |  | Cooker Type Autoclave | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | LAB | Hot Air Oven | Remi | R4C | * | 1 |  | 1 | 4500 | 4500
# |  | Centrifuge | Labome | Vision 2000 | * | 1 |  | 1 | 6500 | 6500
# |  | Binocular Microscope | Medigold | * | * | 1 |  | 1 | 30000 | 30000
# |  | Needle Cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# | MCH | Needle Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# |  | Adult Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | Baby Weighing Machine | Swisser | * | * | 1 |  | 1 | 2500 | 2500
# |  | Height machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | Deep Freezer | Vest Frost | * | * | 1 |  | 1 | 250000 | 250000
# |  | Deep Freezer | Haier | * | * | 1 |  | 1 | 250000 | 250000
# |  | ILR | Vest Frost | * | * | 1 |  | 1 | 250000 | 250000
# | MINOR OT | OT Table (Hydraulic) | Indian | * | * | 1 |  | 1 | 70000 | 70000
# |  | OT Light | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | OT Light | Indian | * | * | 1 |  | 1 | 45000 | 45000
# | OPD | B. P. Apparatus | Novaphone | * | * | 1 |  | 1 | 650 | 650
# |  | B. P. Apparatus | Crown | * | * | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 49
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 2330600
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 163142

## PHC,ARSU
Name of Consultant :- | [6 empty] | Date:- |  | 2015-07-02
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,ARSU
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | Adult Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# |  | Autoscope | Indian | * | * | 1 |  | 1 | 45000 | 45000
# | LAB | Incubator | Indian | * | * | 1 |  | 1 | 375000 | 375000
# |  | Centrifuse | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Centrifuse | Erba | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needal Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# |  | Bionocular Microscope | Olympus | * | * | 1 |  | 1 | 30000 | 30000
# |  | Auto Calorimeter | Max | 51 | 579 | 1 |  | 1 | 1400 | 1400
# | MCH | ILR | Vestfrost | MK144 | 91209337 | 1 |  | 1 | 250000 | 250000
# |  | Deep Freezer | Vestfrost | MK144 | 85001143 | 1 |  | 1 | 250000 | 250000
# |  | Needal Cutter | MAC | * | * | 1 |  | 1 | 1200 | 1200
# |  | Baby Weighing Machine | Tani | * | * | 1 |  | 1 | 2500 | 2500
# | Dental OPD | Dental Chair Complete Set | Indian | * | * | 1 |  | 1 | 150000 | 150000
# |  | Scalar | Dent america | Scalar 880 Plus | A16218 | 1 |  | 1 | 4500 | 4500
# |  | Light Cure | Dent america | Litex 680A | A08802 | 1 |  | 1 | 10000 | 10000
# | OT | OT Table (Hydraulic) | Indian | * | * | 1 |  | 1 | 70000 | 70000
# |  | Auto Clave (Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | Suction Machine | Medi Search | * | * | 1 |  | 1 | 65000 | 65000
# |  | Boiler (Medium) | Lifex | * | * | 1 |  | 1 | 65000 | 65000
# | X Ray | X Ray Machine (60MA) | Allengers | MARS25SBM mark 1V | 2k141202215-BX/HF | 1 |  | 1 | 450000 | 450000
# | Injection Room | BP Instrument Stand Model X2 | Gold | * | * |  | 1 | 1 | 1100 | 1100
# |  | Boiler (Small) | Max life | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needal Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | Medicine Room | BP Instrument X2 Unit | Pagoda | * | * | 1 |  | 1 | 650 | 650
# |  | Adult Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 25
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1863250
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 130427.5

## CHC SANJ
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-30
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC, SAINJ
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | Lab | Suction Machine | Anand | Hi-vac | * | 1 |  | 1 | 6500 | 6500
# |  | Needle Cutter | Gopish | * | * | 1 |  | 1 | 1200 | 1200
# |  | Weighing Machine | Deluxe | * | * | 1 |  | 1 | 2500 | 2500
# |  | Bionocular Microscope | Labomed | * | * | 1 |  | 1 | 30000 | 30000
# |  | Bionocular Microscope | Indian | * | * |  | 1 | 1 | 30000 | 30000
# |  | Centrifuge | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | Labor Room | Boiler (Large) | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Labour Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | Baby Weighing Machine (Balding Type) | Gold Tech | * | * | 1 |  | 1 | 2500 | 2500
# |  | Suction Machine | Surgix | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needal Cutter | Spark | * | * | 1 |  | 1 | 1200 | 1200
# |  | Baby Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# |  | Auto Clav ( Cooker Type) | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | Radiant Baby Warmer | Indian | * | * | 1 |  | 1 | 38000 | 38000
# | MCH | Deep Freezer Steplizer | Haier | SBD116 | BE04G0E0100 | 1 |  | 1 | 250000 | 250000
# |  | ILR | Vestfrost | NMK142 | * | 1 |  | 1 | 250000 | 250000
# |  | ILR | Haier | HBC70 | BD0580E0100B899R0069 | 1 |  | 1 | 250000 | 250000
# |  | Weighing Machine | Deluxe | * | * | 1 |  | 1 | 2500 | 2500
# | Labor Room | Labour Table | Indian | * | * |  | 1 | 1 | 14000 | 14000
# | Ward | O2 Concentrator | Anand | * | * | 1 |  | 1 | 45000 | 45000
# |  | OT Light | Multilux Hospital | * | 13031225 | 1 |  | 1 | 45000 | 45000
# | Dental OPD | Dental Chair Complete Set | Bestodent | * | 010001201204A | 1 |  | 1 | 150000 | 150000
# |  | Boiler (Medium) | Atlas | * | * | 1 |  | 1 | 6500 | 6500
# |  | Ultrasonic Scalar | Unicorn Dentmart | * | * | 1 |  | 1 | 1500 | 1500
# |  | Needle Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | BP Stand Model | Indian | * | * |  | 1 | 1 | 1100 | 1100
# |  | Light Cure | Unicorn | Elitedent | * | 1 |  | 1 | 10000 | 10000
# |  | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | Lab | Analyser | Robonic | prietest touch | 800950113RBK | 1 |  | 1 | 200000 | 200000
# |  | Binocular Microscope | Indian | * | * | 1 |  | 1 | 30000 | 30000
# | OPD | BP Instrument (Digital) | Trust Check | * | * | 1 |  | 1 | 1100 | 1100
# |  | BP Instrument | Indian | * | * | 1 |  | 1 | 650 | 650
# |  | Foot Section Machine | Anand | * | * | 1 |  | 1 | 6500 | 6500
# |  | BP Instrument X3 | Indian | * | * |  | 1 | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 34
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1485100
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 103957

## PHC,JAON
Name of Consultant :- | [6 empty] | Date:- |  | 2015-07-02
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,JAON
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Domestric Fridge (157ur) | Videocon | VEE184 | * | 1 |  | 1 | 15000 | 15000
# | # | Deep Freeger Stablizer | Haier | HBD116 | * | 1 |  | 1 | 250000 | 250000
# | # | BP Instrument | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | Adult Neighing Machine | Deluxe | * | * | 1 |  | 1 | 2500 | 2500
# | # | OT Table (Hydraullic) | QL&K | HB54-C3 | * |  |  | 1 | 70000 | 70000
# | # | Needal Cutter X4 | Microsil | * | * |  | 1 | 1 | 1200 | 1200
# | # | Needal Cutter X1 Unit | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Autoclave Cooker Type | Indian | * | * |  | 1 | 1 | 65000 | 65000
# | # | Needal Cutter X3 (Manual) | HLL | * | * |  | 1 | 1 | 1200 | 1200
# | # | Foot Suction Machine | Indian | * | * |  | 1 | 1 | 6500 | 6500
# | # | Suction Machine | Hivac | * | * |  | 1 | 1 | 6500 | 6500
# | # | Glucometer X2 | Abbot | * | * | 1 |  | 1 | 1200 | 1200
# | # | Glucometer X2 | Abbot | * | * | 1 |  | 1 | 1200 | 1200
# | # | Baby Weighing Machine | Tanya | * | * |  |  | 1 | 2500 | 2500
# | # | BP Instrument | * | * | * |  | 1 | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 425300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 29771

## PHC,Neethre
Name of Consultant :- | [6 empty] | Date:- |  | 2015-07-02
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,Neethre
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Needal Cutter X2 | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Needal Cutter X2 | Microsil | * | * |  | 1 | 1 | 1200 | 1200
# | # | Baby Weighting Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | Adult Weighting Machine | Preotige | * | * | 1 |  | 1 | 2500 | 2500
# | # | Auto Clave | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | ILR | Vestfrest | * | * | 1 |  | 1 | 250000 | 250000
# | # | OT Table | Indian | * | * | 1 |  | 1 | 45000 | 45000
# | # | Delievery Table X3 | Indian | * | * | 1 |  | 1 | 14000 | 14000
# | # | Microscope | Olympus | * | * | 1 |  | 1 | 30000 | 30000
# | # | Microscope | Olympus | * | * |  | 1 | 1 | 30000 | 30000
# | # | Baby Warmer | Indian | * | * | 1 |  | 1 | 38000 | 38000
# | # | BP App X2 | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | BP App X8 | Pagoda | * | * |  | 1 | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 487200
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 34104

## PHC,Bhuntar
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-27
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,Bhuntar
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | Nurse Duty Room | Boiler | Indian | * | * |  | 1 | 1 | 6500 | 6500
# | OT(Minor) | Labor Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Suction Machine | Mediguard | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needal Cutter | Kaimson | * | * | 1 |  | 1 | 1200 | 1200
# | LAB | Oven | Indian | * | * |  | 1 | 1 | 4500 | 4500
# |  | Monocular Microscope | Magnus | * | * | 1 |  | 1 | 18500 | 18500
# |  | Centrifuse | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needal Cutter | Mediguard | * | * | 1 |  | 1 | 1200 | 1200
# | Labor Room | Labor Table | Indian | * | * | 1 |  | 1 | 14000 | 14000
# |  | Domestic Fridge 165ur | Gogrej | * | * | 1 |  | 1 | 15000 | 15000
# |  | Baby Weighing Machine | Kohinoor | * | * | 1 |  | 1 | 2500 | 2500
# |  | Baby Warmer | Indian | * | * | 1 |  | 1 | 38000 | 38000
# |  | Auto Clave Cooker Type | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | Foot Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Labor OT Light | Indian | * | * | 1 |  | 1 | 45000 | 45000
# |  | Needal Cutter | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# |  | Needal Cutter | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# | Dental OPD | Boiler X2 | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Needal Cutter | Mediguard | * | * | 1 |  | 1 | 1200 | 1200
# |  | Dental Chair Complete Set | Bestodent | * | * | 1 |  | 1 | 150000 | 150000
# |  | BP Instrument | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | EYE OPD | Opthalomoscope | Hiene | Mini2000 | * |  | 1 | 1 | 15500 | 15500
# | MCH Room | Deep Fridger Stablizer | Haier | * | * | 1 |  | 1 | 250000 | 250000
# |  | ILR | Haier | * | * |  |  | 1 | 250000 | 250000
# |  | Height Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | Needal Cutter | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | Baby Weighing Machine | Braun | * | * | 1 |  | 1 | 2500 | 2500
# |  | Weighing Machine Bathroom type | Crown | * | * | 1 |  | 1 | 2500 | 2500
# |  | BP Instrument | Crown | * | * | 1 |  | 1 | 650 | 650
# |  | Weighing Machine | Smart Care | * | * | 1 |  | 1 | 2500 | 2500
# |  | Needal Cutter | Pioneer | * | * | 1 |  | 1 | 1200 | 1200
# | OPD | BP Instrument X2 Unit | Pagoda | * | * | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 34
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 943850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 66069.5

## PHC,Gadsa
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-29
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,Gadsa
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LAB | Centrifuse | Remi Motors | R4C | RL585 | 1 |  | 1 | 6500 | 6500
# |  | Needal Cutter | Microsil | ND-860 | 3145/03 | 1 |  | 1 | 1200 | 1200
# |  | Oven | Indian | * | * |  | 1 | 1 | 4500 | 4500
# |  | Chemical Balance | Sunsline | S/J6 | * | 1 |  | 1 | 4500 | 4500
# |  | Binocular Microscope | Indian | BG9 | * | 1 |  | 1 | 30000 | 30000
# |  | Binocular Microscope X2 | Indian | * | * | 1 |  | 1 | 30000 | 30000
# |  | Centrifuse | Indian | * | * |  | 1 | 1 | 6500 | 6500
# | Injection Room | Needal Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | Dental OPD | Dental Chair Complete Set | Coofident | * | * | 1 |  | 1 | 150000 | 150000
# |  | Needal Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# |  | Scalar | Unicorn Dentmart | P6 Pro | SN AA19.80T | 1 |  | 1 | 4500 | 4500
# |  | Boiler X2 | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Light Cure | Elitedent | * | * | 1 |  | 1 | 10000 | 10000
# |  | BP Instrument | Premiere | * | 98121951 | 1 |  | 1 | 650 | 650
# | Indoor OPD | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | Suction Machine | Surgix | * | * | 1 |  | 1 | 6500 | 6500
# |  | Baby Weighing Machine | Braun | * | * | 1 |  | 1 | 2500 | 2500
# |  | Domestic Fridge 165ur | Samsung | RR19J20A3SE/TL | * | 1 |  | 1 | 15000 | 15000
# | MCH Centre | Deep Freezer Stablizer | Vestfrest | SB142 | 14912989 | 1 |  | 1 | 250000 | 250000
# |  | ILR Stablizer | Vestfrest | MK142 | 14900649 | 1 |  | 1 | 250000 | 250000
# |  | Needal Cutter | SRK | * | * | 1 |  | 1 | 1200 | 1200
# |  | Baby Weighing Machine | * | * | * | 1 |  | 1 | 2500 | 2500
# |  | needal Cutter Manual | Indian | * | * | 1 |  | 1 | 1200 | 1200
# |  | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# |  | Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# |  | Weighing Machine | Crumps | * | * |  | 1 | 1 | 2500 | 2500
# |  | Auto Clave Cooker Type | Indian | * | * | 1 |  | 1 | 65000 | 65000
# |  | Needal Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# |  | Stablizer X2 | Indian | * | * |  | 1 | 1 | 6500 | 6500
# |  | Weighing Machine | Deluxe | * | * |  | 1 | 1 | 2500 | 2500
# | General OPD | BP Instrument | Shristi | * | * | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 31
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 876000
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 61320

## PHC,Neul
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-27
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,Neul
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP Stand Model | Janco | * | 34515 | 1 |  | 1 | 1100 | 1100
# | # | BP Stand Model | Janco | * | 34002 | 1 |  | 1 | 1100 | 1100
# | # | Domestic Fridge 165ur | LG | A one Plus | * | 1 |  | 1 | 15000 | 15000
# | # | Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | BP Instrument | Crown | * | * | 1 |  | 1 | 650 | 650
# | # | Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needal Cutter | Gopish | * | * | 1 |  | 1 | 1200 | 1200
# | # | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Weighing Machine | Victoria DX | * | * | 1 |  | 1 | 2500 | 2500
# | # | Needle Cutter | Gopish | * | * | 1 |  | 1 | 1200 | 1200
# | # | Needle Cutter | SRK | * | * | 1 |  | 1 | 1200 | 1200
# | # | Auto Clave Cooker Type | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | Suction Machine | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Glucometer | * | * | * | 1 |  | 1 | 1200 | 1200
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 108150
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 7570.5

## PHC,Thatibir
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-29
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,Thatibir
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Needal Cutter | Indian | * | * |  | 1 | 1 | 1200 | 1200
# | # | Boiler | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | BP Stand Model | Namatt | * | 43737 |  | 1 | 1 | 1100 | 1100
# | # | BP Instrument | Pagota | * | * | 1 |  | 1 | 650 | 650
# | # | Baby Weighing Machine | Braun | * | * | 1 |  | 1 | 2500 | 2500
# | # | Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | Domestic Fridge 165ur | Godrej | * | * | 1 |  | 1 | 15000 | 15000
# | # | Binocular Microscope | Indian | * | * | 1 |  | 1 | 30000 | 30000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 9
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 65950
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 4616.5

## PHC,Gushaini
Name of Consultant :- | [6 empty] | Date:- |  | 2015-06-29
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,Gushaini
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP Instrument X2 Unit | Pasoda | * | * | 1 |  | 1 | 650 | 650
# | # | BP Instrument X4 Unit | Pasoda | * | * | 1 |  | 1 | 650 | 650
# | # | BP Instrument X2 Unit | Pasoda | * | * |  | 1 | 1 | 650 | 650
# | # | BP Stand Model | Pasoda | * | * | 1 |  | 1 | 1100 | 1100
# | # | Needal Cutter | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Boiler (Medium) | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Boiler (Small) | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Baby Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | Auto Clave Cooker Type | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | Binocular Microscope | Almicro | BM6B9 | * | 1 |  | 1 | 30000 | 30000
# | # | Centrifuse | Oxford | * | * | 1 |  | 1 | 6500 | 6500
# | # | Domestic Fridge 165ur | BPL | BR0190 | * | 1 |  | 1 | 15000 | 15000
# | # | Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 13
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 138750
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 9712.5

## PHC,Kungesh
Name of Consultant :- | [6 empty] | Date:- |  | 2015-07-01
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,Kungesh
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | Weighing Machine Bathroom type | EMIMED | * | * | 1 |  | 1 | 2500 | 2500
# | # | BP Instrument | Novaphon | * | 305207 | 1 |  | 1 | 650 | 650
# | # | BP Instrument | Pagoda | * | 280080 |  | 1 | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 3
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3800
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 266

## PHC,lagauti
Name of Consultant :- | [6 empty] | Date:- |  | 2015-07-01
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,lagauti
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP Stand Model | Novaphon | * | 3044061-14 | 1 |  | 1 | 1100 | 1100
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 1
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1100
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 77

## PHC,Dugher
Name of Consultant :- | [6 empty] | Date:- |  | 2015-07-01
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC,Dugher
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | # | BP Apparatus X3 Unit | Novaphon | * | * | 1 |  | 1 | 650 | 650
# | # | Nebulizer | Indian | * | * | 1 |  | 1 | 6500 | 6500
# | # | Glucometer | Accucheck | * | * | 1 |  | 1 | 1200 | 1200
# | # | Auto Clave Cooker Type X2 Unit | Indian | * | * | 1 |  | 1 | 65000 | 65000
# | # | Pulse Oximeter | Indian | * | * | 1 |  | 1 | 55000 | 55000
# | # | Needle Cutter X2 | Microsil | * | * | 1 |  | 1 | 1200 | 1200
# | # | Baby Weighing Machine | Crown | * | * | 1 |  | 1 | 2500 | 2500
# | # | Adult Weighing Machine | Indian | * | * | 1 |  | 1 | 2500 | 2500
# | # | Binocular Microscope X2 | Olympus | * | * | 1 |  | 1 | 30000 | 30000
# | # | BP Instrument X2 | Pagoda | * | * | 1 |  | 1 | 650 | 650
# | # | O2 Concentrator | Nenolite | * | * | 1 |  | 1 | 45000 | 45000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 210200
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 14714