## Labour Room
National Quality Assurance Standards 2016
Checklist for Labour Room
Assessment Summary
Name of the Hospital |  |  |  |  | Date of Assessment
Names of Assessors |  |  |  |  | Names of Assessees
Type of Assessment (Internal/Peer/External) |  |  |  |  | Action plan Submission Date
Labour room Score Card
Area of Concern wise Score |  |  |  |  | Labour Room Score
A | Service Provision | 50% |  |  | 50%
B | Patient Rights | 50%
C | Inputs | 50%
D | Support Services | 50%
E | Clinical Services | 50%
F | Infection Control | 50%
G | Quality Management | 50%
H | Outcome | 50%
Major Gaps Observed
1
2
3
4
5
Strengths / Good Practices
1
2
3
4 | Z
5
Recommendations/ Opportunities for Improvement
1
2
3
4
5
Signature of Assessors
Date
Checklist for Labour Room
Reference No | Measurable Element | Checkpoint | Compliance | Assessment Method | Means of Verification | Remarks | Obtained | Maximum | %
| Area of Concern - A Service Provision | [5 empty] | 11 | 22 | 50
Standard A1 | The facility provides Curative Services | [5 empty] | 1 | 2 | 50
ME A1.1 | The facility provides General Medicine services
ME A1.2 | The facility provides General Surgery services
ME A1.3 | The facility provides Obstetrics & Gynaecology Services
ME A1.4 | The facility provides Paediatric Services
ME A1.5 | The facility provides Ophthalmology Services
ME A1.6 | The facility provides ENT Services
ME A1.7 | The facility provides Orthopaedics Services
ME A1.8 | The facility provides Skin & VD Services
ME A1.9 | The facility provides Psychiatry Services
ME A1.10 | The facility provides Dental Treatment Services
ME A1.11 | The facility provides AYUSH Services
ME A1.12 | The facility provides Physiotherapy Services
ME A1.13 | The facility provides services for OPD procedures
ME A1.14 | Services are available for the time period as mandated | Labour room service is functional 24X7 | 1 | SI/RR | Verify with records that deliveries have been conducted in night on regular basis
ME A1.15 | The facility provides services for Super specialties, as mandated
ME A1.16 | The facility provides Accident & Emergency Services
ME A1.17 | The facility provides Intensive care Services
ME A1.18 | The facility provides Blood bank & transfusion services
Standard A2 | The facility provides RMNCHA Services | [5 empty] | 9 | 18 | 50
ME A2.1 | The facility provides Reproductive health Services | Availability of Post Partum IUD insertion services | 1 | SI/RR | Verify with records that PPIUD services have been offered in labour room
ME A2.2 | The facility provides Maternal health Services | Availability of Vaginal Delivery services | 1 | SI/RR | Normal vaginal & assisted (Vacuum / Forcep ) delivery
|  | Availability of Pre term delivery services | 1 | SI/RR | Check if pre term delivery are being conducted at facility and not referred to higher centres unnecessarily
|  | Management of Postpartum Haemorrhage | 1 | SI/RR | Check if Medical /Surgical management of PPH is being done at labour room
|  | Management of Retained Placenta | 1 | SI/RR | Check staff manages retained placenta cases in labour room . Verify with records
|  | Septic Delivery & Delivery of HIV positive Pregnant Women | 1 | SI/RR | Check if infected delivery cases are managed at labour room and not referred to higher centres unnecessarily
|  | Management of PIH/Eclampsia/ Pre eclampsia | 1 | SI/RR | Check services for management of PIH/ Eclampsia are being proved at labour room
ME A2.3 | The facility provides Newborn health Services | Availability of New born resuscitation | 1 | SI/OB | Check if labour room has a functional New born resuscitation services available in labour room
|  | Availability of Essential new born care | 1 | SI/OB | Check essential newborn care provisions such as Keeping baby on mother's abdomen, immediate drying of baby, Skin to skin contact, delayed chord clamp, initiation of breast feeding, recording of vitals and Vit. K are provided
ME A2.4 | The facility provides Child health Services
ME A2.5 | The facility provides Adolescent health Services
Standard A3 | The facility Provides diagnostic Services | [5 empty] | 1 | 2 | 50
ME A3.1 | The facility provides Radiology Services
ME A3.2 | The facility Provides Laboratory Services | 24 *7 Availability of point of care diagnostic tests | 1 | SI/OB | HIV, Hb% , Random blood sugar , Protein Urea Test
ME A3.3 | The facility provides other diagnostic services, as mandated
Standard A4 | The facility provides services as mandated in national Health Programmes/ state scheme
ME A4.1 | The facility provides services under National Vector Borne Disease Control Programme as per guidelines
ME A4.2 | The facility provides services under Revised National TB Control Programme as per guidelines
ME A4.3 | The facility provides services under National Leprosy Eradication Programme as per guidelines
ME A4.4 | The facility provides services under National AIDS Control Programme as per guidelines
ME A4.5 | The facility provides services under National Programme for prevention and control of Blindness as per guidelines
ME A4.6 | The facility provides services under Mental Health Programme as per guidelines
ME A4.7 | The facility provides services under National Programme for the health care of the elderly as per guidelines
ME A4.8 | The facility provides services under National Programme for Prevention and control of Cancer, Diabetes, Cardiovascular diseases & Stroke (NPCDCS) as per guidelines
ME A4.9 | The facility Provides services under Integrated Disease Surveillance Programme as per Guidelines
ME A4.10 | The facility provide services under National health Programme for deafness
ME A4.11 | The facility provides services as per State specific health programmes
Standard A5 | The facility provides support services
ME A5.1 | The facility provides dietary services
ME A5.2 | The facility provides laundry services
ME A5.3 | The facility provides security services
ME A5.4 | The facility provides housekeeping services
ME A5.5 | The facility ensures maintenance services
ME A5.6 | The facility provides pharmacy services
ME A5.7 | The facility has services of medical record department
Standard A6 | Health services provided at the facility are appropriate to community needs.
ME A6.1 | The facility provides curatives & preventive services for the health problems and diseases, prevalent locally.
ME A6.2 | There is process for consulting community/ or their representatives when planning or revising scope of services of the facility
| Area of Concern - B Patient Rights | [5 empty] | 20 | 40 | 50
Standard B1 | The facility provides the information to care seekers, attendants & community about the available services and their modalities | [5 empty] | 4 | 8 | 50
ME B1.1 | The facility has uniform and user-friendly signage system | Availability of departmental signage's | 1 | OB | Numbering, main department and internal sectional signage, Restricted area signage displayed. Directional signages are given from the entry of the facility
ME B1.2 | The facility displays the services and entitlements available in its departments | Necessary Information regarding services provided is displayed | 1 | OB | Name of doctor and Nurse on duty are displayed and updated. Contact details of referral transport / ambulance displayed
ME B1.3 | The facility has established citizen charter, which is followed at all levels
ME B1.4 | User charges are displayed and communicated to patients effectively
ME B1.5 | Patients & visitors are sensitised and educated through appropriate IEC / BCC approaches | IEC Material is displayed | 1 | OB | Breast feeding, kangaroo care, family planning etc (Pictorial and chart ) in circulation & waiting area
ME B1.6 | Information is available in local language and easy to understand | Signage's and information are available in local language | 1 | OB | Check all information for patients/ visitors are available in local language
ME B1.7 | The facility provides information to patients and visitor through an exclusive set-up.
ME B1.8 | The facility ensures access to clinical records of patients to entitled personnel
Standard B2 | Services are delivered in a manner that is sensitive to gender, religious and cultural needs, and there are no barrier on account of physical economic, cultural or social reasons. | [5 empty] | 4 | 8 | 50
ME B2.1 | Services are provided in manner that are sensitive to gender | Only on duty staff is allowed in the labour room when it is occupied | 1 | OB | Pregnant woman, her birth companion, doctor, nurse/ANM on duty, and other support staff only, is allowed in the labour room
ME B2.2 | Religious and cultural preferences of patients and attendants are taken into consideration while delivering services
ME B2.3 | Access to facility is provided without any physical barrier & friendly to people with disabilities | Availability of Wheel chair or stretcher for easy Access to the labour room | 1 | OB
|  | Availability of ramps and railing & Labour room is located at ground floor | 1 | OB | If not located on the ground floor availability of the ramp / lift with person for shifting
ME B2.4 | There is no discrimination on basis of social and economic status of the patients | Check care to pregnant women is not denied or differed due to discrimination | 1 | OB/PI | Discrimination may happen because of religion, caste, ethnicity, cast, language, paying capacity and educational level.
ME B2.5 | There is affirmative actions to ensure that vulnerable sections can access services
Standard B3 | The facility maintains privacy, confidentiality & dignity of patient, and has a system for guarding patient related information. | [5 empty] | 9 | 18 | 50
ME B3.1 | Adequate visual privacy is provided at every point of care | Availability of screen/ partition at delivery tables | 1 | OB | Screens / Partition has been provided from three side of the delivery table or Cubicle for ensuring visual privacy
|  | Curtains / frosted glass have been provided at windows | 1 | OB | Check all the windows are fitted with frosted glass or curtains have been provided
|  | No two women are treated on common bed/ Delivery Table | 1 | OB/PI | Check that observation beds and delivery tables are not shared by multiple women at the same time because of any reason
ME B3.2 | Confidentiality of patients records and clinical information is maintained | Patient Records are kept at secure place beyond access to general staff/visitors | 1 | SI/OB | Check records are not lying in open and there is designated space for keeping records with limited access. Records are not shared with anybody without permission of hospital administration
ME B3.3 | The facility ensures the behavior of staff is dignified and respectful, while delivering the services | Behavior of labour room staff is dignified and respectful | 1 | OB/PI | Check that labour staff is not providing care in undignified manner such as yelling, scolding , shouting, blaming and using abusive language, unnecessary touching or examination
|  | Pregnant women is not left unattended or ignored during care in the labour room | 1 | OB/PI | Check that care providers are attentive and empathetic to the pregnant women at no point of care they are left alone.
|  | Care provided at labour room is free from physical abuse or harm | 1 | OB/PI | Check if the physical abuse practices such as pinching, slapping, restraining , pushing on the abdomen, extensive episiotomy etc.
|  | Pregnant women is explicitly informed before examination and procedures | 1 | OB/PI | Check if care providers verbally inform the pregnant women before touching, examination or starting procedure.
ME B3.4 | The facility ensures privacy and confidentiality to every patient, especially of those conditions having social stigma, and also safeguards vulnerable groups | HIV status of patient is not disclosed except to staff that is directly involved in care | 1 | SI | Check if HIV status of pregnant women is not explicitly written on case sheets and avoiding any means by which they can be identified in public such as labelling or allocating specific beds.
Standard B4 | The facility has defined and established procedures for informing patients about the medical condition, and involving them in treatment planning, and facilitates informed decision making | [5 empty] | 2 | 4 | 50
ME B4.1 | There is established procedure for taking informed consent before treatment and procedures | Consent is taken before delivery and or shifting | 1 | SI/RR | Check the labour room case sheet for consent has been taken
ME B4.2 | Patient is informed about his/her rights and responsibilities
ME B4.3 | Staff are aware of Patients rights responsibilities
ME B4.4 | Information about the treatment is shared with patients or attendants, regularly | Labour room has system in place to involve patient's relative in decision making about pregnant women treatment | 1 | PI | Check if pregnant women and her family members have been informed and consulted before shifting the patient for C-Section or referral to higher center
ME B4.5 | The facility has defined and established grievance redressal system in place
Standard B5 | The facility ensures that there are no financial barrier to access, and that there is financial protection given from the cost of hospital services. | [5 empty] | 1 | 2 | 50
ME B5.1 | The facility provides cashless services to pregnant women, mothers and neonates as per prevalent government schemes | Check all services including drugs, consumables, diagnostics and blood are free of cost in labour room | 1 | PI/SI | Check if there are no user charges of any services in labour room . Ask Pregnant women and their attendants if they have not paid for any services or any informal fees to service providers
ME B5.2 | The facility ensures that drugs prescribed are available at Pharmacy and wards
ME B5.3 | It is ensured that facilities for the prescribed investigations are available at the facility
ME B5.4 | The facility provide free of cost treatment to Below poverty line patients without administrative hassles
ME B5.6 | The facility ensure implementation of health insurance schemes as per National /state scheme
| Area of Concern - C Inputs | [5 empty] | 54 | 108 | 50
Standard C1 | The facility has infrastructure for delivery of assured services, and available infrastructure meets the prevalent norms | [5 empty] | 14 | 28 | 50
ME C1.1 | Departments have adequate space as per patient or work load | Adequate space as per delivery load | 1 | OB | Labour tables should be placed in a way that there is a distance of at least 3 feet from the sidewall, at least 2 feet from head end wall, and at least 6’ from the second table
ME C1.2 | Patient amenities are provided as per patient load | Availability of patients amenities such as Drinking water, Toilet & Changing area | 1 | OB | Dedicated Toilets for Labour Room area and Staff Rooms. LDR concept for Labour Room should have attached toilet with each LDR unit . Toilets are provided with western style toilet seats. Drinking water Facility within labour room For Pregnant women & companion
ME C1.3 | Departments have layout and demarcated areas as per functions | Labour Room layout is arranged in LDR concept | 1 | OB | Labour Room and associated services are arranged according to Labour-Delivery-Recovery Concepts with each LDR unit comprising of 4 Labour Beds and dedicated Nursing Station and New Born Corner
|  | Availability of Registration Area & Waiting area | 1 | OB | Dedicated reception and registration area the entry of Labour Room Complex with registration desk and seating arrangement for 30 people in waiting area
|  | Availability of Triage and Examination Area | 1 | OB | Dedicated Triage & Examination room with two examination beds for segregation of High & Low Risk patients Entry to the labour room should not be direct. Check if there is any buffer area
|  | Dedicated nursing station and Duty Rooms | 1 | OB | One common Nursing station for Conventional Labour Room Dedicated Nursing station for Each unit if LDR concept is followed
|  | Availability of Storage Area | 1 | OB | A dedicated sub store with cabinets and storage racks for storing supplies Separate Clean room & Dirty Utility room for Storing Sterile and Used goods respectively
|  | Availability of Newborn Care area | 1 | OB | One Dedicated Newborn care area for each four tables. Incase of LDR dedicated NBCA for each unit.There should be no obstruction between labour table and Newborn corner for swift shifting of newborn requiring resuscitation Radiant Warmer Should have free space from three sides
|  | Availability of Staff Room & Doctor's Duty Room | 1 | OB | Dedicated rooms for Nursing staff and Doctors provided with beds, storage furniture and attached toilets
ME C1.4 | The facility has adequate circulation area and open spaces according to need and local law | Corridors connecting labour room are broad enough to manage stretcher and trolleys | 1 | OB | Corridor should be wide enough that 2 stretcher can pass simultaneously without any hassle
ME C1.5 | The facility has infrastructure for intramural and extramural communication | Availability of functional telephone and Intercom Services | 1 | OB | Check availability of functional telephone and intercom connections
ME C1.6 | Service counters are available as per patient load | Availability of labour tables as per delivery load | 1 | OB | Less than 20 Deliveries/ Month -1 20-99 Deliveries/ Month - 2 100- 199 Deliveries/Month -4 200- 499 Deliveries/Month -6 More than 500 Deliveries- Conventional Labour Room - Monthly Delivery Cases X 0.014 (Labour- Delivery-Recovery) LDR format - Monthly Delivery Cases X.028
ME C1.7 | The facility and departments are planned to ensure structure follows the function/processes (Structure commensurate with the function of the hospital) | Labour room is in Proximity and function linkage with OT & SNCU | 1 | OB | Check labour room is located in the proximity of Maternity OT and SNCU/ NICU in one block only with means of swift shifting of patients in case of emergency. If located on different floor lift/ ramp with manned trolley should be provided
|  | Unidirectional flow of care | 1 | OB | Labour room lay out and arrangement of services are designed in a way, that there is no criss cross movement of patient, staff, supplies & equipment
Standard C2 | The facility ensures the physical safety of the infrastructure. | [5 empty] | 3 | 6 | 50
ME C2.1 | The facility ensures the seismic safety of the infrastructure | Non structural components are properly secured | 1 | OB | Check for fixtures and furniture like cupboards, cabinets, and heavy equipment , hanging objects are properly fastened and secured
ME C2.2 | The facility ensures safety of lifts and lifts have required certificate from the designated bodies/ board
ME C2.3 | The facility ensures safety of electrical establishment | Labour room does not have temporary connections and loosely hanging wires | 1 | OB | Switch Boards other electrical installations are intact. Check adequate power outlets have been provided as per requirement of electric appliances
ME C2.4 | Physical condition of buildings are safe for providing patient care | Check if safety features have been provided in infrastructure | 1 | OB | The floor of the labour room complex should be made of anti-skid material. Each window have 2-panel sliding doors. The outside panel be fixed The second panel should be moving with frosted glass and a lock.
Standard C3 | The facility has established Programme for fire safety and other disaster | [5 empty] | 3 | 6 | 50
ME C3.1 | The facility has plan for prevention of fire | Labour room has sufficient fire exit to permit safe escape to its occupant at time of fire | 1 | OB/SI | Check the fire exits are clearly visible and routes to reach exit are clearly marked.
ME C3.2 | The facility has adequate fire fighting Equipment | Labour room has installed fire Extinguishers & expiry is displayed on each fire extinguisher | 1 | OB | Class A , Class B, C type or ABC type. Check the expiry date for fire extinguishers are displayed on each extinguisher as well as due date for next refilling is clearly mentioned
ME C3.3 | The facility has a system of periodic training of staff and conducts mock drills regularly for fire and other disaster situation | Check for staff competencies for operating fire extinguisher and what to do in case of fire | 1 | SI/RR | Check staff is aware of RACE (Rescue-Alarm-Contain-Extinguish) method for in case of fire and confident in using fire extinguisher.
Standard C4 | The facility has adequate qualified and trained staff, required for providing the assured services to the current case load | [5 empty] | 5 | 10 | 50
ME C4.1 | The facility has adequate specialist doctors as per service provision | Availability of Ob&G specialist | 1 | OB/RR | 100-200 Deliveries -1 (OBG/EMOC) 200 - 500 Deliveries - 1 OBG (Mandatory + 4 (OBG/EMOC) >500 3 OBG + 4 EMOC
|  | Availability of Pediatrician | 1 | OB/RR | At least 1 pediatrician
ME C4.2 | The facility has adequate general duty doctors as per service provision and work load | Availability of General duty doctor | 1 | OB/RR | At least 4 Medical Officers
ME C4.3 | The facility has adequate nursing staff as per service provision and work load | Availability of Nursing staff /ANM | 1 | OB/RR/SI | Deliveries Per month- 100-200- 8 200-500 -12 > 500 - 16
ME C4.4 | The facility has adequate technicians/paramedics as per requirement
ME C4.5 | The facility has adequate support / general staff | Availability of house keeping staff & Security Guards | 1 | SI/RR | Housekeeping Staff as per delivery load 100-200- 4 200-500 - 8 Security Guards as per Delivery Load > 500 - 12 100-200- 4 200-500 - 6 > 500 - 8
ME C4.6 | The staff has been provided required training / skill sets
ME C4.7 | The Staff is skilled as per job description | Nursing staff is skilled for operating radiant warmer | 1 | SI/RR
|  | Nursing staff is skilled for resuscitation | 1 | SI/RR | Newborn as well as Mother
|  | Nursing staff is skilled identifying and managing complication | 1 | SI/RR
|  | Counsellor is skilled for postnatal counselling | 1 | SI/RR
|  | Nursing Staff is skilled for maintaining clinical records including partograph | 1 | SI/RR
Standard C5 | The facility provides drugs and consumables required for assured services. | [5 empty] | 8 | 16 | 50
ME C5.1 | The departments have availability of adequate drugs at point of use | Availability of uterotonic Drugs | 1 | OB/RR | Inj Oxytocin 10 IU (to be kept in fridge) Tab Misoprostol 200mg
|  | Availability of Anti-infective Drugs | 1 | OB/RR | Cap Ampicillin 500mg, Tab Metronidazole 400mg, Inj Gentamicin
|  | Availability of Antihypertensive , analgesic and antipyretic and Anesthetic drugs | 1 | OB/RR | Nifedipine, Methyldopa, Inj Hydralazine, Tab Paracetamol, Tab Ibuprofen, Inj Xylocaine 2%,
|  | Availability of IV Fluids | 1 | OB/RR | IV fluids, Normal saline, Ringer lactate,
|  | Availability of Vitamins | 1 | OB/RR | Vit K
ME C5.2 | The departments have adequate consumables at point of use | Availability of dressings material and Sanitary pads | 1 | OB/RR | Gauze piece and cotton swabs, sanitary Napkins (2 for Each Delivery), Sanitary Pads (4 for each delivery, needle (round body and cutting), chromic catgut no. 0, antiseptic solution
|  | Availability of syringes and IV Sets /tubes and consumables for newborn | 1 | OB/RR | Paediatric IV sets,urinery catheter, Gastric tube and cord clamp, Baby ID tag
ME C5.3 | Emergency drug trays are maintained at every point of care, wherever it may be needed | Emergency Drug Tray is maintained | 1 | OB/RR | Inj Magsulf 50%, Inj Calcium gluconate 10%, Inj Dexamethasone, inj Hydrocortisone Succinate, Inj Ampicillin, Inj Gentamicin, inj metronidazole, , Inj diazepam, inj Pheniramine maleate, inj Corboprost, Inj Pentazocine, Inj Promethazine, Betamethasone, Inj Hydralazine, Nifedipine, Methyldopa,ceftriaxone
Standard C6 | The facility has equipment & instruments required for assured list of services. | [5 empty] | 14 | 28 | 50
ME C6.1 | Availability of equipment & instruments for examination & monitoring of patients | Availability of functional Equipment &Instruments for examination & Monitoring | 1 | OB | One set of Digital BP apparatus, Stethoscope, Adult Thermometer , Baby Thermometer, baby forehead thermometer, Handheld Fetal Doppler , Fetoscope, baby weighting scale, Measuring Tape for four labour tables or at least two sets., Wall clock
ME C6.2 | Availability of equipment & instruments for treatment procedures, being undertaken in the facility | Availability of instrument arranged in Delivery trays | 1 | OB | Cord Cutting Scissor, Artery forceps, Cord clamp, Sponge holder, speculum, kidney tray, bowl for antiseptic lotion are present in tray
|  | Delivery kits are in adequate numbers as per load | 1 | OB | One autoclaved delivery tray for each table plus 4 extra trays
|  | Availability of Instruments arranged for Episiotomy trays | 1 | OB | Episiotomy scissor, kidney tray, artery forceps, allis forceps, sponge holder, toothed forceps, needle holder,thumb forceps, are present in tray
|  | Availability of Baby tray | 1 | OB | Two pre warmed towels/sheets for wrapping the baby, mucus extractor, bag and mask (0 &1 no.), sterilized thread for cord/cord clamp, nasogastric tube are present in tray
|  | Availability of instruments arranged for MVA/EVA tray | 1 | OB | Speculum, anterior vaginal wall retractor, posterior wall retractor, sponge holding forceps, MVA syringe, cannulas, MTP, cannulas, small bowl of antiseptic lotion, are present in tray
|  | Availability of instruments arranged for PPIUCD tray | 1 | OB | PPIUCD insertion forceps, CuIUCD 380A/Cu IUCD375 in sterile package are present in tray
|  | Availability of Radiant Warmers | 1 | OB | 1 Functional Radiant warmer for each four tables
ME C6.3 | Availability of equipment & instruments for diagnostic procedures being undertaken in the facility | Availability of Diagnostic Instruments | 1 | OB | Atleast 2 Glucometers, Protien Urea Test Kit , HB Testing Kits, HIV Kits.
ME C6.4 | Availability of equipment and instruments for resuscitation of patients and for providing intensive and critical care to patients | Availability of resuscitation Instruments for Newborn & Mother | 1 | OB | Availability of Neonatal Resuscitation Kit Pediatric resuscitator bag (volume 250 ml) with masks of 0 and 1 size for each Radiant warmer Adult Resuscitation Kit
ME C6.5 | Availability of Equipment for Storage | Availability of equipment for storage for drugs | 1 | OB | Refrigerator, Movable Crash cart/Drug trolley, instrument trolley, dressing trolley
ME C6.6 | Availability of functional equipment and instruments for support services | Availability of equipment for cleaning & sterilization | 1 | OB | Buckets for mopping, Separate mops for labour room and circulation area duster, waste trolley, Deck brush, Autoclave
ME C6.7 | Departments have patient furniture and fixtures as per load and service provision | Availability of Labour Beds with attachment/accessories | 1 | OB | Each labor bed should be have following facilities Adjustable side rails, Facilities for Trendelenburg/reverse positions, Facilities for height adjustment, Stainless steel IV rod, wheels & brakes ,Steel basins attachment, Calf support, handgrip, legs support.
|  | Availability of Mattress for each Labour Beds | 1 | OB | Mattress should be in three parts and seamless in each part with a thin cushioning at the joints, detachable at perineal end. It should be washable and water proof with extra set.
Standard C7 | Facility has a defined and established procedure for effective utilization, evaluation and augmentation of competence and performance of staff | [5 empty] | 7 | 14 | 50
ME C7.1 | Criteria for Competence assessment are defined for clinical and Para clinical staff | Check parameters for assessing skills and proficiency of clinical staff has been defined | 1 | SI/RR | Check objective checklist such OSCE (Onsite Clinical Examination) defined Dakshta program are available at the labor room
ME C7.2 | Competence assessment of Clinical and Para clinical staff is done on predefined criteria at least once in a year | Check for competence assessment is done at least once in a year | 1 | SI/RR | Check for records of competence assessment using OSCE including filled checklist, scoring and grading . Verify with staff for actual competence assessment done
ME C7.9 | The Staff is provided training as per defined core competencies and training plan | Navjat Shishu Surkasha Karyakarm (NSSK) training & Skilled birth Attendant (SBA) | 1 | SI/RR | Check training records
|  | Biomedical Waste Management& Infection control and hand hygiene ,Patient safety | 1 | SI/RR | Check training records
|  | Training on Quality Management | 1 | SI/RR | Assessment, action planning, PDCA, 5S & use of checklist
|  | Training on Respectful Maternal Care | 1 | SI/RR | Check training records
ME C7.10 | There is established procedure for utilization of skills gained thought trainings by on -job supportive supervision | Labour room staff is provided refresher training | 1 | SI/RR | Check with training records the labour room staff have been provided refresher training at lest once in every 12 month on Intrapartum care, Identification and & management of obstetric emergencies and Essential Newborn care & Breast feeding support
| Area of Concern - D Support Services | [5 empty] | 31 | 62 | 50
Standard D1 | The facility has established Programme for inspection, testing and maintenance and calibration of Equipment. | [5 empty] | 4 | 8 | 50
ME D1.1 | The facility has established system for maintenance of critical Equipment | All equipments are covered under AMC including preventive maintenance | 1 | SI/RR | Check with AMC records/ Warranty documents
|  | There is system of timely corrective break down maintenance of the equipments | 1 | SI/RR | Check for breakdown & Maintenance record in the log book
ME D1.2 | The facility has established procedure for internal and external calibration of measuring Equipment | All the measuring equipments/ instrument are calibrated | 1 | OB/ RR | BP apparatus, thermometers, weighing scale , radiant warmer etc are calibrated . Check for records /calibration stickers
ME D1.3 | Operating and maintenance instructions are available with the users of equipment | Up to date instructions for operation and maintenance of equipments are readily available with labour room staff. | 1 | OB/SI | Check operating and trouble shooting instructions of equipment such as radiant warmer are available at labour room
Standard D2 | The facility has defined procedures for storage, inventory management and dispensing of drugs in pharmacy and patient care areas | [5 empty] | 8 | 16 | 50
ME D2.1 | There is established procedure for forecasting and indenting drugs and consumables | There is established system of timely indenting of consumables and drugs | 1 | SI/RR | Stock level are daily updated Requisition are timely placed well before reaching the stock out level. Check with stock and indent registers.
ME D2.2 | The facility has establish procedure for procurement of drugs
ME D2.3 | The facility ensures proper storage of drugs and consumables | Drugs are stored in containers/tray/crash cart and are labelled | 1 | OB | Check drugs and consumables are kept at allocated space in Crash cart/ Drug trolleys and are labelled. Look alike and sound alike drugs are kept seprately
|  | Empty and filled cylinders are labelled and updated | 1 | OB | Empty and filled cylinders are kept separately and labelled, flow meter is working and pressure/ flow rate is updated in the checklist
ME D2.4 | The facility ensures management of expiry and near expiry drugs | Expiry dates' are maintained at emergency drug tray / Crash cart | 1 | OB/RR | Expiry dates against drugs are mentioned crash cart/ emergency drug tray No expiry drug found
ME D2.5 | The facility has established procedure for inventory management techniques | There is practice of calculating and maintaining buffer stock | 1 | SI/RR | At least one week of minimum buffer stock is maintained all the time in the labour room. Minimum stock and reorder level are calculated based on consumption in a week accordingly
|  | Department maintained stock and expenditure register of drugs and consumables | 1 | RR/SI | Check stock and expenditure register is adequately maintained
ME D2.6 | There is a procedure for periodically replenishing the drugs in patient care areas | There is procedure for replenishing drug tray /crash cart | 1 | SI/RR/OB | There is no stock out of drugs
ME D2.7 | There is process for storage of vaccines and other drugs, requiring controlled temperature | Temperature of refrigerators are kept as per storage requirement and records are maintained | 1 | OB/RR | Check for temperature charts are maintained and updated periodically. Refrigerators meant for storing drugs should not be used for storing other items such as eatables
ME D2.8 | There is a procedure for secure storage of narcotic and psychotropic drugs
Standard D3 | The facility provides safe, secure and comfortable environment to staff, patients and visitors. | [5 empty] | 5 | 10 | 50
ME D3.1 | The facility provides adequate illumination level at patient care areas | Adequate Illumination at delivery table & observation area | 1 | OB | Labour Area - 500 Lux Support Area - 150 Lux
ME D3.2 | The facility has provision of restriction of visitors in patient areas | There is no overcrowding in labour room | 1 | OB | Visitors are restricted at labour room. One birth companion is allowed to stay with the Pregnant women
ME D3.3 | The facility ensures safe and comfortable environment for patients and service providers | Temperature control and ventilation in patient care area | 1 | PI/OB | Temperature of the labour room should be kept around 26-28 degree C ,labour complex should have split ACs with tonnage = (square root of area)/10 and one ceiling mounted fan for every labour table . Area should be drought free
ME D3.4 | The facility has security system in place at patient care areas | Security arrangement in labour room | 1 | OB | Dedicated security guards preferably female security staff. CCTV Camera at entrance / circulation areas
ME D3.5 | The facility has established measure for safety and security of female staff | Ask female staff whether they feel secure at work place | 1 | SI | Check adequate security measures have been taken for safety and security of staff working in labour room
Standard D4 | The facility has established Programme for maintenance and upkeep of the facility | [5 empty] | 7 | 14 | 50
ME D4.1 | Exterior & Interior of the facility building is maintained appropriately | Interior & exterior of patient care areas are plastered & painted & building are white washed in uniform colour | 1 | OB | Wall and Ceiling of Labour Room are painted in white colour. The walls of the labour room complex should be made of white wall tiles, with seamless joint, and extending up to the ceiling.
ME D4.2 | Patient care areas are clean and hygienic | Floors, walls, roof, roof topes, sinks patient care and circulation areas are Clean | 1 | OB | All area are clean with no dirt,grease,littering and cobwebs. Surface of furniture and fixtures are clean
|  | Toilets are clean with functional flush and running water | 1 | OB | Check toilet seats, floors, basins etc are clean and water supply with functional cistern has been provided.
ME D4.3 | Hospital infrastructure is adequately maintained | Check for there is no seepage , Cracks, chipping of plaster Window panes , doors and other fixtures are intact | 1 | OB | Check for delivery as well as auxiliary areas
|  | Delivery table are intact and without rust & Mattresses are intact and clean | 1 | OB | Observe for any signs for rusting or accumulation of dirt/ grease/ encrusted body fluid
ME D4.4 | Hospital maintains the open area and landscaping of them
ME D4.5 | The facility has policy of removal of condemned junk material | No condemned/Junk material in the Labour room | 1 | OB | Check of any obsolete article including equipment, instrument, records, drugs and consumables
ME D4.6 | The facility has established procedures for pest, rodent and animal control | No stray animal/rodent/birds | 1 | OB | Check for no stray animal in and around labour room
Standard D5 | The facility ensures 24X7 water and power backup as per requirement of service delivery, and support services norms | [5 empty] | 2 | 4 | 50
ME D5.1 | The facility has adequate arrangement storage and supply for portable water in all functional areas | Availability of 24x7 running and portable water | 1 | OB/SI | Availability of 24X7 Running water & hot water facility.
ME D5.2 | The facility ensures adequate power backup in all patient care areas as per load | Availability of power back up in labour room | 1 | OB/SI | Check for 24X7 availability of power backup including Dedicated UPS and emergency light
StandardD6 | Dietary services are available as per service provision and nutritional requirement of the patients.
ME D6.1 | The facility has provision of nutritional assessment of the patients
ME D6.2 | The facility provides diets according to nutritional requirements of the patients
ME D6.3 | Hospital has standard procedures for preparation, handling, storage and distribution of diets, as per requirement of patients
Standard D7 | The facility ensures clean linen to the patients | [5 empty] | 2 | 4 | 50
ME D7.1 | The facility has adequate sets of linen | Availability & use of clean linen | 1 | OB/RR | Clean Delivery gown is provided to Pregnant Women & sterile drape for baby.
ME D7.2 | The facility has established procedures for changing of linen in patient care areas
ME D7.3 | The facility has standard procedures for handling , collection, transportation and washing of linen | There is system to check the cleanliness and Quantity of the linen | 1 | SI/RR | Quantity of linen is checked before sending it to laundry. Cleanliness & Quantity of linen is checked received from laundry. Records are maintained
Standard D8 | The facility has defined and established procedures for promoting public participation in management of hospital transparency and accountability.
ME D8.1 | The facility has established procures for management of activities of Rogi Kalyan Samitis
ME D8.2 | The facility has established procedures for community based monitoring of its services
Standard D9 | Hospital has defined and established procedures for Financial Management
ME D9.1 | The facility ensures the proper utilization of fund provided to it
ME D9.2 | The facility ensures proper planning and requisition of resources based on its need
Standard D10 | The facility is compliant with all statutory and regulatory requirement imposed by local, state or central government
ME D10.1 | The facility has requisite licenses and certificates for operation of hospital and different activities
ME D10.2 | Updated copies of relevant laws, regulations and government orders are available at the facility
ME D10.3 | The facility ensure relevant processes are in compliance with statutory requirement
Standard D11 | Roles & Responsibilities of administrative and clinical staff are determined as per govt. regulations and standards operating procedures. | [5 empty] | 3 | 6 | 50
ME D11.1 | The facility has established job description as per govt guidelines
ME D11.2 | The facility has an established procedure for duty roster and deputation to different departments | There is procedure to ensure that staff is available on duty as per duty roster | 1 | RR/SI | Check for system for recording time of reporting and relieving (Attendance register/ Biometrics etc)
|  | Staff posted in the labor room should not be rotated outside the labor room | 1 | RR/SI | Check with the duty roster
ME D11.3 | The facility ensures the adherence to dress code as mandated by its administration / the health department | Doctor, nursing staff and support staff adhere to their respective dress code | 1 | OB | As per hospital administration or state policy
ME D12.1 | There is established system for contract management for out sourced services
ME D12.2 | There is a system of periodic review of quality of out sourced services
| Area of Concern - E Clinical Services | [5 empty] | 92 | 184 | 50
Standard E1 | The facility has defined procedures for registration, consultation and admission of patients. | [5 empty] | 4 | 8 | 50
ME E1.1 | The facility has established procedure for registration of patients | Unique identification number & patient demographic records are generated during process of registration & admission | 1 | RR | Check for demographics like Name, age, Sex, Chief complaint, etc.
ME E1.2 | The facility has a established procedure for OPD consultation
ME E1.3 | There is established procedure for admission of patients | There is procedure for admitting Pregnant women directly coming to Labour room | 1 | SI/RR/OB | Admission is done by written order of a qualified doctor
|  | There is no delay in admission of pregnant women in labour pain | 1 | OB/SI/RR | Co relate the time admission with & clinical intervention (vital chart , partograph, medication given etc.)
ME E1.4 | There is established procedure for managing patients, in case beds are not available at the facility | Check how service provider cope with shortage of delivery tables due to high patient load | 1 | OB/SI | Provision of extra tables.
Standard E2 | The facility has defined and established procedures for clinical assessment and reassessment of the patients. | [5 empty] | 5 | 10 | 50
ME E2.1 | There is established procedure for initial assessment of patients | Rapid Initial assessment of Pregnant Women to identify complication and Prioritize care | 1 | RR/SI/OB | Recording of vitals and FHR. immediate sign if following danger sign are present - difficulty in breathing, fever, sever abdominal pain, Convulsion or unconsciousness, Severe headache or blurred vision
|  | Recording and reporting of Clinical History | 1 | RR/SI | Recording of women obstetric History including LMP and EDD Parity, Gravid status, h/o CS, Live birth, Still Birth, Medical History (TB, Heart diseases, STD etc) HIV status and Surgical History
|  | Recording of current labour details | 1 | RR | Time of start, frequency of contractions, time of bag of water leaking, colour and smell of fluid and baby movement
|  | Physical Examination | 1 | RR/SI | Recording of Vitals , shape & Size of abdomen , presence of scars, foetal lie and presentation. & vaginal examination
ME E2.2 | There is established procedure for follow-up/ reassessment of Patients | There is fixed schedule for reassessment of Pregnant women as per standard protocol | 1 | RR/OB | There is fix schedule of reassessment as per protocols. Assessment finding should be recorded in partograph
Standard E3 | The facility has defined and established procedures for continuity of care of patient and referral | [5 empty] | 10 | 20 | 50
ME E3.1 | The facility has established procedure for continuity of care during interdepartmental transfer | There is procedure of handing over patient / new born from labour room to OT/ Ward/SNCU | 1 | SI/RR | Hand over from Labour Room to the destination department is given while shifting the Mother & Baby. Shifting to ward should be done at least two hours after delivery in case of conventional LR and 4 hours in case of LDR
|  | There is a procedure for consultation of the patient to other specialist with in the hospital | 1 | SI/RR | check if there are linkages and established process for calling other specialist in labour room if required
ME E3.2 | The facility provides appropriate referral linkages to the patients/Services for transfer to other/higher facilities to assure the continuity of care. | Reason for referral is clearly stated and referral is authorized competent person (Gynaecologist or Medical Officer on duty) | 1 | RR | Verify with referral records that reasons for referral were clearly mentioned and rational. Referral is authorized by Gynaecologist or Medical officer on duty after ascertaining that case can not be managed at the facility Labor room staff confirms the suitability of referral with higher centers to ascertain that case can be managed at higher center and will not require further referrals
|  | Essential information regarding referral facilities are available at labour room | 1 | RR/OB | Check for availability of following - Referral Pathway Names, Contact details and duty schedules for responsible persons higher referral centers Name , Contact details, duty schedule of Ambulance services
|  | Advance communication regarding the patient's condition is shared with the higher center | 1 | SI/RR | The information regarding the case, expected time of arrival and special facilities such as specialist, blood, intensive care may be required is communicated to the higher center
|  | Patient referred with referral slip | 1 | RR/SI | A referral slip/ Discharge card is provided to patient when referred to another health care facility. Referral slip includes demographic details, History of woman, examination findings, management done , drugs administered, any procedure done, reason for referral, detail of referral center including whom to contact and signature of approving medical officer
|  | Referral vehicle is being arranged | 1 | SI/RR | Check labour room staff facilitates arrangement of ambulance for transferring the patient to higher center . Patient attendant are not asked to arrange vehicle by their own Check if labour room staff checks ambulance preparedness in terms of necessary equipments, drugs, accompanying staff in terms of care that may be required in transit
|  | Referral checklist & Referral in/ Out register is maintained all referred cases | 1 | RR | Referral check list is filled before referral to ensure all necessary steps have been taken for safe referral including advance communication, transport arrangement, accompanying care provider, referral slip , time taken for referral etc. regarding referral cases including demographics, date & time of admission, date & time of referral, diagnosis at referral and follow up of outcome is recorded in referral register
|  | Follow-up of referral cases is done | 1 | SI/RR | Check that labour room staff follow up of referred cases for timely arrival and appropriate care provided at higher center. Outcome and deficiencies if any should be recorded in referral out register.
ME E3.3 | A person is identified for care during all steps of care | Nurse is assigned for each pregnant women | 1 | RR/SI | Check for nursing hand over
ME E3.4 | The facility is connected to medical colleges through telemedicine services
Standard E4 | The facility has defined and established procedures for nursing care | [5 empty] | 5 | 10 | 50
ME E4.1 | Procedure for identification of patients is established at the facility | There is a process for ensuring the identification before any clinical procedure | 1 | OB/SI | Identification tags for mother and baby
ME E4.2 | Procedure for ensuring timely and accurate nursing care as per treatment plan is established at the facility | There is a process to ensure the accuracy of verbal/telephonic orders | 1 | SI/RR | Verbal orders are rechecked before administration. Verbal orders are documented in the case sheet
ME E4.3 | There is established procedure of patient hand over, whenever staff duty change happens | Patient hand over is given during the change in the shift | 1 | RR/SI | Nursing Handover register is maintained
|  | Hand over is given bed side | 1 | SI/RR/OB | Handover is given during the shift change beside the pregnant women explaining the condition, care provided and any specific care if required
ME E4.4 | Nursing records are maintained
ME E4.5 | There is procedure for periodic monitoring of patients | Patient Vitals are monitored and recorded periodically | 1 | RR/SI | Check for BP, pulse,temp,Respiratory rate FHR,dilation Uterine Contractions, blood loss any other vital required is monitored and recoded in case sheet
Standard E5 | The facility has a procedure to identify high risk and vulnerable patients. | [5 empty] | 2 | 4 | 50
ME E5.1 | The facility identifies vulnerable patients and ensure their safe care | Vulnerable patients are identified and measures are taken to protect them from any harm | 1 | OB/SI | Check the measure taken to prevent new born theft, sweeping and baby fall
ME E5.2 | The facility identifies high risk patients and ensure their care, as per their need | High Risk Pregnancy cases are identified and kept in intensive monitoring | 1 | OB/SI | List of cases identified as High Risk is available with labour room staff . Check for the frequency of observation: Ist stage :half an hour and 2nd stage: every 5 min
Standard E6 | The facility follows standard treatment guidelines defined by state/Central government for prescribing the generic drugs & their rational use. | [5 empty] | 3 | 6 | 50
ME E6.1 | The facility ensured that drugs are prescribed in generic name only | Check for case sheet if drugs are prescribed under generic name only | 1 | RR | Check all the drugs in case sheet and discharge slip are written in generic name only.
ME E6.2 | There is procedure of rational use of drugs | Check for that relevant Standard treatment protocols are available at point of use | 1 | RR | Intrapartum care, Essential newborn care, Newborn Resuscitation, Pre- Eclampsia, Eclampsia, Postpartum hemorrhage , Obstructed Labour, Management of preterm labour
|  | Check staff is aware of the drug regime and doses as per STG | 1 | SI/RR | Check BHT that drugs are prescribed as per treatment protocols &Check for rational use of uterotonic drugs
Standard E7 | The facility has defined procedures for safe drug administration | [5 empty] | 7 | 14 | 50
ME E7.1 | There is process for identifying and cautious administration of high alert drugs | High alert drugs available in department are identified | 1 | SI/OB | Check high alert drugs such as Magsulf, Oxytocin, Carbopost, Adrenaline are identified in the labour room
|  | Maximum dose of high alert drugs are defined and communicated & there is process to ensure that right doses of high alert drugs are only given | 1 | SI/RR | Value for maximum doses as per age, weight and diagnosis are available with nursing station and doctor. A system of independent double check before administration, Error prone medical abbreviations are avoided
ME E7.2 | Medication orders are written legibly and adequately | Every Medical advice and procedure is accompanied with date , time and signature | 1 | RR | Verify case sheets of sample basis
|  | Check for the writing, It comprehendible by the clinical staff | 1 | RR/SI | Verify case sheets of sample basis
ME E7.3 | There is a procedure to check drug before administration/ dispensing | Drugs are checked for expiry and other inconsistency before administration | 1 | OB/SI | Check for any open single dose vial with left over content intended to be used later on.In multi dose vial needle is not left in the septum
|  | Any adverse drug reaction is recorded and reported | 1 | RR/SI | Check if adverse drug reaction form is available in labour room and reporting is in practice
ME E7.4 | There is a system to ensure right medicine is given to right patient | Check Nursing staff is aware 7 Rs of Medication and follows them | 1 | SI/RR | Administration of medicines done after ensuring right patient, right drugs , right route, right time, Right dose , Right Reason and Right Documentation
ME E7.5 | Patient is counselled for self drug administration
Standard E8 | The facility has defined and established procedures for maintaining, updating of patients’ clinical records and their storage | [5 empty] | 7 | 14 | 50
ME E8.1 | All the assessments, re-assessment and investigations are recorded and updated | Progress of labour is recorded | 1 | RR | Partograph
ME E8.2 | All treatment plan prescription/orders are recorded in the patient records. | Treatment prescribed in nursing records | 1 | RR | Medication order, treatment plan, lab investigation are recoded adequately
ME E8.3 | Care provided to each patient is recorded in the patient records
ME E8.4 | Procedures performed are written on patients records | Delivery note is adequate | 1 | RR | Outcome of delivery, date and time, gestation age, delivery conducted by, type of delivery, complication if any ,indication of intervention, date and time of transfer, cause of death etc
|  | Baby note is adequate | 1 | RR | Did baby cry, Essential new born care, resuscitation if any, Sex, weight, time of initiation of breast feed, birth doses, congenital anomaly if any.
ME E8.5 | Adequate form and formats are available at point of use | Standard Formats are available | 1 | RR/OB | Availability of standardized labour room case sheets including partograph and safe Birthing checklist
ME E8.6 | Register/records are maintained as per guidelines | Registers and records are maintained as per guidelines | 1 | RR | Labour room register, OT register, MTP register, Maternal death register and records, lab register, referral in /out register, internal & PPIUD register , NBCC register, handover register
|  | All register/records are identified and numbered | 1 | RR | Check records are numbered and labelled legibily
ME E8.7 | The facility ensures safe and adequate storage and retrieval of medical records
Standard E9 | The facility has defined and established procedures for discharge of patient.
ME E9.1 | Discharge is done after assessing patient readiness
ME E9.2 | Case summary and follow-up instructions are provided at the discharge
ME E9.3 | Counselling services are provided as during discharges wherever required
ME E9.4 | The facility has established procedure for patients leaving the facility against medical advice, absconding, etc
Standard E10 | The facility has defined and established procedures for intensive care.
ME E10.1 | The facility has established procedure for shifting the patient to step-down/ward based on explicit assessment criteria
ME E10.2 | The facility has defined and established procedure for intensive care
ME E10.3 | The facility has explicit clinical criteria for providing intubation & extubating, and care of patients on ventilation and subsequently on its removal
ME E11.1 | There is procedure for Receiving and triage of patients
ME E11.2 | Emergency protocols are defined and implemented
ME E11.4 | The facility ensures adequate and timely availability of ambulances services and mobilization of resources, as per requirement
ME E11.5 | There is procedure for handling medico legal cases
Standard E12 | The facility has defined and established procedures of diagnostic services | [5 empty] | 1 | 2 | 50
ME E12.1 | There are established procedures for Pre-testing Activities
ME E12.2 | There are established procedures for testing Activities
ME E12.3 | There are established procedures for Post-testing Activities | Nursing station is provided with the critical value of different test | 1 | SI/RR | Check for list of critical values is available at nursing station
Standard E13 | The facility has defined and established procedures for Blood Bank/Storage Management and Transfusion. | [5 empty] | 1 | 2 | 50
ME E13.1 | Blood bank has defined and implemented donor selection criteria
ME E13.2 | There is established procedure for the collection of blood
ME E13.3 | There is established procedure for the testing of blood
ME E13.4 | There is established procedure for preparation of blood component
ME E13.5 | There is establish procedure for labelling and identification of blood and its product
ME E13.6 | There is established procedure for storage of blood
ME E13.7 | There is established the compatibility testing
ME E13.8 | There is established procedure for issuing blood
ME E13.9 | There is established procedure for transfusion of blood | Protocol of blood transfusion is monitored & regulated | 1 | RR | blood is kept on room temperature (28 degree C) before transfusion. Blood transfusion is monitored and regulated by qualified person
ME E13.10 | There is a established procedure for monitoring and reporting Transfusion complication
Standard E14 | The facility has established procedures for Anesthetic Services
ME E14.1 | The facility has established procedures for Pre-anesthetic Check up and maintenance of records
ME E14.2 | The facility has established procedures for monitoring during anesthesia and maintenance of records
ME E14.3 | The facility has established procedures for Post-anesthesia care
Standard E15 | The facility has defined and established procedures of Operation theatre services
ME E15.1 | The facility has established procedures OT Scheduling
ME E15.2 | The facility has established procedures for Preoperative care
ME E15.3 | The facility has established procedures for Surgical Safety
ME E15.4 | The facility has established procedures for Post operative care
Standard E16 | The facility has defined and established procedures for end of life care and death | [5 empty] | 2 | 4 | 50
ME E16.2 | The facility has standard procedures for handling the death in the hospital | Death note is written as per mother & neonatal death review guidelines | 1 | RR | Maternal and neonatal death are recorded as per MDR guideline. Death note including efforts done for resuscitation is noted in patient record. Death summary is given to patient attendant quoting the immediate cause and underlying cause if possible
|  | There is established criteria for distinguishing between new-born death and still birth | 1 | SI/RR | Every still birth is examined, classified by paediatrician before declaration & record is maintained
ME E16.3 | The facility has standard operating procedure for end of life support
ME E16.4 | The facility has standard procedures for conducting post-mortem, its recording and meeting its obligation under the law
Standard E17 | The facility has established procedures for Antenatal care as per guidelines | [5 empty] | 0 | 0
ME E17.1 | There is an established procedure for Registration and follow up of pregnant women.
ME E17.2 | There is an established procedure for History taking, Physical examination, and counselling of each antenatal woman, visiting the facility.
ME E17.3 | The facility ensures availability of diagnostic and drugs during antenatal care of pregnant women
ME E17.4 | There is an established procedure for identification of High risk pregnancy and appropriate treatment/referral as per scope of services.
ME E17.5 | There is an established procedure for identification and management of moderate and severe anaemia
ME E17.6 | Counselling of pregnant women is done as per standard protocol and gestational age
Standard E18 | The facility has established procedures for Intranatal care as per guidelines | [5 empty] | 37 | 74 | 50
ME E18.1 | Facility staff adheres to standard procedures for management of second stage of labour. | Ensures 'six cleans' are followed during delivery | 1 | SI/OB | Ensures 'six cleans' are followed during delivery Clean hands, Clean Surface, clean blade, clean cord tie, clean towel & clean cloth to wrap mother
|  | Allows spontaneous delivery of head | 1 | SI/OB | By flexing the head and giving perineal support
|  | Delivery of shoulders and Neck | 1 | SI/OB | Manages cord round the neck; assists delivery of shoulders and body; delivers baby on mother's abdomen
|  | Check no unneccessary episiotomy performed | 1 | SI/RR | Check with records and interview with staff if they are still practicing routine episiotomy.
|  | Unnecessary augmentation and induction of labour is not done using uterotonics | 1 | SI/RR | Check uterotonics such as oxytocin and mesoperstol is not used for routine induction normal labour unless clear medical indication and the expected benefits outweigh the potential harms Outpatient induction of labour is not done
ME E18.2 | Facility staff adheres to standard procedure for active management of third stage of labour | Rules out presence of second baby by palpating abdomen | 1 | SI | Check staff competence
|  | Use of Uterotonic Drugs | 1 | SI/RR | Administration of 10 IU of oxytocin IM immediately after Birth . Check if there is practice of preloading the oxytocin inj for prompt administration after birth.
|  | Control Cord Traction | 1 | SI/RR | Only during Contraction
|  | Uterine tone assessment | 1 | SI/RR | Check staff competence
|  | Checks for completeness of placenta before discarding | 1 | SI/RR | After placenta expulsion , Checks Placenta & Membranes for Completeness
ME E18.3 | Facility staff adheres to standard procedures for routine care of new-born immediately after birth | Wipes the baby with a clean pre-warmed towel and wraps baby in second pre-warmed towel; | 1 | SI/OB | Check staff competence through demonstration or case observation
|  | Performs delayed cord clamping and cutting (1-3 min); | 1 | SI/OB | Check staff competence through demonstration or case observation
|  | Initiates breast-feeding soon after birth | 1 | SI/OB | Check staff competence through demonstration or case observation
|  | Records birth weight and gives injection vitamin K | 1 | SI/OB | Check staff competence through demonstration or case observation
ME E18.4 | There is an established procedure for assisted and C-section deliveries per scope of services. | Staff is aware of Indications for referring patient for to Surgical Intervention | 1 | SI | Ask staff how they identify slow progress of labour , How they interpret Partogram
|  | Management of Obstructed Labour | 1 | SI/RR | Diagnosis obstructed labour based on data registered from the partograph, Re-hydrates the patient to maintain normal plasma volume, check vitals, gives broad spectrum antibiotics, perform bladder catheterization and takes blood for Hb & grouping, Decides on the mode of delivery as per the condition of mother and the baby
ME E18.5 | Facility staff adheres to standard protocols for identification and management of Pre Eclampsia / Eclampsia | Records BP in every case checks for proteinuria | 1 | SI/RR | Check staff competence through demonstration or case observation
|  | identifies danger signs of severe PE and convulsions; | 1 | SI/RR | Check staff competence through demonstration or case observation
|  | Administers injection magnesium sulphate appropriately; | 1 | SI/RR | Check staff competence through demonstration or case observation
|  | provides nursing care & ensures specialist attention. | 1 | SI/RR | Check staff competence through demonstration or case observation
ME E18.6 | Facility staff adheres to standard protocols for identification and management of PPH. | Checks uterine tone and bleeding PV regularly | 1 | SI/OB | Check staff competence through demonstration or case observation
|  | Identifies PPH | 1 | SI?OB/RR | Assessment of bleeding (PPH if >500 ml or > 1 pad soaked in 5 Minutes or any bleeding sufficient to cause signs of hypovolemia in patient.
|  | Manages PPH as per protocol | 1 | SI/OB/RR | starts IV fluids, manages shock if present, gives uterotonic, identifies causes, performs cause specific management.
|  | Staff knows the use of oxytocin for Management of PPH | 1 | SI/OB/RR | Initial Dose: Infuse 20 IU in 1 L NS/RL at 60 drops per minute Continuing dose: Infuse 20 IU in 1 L NS/RL at 40 drops per minute Maximum Dose: Not more than 3 L of IV fluids containing oxytocin
|  | Management of Retained Placenta | 1 | SI/RR | Administration of another dose of Oxytocin 20IU in 500 ml of RL at 40-60 drops/min an attempt to deliver placenta with repeat controlled cord traction. If this fails performs manual removal of Placenta
ME E18.7 | Facility staff adheres to standard protocols for Management of HIV in Pregnant Woman & Newborn | Provides ART for seropositive mothers/ links with ART center | 1 | SI/RR | Check case records and Interview of staff
|  | Provides syrup Nevirapine to newborns of HIV seropositive mothers | 1 | SI/RR | Check case records and Interview of staff
ME E18.8 | Facility staff adheres to standard protocol for identification and management of preterm delivery. | Correctly estimates gestational age to confirm that labour is preterm | 1 | SI/RR | Assessment and evaluation to confirm gestational age, administration of corticosteroid and tocolytoics for 24-34 weeks Magnesium sulphate given to preterm labour < 32 weeks
|  | identifies conditions that may lead to preterm birth | 1 | SI/RR | (severe PE/E, APH, PPROM);
|  | administers antenatal corticosteroids in pre term labour and conditions leading to pre term delivery (24-34 weeks); | 1 | SI/RR | Review case records
ME E18.9 | Staff identifies and manages infection in pregnant woman | Records mother' s temperature at admission and assesses need for antibiotics | 1 | SI/RR | Review case records
|  | Administers appropriate antibiotics to mother | 1 | SI/RR | Review case records
ME 18.10 | There is Established protocol for newborn resuscitation is followed at the facility. | Facility staff adheres to standard protocol for resuscitating the newborn within 30 seconds. | 1 | SI/OB | Performs initial steps of resuscitation within 30 seconds: immediate cord cutting and PSSR at radiant warmer.
|  | Facility staff adheres to standard protocol for preforming bag and mask ventilation for 30 seconds if baby is still not breathing. | 1 | SI/OB | Initiates bag and mask ventilation using room air with 5 ventilator breaths and continues ventilation for next 30 seconds if baby still does not breathe.
|  | Facility staff adheres to standard protocol for taking appropriate actions if baby does not respond to bag and mask ventilation after golden minute. | 1 | SI/OB | If baby still not breathing/ breathing well, continues ventilation with oxygen, calls or arranges for advanced help or referral.
ME E18.11 | Facility ensures Physical and emotional support to the pregnant women means of birth companion of her choice | Women are encouraged and counselled for allowing birth companion of their choice | 1 | PI/SI
|  | Orientation session and information is available for Birth companion | 1 | PI/SI
Standard E19 | The facility has established procedures for postnatal care as per guidelines | [5 empty] | 8 | 16 | 50
ME E19.1 | Facility staff adheres to protocol for assessment of condition of mother and baby and providing adequate postpartum care | Performs detailed examination of mother | 1 | SI/RR/PI | Check for records of Uterine contraction, bleeding, temperature, B.P, pulse, Breast examination, (Nipple care, milk initiation), Check for perineal washes performed
|  | Looks for signs of infection in mother and baby | 1 | OB/SI | Staff Interview
ME E19.2 | The facility ensures adequate stay of mother and newborn in a safe environment as per standard Protocols.
|  | Looks for signs of hypothermia in baby and provides appropriate care | 1 | RR/SI/PI | Skin to skin contact with mother, regular monitoring and specialist attention as required
ME E19.2 | Facility staff adheres to protocol for counselling on danger signs, post-partum family planning and exclusive breast feeding | Staff counsels mother on vital issues | 1 | PI/SI | Counsels on danger signs to mother at time of discharge; Counsels on post partum family planning to mother at discharge; Counsels on exclusive breast feeding to mother at discharge
ME E19.3 | Facility staff adheres to protocol for ensuring care of newborns with small size at birth | Facilitates specialist care in newborn <1800 gm | 1 | SI/RR | Facilitates specialist care in newborn <1800 gm (seen by paediatrician)
|  | Facilitates assisted feeding whenever required | 1 | SI/RR/PI
|  | Facilitates thermal management including kangaroo mother care | 1 | SI/RR/PI | Facilitates thermal management including kangaroo mother care
ME 19.4 | The facility has established procedures for stabilization/treatment/referral of post natal complications | There is established criteria for shifting newborn to SNCU | 1 | SI/RR | Check if criteria has been defined and in practice by labour room staff
ME E19.5 | There is established procedure for discharge and follow up of mother and newborn.
Standard E20 | The facility has established procedures for care of new born, infant and child as per guidelines
ME E20.1 | The facility provides immunization services as per guidelines
ME E20.2 | Triage, Assessment & Management of newborns having emergency signs are done as per guidelines
ME E20.3 | Management of Low birth weight newborns is done as per guidelines
ME E20.4 | Management of neonatal asphyxia, jaundice and sepsis is done as per guidelines
ME E20.5 | Management of children presenting with fever, cough/ breathlessness is done as per guidelines
ME E20.6 | Management of children with severe Acute Malnutrition is done as per guidelines
ME E20.7 | Management of children presenting diarrhea is done per guidelines
Standard E21 | The facility has established procedures for abortion and family planning as per government guidelines and law
ME E21.1 | Family planning counselling services provided as per guidelines
ME E21.2 | The facility provides spacing method of family planning as per guideline
ME E21.3 | The facility provides limiting method of family planning as per guideline
ME E21.4 | The facility provide counselling services for abortion as per guideline
ME E21.5 | The facility provide abortion services for 1st trimester as per guideline
ME E21.6 | The facility provide abortion services for 2nd trimester as per guideline
Standard E22 | The facility provides Adolescent Reproductive and Sexual Health services as per guidelines
ME E22.1 | The facility provides Promotive ARSH Services
ME E22.2 | The facility provides Preventive ARSH Services
ME E22.3 | The facility Provides Curative ARSH Services
ME E22.4 | The facility Provides Referral Services for ARSH
Standard E23 | The facility provides National health Programme as per operational/Clinical Guidelines
ME E23.1 | The facility provides services under National Vector Borne Disease Control Programme as per guidelines
ME E23.2 | The facility provides services under Revised National TB Control Programme as per guidelines
ME E23.3 | The facility provides services under National Leprosy Eradication Programme as per guidelines
ME E23.4 | The facility provides services under National AIDS Control Programme as per guidelines
ME E23.5 | The facility provides services under National Programme for control of Blindness as per guidelines
ME E23.6 | The facility provides services under Mental Health Programme as per guidelines
ME E23.7 | The facility provides services under National Programme for the health care of the elderly as per guidelines
ME E23.8 | The facility provides service under National Programme for Prevention and Control of cancer, diabetes, cardiovascular diseases & stroke (NPCDCS) as per guidelines
ME E23.9 | The facility provide service for Integrated disease surveillance Programme
ME E23.10 | The facility provide services under National Programme for prevention and control of deafness
| Area of Concern - F Infection Control | [5 empty] | 37 | 74 | 50
Standard F1 | The facility has infection control Programme and procedures in place for prevention and measurement of hospital associated infection | [5 empty] | 3 | 6 | 50
ME F1.1 | The facility has functional infection control committee
ME F1.2 | The facility has provision for Passive and active culture surveillance of critical & high risk areas | Surface and environment samples are taken for microbiological surveillance | 1 | SI/RR | Swab are taken from infection prone surfaces such as delivery tables , door, handles, procedure lights etc.
ME F1.3 | The facility measures hospital associated infection rates
ME F1.4 | There is Provision of Periodic Medical Check-up and immunization of staff | There is procedure for immunization & medical check up of the staff | 1 | SI/RR | Hepatitis B, Tetanus Toxic .
ME F1.5 | The facility has established procedures for regular monitoring of infection control practices | Regular monitoring of infection control practices | 1 | SI/RR | Hand washing and infection control audits done at periodic intervals
ME F1.6 | The facility has defined and established antibiotic policy
Standard F2 | The facility has defined and Implemented procedures for ensuring hand hygiene practices and antisepsis | [5 empty] | 7 | 14 | 50
ME F2.1 | Hand washing facilities are provided at point of use | Availability of hand washing with running Water Facility at Point of Use | 1 | OB | Check for availability of wash basin near the point of use Ask to Open the tap. Ask Staff water supply is regular
|  | Availability of antiseptic soap with soap dish/ liquid antiseptic with dispenser. | 1 | OB/SI | Check for availability/ Ask staff if the supply is adequate and uninterrupted. Availability of Alcohol based Hand rub
|  | Display of Hand washing Instruction at Point of Use | 1 | OB | Prominently displayed above the hand washing facility , preferably in Local language
|  | Handwashing station is as per specification | 1 | OB | Availability of elbow operated taps & Hand washing sink is wide and deep enough to prevent splashing and retention of water
ME F2.2 | The facility staff is trained in hand washing practices and they adhere to standard hand washing practices | Staff is aware of when and how to hand wash | 1 | SI/OB | Ask for demonstration of six steps & check staff awareness five moments of handwashing
ME F2.3 | The facility ensures standard practices and materials for antisepsis | Availability & Use of Antiseptics | 1 | OB | like before giving IM/IV injection, drawing blood, putting Intravenous and urinary catheter &Proper cleaning of perineal area before procedure with antisepsis
|  | Check Shaving is not done during part preparation/delivery cases | 1 | SI | Staff Interview
Standard F3 | The facility ensures standard practices and materials for Personal protection | [5 empty] | 8 | 16 | 50
ME F3.1 | The facility ensures adequate personal protection Equipment as per requirements | Availability of Masks , caps and protective eye cover | 1 | OB/SI/ RR | Check if staff is using PPEs Ask staff if they have adequate supply Verify with the stock / Expenditure register
|  | Sterile gloves are available at labour room | 1 | OB/SI /RR | Check if staff is using PPEs Ask staff if they have adequate supply Verify with the stock / Expenditure register
|  | Use of elbow length gloves for obstetrical purpose | 1 | OB/SI /RR | Check if staff is using PPEs Ask staff if they have adequate supply Verify with the stock / Expenditure register
|  | Availability of disposable gown/ Apron | 1 | OB/SI /RR | Check if staff is using PPEs Ask staff if they have adequate supply Verify with the stock / Expenditure register
|  | Heavy duty gloves and gum boots for housekeeping staff | 1 | OB/SI /RR | Check if staff is using PPEs Ask staff if they have adequate supply Verify with the stock / Expenditure register
|  | Personal protective kit for delivering HIV cases | 1 | OB/SI | Cap & Mask, protective Eye cover, Disposable apron
ME F3.2 | The facility staff adheres to standard personal protection practices | No reuse of disposable gloves, Masks, caps and aprons. | 1 | OB/SI
|  | Entry to the labour Room is only after change of shoes and wearing Mask & Cap | 1 | OB
Standard F4 | The facility has standard procedures for processing of equipment and instruments | [5 empty] | 6 | 12 | 50
ME F4.1 | The facility ensures standard practices and materials for decontamination and cleaning of instruments and procedures areas | Disinfection of operating & Procedure surfaces | 1 | SI/OB | Cleaning of delivery tables tops after each delivery with 2% carbolic acid
|  | Proper handling of Soiled and infected linen | 1 | SI/OB | No sorting ,Rinsing or sluicing at Point of use/ Patient care area
|  | Cleaning of instruments | 1 | SI/OB | Cleaning is done with detergent and running water after use
ME F4.2 | The facility ensures standard practices and materials for disinfection and sterilization of instruments and equipment | Equipment and instruments are sterilized after each use as per requirement | 1 | OB/SI | Autoclaving
|  | Autoclaving of delivery kits is done as per protocols | 1 | OB/SI | Ask staff about temperature, pressure and time. Ask staff about method, concentration and contact time required for chemical sterilization
|  | There is a procedure to ensure the traceability of sterilized packs & their storage | 1 | OB/SI | Sterile packs are kept in clean, dust free, moist free environment.
Standard F5 | Physical layout and environmental control of the patient care areas ensures infection prevention | [5 empty] | 5 | 10 | 50
ME F5.1 | Layout of the department is conducive for the infection control practices | Facility layout ensures separation of routes for clean and dirty items | 1 | OB
ME F5.2 | The facility ensures availability of standard materials for cleaning and disinfection of patient care areas | Availability of disinfectant & cleaning agents as per requirement | 1 | OB/SI | Chlorine solution, Glutaraldehyde, Hospital grade phenyl, disinfectant detergent solution
ME F5.3 | The facility ensures standard practices are followed for the cleaning and disinfection of patient care areas | Spill management protocols are implemented | 1 | SI/RR | spill management kit staff training, protocol displayed
|  | Cleaning of patient care area with detergent solution | 1 | SI/RR | Staff is trained for preparing cleaning solution as per standard procedure
|  | Standard practice of mopping and scrubbing are followed & three bucket system is followed | 1 | OB/SI | Unidirectional mopping from inside out. Cleaning protocols are available / displayed Cleaning equipment like broom are not used in patient care areas
ME F5.4 | The facility ensures segregation infectious patients
ME F5.5 | The facility ensures air quality of high risk area
Standard F6 | The facility has defined and established procedures for segregation, collection, treatment and disposal of Bio Medical and hazardous Waste. | [5 empty] | 8 | 16 | 50
ME F6.1 | The facility Ensures segregation of Bio Medical Waste as per guidelines and 'on-site' management of waste is carried out as per guidelines | Availability of colour coded bins & Plastic bags at point of waste generation | 1 | OB
|  | Segregation of Anatomical and soiled waste in Yellow Bin | 1 | OB/SI
|  | Segregation of infected plastic waste in red bin | 1 | OB
|  | Display of work instructions for segregation and handling of Biomedical waste | 1 | OB
ME F6.2 | The facility ensures management of sharps as per guidelines | Availability of functional needle cutters & puncture proof box | 1 | OB | See if it has been used or just lying idle
|  | Availability of post exposure prophylaxis & Protcols | 1 | OB/SI | Ask if available. Where it is stored and who is in charge of that. Also check PEP issuance register Staff knows what to do in condition of needle stick injury
|  | Glass sharps are disposed in Blue coded Card box | 1 | OB | Includes used vials, slides and other broken infected glass
ME F6.3 | The facility ensures transportation and disposal of waste as per guidelines | Check bins are not overfilled | 1 | OB/SI | Bins should not be filled more than 2/3 of its capacity
| Area of Concern - G Quality Management | [5 empty] | 35 | 70 | 50
Standard G1 | The facility has established organizational framework for quality improvement | [5 empty] | 1 | 2 | 50
ME G1.1 | The facility has a quality team in place | Quality circle has been formed in the Labour Room | 1 | SI/RR | Check if quality circle formed and functional in the Labour Room
ME G1.2 | The facility reviews quality of its services at periodic intervals
Standard G2 | The facility has established system for patient and employee satisfaction | [5 empty] | 3 | 6 | 50
ME G2.1 | Patient satisfaction surveys are conducted at periodic intervals | Client satisfaction survey done on monthly basis | 1 | RR
ME G2.2 | The facility analyses the patient feed back, and root-cause analysis | Analysis of low performing attributes of client feedback is done | 1 | RR
ME G2.3 | The facility prepares the action plans for the areas, contributing to low satisfaction of patients | Action plan prepared is prepared to address the areas of low satisfaction | 1 | RR
Standard G3 | The facility have established internal and external quality assurance Programmes wherever it is critical to quality. | [5 empty] | 2 | 4 | 50
ME G3.1 | The facility has established internal quality assurance programme in key departments | There is system of daily round by matron/hospital manager/ hospital superintendent/ Hospital Manager/ Matron in charge for monitoring of services | 1 | SI/RR | Facility Incharge should visit at least twice in a week. OBG Incharge should visit Labour room atleast twice a day, Matron/Nursing supervisor should visit at once in each shift Findings/instructions during the visits are recorded
ME G3.2 | The facility has established external assurance programmes at relevant departments
ME G3.3 | The facility has established system for use of check lists in different departments and services | Departmental checklist are used for monitoring and quality assurance | 1 | SI/RR | Daily Checklist to check labour room preparedness and cleanliness is used for quality assurance Staff is designated for filling and monitoring of these checklists
Standard G4 | The facility has established, documented implemented and maintained Standard Operating Procedures for all key processes and support services. | [5 empty] | 14 | 28 | 50
ME G4.1 | Departmental standard operating procedures are available | Standard operating procedure for department has been prepared and approved | 1 | RR | Check if SOPs available at labour room are formally approved
|  | Current version of SOP are available with process owner | 1 | OB/RR | Check current version of SOP is available with all staff members of labour room
ME G4.2 | Standard Operating Procedures adequately describes process and procedures | Department has documented procedure for ensuring patients rights including consent, privacy, confidentiality & entitlement | 1 | RR | Review the Labour Room SOPs for description of processes pertaining to ensuring privacy, confidentiality, respectful maternity care and consent
|  | Department has documented procedure for safety & risk management | 1 | RR | Review the Labour Room SOPs for inclusion for processes to Physical as well as patient safety, assessment of risks and their timely mitigation
|  | Department has documented procedure for support services & facility management. | 1 | RR | Review the Labour Room SOPs for process description of support services such as equipment maintenance , calibration, housekeeping, security, storage and inventory management
|  | Department has documented procedure for general patient care processes | 1 | RR | Review Labour room SOPS for processes of triage, assessment, admission, identification of high risk patients, Referral , Medication management and maintenance of clinical records
|  | Department has documented procedure for specific processes to the department | 1 | RR | Review Labour room SOPs for process of intrapartum care, management of complications, immediate postpartum care , Natural Birthing Process and Birth Companion
|  | Department has documented procedure for infection control & bio medical waste management | 1 | RR | Review Labour room SOPs for process description of Hand Hygiene, personal protection, environmental cleaning, instrument sterilization, asepsis, Bio Medical Waste management , surveillance and monitoring of infection control practices, Periodic quality review such as Maternal Death Audit, Newborn Death Audit, Referral audit and Near miss audit.
|  | Department has documented procedure for quality management & improvement | 1 | RR | Review Labour room SOPs for process description of function of quality circles, internal quality assessment, Quality improvement using PDCA cycle client satisfaction surveys, processes improvement , Maternal Death Audit, Newborn Death Audit, Referral Death Audit and Near Miss audits.
|  | Department has documented procedure for data collection, analysis & use for improvement | 1 | RR | Review Labour room SOPs for description of process related to collection of data & quality indicators , their analysis and use for quality improvement
ME G4.3 | Staff is trained and aware of the procedures written in SOPs | Check Staff is aware of relevant part of SOPs | 1 | SI/RR | Interview labour room staff for their awareness about content of SOPs
ME G4.4 | Work instructions are displayed at Point of use | clinical protocols for Intrapartum care and Management of obstetric emergency are Displayed | 1 | OB | Clinical Protocols on AMSTL, Preparing Partograph, , PPH, Eclampsia, Infection control, Referral, Infection Control
|  | Clinical protocols on Newborn Care are displayed | 1 | OB | Clinical Protocols on Essential Newborn Care, New born resuscitation
|  | Don'ts/ Harmful Activities are Displayed at labour Room | 1 | OB | 1. No routine enema 2. No routine shaving 3. No routine induction/augmentation of labour 4. No place for routine suctioning of the baby 5. No pulling of the baby. 6. No routine episiotomy 7. No fundal pressure 8. No immediate cord cutting 9. No immediate bathing of the newborn 10. No routine resuscitation on warmer
Standard G 5 | The facility maps its key processes and seeks to make them more efficient by reducing non value adding activities and wastages | [5 empty] | 3 | 6 | 50
ME G5.1 | The facility maps its critical processes | Process mapping of critical processes done | 1 | SI/RR | Critical process are the ones where is some problem-delays, errors, cost, time, etc. and improvement will make our process effective and efficient.
ME G5.2 | Facility identifies non value adding activities / waste / redundant activities | Non value adding activities are identified | 1 | SI/RR | Non value adding activities are wastes. In these steps resources are expended, delays occur, and no value is added to the service.
ME G5.3 | Facility takes corrective action to improve the processes | Processes are improved & implemented | 1 | SI/RR | Look for the improvements made in the critical process.
Standard G6 | The facility has established system of periodic review as internal assessment , medical & death audit and prescription audit | [5 empty] | 7 | 14 | 50
ME G6.1 | The facility conducts periodic internal assessment | Internal assessment is done at periodic interval | 1 | RR/SI | Check for assessment records such as circular, assessment plan and filled checklists. Internal assessment should be done at least quarterly
ME G6.2 | The facility conducts the periodic prescription/ medical/death audits |  |  |  | Check points having scores of 0 and 1.
ME G6.1 |  | Referral Audits are conducted on Monthly Basis | 1 | RR/SI | Check for records referral audit is being done on regular basis
|  | Maternal Death Audits are conducted on Monthly Basis | 1 | RR/SI | Check for records maternal audit is being done on regular basis
|  | Neonatal Death Audits are conducted on Monthly Basis | 1 | RR/SI | Check for records Neonatal audits is being done on regular basis
ME G6.3 | The facility ensures non compliances are enumerated and recorded adequately | Non Compliance are enumerated and recorded | 1 | RR/SI | Check points having scores partial and Non Compliances are listed
ME G6.4 | Action plan is made on the gaps found in the assessment / audit process | Action plan prepared | 1 | RR/SI | With details of action, responsibility, time line and Feedback mechanism.
ME G6.5 | Planned actions are implemented through Quality improvement cycle (PDCA) | Check correction & corrective actions are taken | 1 | RR/SI | Check actions have been taken to close the gap. Can be in form of Action taken report or Quality Improvement (PDCA) project report
Standard G7 | The facility has defined mission, values, Quality policy & objectives & prepared a strategic plan to achieve them | [5 empty] | 2 | 4 | 50
ME G7.4 | Facility has defined quality objectives to achieve mission and quality policy | Check if SMART Quality Objectives have framed | 1 | SI/RR | Check short term valid quality objectives have been framed addressing key quality issues in each department and cores services. Check if these objectives are Specific, Measurable, Attainable, Relevant and Time Bound.
ME G7.5 | Mission, Values, Quality policy and objectives are effectively communicated to staff and users of services | Check of staff is aware of Mission , Values, Quality Policy and objectives | 1 | SI/RR | Interview with staff for their awareness. Check if Mission Statement, Core Values and Quality Policy is displayed prominently in local language at Key Points
Standard G8 | The facility seeks continually improvement by practicing Quality method and tools. | [5 empty] | 2 | 4 | 50
ME G8.1 | The facility uses method for quality improvement in services | Basic quality improvement method | 1 | SI/OB | PDCA & 5S
ME G8.2 | The facility uses tools for quality improvement in services | 7 basic tools of Quality | 1 | SI/RR | Minimum 2 applicable tools are used in each department
Standards G10 | Facility has established procedures for assessing, reporting, evaluating and managing risk as per Risk Management Plan | [5 empty] | 1 | 2 | 50
ME G10.6 | Periodic assessment for Medication and Patient care safety risks is done as per defined criteria. | Check periodic assessment of medication and patient care safety risk is done using defined checklist periodically | 1 | SI/RR | Verify with the records. A comprehensive risk assessment of all clinical processes should be done using pre define criteria at least once in three month.
| Area of Concern - H Outcome | [5 empty] | 20 | 40 | 50
Standard H1 | The facility measures Productivity Indicators and ensures compliance with State/National benchmarks | [5 empty] | 3 | 6 | 50
ME H1.1 | Facility measures productivity Indicators on monthly basis | Percentage of deliveries conducted at night | 1 | RR
|  | Percentage of complicated cases managed | 1 | RR
|  | % PPIUCD inserted against total number of normal delivery | 1 | RR
ME H1.2 | Facility endeavors to improve its productivity indicators to meet benchmarks
Standard H2 | The facility measures Efficiency Indicators and ensure to reach State/National Benchmark | [5 empty] | 3 | 6 | 50
ME H2.1 | Facility measures efficiency Indicators on monthly basis | Percentage of cases referred to OT | 1 | RR
|  | % of newborns required resuscitation out of total live births | 1 | RR
|  | No of drugs stock out in the month | 1 | RR
ME H2.2 | Facility endeavors to improve its efficiency indicators to meet benchmarks | Facility has improved no. of drug stock out rate as per National Bench mark
Standard H3 | The facility measures Clinical Care & Safety Indicators and tries to reach State/National benchmark | [5 empty] | 12 | 24 | 50
ME H3.1 | Facility measures Clinical Care & Safety Indicators on monthly basis | Percentage of deliveries conducted using real time partograph | 1 | RR
|  | Percentage of deliveries conducted using safe birth checklist | 1 | RR
|  | No of adverse events per thousand patients | 1 | RR
|  | The percentage of Women, administered Oxytocin, immediately after birth. | 1 | RR
|  | Intrapartum stillbirth rate | 1 | RR
|  | Percentage newborn breastfed within 1 hour of birth | 1 | RR
|  | No. of cases of Neonatal asphyxia | 1 | RR
|  | No. of cases of Neonatal Sepsis | 1 | RR
|  | Percentage of antenatal corticosteroid administration in case of preterm labour | 1 | RR
|  | No. of cases of Maternal death related to APH/ PPH | 1 | RR
|  | No of cases pf maternal death related to Eclampsia/ PIH | 1 | RR
|  | OSCE Score | 1 | RR
ME H3.2 | Facility endeavors to improve its clinical & safety indicators to meet benchmarks | Facility has improved Percentage of deliveries conducted using safe birth checklist as per National bench mark
Facility has improved Percentage of deliveries conducted using real time partograph as per National Benchmark
Facility has improved Percentage newborn breastfed within 1 hour of birth as per National bench mark
Standard H4 | The facility measures Service Quality Indicators and endeavors to reach State/National benchmark | [5 empty] | 2 | 4 | 50
ME H4.1 | Facility measures Service Quality Indicators on monthly basis | Percentage of Deliveries attended by Birth Companion | 1 | RR
|  | Client Satisfaction Score | 1 | RR
ME H4.2 | Facility endeavors to improve its service Quality indicators to meet benchmarks | Deliveries conducted at facility are attend ended by birth companion |  |  | As per National Benchmark
| Obtained | Maximum | Percent | 0
A | 11 | 22 | 50%
B | 20 | 40 | 50%
C | 54 | 108 | 50%
D | 31 | 62 | 50%
E | 92 | 184 | 50%
F | 37 | 74 | 50%
G | 35 | 70 | 50%
H | 20 | 40 | 50%
Total | 300 | 600 | 50%
0
1
2